EDEWG Change Request #103

This EDEWG Change Request can be found on the PUC website at http://www.puc.state.pa.us/electric/electric_edewg_download.aspx

| Requester’s Name: Brandon Siegel | EDC/EGS Name: ISTA/EDI Transaction Set Owner | Phone # : 412.817.8004 |
| --- | --- | --- |
| Date of Request: 9/13/2012 | Affected EDI Transaction Set #(s): 867MU, 867IU, 867HU, 867HI | E-Mail Address: bsiegel@ista-na.com |
| Requested Priority (emergency/high/low):Low | Requested Implementation Date: 11/1/2013 | Status: Approved / implemented into v6.0 of EDI 867MU/IU/HU/HI IGs |

Brief Explanation (This will be copied into the description in the Change Control Summary Spreadsheet):

Uniform standard for reporting customer generation and consumption in the EDI 867MU, HU, IU, and HI transaction sets in a net metering scenario.

Detail Explanation  (Exactly what change is required? To which EDEWG Standards? Why?):

EDEWG leadership has confirmed PA lacks detailed uniform standards for the reporting of net meter/customer generation data.   The EDI standards are not clear nor are detailed examples provided for net metering scenarios.    This change control requests all four EDI 867 transactions be modified state wide to improve the accuracy/automation for billing net metered customers.   This change should be implemented by all PA EDCs with the exception of UGI who does not have any interval metered accounts and therefore is exempt from the changes to the 867IU/HI transaction sets.

- Clarify the KH consumption & generation reporting in the 867MU transaction set to include each the BB, SU, and PM via two single meter and one dual meter configurations.

- Clarify the KH consumption & generation reporting in the 867IU transaction set to include account level (BB/SU/BQ looping), meter level/single meter (BB/BO/PM looping), and meter level/dual meter (BB/BO/PM looping)configurations.

- Clarify the KH consumption & generation reporting in the 867HU transaction set to include account level (SU loop), rate level (RT) loop, and meter level (PM loop).

- Clarify the KH consumption & generation reporting in the 867HI transaction set to include only the account level (SU/BQ looping).   PA does not support reporting meter level data in the 867HI.

For Change Control Manager Use Only:

| Date of EDEWG Discussion: 11/1/2012, 12/6/2012 | Expected Implementation Date: PECO – mid/late April 2013 FE – TBA, est late 2Q 2013 PPL – Already supports DLC – Jan 2014 UGI – Already supports |  |
| --- | --- | --- |

EDEWG Discussion and Resolution:

10/31/12-Brandon Siegel:  Assigned #103 and placed onto 11/1 EDEWG agenda for discussion.

11/1/12-Brandon Siegel:  EDEWG released CC 103 out for review, will discuss in greater detail during Dec 2012 meeting.

12/6/12-Brandon Siegel:   EDEWG reviewed and approved CC 103 in principal as minor clarification items are pending as is each EDC’s implementation date.   Final version of CC103 will be issued upon submission of updates by each EDC.

1/10/13-Brandon Siegel:  EDEWG discussed implementation timelines, some EDC details remain open…documented into ‘Update_2’ of this CC.

1/29/13-Brandon Siegel:  Incorporated into v6.0 of EDI 867MU/IU/HU/HI IGs

2/21/13-Brandon Siegel:  corrected meter level 867IU notes section and sample meter level 867IU; correcting  in final v6.0 of 867IU IG.

Priority Classifications

| Emergency Priority | Implemented within 10 days or otherwise directed by EDEWG |
| --- | --- |
| High Priority | Changes / Enhancements implemented with 30 days. The next release, or as otherwise directed by EDEWG |
| Low Priority | Changes / Enhancements implemented no earlier than 90 days, Future Release, or as otherwise directed by EDEWG |

Please submit this form via e-mail to both the PUC at mwurst@pa.gov and to the

Change Control Manager, Brandon Siegel at bsiegel@ista-na.com

Your request will be evaluated and prioritized at an upcoming EDEWG meeting or conference call.

867 Monthly Usage - PA Notes Section

| Requirements for uniform support of Net Metered Customers |  | BB (Billed Summary) Loop –reports the monthly billed summary usage for net metered customers. When customer’s consumption is greater than generation, the billed KH usage in the QTY02 will be reported as net KH (generation subtracted from total consumption). When customer’s generation is greater than consumption, the billed usage in the QTY02 will be reported as 0 (zero) KH. In either scenario, the QTY02 will never be signed negative. SU (Metered Services Summary) Loop –reports the summary usage for net metered customers. When the customer’s consumption is greater than generation, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. When the customer’s generation is greater than consumption, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). In either scenario, the QTY02 will never be signed negative. PM (Meter Services Detail) Loop – The meter loop will report the meter level detail for net metered customers. This may be done via one of the three following configurations: Single meter reporting both in and out flow. The PM loop for KH will be repeated, one reporting consumption and one reporting generation. Used by First Energy, PPL (MV90 only), and Duquesne Light. The meter number will be identical for each loop. In the consumption loop, the meter role (REF*JH) will be ‘A’ (additive) and the KH usage will be reported in quantity delivered (actual = QD or estimated = KA). In the generation loop, the meter role (REF*JH) will be ‘S’ (subtractive) and the KH usage will be reported as net generation delivered (actual = 87 or estimated = 9H). The QTY02 will never be signed negative Being this is a single meter, the meter attributes will remain the same for both PM loops. Single meter reporting only the net consumption, one PM loop for KH. Used by PPL only (non-MV90) When customer’s consumption is greater than generation, the billed KH usage in the QTY02 will be reported as net KH (generation subtracted from total consumption). The meter role (REF*JH) will be ‘A’ (additive). When customer’s generation is greater than consumption, the KH usage will be reported as net generation delivered (actual = 87 or estimated = 9H). The meter role (REF*JH) will be ‘S’ (subtractive). The QTY02 will never be signed negative. Separate meters, one reporting inflow and another meter reporting outflow. The PM loop will be repeated for KH, one meter reporting consumption and one meter reporting generation. Used by PECO and UGI. The meter number should be unique for each KH loop. The meter attributes for each KH loop may have different values. In the consumption loop, the meter role (REF*JH) will be ‘A’ (additive) and the KH usage will be reported in quantity delivered (actual = QD or estimated = KA). In the generation loop, the meter role (REF*JH) will be ‘S’ (subtractive) and the KH usage will be reported as net generation delivered (actual = 87 or estimated = 9H). The QTY02 will never be signed negative. |
| --- | --- | --- |

867 Monthly Usage – Examples

Net Meter / Customer Generation Scenario 1A:  Consumption greater than generation

Single meter reporting both in and out flow KH.

Customer consumed 1000KH and generated 200KH.   The billed KH in the BB loop is 800KH.

The net consumption in the SU loop is 800KH.  The PM is looped, one for the consumption KH (1000KH) and another for the generation KH (200) both with same meter number.

| BPT*00*REF06-120201*20120201*DD | Meter detail loop |
| --- | --- |
| DTM*649*20120202*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT6 | Customer name |
| REF*12*6323423480 | LDC Account number |
| REF*11*13949594 | ESP Account number |
| REF*BLT*DUAL | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*800*KH | Monthly billed KH |
| PTD*SU | Metered services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*QD*800*KH | Calculated summary of all metered for KH / kvarh only |
| PTD*PM | Meter detail loop – Consumption Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*11111111 | Meter Number |
| REF*JH*A | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*1000*KH | Consumption |
| MEA*AA*PRQ*1000*KH*20000*21000*51 | Total consumption, with begin/end readings |
| PTD*PM | Meter detail loop – Generation Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*11111111 | Meter Number |
| REF*JH*S | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*200*KH | Actual Generation |
| MEA*AA*PRQ*200*KH*300*500*51 | Total generation, with begin/end readings |

Net Meter / Customer Generation Scenario 1B:  Generation greater than consumption

Single meter reporting both in and out flow KH.

Customer generated 1300KH and consumed 1000KH.

The billed KH in the BB loop is zero.  The net generation reported in the SU loop is 300KH.  The PM is looped, one for the consumption KH (1000KH) and another for the generation KH (1300) both with same meter number.

| BPT*00*REF06-120201*20120201*DD | Meter detail loop |
| --- | --- |
| DTM*649*20120202*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT6 | Customer name |
| REF*12*6323423480 | LDC Account number |
| REF*11*13949594 | ESP Account number |
| REF*BLT*DUAL | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*0*KH | Monthly billed KH |
| PTD*SU | Metered services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*87*300*KH | Calculated net KH |
| PTD*PM | Meter detail loop – Consumption Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*11111111 | Meter Number |
| REF*JH*A | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*1000*KH | Consumption |
| MEA*AA*PRQ*1000*KH*20000*21000*51 | Total consumption, with begin/end readings |
| PTD*PM | Meter detail loop – Generation Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*11111111 | Meter Number |
| REF*JH*S | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*1300*KH | Actual Generation |
| MEA*AA*PRQ*1300*KH*300*1600*51 | Total generation, with begin/end readings |

Net Meter / Customer Generation Scenario 2A:  Consumption greater than generation

Single meter reporting net KH.   Customer consumed 1000KH and generated 200KH.   The billed KH in the BB loop is 800KH.  The net generation is reported in both the SU and PM loops is 800KH.   This method his does NOT report the customer’s actual consumption; only the net generation is being reported.

| BPT*00*REF06-120201*20120201*DD | Meter detail loop |
| --- | --- |
| DTM*649*20120202*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT6 | Customer name |
| REF*12*6323423480 | LDC Account number |
| REF*11*13949594 | ESP Account number |
| REF*BLT*DUAL | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*800*KH | Monthly billed KH |
| PTD*SU | Metered services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*QD*800*KH | Calculated summary of all metered for KH / kvarh only |
| PTD*PM | Meter detail loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*11111111 | Meter Number |
| REF*JH*A | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*800*KH | Consumption |
| MEA*AA*PRQ*800*KH*20000*20800*51 | Total consumption, with begin/end readings |

Net Meter / Customer Generation Scenario 2B:  Generation greater than consumption

Single meter reporting net KH.   Customer generated 650KH and consumed 500KH.

The billed KH in the BB loop is zero.  The net generation is reported in both the SU and PM loops is 150KH.  This method his does NOT report the customer’s actual consumption; only the net generation is being reported.

| BPT*00*REF06-120201*20120201*DD | Meter detail loop |
| --- | --- |
| DTM*649*20120202*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT6 | Customer name |
| REF*12*6323423480 | LDC Account number |
| REF*11*13949594 | ESP Account number |
| REF*BLT*DUAL | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*0*KH | Monthly billed KH |
| PTD*SU | Metered services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*87*150*KH | Net generation, the meter is only reporting the net |
| PTD*PM | Meter detail loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*11111111 | Meter Number |
| REF*JH*A | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*150*KH | Actual Generation |
| MEA*AA*PRQ*150*KH*20000*20150*51 | Net generation, with begin/end readings |

Net Meter / Customer Generation Scenario 3A:  Consumption greater than generation

Separate meters, one reporting inflow and another meter reporting outflow KH.

Customer consumed 1000KH and generated 600KH.   The net consumption in the SU loop is 400KH.

The billed KH in the BB loop is 400KH.

| BPT*00*REF06-120201*20120201*DD | Meter detail loop |
| --- | --- |
| DTM*649*20120202*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT6 | Customer name |
| REF*12*6323423480 | LDC Account number |
| REF*11*13949594 | ESP Account number |
| REF*BLT*DUAL | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*400*KH | Monthly billed KH |
| PTD*SU | Metered services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*QD*400*KH | Calculated summary of all metered for KH / kvarh only |
| PTD*PM | Meter detail loop – Consumption Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222266S | Meter Number |
| REF*JH*A | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*1000*KH | Consumption |
| MEA*AA*PRQ*1000*KH*20000*21000*51 | Total consumption, with begin/end readings |
| PTD*PM | Meter detail loop – Generation Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*3333366S | Meter Number |
| REF*JH*S | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*600*KH | Actual Generation |
| MEA*AA*PRQ*600*KH*300*900*51 | Total generation, with begin/end readings |

Net Meter / Customer Generation Scenario 3B:  Generation greater than consumption

Separate meters, one reporting inflow and another meter reporting outflow KH.

Customer generated 600KH and consumed 400KH.   The net generation reported in the SU loop is 200KH.

The billed KH in the BB loop is zero.

| BPT*00*REF06-120201*20120201*DD | Meter detail loop |
| --- | --- |
| DTM*649*20120202*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT6 | Customer name |
| REF*12*6323423480 | LDC Account number |
| REF*11*13949594 | ESP Account number |
| REF*BLT*DUAL | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*0*KH | Monthly billed KH |
| PTD*SU | Metered services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*87*200*KH | Calculated summary of all metered for KH / kvarh only |
| PTD*PM | Meter detail loop – Consumption Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222266S | Meter Number |
| REF*JH*A | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*400*KH | Consumption |
| MEA*AA*PRQ*400*KH*20000*20400*51 | Total consumption, with begin/end readings |
| PTD*PM | Meter detail loop – Generation Meter |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*3333366S | Meter Number |
| REF*JH*S | Meter Role |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*600*KH | Actual Generation |
| MEA*AA*PRQ*600*KH*300*900*51 | Total generation, with begin/end readings |

867 Interval Usage - PA Notes Section

| Requirements for uniform support of Net Metered Customers |  | Interval Metered - ACCOUNT Level Detail – all meters summarized (DLC, FE, PPL, and PECO) BB (Monthly Billed Summary) Loop – reports the monthly billed summary usage for net metered customers. When customer’s consumption is greater than generation, the billed KH usage in the QTY02 will be reported as net KH (generation subtracted from total consumption). When customer’s generation is greater than consumption, the billed usage in the QTY02 will be reported as 0 (zero) KH. In either scenario, the QTY02 will never be signed negative. SU (Account Services Summary) Loop – reports the summary usage for net metered customers by unit of measure. When the customer’s consumption is greater than generation, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. When the customer’s generation is greater than consumption, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). In either scenario, the QTY02 will never be signed negative. BQ (Account Services Detail) Loop – reports the account level detail KH for net metered customers and will be looped for each unit of measure. The QTY02 will report the net KH for ALL metered services being summed to the account level. If the net KH for a given report period is generation, the QTY01 will be either ‘87’ or ‘9H’. However if the total account’s customer generation is less than consumption for a single reporting period, only the net consumption is sent with QTY01 qualifier of as consumption, non-billable, incomplete, or unavailable. |
| --- | --- | --- |
| Requirements for uniform support of Net Metered Customers |  | Interval Metered – METER Level Detail – each meter reported separately. (used by PECO only if EGS requests meter detail via 814E/C) BB (Monthly Billed Summary) Loop – reports the monthly billed summary usage for net metered customers. When customer’s consumption is greater than generation, the billed KH usage in the QTY02 will be reported as net KH (generation subtracted from total consumption). When customer’s generation is greater than consumption, the billed usage in the QTY02 will be reported as 0 (zero) KH. I In either scenario, the QTY02 will never be signed negative BO (Meter Services Summary) Loop –sums intervals by meter by unit of measure. Each meter will have its own associated BO loop. Provides control totals for the sum of all intervals in the PM loops. When the customer’s consumption is greater than generation, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. The meter role (REF*JH) will be Additive. When the customer’s generation is greater than consumption, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). The meter role (REF*JH) will be subtractive. In either scenario, the QTY02 will never be signed negative PM (Meter Services Detail) Loop – SINGLE meter reporting in/out flow. The meter loop will report the meter level detail KH for net metered customers via a single meter reporting both in and out flow. PM is looped for each meter and each unit of measure. Currently NOT used by any PA EDC. When the quantity for a given report period (interval reading) is generation, the quantity qualifier (QTY01) will be either ‘87’ or ‘9H’. Otherwise, the QTY01 will be reported as consumption, non-billable, incomplete, or unavailable. The QTY02 will never be signed negative PM (Meter Services Detail) Loops – SEPARATE meters, one reporting inflow and another meter reporting outflow. The PM loop will be repeated for each unit of measure, one meter reporting consumption and one meter reporting generation. Used by PECO only. The meter number should be unique for each KH loop. The meter attributes for each KH loop may have different values. The QTY02 will never be signed negative. |

867 Interval Usage – Examples

Interval Detail reporting at the ACCOUNT Level – with net metering (Consumption greater than generation)

| BPT*00*REF01-120201*20120201*C1 | Account detail loop |
| --- | --- |
| DTM*649*20120203*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT1 | Customer name |
| REF*11*1394959 | ESP Account number |
| REF*12*111111111111111 | LDC Account number |
| REF*BLT*LDC | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*123456*KH | Monthly billed kWh |
| QTY*D1*450*K1 | Monthly derived demand |
| QTY*QD*29*K1 | Monthly measured demand |
| PTD*SU | Account Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*QD*123456*KH | Calculated summary of all metered for kWh / kvarh only |
| PTD*BQ | Account Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MT*KH030 | Meter Type |
| QTY*QD*101*KH | Quantity of consumption delivered for entire metering period specified |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*232*KH | Quantity of generation delivered for entire metering period specified |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*248*KH | Quantity of generation delivered for entire metering period specified |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . . Continued on until the end of the period specified below |  |
| QTY*QD*789*KH | Quantity of consumption delivered for entire metering period specified |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*730*KH | Quantity of consumption delivered for entire metering period specified |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |

Interval Detail reporting at the ACCOUNT Level – with net metering (Generation greater than consumption)

| BPT*00*REF01-120201*20120201*C1 | Account detail loop |
| --- | --- |
| DTM*649*20120203*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT1 | Customer name |
| REF*11*1394959 | ESP Account number |
| REF*12*111111111111111 | LDC Account number |
| REF*BLT*LDC | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*0*KH | Monthly billed kWh - ZERO |
| QTY*D1*450*K1 | Monthly derived demand |
| QTY*QD*29*K1 | Monthly measured demand |
| PTD*SU | Account Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*87*1066*KH | Calculated summary of all metered for kWh (net generation) |
| PTD*BQ | Account Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MT*KH030 | Meter Type |
| QTY*QD*101*KH | Quantity of consumption delivered for entire metering period specified |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*232*KH | Quantity of generation delivered for entire metering period specified |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*248*KH | Quantity of generation delivered for entire metering period specified |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . . Continued on until the end of the period specified below |  |
| QTY*87*789*KH | Quantity of generation delivered for entire metering period specified |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*730*KH | Quantity of generation delivered for entire metering period specified |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |

Interval Detail reporting at the METER Level – SINGLE Meter registering both generation & consumption with net metering (Consumption greater than generation) NOT USED by any PA EDC.

| BPT*00*REF01-000201*20120201*C1 | Meter detail loop |
| --- | --- |
| DTM*649*20120203*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT1 | Customer name |
| REF*11*1394959 | ESP Account number |
| REF*12*111111111111111 | LDC Account number |
| REF*BLT*LDC | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*123456*KH | Monthly billed kWh |
| QTY*D1*450*K1 | Monthly derived demand |
| QTY*QD*29*K1 | Monthly measured demand |
| PTD*BO | Metered Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222277S | Meter Number |
| REF*JH*A | Meter Role - Additive |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*123456*KH | Calculated summary of all metered for kWh / kvarh only |
| MEA**MU*2 | Meter multiplier = 2 |
| MEA**ZA*1.9999 | Power factor = 1.9999 |
| MEA**CO*1.02 | Transformer Loss Multiplier |
| PTD*PM | Meter Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144 | Meter Number |
| REF*MT*KH030 | Meter Type |
| QTY*QD*112*KH | Consumption |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*128*KH | Consumption |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*216*KH | Generation |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*QD*789*KH | Consumption |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*730*KH | Consumption |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |

Interval Detail reporting at the METER Level – SINGLE Meter registering both generation & consumption with net metering (Generation greater than consumption)   NOT USED by any PA EDC.

| BPT*00*REF01-000201*20120201*C1 | Meter detail loop |
| --- | --- |
| DTM*649*20120203*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT1 | Customer name |
| REF*11*1394959 | ESP Account number |
| REF*12*111111111111111 | LDC Account number |
| REF*BLT*LDC | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*0*KH | Monthly billed kWh - ZERO |
| QTY*D1*450*K1 | Monthly derived demand |
| QTY*QD*29*K1 | Monthly measured demand |
| PTD*BO | Metered Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222277S | Meter Number |
| REF*JH*S | Meter Role - Subtractive |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*1166*KH | Calculated summary of all metered for kWh (net generation) |
| MEA**MU*2 | Meter multiplier = 2 |
| MEA**ZA*1.9999 | Power factor = 1.9999 |
| MEA**CO*1.02 | Transformer Loss Multiplier |
| PTD*PM | Meter Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144 | Meter Number |
| REF*MT*KH030 | Meter Type |
| QTY*QD*112*KH | Consumption |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*128*KH | Generation |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*216*KH | Generation |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*87*789*KH | Generation |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*730*KH | Consumption |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |

Interval Detail reporting at the METER Level – TWO Meters, one for generation & another for consumption with net metering (Consumption greater than generation)   PECO only when EGS requests meter detail via 814E/C

| BPT*00*REF01-000201*20120201*C1 | Meter detail loop |
| --- | --- |
| DTM*649*20120203*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT1 | Customer name |
| REF*11*1394959 | ESP Account number |
| REF*12*111111111111111 | LDC Account number |
| REF*BLT*LDC | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*83000*KH | Monthly billed kWh |
| QTY*D1*450*K1 | Monthly derived demand |
| QTY*QD*29*K1 | Monthly measured demand |
| PTD*BO | Metered Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222277S | Meter Number |
| REF*JH*S | Meter Role - Subtractive |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*5000*KH | Calculated summary of all metered for kWh / kvarh only |
| MEA**MU*2 | Meter multiplier = 2 |
| MEA**ZA*1.9999 | Power factor = 1.9999 |
| MEA**CO*1.02 | Transformer Loss Multiplier |
| PTD*PM | Meter Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222277S | Meter Number |
| REF*MT*KH030 | Meter Type |
| QTY*87*112*KH | Generation |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*128*KH | Generation |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*216*KH | Generation |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*87*789*KH | Generation |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*730*KH | Generation |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |
| PTD*BO | Metered Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144A | Meter Number |
| REF*JH*A | Meter Role - Additive |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*87000*KH | Calculated summary of all metered for kWh / kvarh only |
| MEA**MU*2 | Meter multiplier = 2 |
| MEA**ZA*1.9999 | Power factor = 1.9999 |
| MEA**CO*1.02 | Transformer Loss Multiplier |
| PTD*PM | Meter Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144A | Meter Number |
| REF*MT*KH030 | Meter Type |
| QTY*QD*112*KH | Consumption |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*128*KH | Consumption |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*216*KH | Consumption |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*QD*789*KH | Consumption |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*730*KH | Consumption |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |

Interval Detail reporting at the METER Level – TWO Meters, one for generation & another for consumption with net metering (Generation greater than consumption) PECO only when EGS requests meter detail via 814E/C

| BPT*00*REF01-000201*20120201*C1 | Meter detail loop |
| --- | --- |
| DTM*649*20120203*1700 | This is only required on Bill Ready Consolidated Billing scenarios. Time is always represented as Eastern prevailing time. |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*CUSTOMER NAME – ACCT1 | Customer name |
| REF*11*1394959 | ESP Account number |
| REF*12*111111111111111 | LDC Account number |
| REF*BLT*LDC | Bill type |
| REF*PC*DUAL | Bill Calculator |
| PTD*BB | Monthly Billed Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| QTY*D1*0*KH | Monthly billed kWh - ZERO |
| QTY*D1*450*K1 | Monthly derived demand |
| QTY*QD*29*K1 | Monthly measured demand |
| PTD*BO | Metered Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*2222277S | Meter Number |
| REF*JH*S | Meter Role - Subtractive |
| REF*IX*6.0 | Number of dials or digits |
| QTY*87*5000*KH | Calculated summary of all metered for kWh (net generation) |
| MEA**MU*2 | Meter multiplier = 2 |
| MEA**ZA*1.9999 | Power factor = 1.9999 |
| MEA**CO*1.02 | Transformer Loss Multiplier |
| PTD*PM | Meter Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144 | Meter Number |
| REF*MT*KH030 | Meter Type |
| QTY*87*112*KH | Generation |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*128*KH | Generation |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*216*KH | Generation |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*87*789*KH | Generation |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*87*730*KH | Generation |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |
| PTD*BO | Metered Services Summary loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144A | Meter Number |
| REF*JH*A | Meter Role - Additive |
| REF*IX*6.0 | Number of dials or digits |
| QTY*QD*4000*KH | Calculated summary of all metered for kWh / kvarh only |
| MEA**MU*2 | Meter multiplier = 2 |
| MEA**ZA*1.9999 | Power factor = 1.9999 |
| MEA**CO*1.02 | Transformer Loss Multiplier |
| PTD*PM | Meter Services Detail Loop |
| DTM*150*20120101 | Start period |
| DTM*151*20120131 | End period |
| REF*MG*87667144A | Meter Number |
| REF*MT*KH030 | Meter Type |
| QTY*QD*112*KH | Consumption |
| DTM*582*20120101*0030*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*128*KH | Consumption |
| DTM*582*20120101*0100*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*216*KH | Consumption |
| DTM*582*20120101*0130*ES | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*QD*789*KH | Consumption |
| DTM*582*20120131*2330*ES | End date and time of the period for which the quantity is provided. |
| QTY*QD*730*KH | Consumption |
| DTM*582*20120131*2359*ES | End date and time of the period for which the quantity is provided. |

867 Historical Usage - PA Notes Section

| Requirements for uniform support of Net Metered Customers |  | SU (Account Services Summary) Loop –reports consumption summarized/totalized for account by unit of measure for net metered customers. (First Energy, PPL, and UGI support) When the customer’s consumption is greater than generation for a given service period, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. When the customer’s generation is greater than consumption for a given service period, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). In either scenario, the QTY02 will never be signed negative. RT (Rate) Loop –reports consumption summarized/totalized by rate and by unit of measure for net metered customers. (PECO supports) When the customer’s consumption is greater than generation for a given service period, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. When the customer’s generation is greater than consumption for a given service period, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). In either scenario, the QTY02 will never be signed negative. PM (Meter Detail) Loop – reports consumption provided by meter by unit of measure for net metered customers: (Duquesne only) Single meter reporting both in and out flow. When the customer’s consumption is greater than generation for a given service period, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. When the customer’s generation is greater than consumption for a given service period, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). In either scenario, the QTY02 will never be signed negative. |
| --- | --- | --- |

867 Historical Usage – Examples

Historical Usage Summarized by Account – with Net Metering

| BPT*52*2012070112300001*20120701*DD | Transaction Set Purpose Code: 52, Response to Historical Inquiry Reference Identification: 2012070112300001, Transaction Date: 20120701, Report Type Code: DD, Usage |
| --- | --- |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*JANE DOE | Customer name |
| REF*11*8645835 | ESP Account Number |
| REF*12*519703123457 | LDC Account Number |
| REF*45*451105687500 | Old LDC Account Number |
| PTD*SU | Summary Loop for kwh |
| QTY*QD*1944*KH | Net Consumption Quantity (kwh) |
| DTM*150*20120529 | Service Period Start |
| DTM*151*20120630 | Service Period End |
| QTY*87*311*KH | Net Generation Quantity (kwh) |
| DTM*150*20120427 | Service Period Start |
| DTM*151*20120529 | Service Period End |
| QTY*87*871*KH | Net Generation Quantity (kwh) |
| DTM*150*20120327 | Service Period Start |
| DTM*151*20120427 | Service Period End |
| QTY*QD*2166*KH | Net Consumption Quantity (kwh) |
| DTM*150*20120227 | Service Period Start |
| DTM*151*20120327 | Service Period End |
| PTD*FG | Scheduling Determinants Loop |
| REF*BF*01 | Bill Cycle |
| REF*KY*ASUN | Special Meter Configuration (PPL sends, other PA EDCs implementing in 2013/14) |
| REF*LF*2 | Loss Factor (FE Only; optional others) |
| REF*LO*RS | Load Profile |
| REF*NH*RESNH | LDC Rate Code |
| REF*SV*SECONDARY | Service Voltage (FE Only; optional others) |
| QTY*KC*752*K1 | Peak Load Contribution |
| QTY*KZ*752*K1 | Network Service Peak Load |

Historical Usage Summarized by Rate – with Net Metering

| BPT*52*2012070112300001*20120701*DD | Transaction Set Purpose Code: 52, Response to Historical Inquiry Reference Identification: 2012070112300001, Transaction Date: 20120701, Report Type Code: DD, Usage |
| --- | --- |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*JANE DOE | Customer name |
| REF*11*8645835 | ESP Account Number |
| REF*12*519703123457 | LDC Account Number |
| REF*45*451105687500 | Old LDC Account Number |
| PTD*RT | Rate Summary Loop for kwh |
| REF*LO*RS | Load Profile |
| REF*NH*RESNH | LDC Rate Code |
| QTY*QD*1944*KH | Net Consumption Quantity (kwh) |
| DTM*150*20120529 | Service Period Start |
| DTM*151*20120630 | Service Period End |
| QTY*87*311*KH | Net Generation Quantity (kwh) |
| DTM*150*20120427 | Service Period Start |
| DTM*151*20120529 | Service Period End |
| QTY*87*871*KH | Net Generation Quantity (kwh) |
| DTM*150*20120327 | Service Period Start |
| DTM*151*20120427 | Service Period End |
| QTY*QD*2166*KH | Net Consumption Quantity (kwh) |
| DTM*150*20120227 | Service Period Start |
| DTM*151*20120327 | Service Period End |
| PTD*FG | Scheduling Determinants Loop |
| REF*BF*01 | Bill Cycle |
| REF*KY*ASUN | Special Meter Configuration (PPL sends, other PA EDCs implementing in 2013/14) |
| REF*LF*2 | Loss Factor (FE Only; optional others) |
| REF*SV*SECONDARY | Service Voltage (FE Only; optional others) |
| QTY*KC*752*K1 | Peak Load Contribution |
| QTY*KZ*752*K1 | Network Service Peak Load |

Historical Usage Summarized by Meter – with Net Metering

| BPT*52*2012070112300001*20120701*DD | Transaction Set Purpose Code: 52, Response to Historical Inquiry Reference Identification: 2012070112300001, Transaction Date: 20120701, Report Type Code: DD, Usage |
| --- | --- |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*JANE DOE | Customer name |
| REF*11*8645835 | ESP Account Number |
| REF*12*519703123457 | LDC Account Number |
| REF*45*451105687500 | Old LDC Account Number |
| PTD*PM | Summary Loop for kwh |
| REF*MG*M1234567 | Meter Number |
| REF*MT*KHMON | Meter Type |
| REF*TU*51*KHMON | TOU Value |
| QTY*QD*1944*KH | Net Consumption Quantity (kwh) |
| MEA**PRQ*1944*KH***51 | TOU indicator |
| DTM*150*20120529 | Service Period Start |
| DTM*151*20120630 | Service Period End |
| QTY*87*311*KH | Net Generation Quantity (kwh) |
| MEA**PRQ*311*KH***51 | TOU indicator |
| DTM*150*20120427 | Service Period Start |
| DTM*151*20120529 | Service Period End |
| QTY*87*871*KH | Net Generation Quantity (kwh) |
| MEA**PRQ*871*KH***51 | TOU indicator |
| DTM*150*20120327 | Service Period Start |
| DTM*151*20120427 | Service Period End |
| QTY*QD*2166*KH | Net Consumption Quantity (kwh) |
| MEA**PRQ*2166*KH***51 | TOU indicator |
| DTM*150*20120227 | Service Period Start |
| DTM*151*20120327 | Service Period End |
| PTD*FG | Scheduling Determinants Loop |
| REF*BF*01 | Bill Cycle |
| REF*KY*ASUN | Special Meter Configuration (PPL sends, other PA EDCs implementing in 2013/14) |
| REF*LF*2 | Loss Factor (FE Only; optional others) |
| REF*LO*RS | Load Profile |
| REF*NH*RESNH | LDC Rate Code |
| REF*SV*SECONDARY | Service Voltage (FE Only; optional others) |
| QTY*KC*752*K1 | Peak Load Contribution |
| QTY*KZ*752*K1 | Network Service Peak Load |

867 Historical Interval Usage - PA Notes Section

| Requirements for uniform support of Net Metered Customers |  | Account Level – both the SU and BQ loops are sent. Supported by FE, PECO, and PPL. N/A to UGI as they do not have Interval Metered accounts. DLCO does not support the 867HI but plans to do so in January 2014. SU (Account Services Summary) Loop –reports consumption summarized/totalized for account by unit of measure for net metered customers. Individual intervals are not reported in the PTD*SU loop. When the customer’s consumption is greater than generation for a given service period, the KH will be reported as net consumption (QTY01 w/actual = QD or estimated = KA) with the total generation subtracted from total consumption. When the customer’s generation is greater than consumption for a given service period, the KH will be reported as net generation (actual = 87 or estimated = 9H) with the total consumption subtracted from total generation). In either scenario, the QTY02 will never be signed negative. BQ (Account Services Detail) Loop – reports consumption provided by meter summed to the account level by unit of measure. This will be looped for each month for which the history is being reported. The QTY02 will report the net KH for ALL metered services being summed to the account level for the given reporting period. When the net KH for a given report period is generation, the QTY01 will be either ‘87’ or ‘9H’ to denote net generation. When the net KH for a given report period is consumption, the QYT01 will be one of the six valid consumption quantity qualifiers. Meter Level – none of the PA EDCs are reporting Historical Interval usage at the meter level in the EDI 867HI EDEWG may add requirements/examples should any EDC wish to send meter level consumption history in the 867HI. |
| --- | --- | --- |

867 Historical Interval Usage – Example

Historical Interval Usage Summarized by Account – with Net Metering

| BPT*52*2012070112300001*20120701*C1 | Transaction Set Purpose Code: 52, Response to Historical Inquiry Reference Identification: 2012070112300001, Transaction Date: 20120701, Report Type Code: C1, Interval Usage |
| --- | --- |
| N1*8S*LDC COMPANY*1*007909411 | LDC Company |
| N1*SJ*ESP COMPANY*9*007909422ESP1 | ESP Company |
| N1*8R*JANE DOE | Customer name |
| REF*12*519703123457 | LDC Account Number |
| REF*45*451105687500 | Old LDC Account Number |
| PTD*SU | Summary Loop for kwh (QTY, DTM, DTM for each month) |
| QTY*QD*52110*KH | Net Consumption Quantity (kwh) |
| DTM*150*20120529 | Service Period Start |
| DTM*151*20120630 | Service Period End |
| QTY*87*34510*KH | Net Generation Quantity (kwh) |
| DTM*150*20120701 | Service Period Start |
| DTM*151*20120731 | Service Period End |
| PTD*BQ | Summary loop for KH (one for each month) |
| DTM*150*20120529 | Service Period Start |
| DTM*151*20120630 | Service Period End |
| REF*MT*KH060 | Meter Type |
| QTY*QD*112*KH | Consumption |
| DTM*582*20120529*0100*ED | End date and time of the period for which the quantity is provided. |
| QTY*87*128*KH | Generation |
| DTM*582*20120529*0200*ED | End date and time of the period for which the quantity is provided. |
| QTY*QD*216*KH | Consumption |
| DTM*582*20120529*0300*ED | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*QD*789*KH | Consumption |
| DTM*582*20120630*2300*ED | End date and time of the period for which the quantity is provided. |
| QTY*QD*730*KH | Consumption |
| DTM*582*20120630*2359*ED | End date and time of the period for which the quantity is provided. |
| PTD*BQ | Summary loop for KH (one for each month) |
| DTM*150*20120701 | Service Period Start |
| DTM*151*20120731 | Service Period End |
| REF*MT*KH060 | Meter Type |
| QTY*QD*102*KH | Consumption |
| DTM*582*20120701*0100*ED | End date and time of the period for which the quantity is provided. |
| QTY*87*233*KH | Generation |
| DTM*582*20120701*0200*ED | End date and time of the period for which the quantity is provided. |
| QTY*QD*416*KH | Consumption |
| DTM*582*20120701*0300*ED | End date and time of the period for which the quantity is provided. |
| …. . .Continued on until the end of the period specified below |  |
| QTY*QD*781*KH | Consumption |
| DTM*582*20120731*2300*ED | End date and time of the period for which the quantity is provided. |
| QTY*QD*700*KH | Consumption |
| DTM*582*20120731*2359*ED | End date and time of the period for which the quantity is provided. |
| PTD*FG | Scheduling Determinants Loop |
| REF*BF*01 | Bill Cycle |
| REF*KY*ASUN | Special Meter Configuration (PPL sends, other PA EDCs implementing in 2013/14) |
| REF*LF*2 | Loss Factor (FE Only; optional others) |
| REF*LO*RS | Load Profile |
| REF*NH*RESNH | LDC Rate Code |
| REF*SV*SECONDARY | Service Voltage (FE Only; optional others) |
| QTY*KC*752*K1 | Peak Load Contribution |
| QTY*KZ*752*K1 | Network Service Peak Load |

# Comments

DLCo –please confirm meter or summary level format in new CIS.  ‘Old’ CIS reports at meter level.