	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	


	
	Public Meeting held June 5, 2008

	Commissioners Present:
	


	Wendell F. Holland, Chairman

	James H. Cawley, Vice Chairman

	Tyrone J. Christy

	Kim Pizzingrilli

	

	


	Letter of Notification of PECO Energy Company, filed pursuant to 52 Pa. Code Chapter 57 Subchapter G with respect to the reconductoring of the relocation and reconfiguration of the Perkiomen-North Wales 138 kV Transmission Line in Worcester Township, Montgomery County, PA.
	Docket Number:

A-2008-2033655

	
	


ORDER
BY THE COMMISSION:

On March 26, 2008, PECO Energy Company (“PECO”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(l)(i), (iii)(iv) and (v) of the Commission’s transmission line siting regulation. Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing Transmission line right-of-way, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present levels so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(v)
An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with

Section 57.72(d)(3), on the PA Department of Transportation, PA Department of Environmental Protection, Worcester Township, Montgomery County, Montgomery County Planning Commission, Montgomery County Board of Commissioners, Worcester Township Zoning Board, and Worcester Township Board of Supervisors. No protests were filed. No hearings were held.

PECO seeks Commission’s approval to relocate and reconfigure, entirely on an existing right-of-way and fee-owned land, approximately one to two spans of a  138 kV transmission line located in Worcester Township, Montgomery County.
PECO states that the transmission line work is necessary to accommodate construction of the Center Point Transmission Substation, for which PECO is submitting a separate Application for a Finding of Necessity. The Center Point Substation is needed to improve the reliability of the interstate transmission grid.  PECO’s Perkiomen – North Wales 130-32 transmission line crosses the ten-acre site on which the Center Point Substation will be constructed.  In order to accommodate the footprint of the new substation, the Perkiomen – North Wales 130-32 transmission line must be relocated and reconfigured for approximately one or two spans.  The need for transmission line modifications was identified in the 2005 Baseline Regional Transmission Planning (“RTEP”) Report prepared for the PJM Interconnection LLC (“PJM”), and in subsequent interactions with PJM.  
PECO states that the portion of the Perkiomen – North Wales 130-32 line that will be relocated and reconfigured is approximately 250 yards long.  The project will be comprised of, and be limited to, minor relocation and reconfiguration of an existing 138 kV transmission line for the limited purpose of accommodating the footprint of the proposed Center Point Substation. Further, the transmission line work will take place on an existing transmission line right-of-way that currently contains a 500 kV facility, two 230 kV facilities and the existing 138 kV line.  Additionally, this location will be the location of the Center Point 500-230 kV transmission substation.  This location has been used for multiple transmission lines for many years 
PECO states that the project will be designed, constructed, operated and maintained in a manner that meets or surpasses National Electrical Safety Code (“NESC”) standards and all applicable legal requirements. The proposed project will not create an unreasonable risk of danger to the public health or safety.   

PECO states that the proposed project will not substantially alter the rights-of-way on which the lines are located.  No railroads, communication towers, pipelines or other utilities will be affected by the proposed project.  PECO has concluded that the proposed transmission line modifications will have no impact on any airports, historical or archeological sites because the project involves relocation and reconfiguration of an existing transmission facility on an existing transmission line right-of-way, which will also be the site of construction of a substation. 
PECO states that the proposed project will create minimal new environmental and  land use impacts.   No unique geological, scenic or natural areas will be affected.  All permits required for the construction and operation of this project will be obtained.
The project is expected to start by September 2008 in order to meet a required in-service date of June 1, 2010.

The formal PECO Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72. Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:

That the Letter of Notification filed by PECO Energy Company regarding the relocation and reconductoring of the Perkiomen-North Wales 138 kV Transmission Line in Worcester Township, Montgomery County, Pennsylvania,  is hereby approved.

BY THE COMMISSION,

James J. McNulty

Secretary

(SEAL)
ORDER ADOPTED: June 5, 2008

ORDER ENTERED:  June 5, 2008
4

