	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	


	
	Public Meeting held July 17, 2008

	Commissioners Present:
	


	James H. Cawley, Vice Chairman
	

	Robert F. Powelson
	

	Tyrone J. Christy
	

	Kim Pizzingrilli

Wayne E. Gardner, Absent

	

	Letter of Notification of PPL Electric Utilities 

Corporation, filed pursuant to 52 Pa. Code 

Chapter 57 Subchapter G, with respect to the

Lackawanna-East Carbondale & Lackawanna-Edella 138/69 kV Transmission Line Reconstruction in Blakely and Archbald Boroughs and Scott Township, Lackawanna

County, Pennsylvania.


	Docket Number:

A-2008-2045409   


ORDER

BY THE COMMISSION:

On June 4, 2008, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(l) of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the  right-of-way.
(ii) An HV line which is proposed to be located entirely within a public road.
(iii) An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present levels, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.
(v)
An HV line having a proposed route of 2 miles or less.
Copies of the Letter of Notification were served in accordance with

Section 57.72(d) (3), on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Archbald and Blakely Boroughs, Scott Township, Archbald and Blakely Boroughs Planning Commissions, Scott Township Planning Commission, Lackawanna County Planning Commission, Lackawanna County Board of Commissioners, and other interested parties.  No protests were filed. No hearings were held.

PPL Electric seeks Commission’s approval for the siting and reconstruction of a 138/69 kV transmission line in Blakely and Archbald Boroughs and Scott Township, Lackawanna County.  The proposed 138/69 kV transmission line will extend 2.0 miles from the Lackawanna 230/69 kV Substation to the East Carbondale 69/12 kV Substation. PPL Electric proposes to remove the aging low capacity single circuit 115/69 kV Lackawanna-East Carbondale transmission line and, in its place, construct a new, double circuit, high capacity 139/69 kV transmission line.  One circuit will replace the aging 115/69 kV Lackawanna-East Carbondale transmission line.  The second circuit will create a new Lackawanna-Edella 138/69 kV transmission line.  The new 2.0 mile line section will operate at 69 kV initially; but will be designed and insulated for future operation at 138 kV when load approaches the capacity of the 69 kV operated line. 
PPL Electric states that the proposed 138/69 kV line will consist of single and multi-pole fabricated weathering steel structures equipped with upswept weathering steel arms, polymer 138 kV insulator assemblies, 6-556.5 KCMIL, 24/7 stranding, ACSR conductors and one 3/8 inch high strength steel overhead ground wire.  All new poles for this segment of the project will be either direct embedded, or installed on concrete foundations with an approximate height of 90 to 105 feet above ground.  All line angle and tap structures will be guyed.  PPL Electric states that the proposed transmission line  will be located entirely on tracts of land or rights-of-way and easement already owned by PPL Electric and on which the existing 115/69 kV Lackawanna-East Carbondale transmission line is situated.  No new right-of-way or easements are required for the project.
PPL Electric states that the proposed Lackawanna-East Carbondale and Lackawanna-Edella transmission line is necessary for reliable transmission and distribution of electricity to the public.  Projected load growth at substations served from the existing Lackawanna-East Carbondale 115/69 kV line indicates that by 2012, line loading will exceed normal line capacity on the subject 2.0 mile section. 
PPL Electric states that the project will be designed, constructed, operated and maintained in a manner that meets or surpasses NESC standards and all applicable legal requirements. The proposed project will not create an unreasonable risk of danger to the public health or safety.
PPL Electric states that the proposed project will have no significant adverse effect on the rights-of-way and easements involved because the proposed line will be situated on tracts of land that already contain transmission facilities of PPL Electric.  The project involves removal of the aged 115/69 kV transmission line with H-frame structures, each with multiple vertical supports and crossbars.  These structures will be replaced with single steel poles, thereby creating less visual impact.  No railroads, communication towers, pipelines or other utilities will be affected by the proposed project. 
PPL Electric states that the proposed project will not affect any unique geological, scenic or natural areas. No National Natural Landmarks, parks or recreational facilities are located near the project area.  No regulated waters or wetlands are found within or near the construction area.  PPL Electric will employ its “Specifications for Soil Erosion and Sedimentation Control on Transmission Line rights-of-Way” as appropriate to mitigate any effects.

PPL Electric states that the total estimated cost of the proposed project is approximately $2,781,700.  The project is scheduled to start in August 2008 in order to meet a required in-service date of November 2009.
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72. Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:

That the Letter of Notification filed by PPL Electric Utility Corporation regarding the Lackawanna-East Carbondale & Lackawanna-Edella 138/69 kV transmission line reconstruction in Blakely and Archbald Boroughs and Scott Township, Lackawanna County, Pennsylvania, is hereby approved.

BY THE COMMISSION,

James J. McNulty

Secretary

(SEAL)

ORDER ADOPTED: July 17, 2008
ORDER ENTERED:  July 17, 2008
PAGE  
5

