PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


        Public Meeting held March 27, 2008
Commissioners Present:

Wendell F. Holland, Chairman

James H. Cawley, Vice Chairman

Tyrone J. Christy

Kim Pizzingrilli

Letter of Notification of PPL Electric Utilities 

Corporation, filed pursuant to 52 Pa. Code 
Chapter 57 Subchapter G, with respect to the


Docket Number:
Mill Run 138/69 kV Transmission Tap and Line


A-2008-2023071

in Upper Macungie Township, Lehigh County, 
Pennsylvania.

ORDER

BY THE COMMISSION:

On February 4, 2008, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(l) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing           
transmission line right-of-way, so long as the size, character, design, or              

configuration, of the proposed HV line does not substantially alter the 
right-of-way.

            (ii)     An HV line which is proposed to be located entirely within a public road.

(iii)  An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv)  A line for which the voltage is proposed to be increased above its present       

           levels, so long as the size, character, design, or configuration of the             

           proposed HV line does not substantially alter the right-of-way.
         (v)     An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with

Section 57.72(d)(3), on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Lehigh County Planning Commission, Upper Macungie Township Board of Supervisors, Upper Macungie Township, Upper Macungie Township Planning Commission and Jerlad Capital.  No protests were filed. No hearings were held.


PPL Electric seeks Commission’s approval for the siting and construction of a 138/69 kV Transmission Tap and Line in Upper Macungie Township, Lehigh County.  The proposed 138/69 kV Tap and Line will extend approximately 400 feet from the existing Fogelsville #1 and #2 138/69 kV transmission lines to the new Mill Run 69/12 kV Substation.  The new Substation will be constructed on a tract of land already owned by PPL Electric in Upper Macungie Township, Lehigh County, on which the existing Fogelsville 69/12 kV Substation is situated.  The proposed 138/69 kV Tap and Line will extend in part across the tract of land owned by PPL Electric and in part across land of Jerlad Capital, on which the plant facilities of Phoenix Hotform Company are situated. Jerlad Capital is an affiliate of the Phoenix Hotform Company.  The Phoenix Hotform Company is a member of the Phoenix Forge group and is one of the leading manufacturers of steel tank fittings.

PPL Electric states that the proposed 138/69 kV Tap and Line and Mill Run Substation are needed as a result of increased load in the area, including an increase in the load of the Phoenix Hotform Company which is expected to come on line in the 2008-2009 winter.  The proposed 138/69kV Tap and Line and Mill Run Substation will directly serve the Phoenix Hotform Company.  As a result of the increased load in the area, the existing Fogelsville Substation does not have sufficient remaining capacity to serve the increase in the load of the Phoenix Hotform Company.  Thus, the proposed Mill Run 138/69 kV Tap and Line, in conjunction with the new Mill Run Substation, will enable PPL Electric to meet the increasing demand for electricity and improve reliability of service in the Upper Macungie Township area.
PPL Electric states that the proposed Mill Run single circuit 138/69 kV Tap and Line will be approximately 400 feet in length and will consist of four spans ranging from approximately 80 to 120 feet.  The Tap and Line will be mounted on eight steel poles.  The high tap structure will extend approximately 120 feet above the ground; the low tap structure will extend approximately 71 feet above the ground.  The tap structures will be constructed on foundations.  The other six poles, including 2 poles for Load Sectionalizing Air Break (“LSAB”) switches, will each be approximately 70 feet in height.  The poles for the LSAB switches will be direct-embedded; the remaining four poles will require guying.

PPL Electric states that the proposed tap line will consist of three power conductors.  The power conductors will be 556.5 KCMIL 24/7 strand ACSR.  In addition, there will be a three eighths inch steel overhead ground wire to provide lightning protection for the proposed Mill Run Tap and Line.  The new 138/69 kV Tap and Line will be designed and constructed to operate at 138 kV although, initially, it will be operated at 69 kV.  PPL Electric states that proposed Mill Run 138/69 kV Tap and Line which will extend from the existing Fogelsville #1 and #2 138/69 kV Transmission Line will supply electricity to the new Mill Run 69/12 kV Substation.

PPL Electric states that the project will be designed, constructed, operated and maintained in a manner that meets or surpasses NESC standards and all applicable legal requirements.  The proposed project will not create an unreasonable risk of danger to the public health or safety.   

PPL Electric states that the proposed project will have no significant additional land use impacts due to its small size and due to the fact that the proposed Tap and Line will be situated on tracts of land that already contain transmission facilities of PPL Electric.  No railroads, communication towers, pipelines or other utilities will be affected by the proposed project.  The nearest aviation facilities are the Lehigh Valley Airport which is approximately 10.0 miles northeast of the project and the Queen City Airport which is approximately 7.1 miles southeast of the project.  Therefore, the project will have no effect on the airports or flight operations.


PPL Electric states that the proposed project will not affect any unique geological, scenic or natural areas.  No National Natural Landmarks, parks or recreational facilities are located near the project area.  No regulated waters or wetlands are found within or near the construction area.  PPL Electric will employ its “Specifications for Soil Erosion and Sedimentation Control on Transmission Line rights-of-Way” as appropriate to mitigate any effects.

PPL Electric states that the proposed Mill Run 138/69 kV Tap and Line will cost approximately $500,000.  The project is expected to start in July 2008 in order to meet a required in-service date of November 2008.
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code §57.72. Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:




That the Letter of Notification filed by PPL Electric Utility Corporation regarding the Mill Run 138/69 kV Transmission Tap and Line in Upper Macungie Township, Lehigh County, Pennsylvania, is hereby approved.

BY THE COMMISSION,

James J. McNulty

Secretary

(SEAL)

ORDER ADOPTED: March 27, 2008
ORDER ENTERED:  March 31, 2008
PAGE  
5

