PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg PA  17105-3265








Public Meeting held September 13, 2000

Commissioners Present:


John M. Quain, Chairman, Statement attached


Robert K. Bloom, Vice-Chairman


Nora Mead Brownell


Aaron Wilson, Jr.


Terrance J. Fitzpatrick

Gas Safety Plan for Philadelphia Gas Works.
                          Docket No. A-125042 




ORDER

BY THE COMMISSION:


On June 22, 1999, Governor Tom Ridge signed into law the Natural Gas Choice and Competition Act (Act).  The Act revised the Public Utility Code, 66 Pa.C.S. §§101, et seq., by inter alia, adding Chapter 22, relating to restructuring of the natural gas utility industry.  The Pennsylvania Public Utility Commission (Commission) is the agency charged with implementing the Act.


Section 2212(b) of the Act provides that public utility service being furnished or rendered by a city natural gas distribution operation within its municipal limits will be subject to regulation and control by the Commission as of July 1, 2000.  Philadelphia Gas Works (PGW) falls under the definition of a “natural gas distribution company.”  66 Pa.C.S. §2202.  

As stated in the Act, the Commission’s regulatory authority over PGW is of the same force as if the service were rendered by a public utility under section 102 (relating to definitions). 66 Pa. C. S. §2212(c).  Moreover, the provisions of the Public Utility Code, with the exception of Chapters 11(relating to certificates of public convenience), 19 (relating to securities and obligations) and 21 (relating to relations with affiliated interests), apply to PGW. 

Section 1501 of the Public Utility Code requires every public utility to furnish and maintain safe and adequate facilities and to make all such repairs to its facilities as shall be necessary for the safety of its patrons, employees, and the public. 66 Pa. C.S. §1501. Particularly since PGW is in the midst of a full scale “refurbishment” with new management that is dedicated to addressing financial matters, the Commission wishes to stress the importance of continuing to prioritize the safety of PGW’s facilities during the upcoming winter months.

At the outset, the Commission is cognizant of PGW’s obligation to comply with the federal pipeline safety regulations at 49 C.F.R. Parts 191, 192, 193 and 199, which have been adopted by the Commission at 52 Pa. Code §59.33(b).  In fact, according to PGW’s reports, it currently schedules inspections on a more frequent basis than is required.  However, these regulations reflect the minimum safety standards for all gas transmission and distribution facilities in the Commonwealth. With the upcoming winter months and the possibility of severe winter weather during this period, the Commission is of the opinion that PGW should be more vigilant in its pipeline inspections.  This is particularly appropriate in view of the fact that the Commission has only recently assumed jurisdiction over the operations of PGW and our familiarity with PGW’s system is somewhat limited.

The Commission is aware that PGW has over 3,000 miles of gas mains in its system with 1,750 miles of cast iron pipes. This represents the highest percentage of cast iron in a system in the United States. Considering the age of PGW’s system, as well as the high density of service connections per mile of main, we are taking extraordinary measures to ensure that safety inspections occur much more frequently than required by federal standards during this initial winter season. Of course, implementing more frequent inspections is in addition to other routine measures already in place for monitoring safety such as the collection of emergency response data and damage prevention plans.

By this order, PGW is directed to develop a plan for more aggressive pipeline inspections and leakage surveys this winter. The plan developed by PGW should provide for an inspection schedule that takes into account the effects that corrosion and frost have on certain portions of their pipelines. While it is incumbent upon PGW to establish this schedule, we note that at least monthly or bi-monthly inspections would be appropriate and that possibly even weekly inspections would be necessary depending upon the pipe material.  In developing a more aggressive plan for this winter, PGW should also address the types of instruments being used for the testing of pipelines and consider whether adequate procedures are in place to ensure access to inside meters for the inspections.  In developing this plan, PGW should consult with the Commission’s Gas Safety Division for input on the details that must be addressed and timeframes that should be employed.

The plan developed by PGW should be filed with the Commission by October 16, 2000, and monthly reports outlining compliance with the plan on an ongoing basis must be submitted to the Commission and the Gas Safety Division of the Commission starting December 15, 2000 for the month of November, and ending on April 15, 2001. The Gas Safety Division will be responsible for monitoring PGW’s compliance with the plan during this period; THEREFORE, 

IT IS ORDERED:
1. That PGW, after consultation with the Commission’s Gas Safety Division, shall develop a plan for more aggressive pipeline inspections and leakage surveys by October 16, 2000.

2. That the plan developed by PGW shall provide for an inspection schedule that takes into account the effects that corrosion and frost have on certain portions of their pipelines.

3. That PGW shall address the types of instruments being used for the testing of pipelines and consider whether adequate procedures are in place to ensure access to inside meters for the inspections.

4. That the plan developed by PGW shall be submitted to the Secretary, Pennsylvania Public Utility Commission, P.O. Box 3265, Harrisburg, Pennsylvania 17105-3265, by October 16, 2000. A copy of the plan shall also be submitted to the Gas Safety Division of the Commission. In addition, monthly reports outlining compliance with the plan on an ongoing basis must be submitted to the Commission and the Gas Safety Division starting December 15, 2000 for the month of November, and ending on April 15, 2001.

5. The plan submitted by PGW shall specifically reference the above-captioned docket number.

6. That a copy of this order shall be served upon the Philadelphia Gas Works, the Office of Consumer Advocate, the Office of Trial Staff, the Office of Small Business Advocate, the Philadelphia Gas Commission and Community Legal Services of Philadelphia.







                          
BY THE COMMISSION,

James J. McNulty










Secretary

(SEAL)

ORDER ADOPTED:     September 13, 2000


ORDER ENTERED:


4
5

