	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	

	
	
	

	
	Public Meeting held January 23, 2003

	Commissioners Present:
	


	      Glen R. Thomas, Chairman      

	      Robert K. Bloom, Vice Chairman   

	      Aaron Wilson, Jr.

	      Terrance J. Fitzpatrick

      Kim Pizzingrilli

	

	


	Letter of Notification of PPL Electric Utilities Corporation filed pursuant to 52 Pa. Code Chapter 57 for reconstruction of a section of the Wescosville-Trexlertown #1 and #2 138/69 kV  transmission line in Upper Macungie Township, Lehigh County, Pennsylvania


	         Docket Number:               

         A-110500 F0326 



ORDER

BY THE COMMISSION:


On October 16, 2002, PPL Electric Utilities Corporation (“PPL”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72 (d)(1)(vi), of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process when approval is being requested to construct a transmission line where the voltage is proposed to be increased above present levels, where a line is to be reconstructed, or where the line has a proposed length of two miles or less.
        
Copies of the siting application were served in accordance with Section 57.72(d)(3).  A Notice of Transmission Line Construction was published in the newspapers of general circulation in the affected area.  The required fifteen (15) day protest period ended on December 6, 2002.  No protests were filed.  No hearings were held.

       
PPL’s Letter of Notification proposes reconstruction of an 855 foot section of the Wescosville-Trexlertown #1 and #2 138/69 kV Transmission Line in Upper Macungie Township, Lehigh County, Pennsylvania, to accommodate a new bridge being constructed by the Pennsylvania Department of Transportation (“PennDOT”) as part of the relocation of a portion of State Route (“SR”) 222.

PPL states that reconstruction of the affected portion of the Wescosville-Trexlertown #1 and #2 138/69 kV Transmission Line is scheduled to begin in August 2003 and be completed in November 2003, to accommodate PennDOT’s construction schedule.

PennDOT is relocating a section of SR 222 to create a new SR 222 by-pass.  A section of the new roadway will cross an existing railroad spur and, therefore, PennDOT will construct a new highway bridge to span the railroad line.  PPL’s Wescosville-Trexlertown #1 and #2 138/69 kV Transmission Line parallels the railroad tracks in the area of the proposed bridge construction, and PennDOT has asked PPL to modify its line to accommodate the new bridge.  PPL proposes to rebuild a section of the transmission line using taller poles in order to make room for the new bridge and provide safe electrical clearances between the road and the line.

PPL states that the proposed transmission line will be reconstructed on its existing centerline, which eliminates the need to acquire new right-of-way.  Additionally, PPL states that a project review by the Pennsylvania Historical Museum and Commission has determined that this project will have no effect on archeological resources and that the project will not affect any unique geological, scenic or natural areas. 

The transmission line will be designed, constructed, operated and maintained in accordance with National Electrical Safety Code requirements, PPL’s design criteria and safety practices, and all applicable legal requirements.

The formal PPL Letter of Notification and the manner in which it was filed conforms with the requirements of 52 Pa. Code §57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:
        
That the Letter of Notification filed by PPL with respect to the reconstruction of a section of the Wescosville-Trexlertown #1 and #2 138/69 kV   transmission line in Upper Macungie Township, Lehigh County, Pennsylvania is hereby approved.







BY THE COMMISSION







James J. McNulty







Secretary

(SEAL)

ORDER ADOPTED:  January 23, 2003
ORDER ENTERED:  January 23, 2003



PAGE  
3

