	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	

	
	
	

	
	Public Meeting held April 10, 2003

	Commissioners Present:
	


	      Glen R. Thomas, Chairman      

	      Robert K. Bloom, Vice Chairman   

	      Aaron Wilson, Jr.

	      Terrance J. Fitzpatrick

      Kim Pizzingrilli


	Letter of Notification of PPL Electric Utilities Corporation filed pursuant to 52 Pa. Code Chapter 57 for relocation and reconstruction of a portion of the Hosensack-Wescosville #1 and #2 138/69 kV  transmission line in Lower Macungie Township, Lehigh County, Pennsylvania


	         Docket Number:               

         A-110500 F0330 



ORDER

BY THE COMMISSION:



On January 23, 2003, PPL Electric Utilities Corporation (“PPL”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72 (d)(1)(vi), of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process when approval is being requested to construct a transmission line where the voltage is proposed to be increased above present levels, where a line is to be reconstructed, or where the line has a proposed length of two miles or less.
   
     
Copies of the siting application were served in accordance with Section 57.72(d)(3) on the Pennsylvania Department of Transportation, Pennsylvania Turnpike Commission, Pennsylvania Historical and Museum Commission, Department of Environmental Protection, Lehigh County Commissioners, Lehigh Valley Planning Commission, Lower Macungie Township Board of Supervisors and the Lower Macungie Township Planning Commission.  A Notice of Transmission Line Construction was published in the newspapers of general circulation in the affected area.  The required fifteen (15) day protest period ended on March 6, 2003.  No protests were filed.  No hearings were held.

   
   
PPL’s Letter of Notification proposes relocation of a 973 foot section and reconstruction of a 513 foot section of the Hosensack-Wescosville #1 and #2 138/69 kV Transmission Line in Lower Macungie Township, Lehigh County, Pennsylvania, to accommodate a new interchange and a new bridge being constructed by the Pennsylvania Department of Transportation (“PennDOT”) as part of the relocation of a portion of State Route (“SR”) 222.


PennDOT is relocating a section of SR 222 to create a new SR 222 by-pass.  The new SR 222 Bypass, the Northeast Extension of the Pennsylvania Turnpike and Brookside Road converge at a location in Lower Macungie Township, Lehigh County.  As part of the SR 222 Bypass project, PennDOT is constructing:  (1) a new interchange between the relocated SR 222 and Brookside Road; and (2) a new bridge to allow SR 222 to cross the Northeast Extension of the Turnpike.   


PPL states that the section of the transmission line to be reconstructed will be reconstructed on its existing centerline, which eliminates the need to acquire new right-of-way.  PPL states that the relocated section of the transmission line requires the acquisition of 0.85 acres of new right-of-way over land owned by the Commonwealth of Pennsylvania.  Additionally, PPL states that a project review by the Pennsylvania Historical Museum and Commission has determined that this project will have no effect on archeological resources and that the project will not affect any unique geological, scenic or natural areas. 


The transmission line will be designed, constructed, operated and maintained in accordance with National Electrical Safety Code requirements, PPL’s design criteria and safety practices, and all applicable legal requirements.


PPL states that relocation and reconstruction of the affected portion of the Hosensack-Wescosville #1 and #2 138/69 kV Transmission Line is scheduled to begin in May 2003 and be completed in October 2003, to accommodate PennDOT’s construction schedule.



The formal PPL Letter of Notification and the manner in which it was filed conforms with the requirements of 52 Pa. Code §57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:
        

That the Letter of Notification filed by PPL with respect to the relocation and reconstruction of a section of the Hosensack-Wescosville #1 and #2 138/69 kV transmission line in Lower Macungie Township, Lehigh County, Pennsylvania is hereby approved.






BY THE COMMISSION







James J. McNulty







Secretary
(SEAL)

ORDER ADOPTED:  April 10, 2003
ORDER ENTERED:  April 10, 2003



PAGE  
3

