	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	

	
	
	

	
	Public Meeting held August 5, 2004

	Commissioners Present:
	


	      Terrance J. Fitzpatrick, Chairman

	      Robert K. Bloom, Vice Chairman

	      Glen R. Thomas

	      Kim Pizzingrilli
      Wendell F. Holland


	Letter of Notification of PPL Electric Utilities Corporation filed pursuant to 52 Pa. Code Chapter 57 for modification of the existing Twin Lakes 138/69 kV tap line in Dingman Township, Pike County, Pennsylvania


	         Docket Number:               

         A-110500 F0347 



ORDER

BY THE COMMISSION:



On April 28, 2004, PPL Electric Utilities Corporation (“PPL”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72 (d)(1)(vi), of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process when approval is being requested to construct a transmission line where the voltage is proposed to be increased above present levels, where a line is to be reconstructed, or where the line has a proposed length of two miles or less.


Copies of the siting application were served in accordance with Section 57.72(d)(3) on the Pennsylvania Department of Transportation, Pennsylvania Historical and Museum Commission, Department of Environmental Protection, Pike County Commissioners, Pike County Planning Commission, Dingman Township Board of Supervisors, Dingman Township Planning Commission and FirstEnergy Service Company.  A Notice of Transmission Line Construction was published in the newspapers of general circulation in the affected area.  The required fifteen (15) day protest period ended on June 18, 2003.  No protests were filed.  No hearings were held.



PPL’s Letter of Notification seeks siting approval for modifications to the Twin Lakes 138/69 kV Tap Line in Dingman Township, Pike County, Pennsylvania, to accommodate the connection of a new 69 kV transmission line to supply a 69-34.5 kV substation being built by Metropolitan Edison (“MetEd”).


PPL states that MetEd is planning to construct a new 69-34.5 kV substation, to be called the “Walker 69-34.5 kV substation”, at a location adjacent to PPL’s existing Twin Lakes 138/69 kV Tap Line.  MetEd has entered into a contract with PPL to supply power to the new substation because PPL’s Twin Lake 138/69 kV Tap Line is the closest source of power for the new substation.  PPL will install a single circuit 69 kV transmission line, to be called the “Walker 69 kV Tap Line”, from its existing Twin Lakes 139/69 kV Tap Line to supply power to the Walker 69-34.5 kV substation.


The proposed line modifications involve the installation of two new tap structures on the Twin Lakes 138/69 kV Tap Line, which are needed to connect the planned Walker 69 kV Tap Line.  Both new structures will be single shaft steel poles.  The tallest structure will be approximately 100 feet in height and will be directly embedded.  The other structure will be approximately 50 feet in height and will be either guyed or installed on a concrete foundation.


PPL states that all line construction and modifications are being done on existing PPL right-of-way or right-of-way supplied by MetEd.  No additional right-of-way is required.  PPL states that no railroads, airports, communications towers, pipelines or other utilities (other than MetEd, as explained above) will be affected by the proposed reconstruction.  Additionally, PPL states that a project review by the Pennsylvania Historical Museum and Commission has determined that this project will have no effect on archeological resources and that the project will not affect any unique geological, scenic or natural areas.


The project will be designed, constructed, operated and maintained in accordance with National Electrical Safety Code requirements, PPL’s design criteria and safety practices, and all applicable legal requirements.


PPL states that modification of the Twin Lakes 138/69 kV Tap Line is scheduled to begin as soon as possible to support MetEd’s projected in-service date in November 2004.


The formal PPL Letter of Notification and the manner in which it was filed conforms with the requirements of 52 Pa. Code §57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:
     

That the Letter of Notification filed by PPL with respect to the modification of the existing Twin Lakes 138/69 kV tap line in Dingman Township, Pike County, Pennsylvania is hereby approved.






BY THE COMMISSION







James J. McNulty







Secretary
(SEAL)

ORDER ADOPTED:  August 5, 2004
ORDER ENTERED:  August 9, 2004



PAGE  
4

