BEFORE THE
PENNSYLVANIA PUBLIC UTILITY COMMISSION
Richard W. Rosenblitt




:








:


v.





:

C-20043159







:

PECO Energy Company



:

INITIAL DECISION
Before

Ky Van Nguyen
Administrative Law Judge

HISTORY OF THE PROCEEDINGS


On June 4, 2004, Richard W. Rosenblitt (the Complainant) filed a complaint with the Pennsylvania Public Utility Commission (the Commission) against PECO Energy Company (the Respondent).  In the complaint, the Complainant essentially alleged that the Respondent failed to correct a condition which is injurious to himself.  He asked that the Respondent abate the hazard and that the Commission impose a fine on the Respondent.


On August 3, 2004, the Respondent filed an answer to the complaint.  The Respondent stated that in 2003 and 2004, the Complainant experienced power outages which were caused by storms and that it had investigated and found its facilities at the Complainant’s residence to be safe.  


On March 10, 2005, a hearing on the complaint was held.  The Complainant did not appear.  The Respondent was represented by Lisa Lutz, Esquire, who presented the testimony of one witness.  The record was closed at the end of the hearing.
FINDINGS OF FACT


1.
The Complainant is a Respondent ratepayer and takes service at 1110 Cedar Road, Ambler, Montgomery County, Pennsylvania (Formal Complaint Form).  


2.
On September 18, 2003, the Respondent recorded an outage caused by hurricane Floyd.  Four hundred thousand (400,000) customers were without power.  The power was restored 8 hours and 6 minutes after the storm (N.T. 6, 7, 12, 13).  


3.
On October 27, 2003, the Respondent recorded an outage caused by a storm.  This time, the storm broke a cross arm in the Complainant’s service area.  The cross arm was replaced 44 minutes after the storm (N.T. 7, 13).  


4.
On November 5, 2003, the Respondent recorded an outage caused by a storm.  The storm caused a B phase wire coming off of an insulator.  The power was restored 47 minutes after the storm (N.T. 7, 8, 13, 14).  


5.
On June 1, 2004, the Respondent recorded an outage caused by a direct lightening strike in the vicinity of the Complainant’s transformer.  The service was restored after 6 hours and 17 minutes after the lightening (N.T. 8, 9, 14).  


6.
On September 18, 2004, the Respondent recorded a weather-related outage caused by falling tree limbs.  The Respondent’s trouble shooter removed the limb and the service was restored after 37 minutes (N.T. 9, 10, 14, 15).


7.
The Respondent performs tree trimmings in the Complainant’s service area every 5 years (N.T. 11).
DISCUSSION


Section 332(a) of the Public Utility Code, 66 Pa. C.S. §332(a),
 provides that the party seeking relief from the Commission has the “burden of proof.”  “Burden of proof” is a duty to establish a fact by a “preponderance of the evidence.”  The term “preponderance of the evidence” means that one party has presented evidence which is more convincing, by even the smallest amount, than the evidence presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 54, 70 A.2d 854 (1950).  


Under these principles the Complainant, as the party seeking relief, has the burden of proof.  In the context of this case, the Complainant has the burden of proving by a preponderance of the evidence that the Respondent has provided him with unreasonable service in that it has failed to respond to the Complainant’s outages.



The Complainant did not appear to carry his burden of proof.  When a complainant does not appear, the only function remaining to this forum is that announcing the facts and dismissing the case.


Further, the Commission satisfied the requirement of affording the Complainant with administrative due process, by providing timely notice of the hearing on his complaint, and the opportunity to be heard.  Schneider v. Pa. PUC, 479 A.2d 10 (Pa. Cmwlth. Ct. 1984).  The Commission’s Hearing Notice of November 10, 2004, which informed the parties of the day, date and time of the hearing in this case, was mailed to the Complainant at the address he provided on the formal complaint form.  The Commission’s Hearing Notice has not been returned by the United States Postal Service.  Accordingly it is presumed that the Complainant received the Commission’s notice of the hearing.  Berkowitz v. Mayflower Securities, Inc., 317 A.2d 584 (Pa. 1974); Meierdierck v. Miller, 147 A.2d 406 (Pa. 1959); Judge v. Celina Mutual Ins. Co., 449 A.2d 658 (Pa. Super. Ct. 1982); Samaras v. Hartwick, 697 A.2d 71 (Pa. Super. Ct. 1997).


Once timely notice of a hearing and the opportunity to be heard have been provided, it is then the responsibility of the parties to be present and participate in the hearing.  Craig Sentner v. Bell Telephone Co. of Pennsylvania, Docket No. F-00161106 (Pa. PUC October 25, 1993).  The Commission has held that when a complainant fails to be present at a scheduled hearing, then the complaint is to be dismissed, with prejudice.  Darling v. Philadelphia Electric Company, Docket No. F-00161139 (Pa. PUC November 16, 1993).  This means that the Complainant will not be permitted, in any future proceeding, to attempt to litigate the issues raised in this case.
CONCLUSIONS OF LAW


The Commission has jurisdiction over the parties and the subject matter of this dispute.

ORDER


THEREFORE,



IT IS ORDERED:



1.
That the complaint of Richard W. Rosenblitt against PECO Energy Company at Docket No. C-20043159 is dismissed with prejudice.

Date:

March 30, 2005


____________________________________








Ky Van Nguyen







Administrative Law Judge
� 	Section 332(a) of the Public Utility Code provides:





	“(a)  Burden of Proof. – Except as may be otherwise provided in section 315 (relating to burden of proof) or other provisions of this part or other relevant statute, the proponent of a rule or order has the burden of proof.








PAGE  
4

