	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	

	
	
	

	
	
	

	
	Public Meeting held June 1, 2006

	
	

	Commissioners Present:
	

	
	

	Wendell F. Holland, Chairman

	James H. Cawley, Vice Chairman

	Bill Shane

	Kim Pizzingrilli

	Terrance J. Fitzpatrick

	

	

	

	Letter of Notification of PPL Electric Utilities Corporation filed pursuant to 52 Pa. Code Chapter 57 with respect to Montour-Sunbury 230 kV Line and the Montour-Columbia 500/230 kV Line Modification in Derry Township, Montour County, Pennsylvania.
	Docket Number:

A-110500 F0375

	
	

	
	


ORDER

BY THE COMMISSION:

On March 15, 2006, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification pursuant to 52 Pa. Code §57.72 (d)(1)(vi), of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process when approval is being requested to construct a transmission line where the voltage is proposed to be increased above present levels, where a line is to be reconstructed, or where the line has a proposed length of two miles or less.

The Letter of Notification proposes to replace one existing 110 foot steel pole with one 180 foot steel pole in order to raise the adjacent two spans of transmission lines.  PPL Electric states that the project involves only approximately 1030 feet of transmission line and takes place entirely within an existing transmission line 
right-of-way presently owned by PPL Electric.  The purpose of this project is to permit PPL Montour, LLC, which owns and operates the coal fired Montour Steam Electric Station (“SES”) in Derry Township, Montour County, to construct on its own property transmission lines that are required to power new pollution control equipment at the Montour SES.  These transmission lines must cross beneath PPL Electric’s 
Montour-Sunbury 230 kV line and Montour-Columbia 500/230 kV line.
PPL Electric states that it is estimated that the proposed modifications to PPL Electric’s transmission lines will cost approximately $300,000.  The entire cost of the modifications to PPL Electric’s transmission lines will be borne by 
PPL Montour, LLC.
PPL Electric avers that the project will be designed, constructed, operated and maintained in a manner that meets or surpasses the requirements of the National Electrical Safety Code (“NESC”) standards and all applicable legal requirements.  
PPL Electric states that in accordance with the provisions of 
52 Pa. Code §57.72 (d)(3), a copy of this Letter of Notification was served by certified mail upon those who would have otherwise been entitled to receive a copy of an application or notice of filing an application as set forth in §57.74 (52 Pa. Code §57.74).  No protests were filed.  No hearings were held.  
The formal PPL Electric Letter of Notification and the manner in which it was filed conforms to the requirements of 52 Pa. Code §57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:

That the Letter of Notification of PPL Electric Utilities Corporation filed pursuant to 52 Pa. Code Chapter 57 with respect to Montour-Sunbury 230 kV Line and the Montour-Columbia 500/230 kV Line Modification in Derry Township, Montour County, Pennsylvania, is hereby approved.







BY THE COMMISSION







James J. McNulty







Secretary

(SEAL)

ORDER ADOPTED:  June 1, 2006
ORDER ENTERED:  June 1, 2006



PAGE  
3

