	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	

	
	
	

	
	Public Meeting held September 28, 2006

	Commissioners Present:
	


	      Wendell F. Holland, Chairman      

	      James H. Cawley, Vice Chairman   

	      Bill Shane

	      Kim Pizzingrilli

	      Terrance J. Fitzpatrick


	Letter of Notification of PPL Electric Utilities Corporation (“PPL”) filed pursuant to 52 Pa. Code Chapter 57 with respect to the relocation of the Montour-Sunbury 230 kV Transmission Line in Derry Township, Montour County.
	         Docket No. A-110500F0379               





ORDER

BY THE COMMISSION:



On July 17, 2006, PPL filed a Letter of Notification pursuant to 
52 Pa. Code §57.72(d)(1) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character design or configuration of the proposed HV line does not substantially alter the right-of-way.

ii) An HV line which is proposed to be located entirely within a public road.

iii) An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.

iv) A line for which the voltage is proposed to be increased above its present levels, so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way. 

v) An HV line having a proposed route of 2 miles or less.



Copies of the siting application were served in accordance with Section 57.72(d) (3) on the Pennsylvania Department of Transportation,
Pennsylvania Historical and Museum Commission (“PHMC”), Department of Environmental Protection, Montour County Commissioners, Montour County Planning Commission, Boards of Supervisors of Derry Township, Northern Montour Planning Commission, and other interested parties.  A Notice of Transmission Line Construction was published in the newspapers of general circulation in the affected area.  No protests were filed.  No hearings were held.


PPL’s Letter of Notification seeks siting approval for the relocation of approximately 2,640 feet of the existing Montour-Sunbury 230 kV transmission line to accommodate the construction of a wallboard manufacturing plant operated by United States Gypsum Company (“USGC”).


PPL states that the existing transmission line that will be relocated is located entirely on land being leased by USGC.  Also, the new transmission line will be located on the same land leased by USGC.


The proposed relocated line section which will be in Derry Township, Montour County, will be approximately 3,679 feet long.  It will consist of 9 single-shaft weathering steel poles installed on concrete foundations.  Like the present facilities, the line will be constructed for future double circuit operation, however, initially only three power conductors and one overhead ground wire will be installed.  The width of the right of way is 150 feet.
 

PPL states that no railroads, communication towers, pipelines or other utilities will be affected by the proposed project.  The nearest aviation facility is the Danville Airport, which is located 8.3 miles from the project’s location and will not be affected by the project.


The PHMC has reviewed the project, and any concerns will be addressed by PPL prior to the start of construction.  The project will not affect any unique geological, scenic or natural areas.  No National Natural Landmarks, parks, or recreational facilities are located near the project area.  PPL will employ its “Specification for Soil Erosion and Sedimentation Control on transmission line right-of-way” as appropriate.  Additionally, all required permits will be acquired prior to the start of construction.


The project will be designed, constructed, operated and maintained in a manner that meets or surpasses National Electrical Safety Code (“NESC”) standards and all applicable legal requirements.  The proposed project will not create an unreasonable risk of danger to the public health or safety.



PPL states that the approximate $2.2 million cost to design and relocate the 230 kV transmission line section will be borne by USGC.  The project is scheduled to begin in November 2006, with an in-service date of May 2007. 


The formal PPL Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,


IT IS ORDERED:


That the Letter of Notification filed by PPL with respect to the relocation of the Montour-Sunbury 230 kV Transmission Line in Derry Township, Montour County, Pennsylvania is hereby approved. 







BY THE COMMISSION








James J. McNulty








Secretary
(SEAL)

ORDER ADOPTED:  September 28, 2006
ORDER ENTERED:  September 29, 2006



PAGE  
4

