| Inspection Report | Inspection Tracking |
| --- | --- |
| Inspector/Submit Date: |  | NC Required? Inspection Tracking # : NC Tracking # : |  |
| Leak Classification |
| Operator: |  |  |  |
| Location: |  |  |  |
| Company Rep: |  |
| Unit Type & Commodity: | Natural Gas |
| Inspection Type: | Field verification - leak | Inspection Date(s): |  |
| PUC Representative(s): |  | Field Days: |  |
| Persons Interviewed | Title | Phone No. |
| Summary: |

Findings:

|  | Requirements | S | U | N/A | N/C |
| --- | --- | --- | --- | --- | --- |
| 192.605 | O&M procedures for responding promptly to a report of a gas odor inside or near a building unless the operator's emergency procedures under §192.615(a)(3) specifically apply to these reports. |  |  |  |  |
| 192.615a | (3) Emergency procedures for prompt and effective response to gas detected inside or near a building. |  |  |  |  |
| 192.703c | Hazardous leaks must be repaired promptly. |  |  |  |  |
| 192.805 | Are personnel performing leak investigations qualified? |  |  |  |  |
| 59.33a | Responsibility. Each public utility shall at all times use every reasonable effort to properly warn and protect the public from danger, and shall exercise reasonable care to reduce the hazards to which employes, customers and others may be subjected to reason of its equipment and facilities. |  |  |  |  |
| 192.13c | Has the operator followed plans and procedures with respect to calibrating leak detection equipment? |  |  |  |  |
| 192.13c | Have the leak(s) appear to have been classified correctly, consistent with company procedures and proper documentation of leak detection results? |  |  |  |  |
| 192.603b | Per 192.605(b)(1) Is proper documentation being followed with respect to leak reports? |  |  |  |  |

Field Verification Specify Equipment used: Tracking or Serial Number Within calibration period?

Field Inspection #1 Leak Order Number: (E)xisting or (R)epaired leak Street Address Town Original Leak Grade Date found: Leak found by (survey, call in, specify) Date: Time: Company leak inspector: Describe environmental conditions within leak perimeter (wall-to-wall, dry, wet soil, frozen soil, typical suburb, business, etc) As found leak grade Pressure Have the leak classification procedures been followed? Describe the main and/or service line involved (sizes, materials, valve, etc.) As a result of this verification, does this leak need reclassified? (if yes, describe)

Field Inspection #2 Leak Order Number: (E)xisting or (R)epaired leak Street Address Town Original Leak Grade Date found: Leak found by (survey, call in,specify) Date: Time: Company leak inspector: Describe environmental conditions within leak perimeter (wall-to-wall, dry, wet soil, frozen soil, typical suburb, business, etc) As found leak grade Pressure Have the leak classification procedures been followed? Describe the main and/or service line involved (sizes, materials, valve, etc.) As a result of this verification, does this leak need reclassified? (if yes, describe)

Field Inspection #3 Leak Order Number: (E)xisting or (R)epaired leak Street Address Town Original Leak Grade Date found: Leak found by (survey, call in,specify) Date: Time: Company leak inspector: Describe environmental conditions within leak perimeter (wall-to-wall, dry, wet soil, frozen soil, typical suburb, business, etc) As found leak grade Pressure Have the leak classification procedures been followed? Describe the main and/or service line involved (sizes, materials, valve, etc.) As a result of this verification, does this leak need reclassified? (if yes, describe)

Field Inspection #4 Leak Order Number: (E)xisting or (R)epaired leak Street Address Town Original Leak Grade Date found: Leak found by (survey, call in,specify) Date: Time: Company leak inspector: Describe environmental conditions within leak perimeter (wall-to-wall, dry, wet soil, frozen soil, typical suburb, business, etc) As found leak grade Pressure Have the leak classification procedures been followed? Describe the main and/or service line involved (sizes, materials, valve, etc.) As a result of this verification, does this leak need reclassified? (if yes, describe)

Field Inspection #5 Leak Order Number: (E)xisting or (R)epaired leak Street Address Town Original Leak Grade Date found: Leak found by (survey, call in,specify) Date: Time: Company leak inspector: Describe environmental conditions within leak perimeter (wall-to-wall, dry, wet soil, frozen soil, typical suburb, business, etc) As found leak grade Pressure Have the leak classification procedures been followed? Describe the main and/or service line involved (sizes, materials, valve, etc.) As a result of this verification, does this leak need reclassified? (if yes, describe)

Field Inspection #6 Leak Order Number: (E)xisting or (R)epaired leak Street Address Town Original Leak Grade Date found: Leak found by (survey, call in,specify) Date: Time: Company leak inspector: Describe environmental conditions within leak perimeter (wall-to-wall, dry, wet soil, frozen soil, typical suburb, business, etc) As found leak grade Pressure Have the leak classification procedures been followed? Describe the main and/or service line involved (sizes, materials, valve, etc.) As a result of this verification, does this leak need reclassified? (if yes, describe)

Complete OQ Protocol 9

Comments: