Contents

Gas Distribution Integrity Management - Plan Implementation	2

Gas Distribution Integrity Management - Knowledge of the System	2

Gas Distribution Integrity Management - Identify Threats	4

Gas Distribution Integrity Management - Evaluate and Rank Risk	5

Gas Distribution Integrity Management - Preventive and Mitigative Actions	7

Gas Distribution Integrity Management - Measure Performance and Evaluate Effectiveness	8

Gas Distribution Integrity Management - Periodic Evaluation	9

Gas Distribution Integrity Management - Reporting	9

Gas Distribution Integrity Management - Records Required to be Kept	10

Gas Distribution Integrity Management - Deviation from Periodic Inspections	11

## Distribution Inspections -

## Gas Distribution Integrity Management - Plan Implementation

1. Plan Implementation - Implement Date Does the plan include the effective date of the plan, and a revision history? (GDIM.QA.PLANIMPLEMENT.P). 192.1005. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Knowledge of the System

1. System Knowledge - Characteristics Do the procedures identify or reference the appropriate characteristics (e.g., Design, Operating Conditions, Operating Environmental Factors) necessary to assess the threats and risks to the pipeline? (GDIM.RA.CHARACTERISTICS.P). 192.1007(a)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. System Knowledge - Information Considered Do the procedures require the consideration of information gained from past design, operations, and maintenance (e.g., O&M activities, field surveys, One-Call system information, excavation damage, etc.)? (GDIM.RA.INFORMATION.P). 192.1007(a)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. System Knowledge - Gaps Does the plan contain procedures to identify additional information that is needed to fill gaps due to missing, inaccurate, or incomplete records? (GDIM.RA.GAPS.P). 192.1007(a)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. System Knowledge - Information Needed Do the procedures specify the methods to collect the additional information needed to fill gaps due to missing, inaccurate, or incomplete records? (GDIM.RA.INFONEEDS.P). 192.1007(a)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. System Knowledge - Information Needed Do records indicate that the operator has collected additional information needed to fill gaps due to missing, inaccurate, or incomplete records? (GDIM.RA.INFONEEDS.R). 192.1007(a)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. System Knowledge - New Pipe Data Do the procedures require the capture and retention of data on any new pipeline installed? (GDIM.RA.NEWPIPEDATA.P). 192.1007(a)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. System Knowledge - New Pipe Data Do records demonstrate capture and retention of system data including, at a minimum, the location where the new pipeline is installed and the material from which it is constructed? (GDIM.RA.NEWPIPEDATA.R). 192.1007(a)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. System Knowledge - Understanding Has the operator demonstrated an adequate understanding of the system? (GDIM.RA.DEMOUNDERSTANDING.R). 192.1007(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Identify Threats

1. Identify Threats - Information Considered Does the operator consider all internal and external information that was reasonably available to identify existing and potential threats? (GDIM.RA.INFOCONSIDERED.P). 192.1007(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Identify Threats - Information Considered In identifying threats did the information considered include all of the required data and information sources? (GDIM.RA.INFOCONSIDERED.R). 192.1007(b) (192.1011). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Identify Threats - Outside Sources Do the procedures consider, in addition to the operator's own information, data from external sources (e.g. trade associations, government agencies, or other system operators, etc.) to assist in identifying potential threats? (GDIM.RA.OUTSIDESOURCES.P). 192.1007(b) (192.1005). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Identify Threats - Threats Considered In identifying threats, do the procedures include consideration of all of the required threat categories to each gas distribution pipeline? (GDIM.RA.THREATCATEGORIES.P). 192.1007(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Identify Threats - Results Do records demonstrate that the operator followed procedures to identify threats to the system? (GDIM.RA.THREATCATEGORIES.R). 192.1007(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Evaluate and Rank Risk

1. Rank Risk - Methodology Do the procedures contain the method(s) and/or a model used to determine the relative importance of each threat and estimate and rank the risks posed? (GDIM.RA.RISKRANKING.P). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Rank Risk - Threats Considered Do the procedures to evaluate and rank risk consider each applicable current and potential threat? (GDIM.RA.THREATSCONSIDERED.P). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Rank Risk - Likelihood Do the procedures to evaluate and rank risk consider the likelihood of failure associated with each threat? (GDIM.RA.LIKELIHOOD.P). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Rank Risk - Consequences Do the procedures to evaluate and rank risk consider the potential consequence of failure for all applicable threats? (GDIM.RA.CONSEQUENCE.P). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Rank Risk - System Subdivision If subdivision of system occurs, do records show subdivision of the system into regions with similar characteristics and for which similar actions are likely to be effective in reducing risk? (GDIM.RA.SUBDIVIDE.R). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Rank Risk - Results Are the results of the risk ranking supported by the risk evaluation model/method? (GDIM.RA.RESULTS.R). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Rank Risk - System Subdivision Do procedures provide for a process for subdivision of the pipeline system into regions with similar characteristics? (GDIM.RA.SUBDIVIDE.P). 192.1007(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Preventive and Mitigative Actions

1. Measures to Reduce Risk - Identification Does the plan include procedures to identify when measures are required to reduce risk? (GDIM.PM.IDENTIFYMEASURES.P). 192.1007(d). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Measures to Reduce Risk - Identification When measures are selected to reduce risk, do records identify the measures selected, how they will be implemented, and the risks they are addressing? (GDIM.PM.IDENTIFYMEASURES.R). 192.1007(d). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Measures to Reduce Risk - Leak Management Does the plan include an effective leak management program (unless all leaks are repaired when found)? (GDIM.PM.LEAKMANAGEMENT.P). 192.1007(d). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Measure Performance and Evaluate Effectiveness

1. Measure Performance Do records demonstrate that the operator has established and monitored performance measures (metrics)? (GDIM.QA.PERFMEASURE.R). 192.1007(e). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Measure Performance - Monitoring Do the procedures require the operator to monitor each performance measure? (GDIM.QA.PERFMEASUREMONITOR.P). 192.1007(e) (192.1007(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Measure Performance - Measure Effectiveness Does the plan establish performance measures to monitor effectiveness? (GDIM.QA.MEASUREEFFECTIVENESS.P). 192.1007(e). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Periodic Evaluation

1. Periodic Evaluation - Requirements Do the procedures for periodic evaluation include all of the requirements of §192.1007(f)? (GDIM.CA.PERIODICEVAL.P). 192.1007(f). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Periodic Evaluation - Records Do records demonstrate periodic evaluation and improvement consistent with plan procedures? (GDIM.CA.PERIODICEVAL.R). 192.1007(f). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Reporting

1. Report Results - Performance Measures Does the plan contain or reference procedures for reporting, on an annual basis, the four measures listed in 192.1007(e)(1)(i) through (e)(1)(iv) to PHMSA as part of the annual report required by 191.11? (GDIM.RR.ANNUALREPORT.P). 192.1007(g) (191.11; 192.703(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Report Results - Submittal Has the operator submitted the required reports? (GDIM.RR.SUBMITREPORTS.R). 192.1007(g). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Records Required to be Kept

1. Records - Requirements Are there procedures specifying which records demonstrating compliance with Subpart P will be maintained for at least 10 years? (GDIM.QA.RECORDREQUIREMENTS.P). 192.1011. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Records - IM Plans Are there procedures specifying that copies of superseded integrity management plans will be maintained for at least 10 years? (GDIM.QA.PLANRETENTION.P). 192.1011. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Records - Implementation Has the operator maintained the required records? (GDIM.QA.RECORDREQUIREMENTS.R). 192.1011. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Gas Distribution Integrity Management - Deviation from Periodic Inspections

1. Deviation from Periodic Inspections - Procedure Does the operator have a procedure for deviation from periodic inspections or tests under Part 192? (GDIM.PI.PERIODICINSPDEV.P). 192.1013. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Deviation from Periodic Inspections - Records Has the operator maintained records for deviation from periodic inspections or tests under Part 192? (GDIM.PI.PERIODICINSPDEV.R). 192.1013. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

Except as required to be disclosed by law, any inspection documentation, including completed protocol forms, summary reports, executive summary reports, and enforcement documentation are for internal use only by federal or state pipeline safety regulators. Some inspection documentation may contain information which the operator considers to be confidential. In addition, supplemental inspection guidance and related documents in the file library are also for internal use only by federal or state pipeline safety regulators (with the exception of documents published in the federal register, such as advisory bulletins). Do not distribute or otherwise disclose such material outside of the state or federal pipeline regulatory organizations. Requests for such information from other government organizations (including, but not limited to, NTSB, GAO, IG, or Congressional Staff) should be referred to PHMSA Headquarters Management.