Contents

CRM, SCADA, and Leak Detection - General	2

CRM, SCADA, and Leak Detection - Roles and Responsibilities	3

CRM, SCADA, and Leak Detection - Supervisory Control and Data Acquisition	9

CRM, SCADA, and Leak Detection - Fatigue Management	17

CRM, SCADA, and Leak Detection - Alarm Management	23

CRM, SCADA, and Leak Detection - Change Management	28

CRM, SCADA, and Leak Detection - Operating Experience	29

CRM, SCADA, and Leak Detection - Training	30

CRM, SCADA, and Leak Detection - Compliance Validation and Deviations	35

CRM, SCADA, and Leak Detection - Leak Detection (Non-CPM)	37

CRM, SCADA, and Leak Detection - Leak Detection (CPM)	40

NTSB Recommendations Review	44

## HL IA Forms January 2025 - CRM

## CRM, SCADA, and Leak Detection - General

1. Control Room Management Criteria Do procedures adequately address the process and criteria to determine which facilities are control rooms? (CR.CRMGEN.CRMCRITERIA.P). 195.446(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Control Room Management Are CRM procedures formalized and controlled? (CR.CRMGEN.CRMMGMT.P). 195.446(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Control Room Management Are procedures approved, in place, and implemented? (CR.CRMGEN.CRMIMPLEMENT.R). 195.446(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Control Room Management Are procedures readily available to controllers in the control room? (CR.CRMGEN.CRMPROCLOCATION.O). 195.446(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Roles and Responsibilities

1. Roles and Responsibilities Are there clear processes to describe each controller's physical domain of responsibility for pipelines and other facility assets? (CR.CRMRR.RESPONSIBLE.P). 195.446(b)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Roles and Responsibilities Are there provisions in place to assure that only qualified individuals may assume control at any console/desk? (CR.CRMRR.QUALCONTROL.P). 195.446(b)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Roles and Responsibilities If the physical domain of responsibility periodically changes, has a clear process been established to describe the conditions for when such a change occurs? (CR.CRMRR.DOMAINCHANGE.P). 195.446(b)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Roles and Responsibilities Do processes address a controller's role during temporary impromptu (unplanned) changes in controller responsibilities? (CR.CRMRR.RESPCHANGE.P). 195.446(b)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Roles and Responsibilities Do the defined roles and responsibilities require controllers to stay at the console to verify all SCADA commands that have been initiated are fulfilled, and that commands given via verbal communications are acknowledged before leaving the console for any reason? (CR.CRMRR.COMMANDVERIFY.P). 195.446(b)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Controller Authority Have processes been established to define the controllers' authority and responsibilities when an abnormal operating condition is detected? (CR.CRMRR.AUTHORITYABNORMAL.P). 195.446(b)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Overpressure Limits Are controllers aware of the current MOPs of all pipeline segments for which they are responsible, and have they been assigned the responsibility to maintain those pipelines at or below the MOP? (CR.CRMRR.PRESSLIMITS.O). 195.446(b)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Controller Authority (Emergency Operations) Do processes define the controllers' authority and responsibility to make decisions, take actions, and communicate with others upon being notified of, or upon detection of, and during, an emergency or if a leak or rupture is suspected? (CR.CRMRR.AUTHORITYEMERGENCY.P). 195.446(b)(3) (NTSB P-11-9). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Control Center Evacuation Do processes specifically address the controller's responsibilities in the event the control room must be evacuated? (CR.CRMRR.EVACUATION.P). 195.446(b)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Communication Failure Do processes specifically address the controller's responsibilities in the event of a SCADA system or data communications system failure impacting large sections of the controller's domain of responsibility? (CR.CRMRR.COMMSYSFAIL.P). 195.446(b)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Shift Change Process Have processes been established for the hand-over of responsibility that specify the type of information to be communicated to the oncoming shift? (CR.CRMRR.HANDOVER.P). 195.446(b)(4) (195.446(c)(5)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Shift Change Process Do observations indicate adequate hand-over of responsibility to the oncoming shift? (CR.CRMRR.HANDOVER.O). 195.446(b)(4) (195.446(c)(5)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Shift Change Process - Documentation Do processes require that records document the hand-over of responsibility, document the time the actual hand-over of responsibility occurs, and the key information and topics that were communicated during the hand-over? (CR.CRMRR.HANDOVERDOC.P). 195.446(b)(4) (195.446(c)(5)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Shift Change Process - Documentation Are there records that document the hand-over of responsibility, document the time the actual hand-over of responsibility occurs, and the key information and topics that were communicated during the hand-over? (CR.CRMRR.HANDOVERDOC.R). 195.446(b)(4) (195.446(c)(5)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Shift Change Process - Overlap Do processes require the controllers to discuss recent and impending important activities ensuring adequate overlap? (CR.CRMRR.HANDOVEROVERLAP.P). 195.446(b)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Shift Change Process - Handover Alternative When a controller is unable to continue or assume responsibility for any reason, do the shift hand-over processes include alternative shift hand-over actions that specifically address this situation? (CR.CRMRR.HANDOVERALTERNATIVE.P). 195.446(b)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Shift Change Process - Unattended Consoles Has the operator established an adequate process for occasions when the console is left temporarily unattended for any reason? (CR.CRMRR.UNATTENDCONSOLE.P). 195.446(b)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Shift Change Process - Console Coverage Do processes maintain adequate console coverage during shift hand-over? (CR.CRMRR.CONSOLECOVERAGE.P). 195.446(b)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Authority to Supersede Controller Action Disallowed - Controllers Do processes disallow others to have authority to direct or supersede the specific technical actions of a controller? (CR.CRMRR.OTHERAUTHORITYDISALLOW.P). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Authority to Supersede Controller Action Disallowed - Controllers Do records indicate that the policy disallowing others to have authority to direct or supersede the specific technical actions of a controller has been communicated to controllers and others? (CR.CRMRR.OTHERAUTHORITYDISALLOW.R). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

21. Authority to Supersede Controller Action Disallowed - Controllers Are controllers aware of, and can reference, processes that disallow others to have authority to direct or supersede the specific technical actions of a controller? (CR.CRMRR.OTHERAUTHORITYDISALLOW.O). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

22. Others with Authority Qualification - Controllers Does the process result in identification of required qualification elements for those authorized to direct or supersede the technical actions of a controller that are sufficient for those individuals to understand the implications of the scope of potential actions? (CR.CRMRR.OTHERAUTHORITYQUAL.P). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

23. Others with Authority Qualification - Controllers Do records indicate that others given authority to direct or supersede the specific technical actions of a controller were qualified? (CR.CRMRR.OTHERAUTHORITYQUAL.R). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

24. Others with Authority Implementation - Controllers Is the process defined with respect to the details of how those authorized to direct or supersede the technical actions of a controller are to implement their authority? (CR.CRMRR.OTHERAUTHORITYIMPLEMENT.P). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

25. Others with Authority List - Controllers Is a list of individuals with authority to direct or supersede the technical actions of a controller readily available to controllers? (CR.CRMRR.OTHERAUTHORITYLIST.R). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

26. Others with Authority Implementation - Controllers Do records adequately document occurrences of when others authorized to direct or supersede the technical actions of a controller have done so? (CR.CRMRR.OTHERAUTHORITYIMPLEMENT.R). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

27. Others with Authority Implementation - Controllers Do others authorized to direct or supersede the technical actions of a controller demonstrate an understanding of the process to implement this authority? (CR.CRMRR.OTHERAUTHORITYIMPLEMENT.O). 195.446(b)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Supervisory Control and Data Acquisition

1. Adequate Information (API 1165 Compliance) Do processes clearly define the types of changes to the SCADA system(s) that constitute additions, expansions, or replacements under the meaning of the CRM rule? (CR.SCADA.SYSTEMMOC.P). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. SCADA Displays Are there written processes to implement the API RP 1165(1st Edition) display standards to the SCADA systems that have been added, expanded, or replaced since August 1, 2012? (CR.SCADA.DISPLAYCONFIG.P). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. SCADA API RP 1165 Human Factors Has section 4 of API RP 1165(1st Edition) regarding human factors engineering been implemented? (CR.SCADA.1165HUMANFACTORS.O). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. SCADA Display Hardware Has section 5 of API RP 1165(1st Edition) regarding display hardware been implemented? (CR.SCADA.DISPLAYHARDWARE.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. SCADA Display Layout Has section 6 of API RP 1165(1st Edition) regarding display layout and organization been implemented? (CR.SCADA.DISPLAYLAYOUT.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. SCADA Display Navigation Has section 7 of API RP 1165(1st Edition) regarding display navigation been implemented? (CR.SCADA.DISPLAYNAVIGATION.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. SCADA Display Objects Has section 8 of API RP 1165(1st Edition) regarding display object characteristics been implemented? (CR.SCADA.DISPLAYOBJECTS.O). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. SCADA Display Dynamics Has section 9 of API RP 1165(1st Edition) regarding display object dynamics been implemented? (CR.SCADA.DISPLAYDYNAMICS.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. SCADA Control Selection Has section 10 of API RP 1165(1st Edition) control selection and techniques been implemented? (CR.SCADA.CONTROLSELECTION.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. SCADA Administration Has section 11 of API RP 1165(1st Edition) administration been implemented? (CR.SCADA.ADMINISTRATION.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. SCADA Impracticality If any/all applicable paragraph(s) of API RP 1165(1st Edition) have not been implemented, has it been demonstrated and documented that the unimplemented provisions are impractical for the SCADA system used? (CR.SCADA.1165IMPRACTICAL.R). 195.446(c)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Setpoints Does the process adequately define safety-related points? (CR.SCADA.SETPOINT.P). 195.446(c)(2) (195.406(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Setpoints Do records indicate safety-related points have been adequately implemented? (CR.SCADA.SETPOINT.R). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Point-to-Point Verification Are there adequate processes to define and identify the circumstances which require a point-to-point verification? (CR.SCADA.POINTVERIFY.P). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Point-to-Point Verification Have required point-to-point verifications been performed? (CR.SCADA.POINTVERIFY.R). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Point-to-Point Verification Extent Are there adequate processes for the thoroughness of the point-to-point verification? (CR.SCADA.POINTVERIFYEXTENT.P). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Point-to-Point Verification Extent Do records demonstrate adequate thoroughness of the point-to-point verification? (CR.SCADA.POINTVERIFYEXTENT.R). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Point-to-Point Verification Extent Is there an adequate process for defining when the point-to-point verification must be completed? (CR.SCADA.POINTVERFIYINTVL.P). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Point-to-Point Verification Extent Do records indicate the point-to-point verification has been completed at the required intervals? (CR.SCADA.POINTVERFIYINTVL.R). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Point-to-Point Verification Are point-to-point verifications performed adequately when required? (CR.SCADA.POINTVERIFY.O). 195.446(c)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

21. Internal Communication Plan Has an internal communication plan been established and implemented that is adequate to manually operate the pipeline during a SCADA failure/outage? (CR.SCADA.COMMPLAN.P). 195.446(c)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

22. Internal Communication Plan Has the internal communication plan been tested and verified for manual operation of the pipeline safely at least once each calendar year but at intervals not exceeding 15 months? (CR.SCADA.COMMPLAN.R). 195.446(c)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

23. Backup SCADA System Is there a backup SCADA system? (CR.SCADA.BACKUPSCADA.O). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

24. Backup SCADA Development Has the use of the backup SCADA system for development work been defined? (CR.SCADA.BACKUPSCADADEV.P). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

25. Backup SCADA Testing Is the backup SCADA system required to be tested at least once each calendar year at intervals not to exceed 15 months? (CR.SCADA.BACKUPSCADATEST.P). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

26. Backup SCADA Testing Is the backup SCADA system tested at least once each calendar year at intervals not to exceed 15 months? (CR.SCADA.BACKUPSCADATEST.R). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

27. Backup SCADA Verification Are there adequate processes in place for decision-making and internal communications to successfully implement a transition from primary SCADA to backup SCADA, and back to primary SCADA? (CR.SCADA.BACKUPSCADAVERIFY.P). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

28. Backup SCADA Verification Does the testing verify that there are adequate processes in place for decision-making and internal communications to successfully implement a transition from primary SCADA to backup SCADA, and back to primary SCADA? (CR.SCADA.BACKUPSCADAVERIFY.R). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

29. Backup SCADA Adequacy If the back-up SCADA system is not designed to handle all the functionality of the main SCADA system, does the testing determine whether there are adequate procedures in place to account for displaced and/or different available functions during back-up operations? (CR.SCADA.BACKUPSCADAADEQUACY.R). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

30. Backup SCADA Transfer Do processes adequately address and test the logistics of transferring control to a backup control room? (CR.SCADA.BACKUPSCADATRANSFER.P). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

31. Backup SCADA Return to Primary Do procedures adequately address and test the logistics of returning operations back to the primary control room? (CR.SCADA.BACKUPSCADARETURN.P). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

32. Backup SCADA Testing Is a representative sampling of critical functions in the back-up SCADA system being tested to ensure proper operation in the event the backup system is needed? (CR.SCADA.BACKUPSCADAFUNCTIONS.R). 195.446(c)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

33. SCADA Overpressure Protection on Pressure Breakout Tanks Does the process adequately test applicable SCADA controlled overpressure protection devices on pressurized breakout tanks? (CR.SCADA.SCADAOVERPRESSTESTBO.P). 195.428(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

34. SCADA Overpressure Protection on Pressure Breakout Tanks Do records indicate adequate inspection and testing of SCADA overpressure protection devices on pressurized breakout tanks? (CR.SCADA.SCADAOVERPRESSTESTBO.R). 195.404(a)(1)(vii) (195.404(c)(3); 195.428(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

35. SCADA Overfill Protection Do records indicate adequate inspection and testing of SCADA overfill protection systems? (CR.SCADA.SCADAOVERFILL.R). 195.404(a)(1)(vii) (195.404(c)(3); 195.428(d)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

36. SCADA Overfill Protection Is an adequate process/procedure in place for testing applicable SCADA controlled overfill protection devices? (CR.SCADA.SCADAOVERFILL.P). 195.428(d) (195.446(b); 195.446(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Fatigue Management

1. Fatigue Mitigation Does the fatigue mitigation process or procedures (plan) identify operator-specific fatigue risks? (CR.CRMFM.FATIGUEMITIGATION.P). 195.446(d). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Fatigue Risk Reduction Does the fatigue mitigation plan adequately address how the program reduces the risk associated with controller fatigue? (CR.CRMFM.FATIGUERISKS.P). 195.446(d) (195.446(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Fatigue Quantification Do processes require that the potential contribution of controller fatigue to incidents and accidents be quantified during investigations? (CR.CRMFM.FATIGUEQUANTIFY.P). 195.446(d) (195.446(a); 195.446(g)(1)(i)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Fatigue Mitigation Manager Is there a designated fatigue risk manager who is responsible and accountable for managing fatigue risk and fatigue countermeasures, and someone (perhaps the same person) that is authorized to review and approve HOS emergency deviations? (CR.CRMFM.FATIGUEMANAGER.P). 195.446(d). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Scheduled Shift Length Is the scheduled shift length less than or equal to 12 hours (not including shift hand-over) or is there a documented technical basis to show that shift lengths and schedule rotations are adequate to provide controllers off-duty time sufficient to achieve 8 hours of continuous sleep? (CR.CRMFM.SHIFTLENGTH.R). 195.446(d)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Establishing Shift Length Does the operator factor in all time the individual is working for the company when establishing shift lengths and schedule rotations and that periods of time off that accommodates commute time or is there a documented technical basis to show that shift lengths and schedule rotations are adequate to provide controllers off-duty time sufficient to achieve 8 hours of continuous sleep? (CR.CRMFM.SHIFTLENGTHTIME.R). 195.446(d)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Scheduled Time Off Between Shifts Are all scheduled periods of time off at least one hour longer than 8 hours plus commute time or is there a documented technical basis to show that shift lengths and schedule rotations are adequate to provide controllers off-duty time sufficient to achieve 8 hours of continuous sleep? (CR.CRMFM.SCHEDULEDTIMEOFF.R). 195.446(d)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. On Call Controllers For controllers who are on call, do processes minimize interrupting the required 8 hours of continuous sleep or require a documented technical basis to show that shift lengths and schedule rotations are adequate to provide controllers off-duty time sufficient to achieve 8 hours of continuous sleep? (CR.CRMFM.ONCALLCONTROLLER.P). 195.446(d). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. On Call Controllers For controllers who are on call, do records include shift schedules, when calls were made to the on call employee, and how long the individual worked? (CR.CRMFM.ONCALLCONTROLLER.R). 195.446(d)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Maximum Hours of Service Do processes limit the maximum HOS limit in any sliding 7-day period to no more than 65 hours or is there a documented technical basis to show reduction of the risk associated with controller fatigue? (CR.CRMFM.MAXHOS.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Documented Time Schedule Is there a formal system to document all scheduled and unscheduled HOS worked, including overtime and time spent performing duties other than control room duties? (CR.CRMFM.DOCSCHEDULE.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Time Off Following Successive Days Worked For normal business hour type operations (i.e., five days per week), are no more than five days worked in succession before at least two days off? (CR.CRMFM.DAYSOFF.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Day Only Work Hours For normal business hour type operations (i.e., five days per week), do records indicate shift start times no earlier than 6:00 a.m. and shift end times no later than 7:00 p.m.? (CR.CRMFM.WORKHOURS.R). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Number of Qualified Controllers Do operations include a sufficient number of qualified controllers? (CR.CRMFM.CONTROLLERNUMBERS.O). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Off Duty Hours When Limits Reached Do processes ensure that controllers are provided with at least thirty-five (35) continuous off-duty hours when limits are reached following the most recent 35-hour (minimum) off-duty rest period or is there a documented technical basis to show that the maximum limit on controller HOS is adequate to reduce the risk associated with controller fatigue? (CR.CRMFM.OFFDUTYHOURS.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Shift Holdover Does the daily HOS limit and shift holdover process conform to shift holdover guidelines or is there a documented technical basis to show that the maximum limit on controller HOS is adequate to reduce the risk associated with controller fatigue? (CR.CRMFM.SHIFTHOLDOVER.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Specific Fatigue Countermeasures During Times of Heightened Risk Do processes require specific fatigue countermeasures during applicable time periods, or is there a documented technical basis to show that the maximum limit on controller HOS is adequate to reduce the risk associated with controller fatigue? (CR.CRMFM.SPECIFICCOUNTERMEASURES.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Deviations from HOS Limits Is there a formal process for approving deviations from the maximum HOS limits? (CR.CRMFM.HOSDEVIATIONS.P). 195.446(d)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Fatigue Education Does the program require that fatigue education/training is required for all controllers and control room supervisors? (CR.CRMFM.FATIGUEEDUCATE.P). 195.446(d)(2) (195.446(d)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Review of Fatigue Education/Training Program Effectiveness Do processes require that the effectiveness of the fatigue education/training program be reviewed at least once each calendar year, not to exceed 15 months? (CR.CRMFM.FATIGUEREVIEW.P). 195.446(d)(2) (195.446(d)(3); 195.402(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

21. Fatigue Mitigation Strategies Does fatigue education address fatigue mitigation strategies (countermeasures), how off-duty activities contribute to fatigue and recognizing the effects of fatigue? (CR.CRMFM.FATIGUESTRATEGY.P). 195.446(d)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

22. Fatigue Education Is periodic fatigue education/training documented for all controllers and control room supervisors? (CR.CRMFM.FATIGUEEDUCATE.R). 195.446(d)(2) (195.446(d)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

23. Fatigue Training Content Has controller and supervisor training to recognize the effects of fatigue been documented? (CR.CRMFM.FATIGUECONTENT.R). 195.446(d)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Alarm Management

1. Alarm Procedures Is the alarm management plan a formal process that specifically identifies critical topical areas included in the program? (CR.CRMAM.ALARM.P). 195.446(e). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Alarm Malfunction Is there a process to identify and correct inaccurate or malfunctioning alarms? (CR.CRMAM.ALARMMALFUNCTION.P). 195.446(e)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Alarm Systems Does the review of safety-related alarms account for different alarm designs and all alarm types/priorities? (CR.CRMAM.ALARMREVIEW.P). 195.446(e)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Controller SCADA Performance Does the review of safety-related alarms account for console differences that could affect individual-specific controller qualification and performance? (CR.CRMAM.CONTROLLERPERFORMANCE.P). 195.446(h) (195.446(e)(1)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Managing Stale or Unreliable Data Does the review of safety-related alarms include specific procedures and practices for managing stale or unreliable data? (CR.CRMAM.STALEDATA.P). 195.446(e)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Monthly Analysis of SCADA Data Do processes require the monthly identification, recording, review, and analysis of points that have been taken off scan, have had alarms inhibited, generated false alarms, or that have had forced or manual values for periods of time exceeding that required for associated maintenance or operating activities? (CR.CRMAM.MONTHLYANALYSIS.P). 195.446(e)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Correction of SCADA Problems Does the alarm management plan include a process for promptly correcting identified problems and for returning these points to service? (CR.CRMAM.PROBLEMCORRECTION.P). 195.446(e)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Alarm Point Verification Do records verify that monthly reviews and analysis of alarm points have been performed? (CR.CRMAM.ALARMVERIFY.R). 195.446(e)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Alarm Setpoint Process Is there a formal process to determine the correct alarm setpoint values and alarm descriptions? (CR.CRMAM.ALARMSETPOINTS.P). 195.446(e)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Controls on SCADA Settings Have procedures been established to clearly address how and to what degree controllers can change alarm limits or setpoints, or inhibit alarms, or take points off-scan? (CR.CRMAM.SETTINGCONTROL.P). 195.446(e)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Verification of SCADA Settings Do processes require that any calibration or change to field instruments require verification of alarm setpoints and alarm descriptions? (CR.CRMAM.VERIFICATION.P). 195.446(e)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Alarm Value Verification Do records demonstrate verification of correct safety-related alarm set-point values and alarm descriptors when associated field instruments are calibrated or changed and at least once each calendar year, but at intervals not to exceed 15 months? (CR.CRMAM.ALARMVALUEVERIFY.R). 195.446(e)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Alarm Management Plan Review Are there processes to review the alarm management plan at least once each calendar year, but at intervals not exceeding 15 months, in order to determine the effectiveness of the plan? (CR.CRMAM.PLANREVIEW.P). 195.446(e)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Alarm Management Plan Review Do records indicate review of the alarm management plan at least once each calendar year, but at intervals not exceeding 15 months, in order to determine the effectiveness of the plan? (CR.CRMAM.PLANREVIEW.R). 195.446(e)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Measuring Work Load Does the CRM program have a means of identifying and measuring the work load (content and volume of general activity) being directed to an individual controller? (CR.CRMAM.WORKLOAD.P). 195.446(e)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Monitoring Work Load Is the process of monitoring and analyzing general activity comprehensive? (CR.CRMAM.WORKLOADMONITORING.P). 195.446(e)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Controller Reaction to Incoming Alarms Does the process have a means of determining that the controller has sufficient time to analyze and react to incoming alarms? (CR.CRMAM.CONTROLLERREACTION.P). 195.446(e)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Analysis of Controller Performance Has an analysis been performed to determine if controller(s) performance is currently adequate? (CR.CRMAM.PERFORMANCEANALYSIS.R). 195.446(e)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Alarm Deficiency Resolution Is there a process to address how deficiencies found in implementing 195.446(e)(1) through 195.446(e)(5) will be resolved? (CR.CRMAM.DEFICIENCIES.P). 195.446(e)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Alarm Management Deficiencies Do records indicate deficiencies found in implementing 195.446(e)(1) through 195.446(e)(5) have been resolved? (CR.CRMAM.DEFICIENCIES.R). 195.446(e)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Change Management

1. Meetings on CRM Changes Is there a process to mandate a control room representative will participate in meetings where changes that could directly or indirectly affect control room operations (including routine maintenance and repairs) are being considered, designed and implemented? (CR.CRMCMGT.CHANGEMEETINGS.P). 195.446(f)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Training on CRM Changes Before implementing changes, do records indicate controllers were provided with notification and training to assure their ability to safely incorporate the proposed change into operations? (CR.CRMCMGT.CHANGETRAINING.R). 195.446(f)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Emergency Contact with Control Room Is there a process requiring field personnel and SCADA support personnel to contact the control room when emergency conditions exist? (CR.CRMCMGT.EMERGENCYCONTACT.P). 195.446(f)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Change Coordination Does the process assure changes in field equipment (e.g., relocating a valve or replacing a valve) that could affect control room operations are coordinated with control room personnel? (CR.CRMCMGT.CHANGECOORDINATION.P). 195.446(f)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Change Coordination Do records indicate that changes in field equipment (e.g., relocating a valve or replacing a valve) that could affect control room operations were coordinated with control room personnel? (CR.CRMCMGT.CHANGECOORDINATION.R). 195.446(f)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Coordination of Field Changes Does the process require field personnel and SCADA support personnel to contact the control room when making field changes (e.g., operating a valve, O&M inspections/calibrations, RTU/PLC modifications) that affect control room operations? (CR.CRMCMGT.FIELDCONTACT.P). 195.446(f)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Coordination of Field Changes Do records indicate field personnel and SCADA support personnel contacted the control room when making field changes (e.g., operating a valve, O&M inspections/calibrations, RTU/PLC modifications) that affect control room operations? (CR.CRMCMGT.FIELDCHANGES.R). 195.446(f)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Operating Experience

1. Reportable Accident (Review) Is there a formal, structured approach for reviewing and critiquing reportable events to identify lessons learned? (CR.CRMEXP.REPORTABLEACCIDENTREVIEW.P). 195.446(g)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Reportable Accident (Review) Do records indicate reviews of reportable events specifically analyzed all contributing factors to determine if control room actions contributed to the event, and corrected any deficiencies? (CR.CRMEXP.REPORTABLEACCIDENTREVIEW.R). 195.446(g)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Lessons Learned Does the program require training on lessons learned from a broad range of events (reportable incidents/accidents, near misses, leaks, operational and maintenance errors, etc.), even though the control room may not have been at fault? (CR.CRMEXP.LESSONSLEARNED.P). 195.446(g)(2) (195.446(b)(5)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Lessons Learned Has operating experience review training been conducted on lessons learned from a broad range of events (reportable incidents/accidents, near misses, leaks, operational and maintenance errors, etc.)? (CR.CRMEXP.LESSONSLEARNED.R). 195.446(g)(2) (195.446(b)(5)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Training

1. Controller Training Program Has a controller training program been established to provide training for each controller to carry out their roles and responsibilities? (CR.CRMTRAIN.CONTROLLERTRAIN.P). 195.446(h). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Controller Training Program Has a controller training program been implemented to provide training for each controller to carry out their roles and responsibilities? (CR.CRMTRAIN.CONTROLLERTRAIN.R). 195.446(h). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Training Program Review Have processes been established to review the controller training program content to identify potential improvements at least once each calendar year, but at intervals not to exceed 15 months? (CR.CRMTRAIN.TRAININGREVIEW.P). 195.446(h). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Training Program Review Have processes been implemented to review the controller training program content to identify potential improvements at least once each calendar year, but at intervals not to exceed 15 months? (CR.CRMTRAIN.TRAININGREVIEW.R). 195.446(h). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Content of Training Program Does training content address all required material, including training each controller to carry out the roles and responsibilities that were defined by the operator? (CR.CRMTRAIN.TRAININGCONTENT.R). 195.446(h). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. List of AOCs for Training Has training been conducted on the abnormal operating conditions that are likely to occur simultaneously or in sequence identified by the operator? (CR.CRMTRAIN.AOCLIST.R). 195.446(h)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Controller Training and Qualification Does the training program provide controller training on recognizing and responding to abnormal operating conditions that are likely to occur simultaneously or in sequence? (CR.CRMTRAIN.TRAININGABNORMAL.P). 195.446(h)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Controller Training and Qualification Does the training program use a simulator or tabletop exercises to train controllers how to recognize and respond to abnormal operating conditions? (CR.CRMTRAIN.TRAINING.R). 195.446(h)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Controller Training and Qualification Does the training program use a simulator or tabletop exercises to train controllers how to recognize and respond to abnormal operating conditions? (CR.CRMTRAIN.TRAINING.O). 195.446(h)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Communication Training Does the CRM program train controllers on their responsibilities for communication under the operator's emergency response procedures? (CR.CRMTRAIN.COMMUNICATIONTRAINING.P). 195.446(h)(3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Working Knowledge of Pipeline System Does the training program provide controllers a working knowledge of the pipeline system, especially during the development of abnormal operating conditions? (CR.CRMTRAIN.SYSKNOWLEDGE.P). 195.446(h)(4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. List of Infrequently Used Pipeline Setups Has a list of pipeline operating setups that are periodically (but infrequently) used been established? (CR.CRMTRAIN.INFREQOPSLIST.R). 195.446(h)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Review of Procedures Prior to Use Do processes specify that, for pipeline operating set-ups that are periodically (but infrequently) used, the controllers must be provided an opportunity to review relevant procedures in advance of their use? (CR.CRMTRAIN.INFREQOPSREVIEW.P). 195.446(h)(5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Control Room Team Training - Personnel Do processes establish who, regardless of location, operationally collaborates with control room personnel? (CR.CRMTRAIN.TEAMTRAINPERSONNEL.P). 195.446(h)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Control Room Team Training - Frequency Do processes define the frequency of new and recurring team training? (CR.CRMTRAIN.TEAMTRAINFREQ.P). 195.446(h)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Control Room Team Training - Completeness Do processes address all operational modes and operational collaboration/control? (CR.CRMTRAIN.TEAMTRAINCOMPLETE.P). 195.446(h)(6) (ADB-2014-02). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Control Room Team Training - Operational Experience Do processes include incorporation of lessons learned from actual historical events and other oil-gas industry events? (CR.CRMTRAIN.TEAMTRAINEXPERIENCE.P). 195.446(h)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Control Room Team Training - Exercises Do records indicate that training exercises were adequate and involved at least one qualified controller? (CR.CRMTRAIN.TEAMTRAINEXERCISE.R). 195.446(h)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Control Room Team Training - Exercises Does implementation of a control room team exercise demonstrate performance in accordance with regulatory and process requirements? (CR.CRMTRAIN.TEAMTRAINEXERCISE.O). 195.446(h)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Control Room Team Training - Identified Individuals Do records demonstrate that individuals identified as of January 23, 2018 received team training by January 23, 2019? (CR.CRMTRAIN.TEAMTRAINIDENTINDIVIDUAL.R). 195.446(h)(6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Compliance Validation and Deviations

1. Submittal of Procedures Are there adequate processes to assure that the operator is responsive to requests from applicable agencies to submit their CRM procedures? (CR.CRMCOMP.SUBMITPROCEDURES.P). 195.446(i). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Record of Procedure Submittals Has the operator been responsive to requests from applicable agencies to submit their CRM procedures? (CR.CRMCOMP.SUBMITPROCEDURES.R). 195.446(i). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. CRM Coordinator Is there an individual that is responsible and accountable for compliance with requests from PHMSA or other applicable agencies? (CR.CRMCOMP.CRMCOORDINATOR.P). 195.446(i). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. CRM Records Management Are records management processes adequate to assure records are sufficient to demonstrate compliance with the CRM rule? (CR.CRMCOMP.RECORDS.P). 195.446(j)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. CRM Records Are records sufficient to demonstrate compliance with the CRM rule? (CR.CRMCOMP.RECORDS.R). 195.446(j)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Electronic Records Are electronic records properly stored, safeguarded, and readily retrievable? (CR.CRMCOMP.ELECTRONICRECORDS.R). 195.446(j)(1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. CRM Deviations Are there processes to demonstrate and provide a documented record that every deviation from any CRM rule requirement was necessary for safe operation? (CR.CRMCOMP.DEVIATIONS.P). 195.446(j)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Deviation Records Were all deviations documented in a way that demonstrates they were necessary for safe operation? (CR.CRMCOMP.DEVIATIONS.R). 195.446(j)(2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Leak Detection (Non-CPM)

1. Leak Detection System Evaluation of Capability Does the process adequately address the evaluation of the operators leak detection system and require modification as necessary? (CR.LD.LDEVAL.P). 195.444(a) (195.444(b); 195.452(i)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Leak Detection System Effectiveness Do the processes adequately describe that the operator has an effective system for detecting leaks? (CR.LD.LDEFFECTIVE.P). 195.402(a) (195.134(a); 195.134(b); 195.444(a); 195.444(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Requirements for LD System Evaluation of Capability Do records show that the operator evaluated the capability of its leak detection system to protect the public, property, and the environment and modified as necessary? (CR.LD.EVAL.R). 195.444(a) (195.444(b); 195.134(a); 195.134(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Leak Detection Method Do records demonstrate the operator’s leak detection system is performing within the system design requirements? (CR.LD.LDSYSTEM.R). 195.404(c) (195.134(b); 195.444(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Pipeline Controller Training Do the processes define and require that pipeline controllers are trained to recognize leaks based on the system implemented? (CR.LD.LDTRAINING.P). 195.505(h). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Pipeline Controller Training Do records show that pipeline controllers are trained to recognize leaks using the chosen leak detection method/system? (CR.LD.LDTRAINING.R). 195.507(a) (195.507(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Pipeline Controller Training Are the Pipeline Controllers trained to recognize leaks? (CR.LD.LDTRAINING.O). 195.505. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Alarm Display Do the processes define and describe the alarms appropriate for the leak detection system implemented? (CR.LD.ALARMDISPLAY.P). 195.444(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Alarm Display Are the Leak Detection alarms adequate? (CR.LD.ALARMDISPLAY.O). 195.444(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. System Testing Do the processes define and describe the testing of the Leak Detection System? (CR.LD.LDSTEST.P). 195.444(b) (195.134(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. System Testing Have leak detection system testing records and results been retained/available and indicate adequate results? (CR.LD.LDSTEST.R). 195.134(b) (195.444(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Parameter and System Changes Are parameter and/or system changes required to be reflected in the leak detection system? (CR.LD.LDSMOC.P). 195.444(b) (195.134(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Integration of Leak Detection Presentation with SCADA Are the leak detection system data, communication, and controller interfaces appropriately integrated with the SCADA displays? (CR.LD.LDSCADA.P). 195.134(b) (195.444(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Field Instrumentation Accuracy and Calibration Is the accuracy and calibration of field instrumentation used in the leak detection system appropriately assured? (CR.LD.LDSINSTRUMENT.P). 195.134(b) (195.444(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Field Instrumentation Accuracy and Calibration Do records indicate the calibration of field instrumentation used in the leak detection system was performed? (CR.LD.LDSINSTRUMENT.R). 195.444(b) (195.446(j)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. LDS Threat Protection/Security Is the Leak Detection System adequately protected from security threats? (CR.LD.LDSPROTECT.P). 195.402(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## CRM, SCADA, and Leak Detection - Leak Detection (CPM)

1. Leak Detection Measures Do records demonstrate the operator has identified, considered, or implemented CPM leak detection measures to mitigate the consequences of a pipeline failure? (CR.CPM.CPMSYS.R). 195.446(g) (195.452(i)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Output of CPM System What is the output of the CPM System? (CR.CPM.CPMOUTPUT.P). 195.402(a) (195.446(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Automatic Closed-Loop Control Response to Alarm Is automatic closed-loop control response to alarm conditions used? (CR.CPM.ALARMLOOP.P). 195.402(a) (195.446(c); 195.446(e)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Requirements for CPM Systems If Computational Pipeline Monitoring (CPM) is used, does it comply with guidance in API 1130(3rd Edition) requirements in operating, maintaining, testing, record-keeping, and dispatcher training? (CR.CPM.CPM.P). 195.402(a) (195.444(c); 195.446(b); 195.446(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Pipeline Controller Training Are the Pipeline Controllers trained in the recognition of CPM alarms? (CR.CPM.CPMTRAINING.P). 195.444(b) (195.444(c); API-1130(3rd Edition); 195.505(h)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Pipeline Controller Training Do records show that pipeline controllers are trained to recognize Leaks using the chosen leak detection method/system? (CR.CPM.CPMTRAINING.R). 195.444(b) (195.444(c); 195.505(h); API-1130(3rd Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Pipeline Controller Training Are the Pipeline Controllers trained in the recognition of CPM alarms? (CR.CPM.CPMTRAINING.O). 195.444(b) (195.444(c); API-1130(3rd Edition); 195.505(h)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Alarm Display Are alarms in compliance with Section 5.4.3 of API 1130(3rd Edition)? (CR.CPM.ALARMDISPLAY.P). 195.444(c) (API-1130(3rd Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Alarm Credibility Do alarms conform to API-1130(3rd Edition)? (CR.CPM.ALARMCRED.P). 195.444(c) (API-1130(3rd Edition); 195.134; 195.446(e)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. System Testing Does testing of the CPM System conform to API-1130(3rd Edition)? (CR.CPM.CPMSTEST.P). 195.444(c) (API-1130(3rd Edition); 195.134). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Initial System Testing Does initial testing of the CPM System conform to API-1130(3rd Edition)? (CR.CPM.CPMSTESTINITIAL.P). 195.134(c) (API-1130(3rd Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Initial System Testing Have initial system testing records and results been retained/available and indicate adequate results? (CR.CPM.CPMSTESTINITIAL.R). 195.134(c) (API-1130). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Parameter and System Changes Are parameter and/or system changes required to be reflected in the leak detection system? (CR.CPM.CPMSMOC.P). 195.444(b) (195.134; 195.444(c); API-1130(3rd Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Integration of Leak Detection Presentation with SCADA Are the CPM system data, communication, and controller interfaces appropriately integrated with the SCADA displays? (CR.CPM.CPMSCADA.P). 195.134(b) (195.134(c); 195.446(c); 195.444(b); 195.444(c); API-1130(3rd Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Field Instrumentation Accuracy and Calibration Is the accuracy and calibration of field instrumentation used in the leak detection system appropriately assured? (CR.CPM.CPMSINSTRUMENT.P). 195.444(b) (195.134(b); 195.134(c); 195.444(c); API-1130(3rd Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Field Instrumentation Accuracy and Calibration Do records indicate the calibration of field instrumentation used in the leak detection system was performed? (CR.CPM.CPMSINSTRUMENT.R). 195.444(b) (API-1130(3rd Edition); 195.444(c); 195.446(j)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. CPM Threat Protection/Security Is the CPM system adequately protected from security threats? (CR.CPM.CPMPROTECT.P). 195.402(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## NTSB Recommendations Review

1. NTSB Recommendations Review Does the operator have procedures in place for reviewing NTSB Recommendations? (GENERIC.NTSB.NTSBREVIEW.P). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. NTSB Recommendations Review Do the records verify operator conducted reviews of NTSB recommendations and implemented appropriate actions? (GENERIC.NTSB.NTSBREVIEW.R). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

Except as required to be disclosed by law, any inspection documentation, including completed protocol forms, summary reports, executive summary reports, and enforcement documentation are for internal use only by federal or state pipeline safety regulators. Some inspection documentation may contain information which the operator considers to be confidential. In addition, supplemental inspection guidance and related documents in the file library are also for internal use only by federal or state pipeline safety regulators (with the exception of documents published in the federal register, such as advisory bulletins). Do not distribute or otherwise disclose such material outside of the state or federal pipeline regulatory organizations. Requests for such information from other government organizations (including, but not limited to, NTSB, GAO, IG, or Congressional Staff) should be referred to PHMSA Headquarters Management.