Contents

Tank Design and Construction - New API 650 Tanks - Part 195 Requirements	2

Tank Design and Construction - New API 650 Tanks - Foundation Design	8

Tank Design and Construction - New API 650 Tanks - Floor Design	10

Tank Design and Construction - New API 650 Tanks - Shell Design	11

Tank Design and Construction - New API 650 Tanks - Welding & NDT	12

Tank Design and Construction - New API 650 Tanks - Appurtenances & Nozzles	17

Tank Design and Construction - New API 650 Tanks - Hydrostatic Testing	18

Tank Design and Construction - New Tank Piping - Construction	19

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Part 195 Requirements	21

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Design	23

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Fabrication	24

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Welding	25

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Inspection	27

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Hydrostatic Testing	28

Tank Design and Construction - New API 620 Tanks (Low Pressure) - Marking	29

Screening - TDC - New Breakout Tanks (API 620 Low Pressure) - Regulatory Requirements	30

Tank Design and Construction - New API 2510 Tanks (High Pressure) - Part 195 Requirements	30

Tank Design and Construction - New API 2510 Tanks (High Pressure) - Design	32

Tank Design and Construction - New API 2510 Tanks (High Pressure) - Siting	35

## HL Inspections - undefined

## Tank Design and Construction - New API 650 Tanks - Part 195 Requirements

1. New Aboveground Breakout Tank Specifications Does the process for new aboveground atmospheric breakout tanks require tank design and construction to meet the requirements of 195.132(b)(3)? (TDC.650REGS.TANKSPEC.P). 195.132(b)(3) (API Std 650 (13th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. New Aboveground Breakout Tank Specifications Do the design records and drawings indicate new aboveground atmospheric breakout tanks are designed and constructed to the specifications required by 195.132(b)(3)? (TDC.650REGS.TANKSPEC.R). 195.132(b)(3) (API Std 650 (13th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Breakout Tank CP - System Design (API RP 651) Does the process for new aboveground breakout tanks require cathodic protection system design to conform with API RP 651 (4th Edition), Sections 6.2 and 6.3, as required by 195.565? (TDC.650REGS.CPDESIGN.P). 195.565 (195.563(d); 195.132(b)(3); API RP 651 (4th Edition), Section 6.3.4; API RP 651 (4th Edition), Section 6.3.5; API RP 651 (4th Edition), Section 7.2.1; API RP 651 (4th Edition), Section 11.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Breakout Tank CP - System Design (API RP 651) Do records demonstrate new aboveground breakout tanks have cathodic protection installed as required by 195.565? (TDC.650REGS.CPDESIGN.R). 195.565 (195.404(c); 195.563(d); 195.589(a); 195.589(b); 195.589(c); API RP 651 (4th Edition), Section 6.3.4; API RP 651 (4th Edition), Section 6.3.5; API RP 651 (4th Edition), Section 7.2.1; API RP 651 (4th Edition), Section 11.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Breakout Tank CP - System Design (API RP 651) Do field observations confirm new breakout tanks have cathodic protection installed in accordance with 195.565? (TDC.650REGS.CPDESIGN.O). 195.565 (195.563(d); API RP 651 (4th Edition), Section 6.3.4; API RP 651 (4th Edition), Section 6.3.5; API RP 651 (4th Edition), Section 7.2.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Breakout Tank - Venting or Pressure/Vacuum Relief Does the process for new aboveground breakout tanks require normal / emergency (pressure/vacuum) relief venting to be provided for each tank in accordance with 195.264(d) and (e)? (TDC.650REGS.RELIEFVENT.P). 195.264(e) (195.264(d); API Std 650 (13th Edition); API Std 2000 (7th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Breakout Tank - Venting or Pressure/Vacuum Relief Do design records indicate normal / emergency (pressure/vacuum) relief venting was provided for each for new aboveground breakout tank in accordance with 195.264(d) and (e)? (TDC.650REGS.RELIEFVENT.R). 195.264(e) (195.264(d); API Std 650 (13th Edition); API Std 2000 (7th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Breakout Tank - Venting or Pressure/Vacuum Relief Do field observations confirm normal / emergency (pressure/vacuum) relief venting was provided for each for new aboveground breakout tank in accordance with 195.264(d) and (e)? (TDC.650REGS.RELIEFVENT.O). 195.264(e) (195.264(d); API Std 650 (13th Edition); API Std 2000 (7th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Breakout Tank Overfill Protection Does the new tank design require product level alarm devices to be installed to indicate a rise of the liquid in the tank to a level above the normal and overfill protection levels in accordance with 195.428(c)? (TDC.650REGS.OVERFILLPROT.P). 195.428(c) (195.402(c); 195.132(b)(3); API Recommended Practice 2350 (5th Edition), Section 4.6; API Recommended Practice 2350 (5th Edition), Section 4.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Breakout Tank Overfill Protection Do records indicate product level alarm devices were installed and set to alarm at a level above the normal and overfill protection levels in accordance with 195.428(c)? (TDC.650REGS.OVERFILLPROT.R). 195.428(c) (195.404(a); 195.404(b); 195.404(c); 195.132(b)(3); API Recommended Practice 2350 (5th Edition), Section 4.6; API Recommended Practice 2350 (5th Edition), Section 4.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Breakout Tank Overfill Protection Do field observations confirm product level alarm devices were installed and set to alarm at the design levels (level above the normal and overfill protection levels) in accordance with 195.428(c)? (TDC.650REGS.OVERFILLPROT.O). 195.428(c) (195.132(b)(3); API Recommended Practice 2350 (5th Edition), Section 4.6; API Recommended Practice 2350 (5th Edition), Section 4.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Breakout Tank Overfill Protection - Testing & Acceptance Does the design process require testing and inspection of the overfill protection system upon initial installation? (TDC.650REGS.OVERFILLTESTING.P). 195.428(c) (API Recommended Practice 2350 (5th Edition), Section 4.8.1; API Recommended Practice 2350 (5th Edition), Section 4.8.2(a); API Recommended Practice 2350 (5th Edition), Section 4.8.7; API Recommended Practice 2350 (5th Edition), Appendix H.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Breakout Tank Overfill Protection - Testing & Acceptance Do records indicate testing and inspection of the overfill protection system was performed upon initial installation? (TDC.650REGS.OVERFILLTESTING.R). 195.428(c) (API Recommended Practice 2350 (5th Edition), Section 4.8.2(a); API Recommended Practice 2350 (5th Edition), Section 4.8.7; API Recommended Practice 2350 (5th Edition), Section 4.8.1; API Std 650 (13th Edition), Appendix H.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

21. Breakout Tank Overfill Protection - Testing & Acceptance Do field observations indicate testing and inspection of the tank overfill protection system was performed? (TDC.650REGS.OVERFILLTESTING.O). 195.428(c) (API Recommended Practice 2350 (5th Edition), Section 4.8.2(a); API Std 650 (13th Edition), Appendix H.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

22. Breakout Tank Overfill Protection - SCADA Does the process require initial testing of applicable SCADA overfill protection systems for each new tank? (TDC.650REGS.OVERFILLSCADA.P). 195.446(c)(2) (195.428(d); API Recommended Practice 2350 (5th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

23. Breakout Tank Overfill Protection - SCADA Do records indicate initial testing of applicable SCADA overfill protection systems for each new tank was conducted? (TDC.650REGS.OVERFILLSCADA.R). 195.446(c)(2) (195.428(d); API Recommended Practice 2350 (5th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

24. Breakout Tank Overfill Protection - SCADA Do field observations confirm initial testing was conducted for applicable SCADA overfill protection systems for each new tank? (TDC.650REGS.OVERFILLSCADA.O). 195.446(c)(2) (195.428(d); API Recommended Practice 2350 (5th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

30. Breakout Tanks - Impoundment Does the process for new aboveground breakout tanks require impoundment(s) to meet the impoundment requirements of 195.264 in the event of tank spillage or failure? (TDC.650REGS.IMPOUNDMENT.P). 195.264(a) (195.264(b); 195.264(c); 195.264(d); 195.264(e); NFPA 30-2021). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

31. Breakout Tanks - Impoundment Do records indicate that new aboveground breakout tanks include impoundment(s) meet the requirements of 195.264 in the event of tank spillage or failure? (TDC.650REGS.IMPOUNDMENT.R). 195.264(a) (195.264(b); 195.264(c); 195.264(d); 195.264(e); NFPA 30-2021). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

32. Breakout Tanks - Impoundment Do field observations confirm that impoundment(s) for new aboveground breakout tanks were installed in accordance with the requirements of 195.264? (TDC.650REGS.IMPOUNDMENT.O). 195.264(a) (195.264(b); 195.264(c); 195.264(d); 195.264(e); NFPA 30-2021). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 650 Tanks - Foundation Design

1. Seismic Tank Design (API 650 Appendix E) For tanks located in regions that may be subject to seismic ground motion (earthquakes), does the process require adherence to API Std 650 (13th Edition), Appendix E - "Seismic Design of Storage Tanks" and a site-specific seismic study (Appendix E.4.2.1)? (TDC.650FDN.SEISMICDESIGN.P). 195.132(b)(3) (API Std 650 (13th Edition), Appendix E.1; API Std 650 (13th Edition), Appendix E.3; API Std 650 (13th Edition), Appendix E.4; API Std 650 (13th Edition), Appendix E.5; API Std 650 (13th Edition), Appendix E.6; API Std 650 (13th Edition), Appendix E.7; ASCE 7). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Seismic Tank Design (API 650 Appendix E) For tanks located in regions that may be subject to SEISMIC ground motion (earthquakes), do records (design package) indicate a site-specific seismic study was performed (Appendix E.4.2.1) and the seismic requirements of API Std 650 (13th Edition), Appendix E, are incorporated? (TDC.650FDN.SEISMICDESIGN.R). 195.132(b)(3) (API Std 650 (13th Edition), Appendix E.1; API Std 650 (13th Edition), Appendix E.3; API Std 650 (13th Edition), Appendix E.4; API Std 650 (13th Edition), Appendix E.5; API Std 650 (13th Edition), Appendix E.6; API Std 650 (13th Edition), Appendix E.7; ASCE 7). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Seismic Tank Design (API 650 Appendix E) For tanks located in regions that may be subject to SEISMIC ground motion (earthquakes), do field observations indicate that the seismic design requirements from API Std 650 (13th Edition), Appendix E, were implemented and/or installed? (TDC.650FDN.SEISMICDESIGN.O). 195.132(b)(3) (API Std 650 (13th Edition), Appendix E.1; API Std 650 (13th Edition), Appendix E.3; API Std 650 (13th Edition), Appendix E.4; API Std 650 (13th Edition), Appendix E.5; API Std 650 (13th Edition), Appendix E.6; API Std 650 (13th Edition), Appendix E.7; ASCE 7). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Foundation - General Design, Subsurface Conditions, and Ringwall Are the tank specifications complete for the proper procedure/aspect of tank foundation and ringwall design and construction? (TDC.650FDN.FDNDESIGN.P). 195.132(b)(3) (API Std 650 (13th Edition), Appendix B.1; API Std 650 (13th Edition), Appendix B.2; API Std 650 (13th Edition), Appendix B.3; API Std 650 (13th Edition), Appendix B.4; API Std 650 (13th Edition), Appendix E.7.6; API Std 650 (13th Edition), Section 5.3.1.2; API Std 650 (13th Edition), Section 5.11.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Foundation - General Design, Subsurface Conditions, and Ringwall Do field observations confirm the tank foundation and ringwall were constructed and/or installed in accordance with the design specifications? (TDC.650FDN.FDNDESIGN.O). 195.132(b)(3) (API Std 650 (13th Edition), Appendix B.2; API Std 650 (13th Edition), Appendix B.3; API Std 650 (13th Edition), Appendix B.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Foundation Design - Subsurface Conditions Do records demonstrate all of the subsurface conditions and factors that affect foundation design were investigated? (TDC.650FDN.SUBSURFACE.R). 195.132(b)(3) (API Std 650 (13th Edition), Appendix B.2.2; API Std 650 (13th Edition), Appendix B.2.3; API Std 650 (13th Edition), Appendix B.2.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Foundation Design - Subsurface Conditions Do field observations confirm the subsurface conditions and factors match the foundation design? (TDC.650FDN.SUBSURFACE.O). 195.132(b)(3) (API Std 650 (13th Edition), Appendix B.2.2; API Std 650 (13th Edition), Appendix B.2.3; API Std 650 (13th Edition), Appendix B.2.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 650 Tanks - Floor Design

1. Floor - Lap-Welded Bottom Plate Joints Does the tank floor design specify that lap-welded bottom plates and joint welding conform to API Std 650 (13th Edition), Section 5.1.5.4? (TDC.650FLOOR.BOTTOMJOINTS.P). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.1.5.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Floor - Lap-Welded Bottom Plate Joints Do records indicate that lap-welded bottom plates and joint welding conforms to the design specifications? (TDC.650FLOOR.BOTTOMJOINTS.R). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.1.5.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Floor - Lap-Welded Bottom Plate Joints Do field observations confirm that lap-welded bottom plates and joint welding conforms to the design specifications? (TDC.650FLOOR.BOTTOMJOINTS.O). 195.132(b)(3) (API 650, Section 5.1.5.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Floor - Weld Pass Restrictions Does the tank floor design specify weld pass restrictions as defined in API Std 650 (13th Edition), Section 5.1.3.6? (TDC.650FLOOR.WELDPASSRES.P). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.1.3.6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Floor - Weld Pass Restrictions Do field observations confirm weld pass restrictions were in accordance with API Std 650 (13th Edition), Section 5.1.3.6? (TDC.650FLOOR.WELDPASSRES.O). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.1.3.6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Floor - Shell-to-Bottom Fillet Welds Does the tank floor design specify that shell-to-bottom plates welding conform to API Std 650 (13th Edition), Section 5.1.5.7? (TDC.650FLOOR.SHELLBOTTOMWELDS.P). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.1.5.7). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Floor - Shell-to-Bottom Fillet Welds Do field observations confirm shell-to-bottom plates welding conforms to the design specifications? (TDC.650FLOOR.SHELLBOTTOMWELDS.O). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.1.5.7). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 650 Tanks - Shell Design

4. Shell - Plate Design Stress Does the operator's design procedures require determination of maximum allowable product design stress and maximum allowable hydrostatic test stress based on permissible plate materials in API Std 650 (13th Edition), Tables 5-2a and 5-2b? (TDC.650SHELL.PLATESTRESS.P). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.6.2.1; API Std 650 (13th Edition), Section 5.6.2.2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Shell - Plate Design Stress Do records (design package) indicate the maximum allowable product design stress and maximum allowable hydrostatic test stress meet the requirements of the design specifications? (TDC.650SHELL.PLATESTRESS.R). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.6.2.1; API Std 650 (13th Edition), Section 5.6.2.2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Shell - Course Thickness Method Do records (design package) indicate the selected course thickness method met the design requirements? (TDC.650SHELL.THICKNESSMETHOD.R). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.6.3; API Std 650 (13th Edition), Section 5.6.4; API Std 650 (13th Edition), Section 5.6.5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 650 Tanks - Welding & NDT

1. Welding - Welding Procedure Specifications Do the tank welding specifications require the erection/fabrication manufacturer to prepare welding procedure specifications that comply with ASME BPVC code section IX-2007 (and any additional provisions of API Std 650 (13th Edition))? (TDC.650WELDING.PROCEDURES.P). 195.214 (195.132(b)(3); API Std 650 (13th Edition), Section 9.2.1; API Std 650 (13th Edition), Section 7.2.1.10; API Std 650 (13th Edition), Section 5.1.5.2; ASM BPVC Section IX-2007). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Welding - Welding Procedure Specifications Do records indicate the tank erection/fabrication manufacturer prepared welding procedure specifications that comply with ASME code section IX-2007(and any additional provisions of API Std 650 (13th Edition))? (TDC.650WELDING.PROCEDURES.R). 195.214(b) (195.132(b)(3); API Std 650 (13th Edition), Section 9.2.1; API Std 650 (13th Edition), Section 7.2.1.10; API Std 650 (13th Edition), Section 5.1.5.2; API Std 650 (13th Edition), Appendix W.1.3; ASME BPVC Section IX-2007). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Welding - Welding Procedure Specifications Do field observations indicate the tank erection/fabrication manufacturer followed the welding procedure specifications (WPS)? (TDC.650WELDING.PROCEDURES.O). 195.214(a) (195.214(b); 195.132(b)(3); API Std 650 (13th Edition), Section 9.2.1; API Std 650 (13th Edition), Section 7.2.1.10; API Std 650 (13th Edition), Section 5.1.5.2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Welding - Interpretation of Weld Inspections Do the operator's procedures require the proper interpretation of each weld inspection, under 195.234(c), to ensure the acceptability of each weld under 195.228? (TDC.650WELDING.INTERPRETATION.P). 195.234(c) (195.228; 195.132(b)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Welding - Qualification of Welders Do the tank welding specifications require each welder to be qualified for welding in accordance with ASME BPVC Section IX-2007 and the welder qualification requirements of API Std 650 (13th Edition), Section 9.3? (TDC.650WELDING.WELDERQUAL.P). 195.132(b)(3) (195.222; API Std 650 (13th Edition), Section 9.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Welding - Qualification of Welders Do records indicate each welder was qualified for welding in accordance with ASME BPVC Section IX-2007 and the welder qualification requirements of API Std 650 (13th Edition), Section 9.3? (TDC.650WELDING.WELDERQUAL.R). 195.132(b)(3) (195.222; API Std 650 (13th Edition), Section 9.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Welding - Qualification of Welders Is each welder observed in the field properly qualified for welding in accordance with ASME BPVC Section IX-2007 and the welder qualification requirements of API Std 650 (13th Edition), Section 9.3? (TDC.650WELDING.WELDERQUAL.O). 195.234(c) (195.222; 195.132(b)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Welding - Welding Weather Conditions Do field observations confirm operator took appropriate measures to accommodate welding during adverse weather condition and/or cold temperatures, and specifically prohibited welding on wetted surfaces and during high winds? (TDC.650WELDING.WELDINGWEATHER.O). 195.224 (195.132(b)(3); API Std 650 (13th Edition), Section 7.2.1.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Welding - Radiographic Inspection of Shell Butt Welds Do the operator's procedures require radiographic inspection of shell butt-welds and insertions plates (i.e., tombstones) to conform with API Std 650 (13th Edition), Sections 8.1.2 and 5.7.8.11? (TDC.650WELDING.RADIOGRAPHIC.P). 195.234(b) (195.132(b)(3); API Std 650 (13th Edition), Section 8.1.1; API Std 650 (13th Edition), Section 8.1.2; API Std 650 (13th Edition), Section 5.7.8.11; API Std 650 (13th Edition), Section 9.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Welding - Radiographic Inspection of Shell Butt Welds Do records indicate radiographic inspection was conducted on required shell butt-welds, annular-plate butt-welds, and flush-type connections with butt-welds? (TDC.650WELDING.RADIOGRAPHIC.R). 195.234(b) (195.132(b)(3); API Std 650 (13th Edition), Section 8.1.1; API Std 650 (13th Edition), Section 8.1.2; API Std 650 (13th Edition), Section 5.7.8.11; API Std 650 (13th Edition), Section 9.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Welding - Non-Destructive Testing Personnel Certification Do records indicate all Non-Destructive Testing (NDT) personnel are qualified and certified by the manufacturer as meeting the required certification and/or API Std 650 (13th Edition) requirements? (TDC.650WELDING.NDTEXAMINER.R). 195.234(b) (195.132(b)(3); API Std 650 (13th Edition), Section 8.1.3.2; API Std 650 (13th Edition), Section 8.2.3; API Std 650 (13th Edition), Section 8.3.2.4; API Std 650 (13th Edition), Section 8.4.3; API Std 650 (13th Edition), Section 8.5.1; API Std 650 (13th Edition), Section 8.6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Welding - Non-Destructive Testing Personnel Certification Do field observations indicate all Non-Destructive Testing (NDT) personnel are qualified and certified by the manufacturer as meeting the required certification and/or API Std 650 (13th Edition) requirements? (TDC.650WELDING.NDTEXAMINER.O). 195.234(b) (195.132(b)(3); API Std 650 (13th Edition), Section 8.1.3.2; API Std 650 (13th Edition), Section 8.2.3; API Std 650 (13th Edition), Section 8.3.2.4; API Std 650 (13th Edition), Section 8.4.3; API Std 650 (13th Edition), Section 8.5.1; API Std 650 (13th Edition), Section 8.6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Welding - Repair of Defective Welds Do the welding specifications provide criteria for weld acceptability and weld defects that must be removed and repaired? (TDC.650WELDING.ACCEPTREPAIR.P). 195.132(b)(3) (195.230; API Std 650 (13th Edition), Section 7.4; API Std 650 (13th Edition), Section 8.1.7; API Std 650 (13th Edition), Section 8.5.2; API Std 650 (13th Edition), Section 8.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Welding - Repair of Defective Welds Do records indicate the criteria for weld acceptability and weld defects that must be removed and repaired were followed? (TDC.650WELDING.ACCEPTREPAIR.R). 195.132(b)(3) (195.230; API Std 650 (13th Edition), Section 7.4; API Std 650 (13th Edition), Section 8.1.7; API Std 650 (13th Edition), Section 8.5.2; API Std 650 (13th Edition), Section 8.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Welding - Repair of Defective Welds Do field observations of welding NDE match the criteria for weld acceptability and weld defects that must be removed and repaired? (TDC.650WELDING.ACCEPTREPAIR.O). 195.132(b)(3) (195.230; API Std 650 (13th Edition), Section 7.4; API Std 650 (13th Edition), Section 8.1.7; API Std 650 (13th Edition), Section 8.5.2; API Std 650 (13th Edition), Section 8.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Welding - Spot Radiographic Inspection Do records indicate tank shell spot radiographic inspection on a per tank basis was conducted in accordance with the radiographic specifications? (TDC.650WELDING.SPOTRADIOGRAPHS.R). 195.132(b)(3) (API Std 650 (13th Edition), Section 8.1.2.2; API Std 650 (13th Edition), Section 8.1.2.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Welding - Shell Vertical Joints Alignment Do field observations confirm shell vertical joints conform with API 650, Section 5.1.5.2(a) and (b) and Figure 5-1? (TDC.650WELDING.VERTICALJOINTS.O). 195.132(b)(3) (API 650, Section 5.1.5.2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Welding - Shell-to-Bottom Welds Examination Do field observations confirm the initial weld pass on the shell-to-bottom weld was examined for its entire circumference, both visually and using one of the approved methods in API Std 650 (13th Edition), Section 7.2.4.1? (TDC.650WELDING.SHELL2BOTTOMEXAM.O). 195.132(b)(3) (API Std 650 (13th Edition), Section 7.2.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

21. Welding - Shell Reinforcing Plate Do field observations confirm reinforcing plates were being tested to 15 psig pneumatic pressure between the tank shell and the reinforcing plate? (TDC.650WELDING.SHELLREINFORCEPLATE.O). 195.132(b)(3) (API Std 650 (13th Edition), Section 7.3.5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 650 Tanks - Appurtenances & Nozzles

2. Appurtenances - Shell Openings Do field observations confirm shell openings, manholes, and reinforcements were installed in accordance with the design specifications? (TDC.650APPURT.SHELLOPENINGS.O). 195.132(b)(3) (API Std 650 (13th Edition), Section 5.7.1; API Std 650 (13th Edition), Section 5.7.2; API Std 650 (13th Edition), Section 5.7.5.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 650 Tanks - Hydrostatic Testing

1. Hydrotesting - New Tank Shell Hydrotesting Does the process for new aboveground breakout tanks require hydrostatic leak testing of tanks in accordance with 195.307(c)? (TDC.650HYDRO.HYDROTEST.P). 195.307(c) (195.310(a); 195.310(b); 195.132(b)(3); API Std 650 (13th Edition), Section 7.3.6; API Std 650 (13th Edition), Section 7.3.7; API Std 650 (13th Edition), Appendix L.3, Line 14). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Hydrotesting - New Tank Shell Hydrotesting Do testing records indicate the new atmospheric aboveground breakout tank(s) hydrostatic leak testing was successfully conducted in accordance with 195.307(c)? (TDC.650HYDRO.HYDROTEST.R). 195.307(c) (195.310(a); 195.310(b); 195.132(b)(3); API Std 650 (13th Edition), Section 7.3.6; API Std 650 (13th Edition), Section 7.3.7; API Std 650 (13th Edition), Appendix L.3, Line 14; API Std 650 (13th Edition), Appendix W.1.5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Hydrotesting - New Tank Shell Hydrotesting Do field observations confirm atmospheric breakout tank hydrostatic leak testing was successfully conducted in accordance with 195.307 and the testing specifications? (TDC.650HYDRO.HYDROTEST.O). 195.307(c) (195.310(a); 195.310(b); 195.132(b)(3); API Std 650 (13th Edition), Section 7.3.6; API Std 650 (13th Edition), Section 7.3.7; API Std 650 (13th Edition), Appendix L.3, Line 14). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Hydrotesting - Floating Roof (EFR/IFR) Floatation Test Do field observations confirm the floating roof (internal or external) and its accessories operated without damage to the floating roof, the seal, and any tank appurtenances? (TDC.650HYDRO.FLOATINGROOF.O). 195.132(b)(3) (API Std 650 (13th Edition), Appendix C.4.3; API Std 650 (13th Edition), Appendix H.4.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Hydrotesting - Manufacturer Certification of Tank Construction IAW API 650 Do records indicate the tank manufacturer certified the completed tank was successfully constructed in accordance with API Std 650 (13th Edition) and attached a nameplate to the tank shell? (TDC.650HYDRO.TANKCERTIFIC.R). 195.132(b)(3) (API Std 650 (13th Edition), Section 10.1; API Std 650 (13th Edition), Section 10.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Hydrotesting - Manufacturer Certification of Tank Construction IAW API 650 Do observations confirm the certification nameplate was attached to the tank shell? (TDC.650HYDRO.TANKCERTIFIC.O). 195.132(b)(3) (API Std 650 (13th Edition), Section 10.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New Tank Piping - Construction

6. Breakout Tank Piping - Pressure Testing Where tank piping and/or manifolds are installed in association with new breakout tank construction, does the process require pressure testing of all piping, fittings, and components in accordance with 195.302, 195.304, and 195.305? (TDC.TKPIPING.TANKPIPINGTEST.P). 195.302(a) (195.304; 195.305(a); 195.306(a); 195.306(b); 195.306(c); 195.306(d); 195.305(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Breakout Tank Piping - Pressure Testing Where tank piping and/or manifolds are installed in association with new breakout tank construction, do records indicate all piping, fittings, and components were pressure tested in accordance with 195.302, 195.304, and 195.305? (TDC.TKPIPING.TANKPIPINGTEST.R). 195.302(a) (195.304; 195.305(a); 195.306(a); 195.306(b); 195.306(c); 195.306(d); 195.305(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Breakout Tank Piping - Pressure Testing Do field observations of tank piping and/or manifolds pressure testing confirm that all piping, fittings, and components were pressure tested in accordance with 195.302, 195.304, and 195.305? (TDC.TKPIPING.TANKPIPINGTEST.O). 195.302(a) (195.304; 195.305(a); 195.306(a); 195.306(b); 195.306(c); 195.306(d); 195.305(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Breakout Tanks - Installation & Testing of Piping Protective Devices Prior to Service Does the process require the installation and initial testing of tank piping pressure limiting devices, relief valves, pressure regulators, or other items of pressure control prior to place the aboveground breakout tank into service? (TDC.TKPIPING.PROTDEVICETEST.P). 195.428(a) (195.402(c)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Breakout Tanks - Installation & Testing of Piping Protective Devices Prior to Service Do records indicate tank piping pressure limiting devices, relief valves, pressure regulators, or other items of pressure control were installed and tested prior to placing the aboveground breakout tank into service? (TDC.TKPIPING.PROTDEVICETEST.R). 195.428(a) (195.404(c)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Breakout Tanks - Installation & Testing of Piping Protective Devices Prior to Service Do field observations confirm tank piping pressure limiting devices, relief valves, pressure regulators, or other items of pressure control were installed and tested prior to placing the aboveground breakout tank into service? (TDC.TKPIPING.PROTDEVICETEST.O). 195.428(a) (195.402(c)(3)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Part 195 Requirements

1. New Breakout Tank Specs (API 620 Tanks) Does the design specification (or design package) require the low-pressure tank design and construction to comply with currently IBR’d edition of API Std 620 (12th Edition) as required by §195.132(b)(2)? (TDC.620REGS.TANKSPEC.P). 195.132(b)(2) (195.3(b)(17); API Std 620 (12th Edition), Section 1.2.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Tank Overfill Protection - Devices Do records indicate that adequate overfill protection was installed and function tested prior to placing the tank in service? (TDC.620REGS.OVERFILLPROT.R). 195.428(c) (195.132(b)(2); API Std 2350 (5th Edition), Section 4.6; API Std 2350 (5th Edition), Section 4.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Tank Overfill Protection - SCADA Do records indicate initial testing was conducted for applicable SCADA overfill protection systems for each new tank? (TDC.620REGS.OVERFILLSCADA.R). 195.446(c)(2) (195.132(b)(2); API Std 2350 (5th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Pressure and Vacuum Relieving Devices Do records indicate adequate pressure reliefs and vacuum relief devices and liquid relief valves (if required) were installed and tested? (TDC.620REGS.PRESSUREDEVICES.R). 195.264(e)(3) (API Std 620 (12th Edition), Section 9.2; API Std 620 (12th Edition), Section 9.5; API Std 620 (12th Edition), Appendix K; API Std 620 (12th Edition), Appendix N; API Std 2000 (7th Edition), Section 5.4; API Std 2000 (7th Edition), Section 6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Impoundment, Grading, and Drainage for Tank Areas Do records (e.g., as-built drawings) verify that proper impoundment, grading, and drainage was provided around the tank? (TDC.620REGS.IMPOUNDMENT.R). 195.264(b)(1) (NFPA-30-2012, Section 22.11.1; NFPA-30-2012, Section 22.11.2; API Std 620 (12th Edition), Appendix C.2; API Std 620 (12th Edition), Appendix C.3; API Std 620 (12th Edition), Appendix C.10). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Tank CP - System Design (API RP 651) For new API 620 tanks that have cathodic protection (CP), do records demonstrate the breakout tank(s) have cathodic protection installed as required by §195.565? (TDC.620REGS.CPDESIGN.R). 195.565 (195.404(c); 195.563(d); 195.589(a); 195.589(b); 195.589(c); API RP651 (4th Edition), Section 6.3.4; API RP651 (4th Edition), Section 6.3.5; API RP651 (4th Edition), Section 7.2.1; API RP651 (4th Edition), Section 11.4; 195.563(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Design

4. Foundation Design - Soil Bearing Capacity Do records (core samples and bearing calculations) indicate the soil load bearing conditions are adequate to support the tank and maintain the levelness of the foundation? (TDC.620DESIGN.FDNBEARINGCAP.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.5.6.1; API Std 620 (12th Edition), Appendix C.2; API Std 620 (12th Edition), Appendix C.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Foundation Design Do the records indicate the tank foundation design met the requirements of API Std 620 (12th Edition), Section 6.5.6? (TDC.620DESIGN.FOUNDATION.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.5.6; API Std 620 (12th Edition), Appendix C). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Tank Course Thickness Design Do the design records verify operator selected the shell course thicknesses for each course based on the maximum product head pressure plus the design pressure of the tank? (TDC.620DESIGN.COURSETHICKNESS.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 5.3; API Std 620 (12th Edition), Section 5.4; API Std 620 (12th Edition), Section 3.1.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Tank Design Requirements (API 620, Section 5) Does the design package include the applicable requirements for design stresses and strength, design forces, loading, reinforcement, components, and appurtenances from API Std 620 (12th Edition), Sections 5.5 to 5.27? (TDC.620DESIGN.DESIGNLIST.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Fabrication

1. Workmanship in Fabrication Do field observations show fabrication workmanship is being conducted in a manner that demonstrates proper fit and finish? (TDC.620FAB.WORKMANSHIP.O). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.2; API Std 620 (12th Edition), Section 6.3; API Std 620 (12th Edition), Section 6.13; API Std 620 (12th Edition), Section 6.16). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Dimensional Tolerances - Plumbness Do field observations confirm that dimensional tolerances for tank sidewall plumbness meet the specific requirements of API Std 620 (12th Edition), section 6.5.2? (TDC.620FAB.PLUMBNESS.O). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.5.2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Dimensional Tolerances - Roundness Do field observations confirm that dimensional tolerances for roundness meet the specific requirements of API Std 620 (12th Edition), section 6.5.3? (TDC.620FAB.ROUNDNESS.O). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.5.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Dimensional Tolerances - Local Deviations Do field observations confirm that dimensional tolerances for local deviation meet the specific requirements of API Std 620 (12th Edition), section 6.5.4? (TDC.620FAB.LOCALDEVIATION.O). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.5.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Dimensional Tolerances - Fitting Attachments Do field observations confirm that dimensional tolerances for fittings attachments meet the specific requirements of API Std 620 (12th Edition), section 6.5.5? (TDC.620FAB.FITTINGATTACH.O). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.5.5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Welding

1. Welding Procedure Specifications (WPS) Do the tank welding specifications require the erection/fabrication manufacturer to prepare welding procedure specifications (WPS) that comply with ASME BPVC code section IX-2007 (and any additional provisions of API Std 620 (12th Edition), Sections 6.6 – 6.14 and 6.19)? (TDC.620WELDING.PROCEDURES.P). 195.214 (195.132(b)(2); API Std 620 (12th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Welding Procedure Specifications (WPS) Do records indicate the tank erection/fabrication manufacturer prepared welding procedure specifications (WPS) that comply with ASME code section IX-2007 (and any additional provisions of API Std 620 (12th Edition))? (TDC.620WELDING.PROCEDURES.R). 195.214(b) (195.132(b)(3); API Std 620 (12th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Welding Procedure Specifications (WPS) Do field observations indicate the tank erection/fabrication manufacturer followed the welding procedure specifications (WPS)? (TDC.620WELDING.PROCEDURES.O). 195.214 (195.132(b)(2); API Std 620 (12th Edition), Section 6.7; API Std 620 (12th Edition), Section 6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Qualification of Welders Do the tank welding specifications (or design package) require all welders assigned to manual or semi-automatic arc welding, and welding operators assigned to machine welding, to have successfully passed the tests conducted by the fabricator, or manufacturer, as prescribed for welder qualification in Section IX of the ASME BPVC-2007? (TDC.620WELDING.WELDERQUAL.P). 195.222 (195.132(b)(2); API Std 620 (12th Edition), Section 6.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Qualification of Welders Do records indicate the welders and welder operators were qualified in accordance with the Section IX-2007 of the ASME BPVC? (TDC.620WELDING.WELDERQUAL.R). 195.222 (195.132(b)(2); API Std 620 (12th Edition), Section 6.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Qualification of Welders Do field observations confirm the welders and welder operators being observed have been qualified in accordance with Section IX of the ASME BPVC-2007? (TDC.620WELDING.WELDERQUAL.O). 195.222 (195.132(b)(2); API Std 620 (12th Edition), Section 6.8). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Repair of Weld Defects Do records indicate weld defects were removed until sound metal was reached on all sides and the repaired welds retested? (TDC.620WELDING.REPAIRDEFECTS.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.15) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Inspection

1. Inspection of Materials Do records indicate that all tank materials were properly inspected and tested? (TDC.620INSP.INSPECTMATLS.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 7.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Tank Construction Inspector Qualifications Do records indicate that tank construction inspectors were properly qualified? (TDC.620INSP.INSPECTORQUAL.R). 195.204 (195.132(b)(2); API Std 620 (12th Edition), Section 7.2). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Weld Inspection Standards Do records indicate welds are inspected to ensure compliance with the requirements of §195.228 and API Std 620 (12th Edition), Section 7.15? (TDC.620INSP.WELDINSPECT.R). 195.228(a) (195.228(b); 195.234; API Std 620 (12th Edition), Section 7.15). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Weld Inspection Standards Do field observations indicate welds are inspected to ensure compliance with the requirements of §195.228 and API Std 620 (12th Edition), Section 7.15? (TDC.620INSP.WELDINSPECT.O). 195.228(a) (195.228(b); 195.234; API Std 620 (12th Edition), Section 7.15). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Repair of Weld Defects Do records indicate weld defects were removed until sound metal was reached on all sides and the repaired welds retested? (TDC.620WELDING.REPAIRDEFECTS.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 6.15) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Hydrostatic Testing

1. Hydrostatic and Pneumatic Tests Does the hydrostatic and hydrostatic-pneumatic test plan meet all requirements of API Std 620 (12th Edition), Sections 7.18 and 7.20? (TDC.620HYDRO.HYDROTEST.P). 195.307(b) (195.132(b)(2); API Std 620 (12th Edition), Section 7.18; API Std 620 (12th Edition), Section 7.20). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Hydrostatic and Pneumatic Tests Do records indicate the tank hydrostatic and hydrostatic-pneumatic test were completed properly in accordance with the test plan and API Std 620 (12th Edition), Sections 7.18 and 7.20? (TDC.620HYDRO.HYDROTEST.R). 195.310 (195.307(b); 195.132(b)(2); API Std 620 (12th Edition), Section 7.18; API Std 620 (12th Edition), Section 7.20). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Hydrostatic and Pneumatic Tests Do field observations indicate the tank hydrostatic and hydrostatic-pneumatic testing is being conducted according to the plan and is meeting all requirements? (TDC.620HYDRO.HYDROTEST.O). 195.307(b) (195.310; 195.132(b)(2); API Std 620 (12th Edition), Section 7.18; API Std 620 (12th Edition), Section 7.20). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Foundation Inspection during the Hydrostatic Test Do records indicate the tank foundation was inspected during the hydrostatic test in accordance with API Std 620 (12th Edition), Section 8.3.2? (TDC.620HYDRO.INSPECTFDN.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 8.3.2; API Std 620 (12th Edition), Appendix R.6.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 620 Tanks (Low Pressure) - Marking

1. Tank Nameplate Data Do field observations confirm that the tank nameplate was properly attached and includes the information listed in API Std 620 (12th Edition), Section 8.1? (TDC.620MARKING.NAMEPLATE.O). 195.132(b)(2) (API Std 620 (12th Edition), Section 8.1). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Tank Manufacturer's Report Upon completion of the tank, do records indicate manufacturer provided a tank report summarizing all the data on the tank, including all drawings and charts as required by API Std 620 (12th Edition), Section 8.3? (TDC.620MARKING.MANUFREPORT.R). 195.132(b)(2) (API Std 620 (12th Edition), Section 8.3; API Std 620 (12th Edition), Section 7.13; API Std 620 (12th Edition), Appendix M). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Screening - TDC - New Breakout Tanks (API 620 Low Pressure) - Regulatory Requirements

1. New Breakout Tanks (API 620 Low Pressure) Are any new low pressure (API 620) breakout tank(s) being planned/constructed? (SRN.TDC-620.TK620.S). SI; PAC; NIC; NA. Notes.

## Tank Design and Construction - New API 2510 Tanks (High Pressure) - Part 195 Requirements

1. New High Pressure Breakout Tank Specs Does the process for new aboveground high pressure breakout tanks (API 2510) require tank design and construction to meet the requirements of 195.132(b)(4)? (TDC.2510REGS.TANKSPEC.P). 195.132(b)(4) (API Std 2510 (9th Edition)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Breakout Tank Overfill Protection Does the design specification (or design package) require adequate overfill protection? (TDC.2510REGS.OVERFILLPROT.P). 195.428(c) (195.132(b)(4); API Std 2510 (9th Edition), Section 7.1.2; API Std 2510 (9th Edition), Section 7.1.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Breakout Tank Overfill Protection Do records indicate that adequate overfill protection was installed? (TDC.2510REGS.OVERFILLPROT.R). 195.428(c) (195.132(b)(4); API Std 2510 (9th Edition), Section 7.1.2; API Std 2510 (9th Edition), Section 7.1.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Breakout Tank Overfill Protection Do observations confirm overfill protective devices were installed in accordance with the design? (TDC.2510REGS.OVERFILLPROT.O). 195.428(c) (195.132(b)(4); API Std 2510 (9th Edition), Section 7.1.2; API Std 2510 (9th Edition), Section 7.1.3). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Breakout Tank Overfill Protection - SCADA Do records indicate initial testing of applicable SCADA overfill protection systems for each new tank was conducted? (TDC.2510REGS.OVERFILLSCADA.R). 195.446(c)(2) (195.132(b)(4)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Pressure Relief Devices Does the design specification (or design package) require that adequate pressure relief devices are installed and tested? (TDC.2510REGS.PRESSURERELIEFS.P). 195.264(e)(4) (195.132(b)(4); API 2510 (9th Edition), Section 7.1.6; API RP 520; API RP 521). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Pressure Relief Devices Do records indicate adequate pressure relief devices were installed and tested? (TDC.2510REGS.PRESSURERELIEFS.R). 195.264(e)(4) (195.132(b)(4); API 2510 (9th Edition), Section 7.1.6; API RP 520; API RP 521). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Pressure Relief Devices Do observations confirm pressure relief devices were installed and/or tested in accordance with the design? (TDC.2510REGS.PRESSURERELIEFS.O). 195.264(e)(4) (195.132(b)(4); API 2510 (9th Edition), Section 7.1.6; API RP 520; API RP 521). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Unauthorized Entry Protection for Tank Areas Do field observations confirm adequate protection against unauthorized entry and vandalism was provided for new breakout tank areas? (TDC.2510REGS.UNAUTHENTRY.O). 195.264(c) (195.436; 195.132(b)(4); API 2510 (9th Edition), Sections 10.12 through 10.14). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 2510 Tanks (High Pressure) - Design

1. Tank Design Specifications Does the design specification (or design package) require the high pressure tank design and construction to comply with currently IBR’d edition of API 2510 (9th Edition) as required by §195.132(b)(4)? (TDC.2510DESIGN.TANKDESIGN.P). 195.132(b)(4) (API Std 2510 (9th Edition), Section 4.1.1; ASME BPVC, Section VIII). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Tank Design Specifications Do the design records and drawings indicate the tank meets the requirements of the ASME Boiler and Pressure Vessel Code, Section VIII, Division 1 or 2, as required by API 2510 (9th Edition), Section 4.1.1? (TDC.2510DESIGN.TANKDESIGN.R). 195.132(b)(4) (API Std 2510 (9th Edition), Section 4.1.1; ASME BPVC, Section VIII). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Tank Design Pressure & Temperature Does the design specification (or design package) require the tank to be designed to safely hold the product? (TDC.2510DESIGN.DESIGNLIMITS.P). 195.132(b)(4) (195.132(a); API Std 2510 (9th Edition), Section 4.2.1; API Std 2510 (9th Edition), Section 4.2.2; API Std 2510 (9th Edition), Section 4.3; API Std 2510 (9th Edition), Section 4.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Foundations, Supports, and Related Piping Does the design of tank foundations, supports, and related piping meet the requirements of API 2510 (9th Edition), Section 6? (TDC.2510DESIGN.FDNSUPPORTS.P). 195.132(b)(4) (API Std 2510 (9th Edition), Section 6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Foundations, Supports, and Related Piping Do field observations confirm tank foundations, supports, and related piping meet the requirements of API 2510 (9th Edition), Section 6? (TDC.2510DESIGN.FDNSUPPORTS.O). 195.132(b)(4) (API Std 2510 (9th Edition), Section 6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Shutoff Valves Does the design specification (or design package) require shutoff valves to be provided for all tank connections? (TDC.2510DESIGN.SHUTOFFVALVES.P). 195.132(b)(4) (API Std 2510 (9th Edition), Section 7.1.7; API Std 2510 (9th Edition), Section 8.6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Shutoff Valves Do field observations verify shutoff valves were provided for all tank connections? (TDC.2510DESIGN.SHUTOFFVALVES.O). 195.132(b)(4) (API Std 2510 (9th Edition), Section 7.1.7; API Std 2510 (9th Edition), Section 8.6). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Fire Protection System Does the design specification (or design package) require the fire control equipment to meet the requirements of API 2510 (9th Edition), Section 10? (TDC.2510DESIGN.FIREPROT.P). 195.132(b)(4) (195.434; API Std 2510 (9th Edition), Section 10; API Publ 2510A). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Fire Protection System Do field observations verify fire control equipment was installed and meets the requirements of API 2510 (9th Edition), Section 10? (TDC.2510DESIGN.FIREPROT.O). 195.132(b)(4) (195.434; API Std 2510 (9th Edition), Section 10; API Publ 2510A). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Tank Design Observations Do field observations confirm the observed tank design parameters were correctly applied to the tank construction? (TDC.2510DESIGN.DESIGNOBS.O). 195.132(b)(4) (API Std 2510 (9th Edition); ASME BPVC, Section VIII). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New API 2510 Tanks (High Pressure) - Siting

1. Siting Factors for Safety Does the design specification (or design package) require siting of the tank to minimize fire or explosion risk to adjacent property, as required by API 2510 (9th Edition), Section 5.1? (TDC.2510SITING.SITINGSAFETY.P). 195.132(b)(4) (API Std 2510 (9th Edition), Section 5.1; API Std 2510 (9th Edition), Section 10.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Siting Factors for Safety Do field observations confirm placement (or planned siting) of the tank conforms to the requirements of API 2510 (9th Edition), Section 5.1? (TDC.2510SITING.SITINGSAFETY.O). 195.132(b)(4) (API Std 2510 (9th Edition), Section 5.1; API Std 2510 (9th Edition), Section 10.4). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Impoundment, Grading, and Drainage Do the records (e.g., as-built drawings) indicate proper impoundment and drainage was provided around the tank? (TDC.2510SITING.IMPOUNDMENT .R). 195.132(b)(4) (API Std 2510 (9th Edition), Section 5.2; API Std 2510 (9th Edition), Section 5.3; API Std 2510 (9th Edition), Section 5.4; API Std 2510 (9th Edition), Section 5.5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Impoundment, Grading, and Drainage Do field observations confirm adequate impoundment and drainage was provided around the tank? (TDC.2510SITING.IMPOUNDMENT.O). 195.132(b)(4) (API Std 2510 (9th Edition), Section 5.2; API Std 2510 (9th Edition), Section 5.3; API Std 2510 (9th Edition), Section 5.4; API Std 2510 (9th Edition), Section 5.5). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

Except as required to be disclosed by law, any inspection documentation, including completed protocol forms, summary reports, executive summary reports, and enforcement documentation are for internal use only by federal or state pipeline safety regulators. Some inspection documentation may contain information which the operator considers to be confidential. In addition, supplemental inspection guidance and related documents in the file library are also for internal use only by federal or state pipeline safety regulators (with the exception of documents published in the federal register, such as advisory bulletins). Do not distribute or otherwise disclose such material outside of the state or federal pipeline regulatory organizations. Requests for such information from other government organizations (including, but not limited to, NTSB, GAO, IG, or Congressional Staff) should be referred to PHMSA Headquarters Management.