Contents

Design and Construction - Plastic Pipe Construction	2

Training and Qualification - OQ Protocol 9	3

Training and Qualification - Qualification of Personnel - Specific Requirements (O and M Construction)	4

### CNG GD Demo – OQ Form 15

### Design and Construction - Plastic Pipe Construction

47. Qualification of Personnel Making Joints in Plastic Pipelines Does the process require personnel making joints in plastic pipelines be qualified? (TQ.QUOMCONST.PLASTIC.P). 192.285(a) (192.285(d); 192.805(b); 192.285(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

48. Qualification of Personnel Inspecting Joints in Plastic Pipelines Does the process require that persons who inspect joints in plastic pipes be qualified? (TQ.QUOMCONST.PLASTICINSPECT.P). 192.287 (192.805(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

49. Qualification of Personnel Making Joints in Plastic Pipelines Do records indicate adequate qualification of personnel making/inspecting joints in plastic pipelines? (TQ.QUOMCONST.PLASTIC.R). 192.285(a) (192.285(d); 192.287; 192.807(a); 192.807(b); 192.285(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

50. Qualification of Personnel Making Joints in Plastic Pipelines Do field observations verify personnel making/inspecting joints in plastic pipelines demonstrate adequate skills and knowledge? (TQ.QUOMCONST.PLASTIC.O). 192.285(a) (192.287; 192.803) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

### Training and Qualification - OQ Protocol 9

1. Program Inspection Deficiencies Have potential issues identified by the OQ plan inspection process been corrected at the operational level? (TQ.PROT9.CORRECTION.O). 192.801(a) (192.809(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Covered Task Performance Verify the qualified individuals performed the observed covered tasks in accordance with the operator's procedures or operator approved contractor procedures. (TQ.PROT9.TASKPERFORMANCE.O). 192.801(a) (192.809(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Qualification Status Verify the individuals performing the observed covered tasks are currently qualified to perform the covered tasks. (TQ.PROT9.QUALIFICATIONSTATUS.O). 192.801(a) (192.809(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Abnormal Operating Condition Recognition and Reaction Verify the individuals performing covered tasks are cognizant of the AOCs that are applicable to the tasks observed. (TQ.PROT9.AOCRECOG.O). 192.801(a) (192.809(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Verification of Qualification Observe in the field (job site, local office, etc.) that the foreman/supervisor/manager has verified the qualification of the individual performing the task, that the qualification records are current, and ensure the personal identification of all individuals performing covered tasks are checked, prior to task performance. (TQ.PROT9.VERIFYQUAL.O). 192.801(a) (192.809(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

### Training and Qualification - Qualification of Personnel - Specific Requirements (O and M Construction)

5. Qualification of Personnel Making Joints in Plastic Pipelines Does the process require personnel making joints in plastic pipelines be qualified? (TQ.QUOMCONST.PLASTIC.P). 192.285(a) (192.285(d); 192.805(b); 192.285(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Qualification of Personnel Inspecting Joints in Plastic Pipelines Does the process require that persons who inspect joints in plastic pipes be qualified? (TQ.QUOMCONST.PLASTICINSPECT.P). 192.287 (192.805(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Qualification of Personnel Making Joints in Plastic Pipelines Do records indicate adequate qualification of personnel making/inspecting joints in plastic pipelines? (TQ.QUOMCONST.PLASTIC.R). 192.285(a) (192.285(d); 192.287; 192.807(a); 192.807(b); 192.285(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Qualification of Personnel Making Joints in Plastic Pipelines Do field observations verify personnel making/inspecting joints in plastic pipelines demonstrate adequate skills and knowledge? (TQ.QUOMCONST.PLASTIC.O). 192.285(a) (192.287; 192.803) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

Except as required to be disclosed by law, any inspection documentation, including completed protocol forms, summary reports, executive summary reports, and enforcement documentation are for internal use only by federal or state pipeline safety regulators. Some inspection documentation may contain information which the operator considers to be confidential. In addition, supplemental inspection guidance and related documents in the file library are also for internal use only by federal or state pipeline safety regulators (with the exception of documents published in the federal register, such as advisory bulletins). Do not distribute or otherwise disclose such material outside of the state or federal pipeline regulatory organizations. Requests for such information from other government organizations (including, but not limited to, NTSB, GAO, IG, or Congressional Staff) should be referred to PHMSA Headquarters Management.