Contents

Design and Construction - Biofuels	1

Design and Construction - Construction	3

Design and Construction - Construction Weld Inspection	14

Design and Construction - Construction Welder Qualification	18

Design and Construction - Construction Welding Procedures	19

Design and Construction - Design	22

Design and Construction - Pressure Testing	30

Design and Construction - Training and Qualification	31

Tank Design and Construction - New Tank Piping - Construction	32

Tank Design and Construction - New Tank Piping - Construction Welding Procedures (Re-Presented)	32

Tank Design and Construction - New Tank Piping - Construction Welder Qualification (Re-Presented)	35

Tank Design and Construction - New Tank Piping - Construction Weld Inspection (Re-Presented)	36

Time-Dependent Threats - External Corrosion - Cathodic Protection	40

Time-Dependent Threats - External Corrosion - Cathodic Protection Monitoring	40

Time-Dependent Threats - External Corrosion - Coatings	41

Training and Qualification - OQ Protocol 9	42

## HL Inspections - undefined

## Design and Construction - Biofuels

1. Chemical Compatibility - Special Considerations Do records verify determination that the product to be transported (hazardous liquids, CO2, biofuels) is chemically compatible with the pipeline, its components, and other commodities? (DC.DN.CHEMCOMPATIBLE.R). 195.4 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Biofuel Special Considerations - Design Requirements Does the process require certain Subpart C design requirements relating to biofuel transport be addressed? (DC.DN.DESIGN.P). 195.100 (195.116(c); 195.126; 195.118(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Biofuel Special Considerations - Design Requirements Do records indicate that certain Subpart C design requirements relating to biofuel transport have been addressed? (DC.DN.DESIGN.R). 195.100 (195.116(c); 195.126; 195.118(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Biofuel Special Considerations - Construction Requirements Do records indicate certain Subpart D construction requirements relating to biofuel transport have been addressed? (DC.DN.CONSTRUCT.R). 195.200 (195.260(c); 195.262(e)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Qualifying Metallic Components Other Than Pipe Do records indicate metallic components other than pipe have been qualified for use? (DC.DN.METALLIC.R). 195.101(a) (195.101(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Valve Specifications - Ethanol Compatibility Do records indicate pipeline system valves meet the compatibility requirements of 195.116(c)? (DC.DN.VALVEBIOFUELS.R). 195.116(c) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Construction

1. Written Construction Specifications or Standards Does the operator have written construction specifications or standards as required of 195.202? (DC.CO.SPECS.P). 195.202. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Written Construction Specifications or Standards Do the operator's written records demonstrate compliance with their written specifications or as required by 195.202? (DC.CO.SPECS.R). 195.202. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Written Construction Specifications or Standards Do observations validate operator compliance with specifications or standards? (DC.CO.SPECS.O). 195.202. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Material Inspection Does the process specify that prior to installation, pipe and components are visually inspected at the site of installation to ensure they are not damaged? (DC.CO.INSPECTION.P). 195.202 (195.206). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Material Inspection Prior to installation, are pipe and components visually inspected at the site of installation to ensure they are not damaged? (DC.CO.INSPECTION.O). 195.206. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Transportation of Pipe by Truck Does the operator have specifications requiring that TRUCK transportation for certain pipe (see considerations) is in accordance with §195.207(c) and API RP 5LT(1st Edition) ? (DC.CO.TRUCKTRANSPORT.P). 195.202 (195.207(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Transportation of Pipe by Truck Does the operator have records showing that truck transportation for certain pipe (see considerations) is in accordance with §195.207(c) and API RP 5LT(1st Edition)? (DC.CO.TRUCKTRANSPORT.R). 195.207(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Transportation of Pipe by Truck Do field observations confirm that the operator has performed truck transportation for certain pipe (see considerations) in accordance with §195.207(c) and API RP 5LT(1st Edition)? (DC.CO.TRUCKTRANSPORT.O). 195.207(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Transportation of Pipe by Rail Does the operator have specifications requiring that Railroad transportation for certain pipe (see considerations) is in accordance with §195.207(a) and API RP 5L1(7th Edition)? (DC.CO.RAILTRANSPORT.P). 195.202 (195.207(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Transportation of Pipe by Rail Does the operator have records showing that Railroad transportation for certain pipe (see considerations) is in accordance with §195.207(a) and API RP 5L1(7th Edition)? (DC.CO.RAILTRANSPORT.R). 195.207(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Transportation of Pipe by Rail Do field observations confirm that Railroad transportation for certain pipe (see considerations) was in accordance with §195.207(a) and API RP 5L1(7th Edition)? (DC.CO.RAILTRANSPORT.O). 195.207(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Transportation of Pipe by Ship or Barge Does the operator have specifications requiring that Ship or Barge transportation for certain pipe (see considerations) is in accordance with §195.207(b) and API RP 5LW(3rd Edition)? (DC.CO.SHIPBARGETRANSPORT.P). 195.202 (195.207(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Transportation of Pipe by Ship or Barge Does the operator have records showing that Ship or Barge transportation for certain pipe (see considerations) is in accordance with §195.207(b) and API RP 5LW(3rd Edition)? (DC.CO.SHIPBARGETRANSPORT.R). 195.207(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Transportation of Pipe by Ship or Barge Do field observations confirm that the operator has used Ship or Barge transportation for certain pipe (see considerations) in accordance with §195.207(b) and API RP 5LW(3rd Edition)? (DC.CO.SHIPBARGETRANSPORT.O). 195.207(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Pipeline Location Does the process specify the required pipeline location (and any additional depth of cover requirements)? (DC.CO.LOCATION.P). 195.202 (195.210(a); 195.210(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. Pipeline Location Do records indicate the required pipeline location (and any additional depth of cover requirements)? (DC.CO.LOCATION.R). 195.210(a) (195.210(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. Pipeline Location Do observed pipeline locations (and any additional depth of cover) comply with 195.210? (DC.CO.LOCATION.O). 195.210(a) (195.210(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Pipe Installation Does the process require that pipe is installed in a manner that minimizes secondary stresses and the possibility of damage to the pipe and coating? (DC.CO.INSTALL.P). 195.202 (195.246(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Pipe Installation Do records demonstrate that pipe is installed in a manner that minimizes secondary stresses and the possibility of damage to the pipe and coating? (DC.CO.INSTALL.R). 195.202 (195.246(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Pipe Installation Is pipe installed in a manner that minimizes secondary stresses and minimizes possibility of damage to pipe and coating? (DC.CO.INSTALL.O). 195.246(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

23. Cover Over Buried Pipeline Does the process specify that piping is installed with a depth of cover as specified in 195.248? (DC.CO.COVER.P). 195.202 (195.248(a); 195.248(b); 195.210(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

24. Cover Over Buried Pipeline Do records indicate that piping is installed with a depth of cover as specified in 195.248? (DC.CO.COVER.R). 195.266(b) (195.248(a); 195.248(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

25. Cover Over Buried Pipeline Do field observations confirm piping is installed with a depth of cover as specified in 195.248? (DC.CO.COVER.O). 195.248(a) (195.248(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

29. Valve Accessibility Does the process specify that valves are accessible to authorized employees and protected from damage or tampering? (DC.CO.VALVEPROTECT.P). 195.258(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

30. Valve Accessibility Do records indicate that valves were constructed to provide adequate accessibility and space for authorized employees and protected from damage or tampering? (DC.CO.VALVEPROTECT.R). 195.266(f) (195.258(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

31. Valve Accessibility Are valves accessible to authorized employees and protected from damage or tampering? (DC.CO.VALVEPROTECT.O). 195.258(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

32. Submerged Valve Marking - Offshore Does the process specify that offshore submerged valves are located or marked in order to facilitate quick location when operation of the valve is required? (DC.CO.VALVEMARKOFFSHORE.P). 195.202 (195.258(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

33. Submerged Valve Marking - Offshore Are offshore submerged valves located or marked in order to facilitate quick location when operation of the valve is required? (DC.CO.VALVEMARKOFFSHORE.R). 195.266(f) (195.258(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

34. Submerged Valve Marking - Inland Navigable Waters Do written specifications or standards and drawings specify that submerged valves located in inland navigable waters are located or marked in order to facilitate quick location when operation of the valve is required? (DC.CO.VALVEMARKNAVWATER.P). 195.202 (195.258(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

35. Submerged Valve Marking - Inland Navigable Waters Are submerged valves located in inland navigable waters located or marked in order to facilitate quick location when operation of the valve is required? (DC.CO.VALVEMARKNAVWATER.O). 195.258(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

36. Valve Locations Do written specifications or standards specify valves to be located as required? (DC.CO.VALVELOCATION.P). 195.202 (195.260(a); 195.260(b); 195.260(c); 195.260(d); 195.260(e); 195.260(f); 195.260(g)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

37. Valve Locations Do records indicate that valves are located as specified by §195.260? (DC.CO.VALVELOCATION.R). 195.266(f) (195.260(a); 195.260(b); 195.260(c); 195.260(d); 195.260(e); 195.260(f); 195.260(g)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

38. Valve Locations Do field observations verify valves are located as specified by §195.260? (DC.CO.VALVELOCATION.O). 195.260(a) (195.260(b); 195.260(c); 195.260(d); 195.260(e); 195.260(f); 195.260(g)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

39. Bending of Pipe. Does the construction process meet the requirements of 195.212 for bending pipe? (DC.CO.FIELDBEND.P). 195.202 (195.212(a); 195.212(b); 195.212(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

40. Bending of Pipe. Does pipe bending meet the requirements of 195.212? (DC.CO.FIELDBEND.O). 195.212(a) (195.212(b); 195.212(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

41. Construction Records Does the process require applicable construction records to be maintained for the life of each pipeline? (DC.CO.RECORDS.P). 195.202 (195.266(a); 195.266(b); 195.266(c); 195.266(d); 195.266(e); 195.266(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

42. Construction Records Do records indicate that construction records are being maintained for the life of each pipeline? (DC.CO.RECORDS.R). 195.266(a) (195.266(b); 195.266(c); 195.266(d); 195.266(e); 195.266(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

43. Clearance Between Pipe and Underground Structures Does clearance requirements between pipe and underground structures comply with 195.250? (DC.CO.CLEAR.P). 195.202 (195.250). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

44. Clearance Between Pipe and Underground Structures Do records demonstrate that clearance requirements between pipe and underground structures comply with 195.250? (DC.CO.CLEAR.R). 195.202 (195.250). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

45. Clearance Between Pipe and Underground Structures Does clearance between pipe and underground structures comply with 195.250? (DC.CO.CLEAR.O). 195.250. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

46. Backfilling Is backfilling required to be performed in a manner that provides firm support and does not damage the pipe and coating? (DC.CO.BACKFILL.P). 195.202 (195.252(a); 195.252(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

47. Backfilling Do records demonstrate that backfilling is required to be performed in a manner that provides firm support and does not damage the pipe and coating? (DC.CO.BACKFILL.R). 195.202 (195.252). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

48. Backfilling Is backfilling performed in a manner that provides firm support and does not damage the pipe and coating? (DC.CO.BACKFILL.O). 195.252(a) (195.252(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

49. Crossing of Railroads and Highways Is pipe at railroad and highway crossings required to be installed to adequately withstand dynamic forces exerted by anticipated traffic loads? (DC.CO.EXTLOADXINGS.P). 195.202 (195.256). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

50. Crossing of Railroads and Highways Do records indicate pipe at selected railroad and highway crossings was installed to adequately withstand dynamic forces exerted by anticipated traffic loads? (DC.CO.EXTLOADXINGS.R). 195.266(b) (195.256). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

51. Crossing of Railroads and Highways Do field observations verify pipe being installed at railroad and highway crossings is adequate to withstand dynamic forces exerted by anticipated traffic loads? (DC.CO.EXTLOADXINGS.O). 195.202 (195.256). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

52. ASV Flow Modeling Do the operator’s procedures adequately describe and require flow modeling for ASVs? (DC.CO.ASVFLOWMODEL.P). 195.202 (195.419(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

53. ASV Flow Modeling Do the records demonstrate the flow modeling was conducted as required in accordance with §195.419? (DC.CO.ASVFLOWMODEL.R). 195.202 (195.419(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

54. RMV Installation Requirements within HCAs Do the operator’s specifications require RMVs or AETs located in could affect or HCA areas to be installed to meet the appropriate valve spacing requirements? (DC.CO.RMVINSTALLHCA.P). 195.202 (195.258(c); 195.258(d); 195.258(e); 195.419). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

55. RMV Installation Requirements within HCAs Do records demonstrate RMVs or AETs were located in could affect or HCA areas to meet the appropriate valve spacing requirements? (DC.CO.RMVINSTALLHCA.R). 195.202 (195.258(c); 195.258(d); 195.258(e); 195.419). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

56. RMV Installation Requirements Do the operator’s specifications require RMVs or AETs to be installed to meet the appropriate valve spacing requirements? (DC.CO.RMVINSTALL.P). 195.202 (195.258(c); 195.258(d); 195.258(e); 195.419). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

57. RMV Installation Requirements Do the records demonstrate RMVs or AETs were installed to meet the appropriate valve spacing requirements? (DC.CO.RMVINSTALL.R). 195.266(f) (195.258(c); 195.258(d); 195.258(e); 195.419). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

58. RMV Installation Requirements Do field observations verify that RMVs or alternative equivalent technologies were installed to meet the appropriate valve spacing requirements? (DC.CO.RMVINSTALL.O). 195.202 (195.258(c); 195.258(d); 195.258(e); 195.419). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Construction Weld Inspection

1. Weld Inspection Standards Are welds required to be inspected to ensure compliance with the requirements of 195.228? (DC.WELDINSP.WELDINSPECT.P). 195.228(a) (195.228(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Weld Inspection Standards Do records indicate welds are inspected to ensure compliance with the requirements of 195.228? (DC.WELDINSP.WELDINSPECT.R). 195.228(a) (195.228(b); 195.234) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Weld Inspection Standards Are welds being inspected to ensure compliance with the requirements of 195.228? (DC.WELDINSP.WELDINSPECT.O). 195.228(a) (195.228(b); 195.234) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Repair or Removal of Weld Defects Are welds that are unacceptable required to be removed and/or repaired as specified by 195.230 and are repair procedures in place? (DC.WELDINSP.WELDREPAIR.P). 195.202 (195.230(a); 195.230(b); 195.230(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Repair or Removal of Weld Defects Do records indicate that unacceptable welds are removed and/or repaired? (DC.WELDINSP.WELDREPAIR.R). 195.230(a) (195.230(b); 195.230(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Repair or Removal of Weld Defects Are unacceptable welds being removed and/or repaired? (DC.WELDINSP.WELDREPAIR.O). 195.230(a) (195.230(b); 195.230(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Nondestructive Test and Interpretation Procedures Are there processes for nondestructive testing and for determining standards of acceptability? (DC.WELDINSP.WELDNDT.P). 195.234(a) (195.234(b); 195.234(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Nondestructive Test and Interpretation Procedures Do records indicate adequate nondestructive testing and determination of standards of acceptability? (DC.WELDINSP.WELDNDT.R). 195.234(a) (195.234(b); 195.234(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Nondestructive Test and Interpretation Procedures Are NDT activities performed in accordance with approved processes? (DC.WELDINSP.WELDNDT.O). 195.234(a) (195.234(b); 195.234(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Nondestructive Testing of Girth Welds Does the process require certain girth welds to be nondestructively tested in accordance with 195.234(d), (e), (f), and (g)? (DC.WELDINSP.GIRTHWELDNDT.P). 195.202 (195.234(d); 195.234(e); 195.234(f); 195.234(g); 195.266) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Nondestructive Testing of Girth Welds Do records demonstrate at least 10% of all welds that are made by each welder during each welding day are nondestructively tested over the entire circumference of the welds or that more welds are tested per the operator's own procedures? (DC.WELDINSP.GIRTHWELDNDT.R). 195.234(d) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Nondestructive Testing of Girth Welds - Locations Do records demonstrate all girth welds installed each day in selected locations specified in 195.234(e) are nondestructively tested over their entire circumference? (DC.WELDINSP.GIRTHWELDNDTLOCATE.R). 195.234(e) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Nondestructive Testing of Girth Welds - Used Pipe Do records demonstrate that when installing used pipe, 100% of the old girth welds are nondestructively tested? (DC.WELDINSP.GIRTHWELDNDTUSED.R). 195.234(f) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Nondestructive Testing of Girth Welds - Pipe Tie-Ins Do records demonstrate 100% of the girth welds have been nondestructively tested at selected pipe tie-ins? (DC.WELDINSP.GIRTHWELDNDTTIEIN.R). 195.234(g) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Construction Welder Qualification

1. Qualification of Welders Is each welder required to be qualified in accordance with section 6 of API 1104 (21st Edition)or section IX of the ASME Boiler and Pressure Vessel Code (2007)? (DC.WELDERQUAL.WELDERQUAL.P). 195.222(a) (195.222(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Qualification of Welders Do records indicate that welders are qualified in accordance with API-Std-1104 (21st Edition) or the ASME Boiler & Pressure Vessel Code (2007)? (DC.WELDERQUAL.WELDERQUAL.R). 195.222(a) (195.222(b); 195.214(a); API-1104 Section 6; ASME Boiler & Pressure Vessel Code Section IX) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Qualification of Welders - Skills and Knowledge Are welders performing welds according to established procedures? (DC.WELDERQUAL.WELDERQUAL.O). 195.222(a) (195.222(b); 195.214(a); 195.505(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Construction Welding Procedures

1. Welding of Supports and Braces Does the procedure prohibit supports or braces to be welded directly to pipe that operates at a pressure greater than 100 psi (689 kPa) gage? (DC.WELDPROCEDURE.WELDSUPPORT.P). 195.202 (195.208) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Welding of Supports and Braces Are supports or braces observed to be welded directly to pipe that operates at a pressure greater than 100 psi (689 kPa) gauge? (DC.WELDPROCEDURE.WELDSUPPORT.O). 195.208 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Welding Procedures - Record of Qualifying Tests Are welding procedures and qualifying tests required to be recorded in detail? (DC.WELDPROCEDURE.WELDPROCEDURE.P). 195.214(b) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Welding Procedures - Record of Qualifying Tests Do records indicate welding procedures and qualifying tests recorded in detail? (DC.WELDPROCEDURE.WELDPROCEDURE.R). 195.214(b) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Welding Procedures - Record of Qualifying Tests Are welding procedures being retained and followed? (DC.WELDPROCEDURE.WELDPROCEDURE.O). 195.214(b) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Welding Weather Is welding required to be protected from weather conditions that would impair the quality of the completed weld? (DC.WELDPROCEDURE.WELDWEATHER.P). 195.224 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Welding Weather Is welding protected from weather conditions that would impair the quality of the completed weld? (DC.WELDPROCEDURE.WELDWEATHER.O). 195.224 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Arc Burns and Ground Wires Does the process address arc burns and ground wires in accordance with 195.226? (DC.WELDPROCEDURE.ARCBURNGRNDWIRE.P). 195.202 (195.226(a); 195.226(b); 195.226(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Arc Burns and Ground Wires Do records indicate arc burns and ground wires are addressed in accordance with 195.226? (DC.WELDPROCEDURE.ARCBURNGRNDWIRE.R). 195.226(a) (195.226(b); 195.226(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Arc Burns and Ground Wires Are arc burns and ground wires addressed in accordance with 195.226? (DC.WELDPROCEDURE.ARCBURNGRNDWIRE.O). 195.226(a) (195.226(b); 195.226(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Design

1. Design Temperature: CO2 Facilities Does the process require that carbon dioxide system components subject to low temperatures are made of materials that are suitable for those low temperatures? (DC.DN.TEMPDESIGNCO2.P). 195.102(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Design Temperature: CO2 Facilities Do records indicate carbon dioxide system components subject to low temperatures are made of materials that are suitable for those low temperatures? (DC.DN.TEMPDESIGNCO2.R). 195.102(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Lower Pressure Components Do records indicate the system is designed so that the lowest pressure rated component will not be overstressed at the pipeline MOP? (DC.DN.OVERPRESS.R). 195.104. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Lower Pressure Components Are the lowest pressure rated components operating below overstress pressures? (DC.DN.OVERPRESS.O). 195.104. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Pipe Internal Design Pressure Does the process require the internal design pressure of the pipeline (or pipe) be determined in accordance with 195.106? (DC.DN.DESIGNPRESS.P). 195.106(a) (195.106(b); 195.106(c); 195.106(d); 195.106(e)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Pipe Internal Design Pressure Do records demonstrate the internal design pressure of the pipeline (or pipe) is determined in accordance with 195.106? (DC.DN.DESIGNPRESS.R). 195.106(a) (195.106(b); 195.106(c); 195.106(d); 195.106(e)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. External Pressures Do records indicate the system is designed such that all external pressure that will be exerted on the pipe have been accounted for? (DC.DN.EXTERNALPRESS.R). 195.108. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. External Pressures Have all external pressures exerted on the pipe been accounted for? (DC.DN.EXTERNALPRESS.O). 195.108. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Anticipated External Loads Does the process require pipeline designs to account for anticipated external loads? (DC.DN.EXTLOAD.P). 195.110(a) (195.110(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Anticipated External Loads Do records demonstrate pipeline designs account for anticipated external loads? (DC.DN.EXTLOAD.R). 195.110(a) (195.110(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Anticipated External Loads Do field observations verify pipeline designs account for anticipated external loads? (DC.DN.EXTLOAD.O). 195.110(a) (195.110(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Fracture Propagation CO2 Pipelines Does the process require provisions to mitigate the effects of fracture propagation in carbon dioxide pipeline systems? (DC.DN.CO2FRACPROP.P). 195.111. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Fracture Propagation CO2 Pipelines Do records indicate provisions to mitigate the effects of fracture propagation in carbon dioxide pipeline systems? (DC.DN.CO2FRACPROP.R). 195.111. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Fracture Propagation CO2 Pipelines Do observations on the right-of-way support that the CO2 pipeline design is being followed? (DC.DN.CO2FRACPROP.O). 195.111. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. New Pipe Does the process require that new pipe installed in a pipeline system comply with 195.112? (DC.DN.NEWPIPE.P). 195.112(a) (195.112(b); 195.112(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

16. New Pipe Do records demonstrate new pipe installed in a pipeline system complies with §195.112? (DC.DN.NEWPIPE.R). 195.112(a) (195.112(b); 195.112(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

17. New Pipe Is new pipe is marked in accordance with the requirements of 195.112(c)? (DC.DN.NEWPIPE.O). 195.112(c). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

18. Used Pipe Do records demonstrate used pipe installed in a pipeline system complies with 195.114? (DC.DN.USEDPIPE.R). 195.114(a) (195.114(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

19. Used Pipe Does used pipe installed in a pipeline system comply with 195.114? (DC.DN.USEDPIPE.O). 195.114(b). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

20. Valve Specifications Does the process require pipeline system valves meet the requirements of §195.116? (DC.DN.VALVE.P). 195.116(a) (195.116(b); 195.116(c); 195.116(d); 195.116(e); 195.116(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

21. Valve Specifications Do records indicate pipeline system valves meet the requirements of 195.116? (DC.DN.VALVE.R). 195.116(a) (195.116(b); 195.116(c); 195.116(d); 195.116(e); 195.116(f)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

22. Valve Observations Do pipeline system valves meet the requirements of 195.116? (DC.DN.VALVE.O). 195.116(f) (195.116(b); 195.116(c); 195.116(e)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

25. Fittings Does the process require that selected material specifications for pipe fittings meet the requirements of 195.118? (DC.DN.FITTING.P). 195.118(a) (195.118(b); 195.118(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

26. Fittings Do records demonstrate selected material specifications for pipe fittings meet the requirements of 195.118? (DC.DN.FITTING.R). 195.118(a) (195.118(b); 195.118(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

27. Fittings Do the material specifications for selected pipe fittings meet the requirements of 195.118? (DC.DN.FITTING.O). 195.118(a) (195.118(b); 195.118(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

28. Passage of Internal Inspection Devices Does the process require the pipeline be designed and constructed to accommodate the passage of instrumented internal inspection devices? (DC.DN.ILIPASS.P). 195.202 (195.120(a); 195.120(b); 195.120(c); 195.120(d)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

29. Passage of Internal Inspection Devices Do records demonstrate the pipeline is designed and constructed to accommodate the passage of instrumented internal inspection devices? (DC.DN.ILIPASS.R). 195.266 (195.120(a); 195.120(b); 195.120(c); 195.120(d)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

30. Passage of Internal Inspection Devices Is the pipeline system constructed to accommodate the passage of instrumented internal inspection devices? (DC.DN.ILIPASS.O). 195.120(a) (195.120(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

37. Chemical Compatibility - Special Considerations Do records verify determination that the product to be transported (hazardous liquids, CO2, biofuels) is chemically compatible with the pipeline, its components, and other commodities? (DC.DN.CHEMCOMPATIBLE.R). 195.4 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

38. Biofuel Special Considerations - Design Requirements Does the process require certain Subpart C design requirements relating to biofuel transport be addressed? (DC.DN.DESIGN.P). 195.100 (195.116(c); 195.126; 195.118(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

39. Biofuel Special Considerations - Design Requirements Do records indicate that certain Subpart C design requirements relating to biofuel transport have been addressed? (DC.DN.DESIGN.R). 195.100 (195.116(c); 195.126; 195.118(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

40. Biofuel Special Considerations - Construction Requirements Do records indicate certain Subpart D construction requirements relating to biofuel transport have been addressed? (DC.DN.CONSTRUCT.R). 195.200 (195.260(c); 195.262(e)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

41. Qualifying Metallic Components Other Than Pipe Does the process require metallic components other than pipe to be qualified for use? (DC.DN.METALLIC.P). 195.101(a) (195.101(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

42. Qualifying Metallic Components Other Than Pipe Do records indicate metallic components other than pipe have been qualified for use? (DC.DN.METALLIC.R). 195.101(a) (195.101(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

43. Qualifying Metallic Components Other Than Pipe Do field observations verify metallic components other than pipe have been qualified for use? (DC.DN.METALLIC.O). 195.101(a) (195.101(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

44. Valve Specifications - Ethanol Compatibility Do records indicate pipeline system valves meet the compatibility requirements of 195.116(c)? (DC.DN.VALVEBIOFUELS.R). 195.116(c) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

45. Design Temperature Does the process require that pipeline system components subject to the design temperatures are made of materials that are suitable for those environmental temperatures? (DC.DN.TEMPDESIGN.P). 195.102(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

46. Design Temperature Do records indicate pipeline system components subject to low temperatures are made of materials that are suitable for those low temperatures? (DC.DN.TEMPDESIGN.R). 195.102(a). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Pressure Testing

1. Pressure Testing Does the process have adequate test procedures? (DC.PT.PRESSTEST.P). 195.402(c) (195.302(a); 195.304; 195.305; 195.306; 195.310). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Pressure Testing Are pressure test records available and adequate? (DC.PT.PRESSTEST.R). 195.310 (195.305(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Pressure Testing Is pressure testing being adequately conducted? (DC.PT.PRESSTEST.O). 195.302(a) (195.304; 195.305(a); 195.305(b); 195.306(a); 195.306(b); 195.306(c); 195.306(d); 195.307(a); 195.307(b); 195.307(c); 195.307(d); 195.307(e); 195.308). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Design and Construction - Training and Qualification

1. Inspector Training Does the process require inspectors to be trained and qualified in the phase of construction to be inspected to ensure that the installation of pipe or pipeline systems is in accordance with Subpart D? (DC.TQ.INSPECTORQUAL.P). 195.202 (195.204). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Inspector Training Do records demonstrate that inspectors are trained and qualified in the phase of construction to be inspected to ensure that the installation of pipe or pipeline systems is in accordance with Subpart D? (DC.TQ.INSPECTORQUAL.R). 195.204. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Inspector Training Do observations support that inspectors are trained and qualified in the phase of construction to be inspected to ensure that the installation of pipe or pipeline systems is in accordance with Subpart D? (DC.TQ.INSPECTORQUAL.O). 195.204. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New Tank Piping - Construction

1. Pipe Internal Design Pressure Does the process require the internal design pressure of the pipeline (or pipe) be determined in accordance with 195.106? (DC.DN.DESIGNPRESS.P). 195.106(a) (195.106(b); 195.106(c); 195.106(d); 195.106(e)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Pipe Internal Design Pressure Do records demonstrate the internal design pressure of the pipeline (or pipe) is determined in accordance with 195.106? (DC.DN.DESIGNPRESS.R). 195.106(a) (195.106(b); 195.106(c); 195.106(d); 195.106(e)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New Tank Piping - Construction Welding Procedures (Re-Presented)

1. Welding Procedures - Record of Qualifying Tests Are welding procedures and qualifying tests required to be recorded in detail? (DC.WELDPROCEDURE.WELDPROCEDURE.P). 195.214(b) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Welding Procedures - Record of Qualifying Tests Do records indicate welding procedures and qualifying tests recorded in detail? (DC.WELDPROCEDURE.WELDPROCEDURE.R). 195.214(b) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Welding Procedures - Record of Qualifying Tests Are welding procedures being retained and followed? (DC.WELDPROCEDURE.WELDPROCEDURE.O). 195.214(b) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Welding Weather Is welding required to be protected from weather conditions that would impair the quality of the completed weld? (DC.WELDPROCEDURE.WELDWEATHER.P). 195.224 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Welding Weather Is welding protected from weather conditions that would impair the quality of the completed weld? (DC.WELDPROCEDURE.WELDWEATHER.O). 195.224 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

10. Welding of Supports and Braces Does the procedure prohibit supports or braces to be welded directly to pipe that operates at a pressure greater than 100 psi (689 kPa) gage? (DC.WELDPROCEDURE.WELDSUPPORT.P). 195.202 (195.208) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Welding of Supports and Braces Are supports or braces observed to be welded directly to pipe that operates at a pressure greater than 100 psi (689 kPa) gauge? (DC.WELDPROCEDURE.WELDSUPPORT.O). 195.208 Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Arc Burns and Ground Wires Does the process address arc burns and ground wires in accordance with 195.226? (DC.WELDPROCEDURE.ARCBURNGRNDWIRE.P). 195.202 (195.226(a); 195.226(b); 195.226(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Arc Burns and Ground Wires Do records indicate arc burns and ground wires are addressed in accordance with 195.226? (DC.WELDPROCEDURE.ARCBURNGRNDWIRE.R). 195.226(a) (195.226(b); 195.226(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Arc Burns and Ground Wires Are arc burns and ground wires addressed in accordance with 195.226? (DC.WELDPROCEDURE.ARCBURNGRNDWIRE.O). 195.226(a) (195.226(b); 195.226(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New Tank Piping - Construction Welder Qualification (Re-Presented)

1. Qualification of Welders Is each welder required to be qualified in accordance with section 6 of API 1104 (21st Edition)or section IX of the ASME Boiler and Pressure Vessel Code (2007)? (DC.WELDERQUAL.WELDERQUAL.P). 195.222(a) (195.222(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Qualification of Welders Do records indicate that welders are qualified in accordance with API-Std-1104 (21st Edition) or the ASME Boiler & Pressure Vessel Code (2007)? (DC.WELDERQUAL.WELDERQUAL.R). 195.222(a) (195.222(b); 195.214(a); API-1104 Section 6; ASME Boiler & Pressure Vessel Code Section IX) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Qualification of Welders - Skills and Knowledge Are welders performing welds according to established procedures? (DC.WELDERQUAL.WELDERQUAL.O). 195.222(a) (195.222(b); 195.214(a); 195.505(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Tank Design and Construction - New Tank Piping - Construction Weld Inspection (Re-Presented)

1. Weld Inspection Standards Are welds required to be inspected to ensure compliance with the requirements of 195.228? (DC.WELDINSP.WELDINSPECT.P). 195.228(a) (195.228(b)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Weld Inspection Standards Do records indicate welds are inspected to ensure compliance with the requirements of 195.228? (DC.WELDINSP.WELDINSPECT.R). 195.228(a) (195.228(b); 195.234) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Weld Inspection Standards Are welds being inspected to ensure compliance with the requirements of 195.228? (DC.WELDINSP.WELDINSPECT.O). 195.228(a) (195.228(b); 195.234) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Repair or Removal of Weld Defects Are welds that are unacceptable required to be removed and/or repaired as specified by 195.230 and are repair procedures in place? (DC.WELDINSP.WELDREPAIR.P). 195.202 (195.230(a); 195.230(b); 195.230(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Repair or Removal of Weld Defects Do records indicate that unacceptable welds are removed and/or repaired? (DC.WELDINSP.WELDREPAIR.R). 195.230(a) (195.230(b); 195.230(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Repair or Removal of Weld Defects Are unacceptable welds being removed and/or repaired? (DC.WELDINSP.WELDREPAIR.O). 195.230(a) (195.230(b); 195.230(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Nondestructive Test and Interpretation Procedures Are there processes for nondestructive testing and for determining standards of acceptability? (DC.WELDINSP.WELDNDT.P). 195.234(a) (195.234(b); 195.234(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

8. Nondestructive Test and Interpretation Procedures Do records indicate adequate nondestructive testing and determination of standards of acceptability? (DC.WELDINSP.WELDNDT.R). 195.234(a) (195.234(b); 195.234(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

9. Nondestructive Test and Interpretation Procedures Are NDT activities performed in accordance with approved processes? (DC.WELDINSP.WELDNDT.O). 195.234(a) (195.234(b); 195.234(c)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

11. Nondestructive Testing of Girth Welds Does the process require certain girth welds to be nondestructively tested in accordance with 195.234(d), (e), (f), and (g)? (DC.WELDINSP.GIRTHWELDNDT.P). 195.202 (195.234(d); 195.234(e); 195.234(f); 195.234(g); 195.266) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

12. Nondestructive Testing of Girth Welds Do records demonstrate at least 10% of all welds that are made by each welder during each welding day are nondestructively tested over the entire circumference of the welds or that more welds are tested per the operator's own procedures? (DC.WELDINSP.GIRTHWELDNDT.R). 195.234(d) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

13. Nondestructive Testing of Girth Welds - Locations Do records demonstrate all girth welds installed each day in selected locations specified in 195.234(e) are nondestructively tested over their entire circumference? (DC.WELDINSP.GIRTHWELDNDTLOCATE.R). 195.234(e) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

14. Nondestructive Testing of Girth Welds - Used Pipe Do records demonstrate that when installing used pipe, 100% of the old girth welds are nondestructively tested? (DC.WELDINSP.GIRTHWELDNDTUSED.R). 195.234(f) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

15. Nondestructive Testing of Girth Welds - Pipe Tie-Ins Do records demonstrate 100% of the girth welds have been nondestructively tested at selected pipe tie-ins? (DC.WELDINSP.GIRTHWELDNDTTIEIN.R). 195.234(g) (195.266(a)) Note: this question is presented in multiple places so you will see multiple instances of it on this report.. Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Time-Dependent Threats - External Corrosion - Cathodic Protection

5. Cathodic Protection for New Pipelines Does the process specify when cathodic protection must be operational on constructed, relocated, replaced, or otherwise changed pipelines? (TD.CP.NEWOPERATE.P). 195.402(c)(3) (195.563(a); 195.563(c); 195.563(d)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Cathodic Protection for New Pipelines Do records document when cathodic protection was operational on constructed, relocated, replaced, converted to service, or otherwise changed pipelines? (TD.CP.NEWOPERATE.R). 195.589(c) (195.563(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Time-Dependent Threats - External Corrosion - Cathodic Protection Monitoring

3. Test Leads Installation Does the process provide adequate instructions for the installation of test leads? (TD.CPMONITOR.TESTLEADINSTALL.P). 195.402(c) (195.567(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Test Leads Installation Do records document that pipelines with cathodic protection have electrical test leads installed in accordance with requirements of Subpart H? (TD.CPMONITOR.TESTLEADINSTALL.R). 195.589(c) (195.567(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Test Leads Installation Do pipelines with cathodic protection have electrical test leads installed in accordance with requirements of Subpart H? (TD.CPMONITOR.TESTLEADINSTALL.O). 195.567(a) (195.567(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Time-Dependent Threats - External Corrosion - Coatings

1. New Buried Pipe Coating Does the process require coatings for pipelines constructed, relocated, replaced, or otherwise changed after the applicable date in 195.401(c) to meet the requirements of 195.559? (TD.COAT.NEWPIPE.P). 195.402(c)(3) (195.557(a); 195.559; 195.401(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. New Buried Pipe Coating Inspection Does the process require that the coating be inspected on new pipelines just prior to it being lowered into the pipe trench? (TD.COAT.NEWPIPEINSPECT.P). 195.402(c)(3) (195.561(a); 195.561(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. New Buried Pipe Coating Do records document that coatings for pipelines constructed, relocated, replaced, or otherwise changed meet the requirements of §195.559? (TD.COAT.NEWPIPE.R). 195.589(c) (195.557(a); 195.559; 195.401(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

6. Proper Coating Application Do records document that coatings are applied as required by procedures? (TD.COAT.COATAPPLY.R). 195.589(c) (195.559(b); 195.401(c)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

7. Proper Coating Application Is protective coating adequately applied? (TD.COAT.COATAPPLY.O). 195.561(a) (195.561(b); 195.559(b); 195.252(b)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

## Training and Qualification - OQ Protocol 9

1. Covered Task Performance Verify the qualified individuals performed the observed covered tasks in accordance with the operator's procedures or operator approved contractor procedures. (TQ.PROT9.TASKPERFORMANCE.O). 195.501(a) (195.509(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

2. Qualification Status Verify the individuals performing the observed covered tasks are currently qualified to perform the covered tasks. (TQ.PROT9.QUALIFICATIONSTATUS.O). 195.501(a) (195.509(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

3. Abnormal Operating Condition Recognition and Reaction Verify the individuals performing covered tasks are cognizant of the AOCs that are applicable to the tasks observed. (TQ.PROT9.AOCRECOG.O). 195.501(a) (195.509(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

4. Verification of Qualification Verify the qualification records are current, and ensure the personal identification of all individuals performing covered tasks are checked, prior to task performance. (TQ.PROT9.VERIFYQUAL.O). 195.501(a) (195.509(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

5. Program Inspection Deficiencies Have potential issues identified by the OQ plan inspection process been corrected at the operational level? (TQ.PROT9.CORRECTION.O). 195.501(a) (195.509(a)). Sat+; Sat; Concern; Unsat; NA; NC. Notes.

Except as required to be disclosed by law, any inspection documentation, including completed protocol forms, summary reports, executive summary reports, and enforcement documentation are for internal use only by federal or state pipeline safety regulators. Some inspection documentation may contain information which the operator considers to be confidential. In addition, supplemental inspection guidance and related documents in the file library are also for internal use only by federal or state pipeline safety regulators (with the exception of documents published in the federal register, such as advisory bulletins). Do not distribute or otherwise disclose such material outside of the state or federal pipeline regulatory organizations. Requests for such information from other government organizations (including, but not limited to, NTSB, GAO, IG, or Congressional Staff) should be referred to PHMSA Headquarters Management.