	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	

	
	
	

	
	Public Meeting held February 26, 2009

	Commissioners Present:
	

	
	

	James H. Cawley, Chairman
	

	Tyrone J. Christy, Vice Chairman
	

	Robert F. Powelson, Statement attached
	

	Kim Pizzingrilli
	

	Wayne E. Gardner
	

	
	

	Letter of Notification of Duquesne Light Company filed pursuant to 52 Pa. Code Chapter 57.72 for the Reconfiguration of a Segment of the existing 138 kV Crescent-Valley Z-82 circuit (Ckt.) Transmission Line in Economy Township, Beaver County, PA.
	
	Docket Number:

A-2008-2081488

	
	

	
	


ORDER
BY THE COMMISSION:

On December 23, 2008, Duquesne Light Company (Duquesne Light) filed a Letter of Notification pursuant to 52 Pa. Code § 57.72(d)(l)(iv) and (v), of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the  right-of-way.


(ii)     An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present           levels, so long as the size, character, design, or configuration of the          proposed HV line does not substantially alter the right-of-way.
(v) An HV which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.  

(vi)
An HV line having a proposed route of 2 miles or less.


Copies of the Letter of Notification were served in accordance with

Section 57.72(d) (3) and 57.74(b) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Economy Borough, Beaver County Board of Commissioners, Beaver County Planning Commission, and other interested parties as listed in the Certificate of Service.  No protests were filed.  No hearings were held.



Duquesne Light seeks the Commission’s approval to reconfigure a segment of the existing 138 kV Crescent-Valley Z-82 circuit (Ckt.) to better align circuits in its western territory.  An approximate one (1) mile reconfiguration between tower 4418 and tower 206 is proposed.  The new configuration will utilize a Duquesne Light adjacent tower line and will not alter the right-of-way.


Duquesne Light states that the current line configuration for the Ckt. Z-82 segment is from the west side of tower 4418, to tower 4419, to pole structures 326189 and onto the 200 tower series leading sequentially to tower 206.  The proposed line segment will be switched to the east side of tower 4418 through tower 4424 along the parallel tower line and then onto tower 206.  The east side conductors are occupied by the Ambridge-Koppel Steel Ckt. 66148, which is presently operating at 69 kV, although constructed, rated and maintained at 138 kV.  No new structures will be required for this reconfiguration.  The proposed reconfiguration to Ckt. Z-82 will not alter the right-of-way. 


Duquesne Light states that the Crescent-Valley Z-82 originates in Crescent Substation and terminates in the Valley Substation.  Upon completion of the proposed line segment reconfiguration, Ckt. Z-82 will occupy the east side conductors and it is anticipated Ckt. Z-26 will occupy the west side conductors between tower 4418 and tower 4424.  Z-82 continues for one span from existing tower 4424 to existing tower 206 where it connects to the original line.


Duquesne Light states that the reconfigured one mile segment of line is located entirely within Economy Township, Beaver County.  Approximately 900 feet or 17% of the new line will be located on centerline rights-of-way having an undefined width; approximately 3,200 feet or 62% is located on an existing 85-foot right-of-way; approximately 800 feet or 15% is located on an existing 75-foot right-of-way; and the remaining 300 feet or 6% is located on Duquesne Light property.  The new route of the transmission line will remain essentially unchanged.  The existing centerline rights-of-way remain unchanged.

Duquesne Light states that reconfiguring the one mile segment of line will better align circuits in the area, minimize crossings of transmission lines, and aid in reducing outages for future maintenance work.  Currently, Ckt. 66148 crosses under Ckt. Z-82 and then again crosses over it.  Crossing of transmission lines increases the number of planned line outages since both lines are usually removed from service in order to perform maintenance on the higher circuit.  Modifications of area transmission facilities from 69 kV to 138 kV supply has provided Duquesne Light with the opportunity to eliminate these crossovers.

Duquesne Light also states that this project falls within Duquesne’s overall strategy to eliminate 69 kV as a transmission supply voltage.  This strategy was created to address system inefficiencies, age of facilities, and lack of replacement parts.  Increasing the transmission supply from 69kV to 138 kV increases the capacity of the transmission system, decreases the number of transformations to 69 kV and consequently reduces losses and investment in 69 kV autotransformers, while addressing the need for extensive rehabilitation of aging substations.  As a result, Duquesne Lights customers benefit through increased reliability.


Duquesne Light states that the project will be designed, constructed, operated and maintained in a manner that meets or exceeds National Electrical Safety Code standards and all standards of the Federal Occupational Safety and Health Administration. 

Duquesne Light also states that the estimated cost of the project is $50,000.  The project is scheduled to start following Commission’s approval and will be completed by May 2009.   
The formal Duquesne Light Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,
IT IS ORDERED:




That the Letter of Notification filed by Duquesne Light Company regarding the reconfiguration of a segment of the existing 138 kV Crescent-Valley Z-82 circuit transmission line in Economy Township, Beaver County, PA, is hereby approved.

BY THE COMMISSION,

James J. McNulty

Secretary

(SEAL)

ORDER ADOPTED:  February 26, 2009
ORDER ENTERED:  March 2, 2009
PAGE  
5

