PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


           




Public Meeting held October 8, 2009
Commissioners Present:

James H. Cawley, Chairman

      Tyrone J. Christy, Vice Chairman
Kim Pizzingrilli

Wayne E. Gardner 
Robert F. Powelson

Letter of Notification of PPL Electric 



Docket Number:

Utilities Corporation filed pursuant to 



A-2009-2114883

52 Pa. Code Chapter 57.72 with respect 
to the Jessup #1 & #2 138/69kV Tap Line 
in Jessup Borough, Lackawanna County, PA,
ORDER

BY THE COMMISSION:

On June 19, 2009, PPL Electric Utilities Corporation (“PPL Electric”) filed
a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(l) of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:
(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the

            right-of-way.
            (ii)       An HV line which is proposed to be located entirely within a public road.

(iii)  An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present           levels, so long as the size, character, design, or configuration of the          proposed HV line does not substantially alter the right-of-way.
(v)  An HV line which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.
(vi)  An HV line having a proposed route of 2 miles or less.


Copies of the Letter of Notification were served in accordance with

Section 57.72(d) (3) and 57.74 (b) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Lackawanna County Board of Commissioners, Lackawanna County Planning and Economic Development,  Jessup Planning Commission, Jessup County Borough, and other interested parties as listed in the Certificate of Service.  No protests were filed.   No hearings were held.


PPL Electric seeks Commission’s approval for the siting and construction of approximately 175 feet long Jessup #1 and #2 138/69kV Tap Line that will connect the 
existing Peckville-Jackson 69kV Transmission Line with a proposed Jessup 69-12kV Substation in Jessup Borough, Lackawanna County, Pennsylvania.   

PPL Electric states that the Tap Line is required to improve the reliability of service in the vicinity of Jessup Borough, in eastern Lackawanna County, including the Valley View Business Park, which is a new business park in the process of being developed and expanded.  PPL Electric estimates that when the Valley View Business Park is fully development, the load in the area will substantially exceed the maximum capacity of the existing facilities.  The Jessup #1 and #2 138/69kV Tap Line and the proposed Jessup 69 -12kV Substation will provide a second and larger source of supply for the Jessup Borough area, including the Valley View Business Park.
 

PPL Electric states that the Jessup #1 and #2 138/69kV Tap Line will be designed as a double-circuit 138/69kV transmission tap line from the existing Peckville-Jackson 69kV Transmission Line.  Initially, one circuit (Jessup #1) will be installed.  A second circuit (Jessup #2) will be added and the two circuits will be operated at 138kV when future load increases make it appropriate to do so.
 

PPL Electric states that the Jessup #1 and #2 138/69kV Tap Line will be approximately 175 feet in length.  It will require one steel pole, approximately 115 feet in height that will be installed on a concrete foundation.  The circuit installed initially will consist of three conductors and one overhead ground wire.  The power conductors will be 556.6 KCMIL, 24/7 strand ACSR.  The overhead ground wire will be 3/8-inch steel and will provide lightning protection for the proposed Tap Line. 
 


PPL Electric states that the entire Tap Line will be located on land owned by PPL Electric.  Due to the small size of the tap Line and the presence of other transmission facilities in the area, it is anticipated that the Tap Line will have minimal impact on the area.   The proposed Tap Line will not affect any unique geological, scenic, or natural areas.  No national natural landmarks, parks, recreational facilities or natural areas are located near the project area.  The Tap Line will not cross any wetland or other aquatic resources.  PPL Electric will acquire and comply with any required soil erosion and sedimentation control permits.


PPL Electric states that the project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code minimum standards and all applicable legal requirements. The proposed project will not create any unreasonable risk of danger to the public health or safety.


PPL Electric states that the project was reviewed with representatives of Jessup Borough and Lackawanna County.  The Borough and County have no objection to the Tap Line.

 
PPL Electric also states that the estimated cost of the Jessup #1 and #2 138/69kV Tap Line is $260,000.  This amount does not include the cost of the Jessup 69-12kV Substation.  Construction is scheduled to commence in November, 2009 to meet an in-service date of May, 2011.      

The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code §57.72.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,
IT IS ORDERED:



 That the Letter of Notification filed by PPL Electric Utilities Corporation with respect to the Jessup #1 & #2 138/69kV Tap Line in Jessup Borough, Lackawanna County, PA, is hereby approved.
[image: image1.emf]
BY THE COMMISSION,

James J. McNulty

Secretary
(SEAL)

ORDER ADOPTED:  October 8, 2009
ORDER ENTERED:  October 8, 2009
PAGE  
5

