PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265

# Public Meeting held January 14, 2010

Commissioners Present:

James H. Cawley, Chairman

Tyrone J. Christy, Vice Chairman, Dissent in Part Statement

Kim Pizzingrilli

Wayne E. Gardner

Robert F. Powelson

| Pennsylvania Public Utility Commission Law Bureau Prosecutory Staff v. UGI Utilities, Inc. |  | M-2009-2031571 |
| --- | --- | --- |

# OPINION AND ORDER

BY THE COMMISSION:

Before the Commission for consideration and disposition is the Joint Settlement Agreement (Settlement) filed on July 28, 2009, by UGI Utilities, Inc. (UGI or the Company) and the Commission’s Law Bureau Prosecutory Staff (Prosecutory Staff), and the Comments submitted thereto by UGI and the Pennsylvania Utility Law Project (PULP).

History of the Proceeding

On July 28, 2009, Prosecutory Staff and UGI filed a Settlement pertaining to an investigation by Prosecutory Staff of an explosion that occurred on December 9, 2006, in Allentown, Pennsylvania.  The proposed Settlement calls for, among other things, the payment of a civil penalty of $80,000, the review and modification of operator training and qualification procedures as well as the review and revision of UGI’s drug and alcohol program.

By Opinion and Order entered on October 1, 2009, the Commission: (1) modified the Settlement by requiring UGI to pay an additional $80,000 to UGI’s Operation Share Fuel Fund; and (2) solicited comments from interested parties with respect to the modifications.

On October 20 and 21, 2009, UGI and PULP, respectively, filed Comments to the modified Settlement, pursuant to the October 1, 2009 Opinion and Order.

Background

On December 9, 2006, at approximately 1:29 PM, an explosion and fire occurred at 789 Mohawk Street in Allentown, PA, destroying the structure and three adjacent row homes.  There was one minor injury.  The explosion occurred during the course of implementation of UGI’s automated meter reading (AMR) project.  UGI contracted with Itron, Inc., which then subcontracted with Specialized Technical Services, Inc. (STS) to complete the required work in the Reading and Lehigh areas.  Specifically, STS employees were to install AMR devices onto existing meters, replace incompatible meters and remove inactive meters.  The explosion occurred during the course of an attempted meter removal by an STS employee.  Settlement at 3.

Prosecutory Staff subsequently initiated an Informal Investigation of the incident to review the Company’s actions and business practices in relation to the incident.  The Informal Investigation was conducted pursuant to Subsection 331(a) of the Public Utility Code (Code), 66 Pa. C.S. § 331(a), and Section 3.113 of the Commission’s Rules of Practice and Procedure (Regulations), 52 Pa. Code § 3.113.

Prosecutory Staff’s investigation determined that while approaching the meter on the day of the explosion, the STS employee noticed that the meter was on when the work order indicated that it had been turned off.  However, the employee failed to notice that the regulator indicated that the service was at medium, rather than low pressure.  Despite the fact that the meter appeared to be on, he proceeded with the removal, as per his instructions.  When he unscrewed the plug at the service head, gas immediately began blowing into the residence.  The STS employee attempted to put the plug back in, but was unsuccessful because the pressure was approximately fifty-seven pounds per square inch.

The STS employee evacuated the building and several adjacent buildings and, once outside, used a cell phone to call his supervisor.  Shortly thereafter, the residence exploded.  The resulting fire destroyed several other residences.  Settlement at 4.

The investigation by Prosecutory Staff showed that UGI had conducted training for STS employees on November 6 through November 9, 2006 at its training facility in Reading, Pennsylvania.  Training included classroom presentations, hands on instruction with dummy meters and testing.  Tests included both written and performance components and covered eight Operator Qualification (OQ) tasks.  Among the OQ tasks tested were “Turn On and Tagging Procedures, Abandonment or Deactivation or Services (Meter Removal) and Using a Service Stopper.”

The UGI training manual indicated that service to any inside meter must be stopped prior to removal or replacement.  It also stated that gas flow to a residence should be turned off at the curb valve prior to removing an inside meter.  However, the STS employees received no instruction related to curb valves and the textbook did not explain how to tell the difference between medium and low pressure service to a meter.  The section pertaining to inactive meter removal presupposes competency in reading pressure levels.

The investigation determined that UGI employees and contractors were not provided with written training materials nor subjected to any exam questions that would require the ability to recognize the difference between low and medium pressure.  Following the explosion, UGI changed its procedure for removing or changing an indoor meter to include the critical step of verifying the pressure of service.

UGI did not ensure that all subcontracted employees were covered by a U.S. Department of Transportation conforming drug and alcohol program, and failed to inquire into the existence of STS’ program.  In fact, STS employees were not covered by such a plan and were, therefore, prohibited from working on the pipeline system by both state and federal regulations.

Following the incident, the STS employee was taken for required drug and alcohol testing.  Both tests results were negative, but there were sub-threshold traces of alcohol in his blood.

Had this matter been litigated, Prosecutory Staff may have alleged that UGI committed the following acts or omissions in relation to this incident:

- UGI provided no written instruction in its qualification courses on how to recognize the difference between low pressure and medium pressure service lines.  The qualification plan, as documented, did not include an apprenticeship or field training requirement.

If proven, the above omission would constitute a violation of 49 CFR § 192.805 (b) & (c) and 52 Pa. Code § 59.33(a).

- UGI’s written procedure for removing inactive meters at the time of the incident as it pertained to low pressure, which allowed removing the plug on an active line and inserting a stopper was inadequate.

If proven, the above omission would constitute a violation of 49 CFR § 192.751(a) and 52 PA Code § 59.33(a).

- UGI allowed a contractor to work on its gas pipeline system without ensuring that the contracting company had a DOT compliant drug and alcohol program in place.

If proven, the above omission would constitute a violation of 49 CFR §§ 199.105(a) and 199.245(b) and 52 PA Code § 59.33(a).

Settlement at 6.

After the Informal Investigation, and in accordance with Section 3.113(b)(3) of our Regulations, 52 Pa. Code § 3.113(b)(3), Prosecutory Staff and UGI entered into discussions regarding a settlement of the matter without the need for an on-the-record proceeding.  Those discussions resulted in the instant proposed Settlement.  The Parties averred that the proposed Settlement is in the public interest and requested Commission approval of the Settlement.  The proposed terms of the Settlement are set forth below.

The Settlement, as proposed by UGI and Prosecutory Staff, includes the following terms and conditions:

- UGI has agreed, pursuant to 66 Pa. C.S. § 3301(c),  to pay to the Commission, by certified check, a civil penalty in the amount of $80,000.00 within twenty (20) days of the date of the Commission’s order approving the agreement.  In addition, UGI shall not claim or include any portion of this amount in any future rate proceeding.

(b)	UGI will hire an outside consultant to comprehensively review and make recommended changes to UGI’s Operator Qualification meter removal tasks, standards and tests.  UGI shall submit the revised tasks, standards and tests for review by the Commission’s Gas Safety Office within six (6) months of the execution of this agreement.

(c)	UGI will retrain and re-qualify all required employees and contractors using the revised procedures within six (6) months of the Gas Safety Office’s approval of the revised procedures from paragraph (b) above, ensuring that the Operator Qualification tests and standards are the same for UGI employees and independent contractors.

- UGI will review and rewrite its drug and alcohol program so that UGI’s drug and alcohol rules and requirements extend to its contractors and subcontractors.  Inform all employees of the revised drug and alcohol policy and require enforcement of the revised policy.

- UGI will include in the revised meter shutoff procedure the requirement (if applicable) that the curb valve be closed in addition to the meter valve, as already submitted and approved by the Gas Safety Division.

- UGI will cease and desist from committing any further violations of gas safety regulations.

Settlement at 6 - 7.

As noted, by Opinion and Order entered on October 1, 2009, the Commission: (1) modified the Settlement by requiring UGI to pay an additional $80,000 to the Operation Share Fuel Fund; and (2) solicited Comments from interested parties with respect to the modifications.  UGI and PULP filed Comments on the modified Settlement, on October 20 and October 21, 2009, respectively,  pursuant to the Commission’s October 1, 2009 Opinion and Order.  Those Comments are now ripe for our consideration.

Comments

In its Comments, UGI expresses its disagreement with the Commission’s conclusion that UGI had demonstrated a lack of oversight.  UGI also maintains that the Commission increased the civil penalty called for in the Settlement, without citing any standard other than its discretion to do so.  UGI Comments at 2.  UGI submits that it has not compromised safety by waiting to implement improvements to its safety programs and has voluntarily complied with other aspects of the Settlement including the hiring of an outside consultant to review these matters and make recommended changes.  UGI also maintains that it negotiated the Settlement in good faith, even though it has substantial defenses to the claims alleged by Prosecutory Staff.  As such, UGI opines that the Commission’s modification of the Settlement is more likely to discourage settlement of future disputes with UGI and other utilities.  UGI Comments at 3-4.

PULP’s Comments focused on the amount of the penalty as well as where the funds should be directed.  Citing the Commission’s October 1, 2009 Opinion and Order in this matter, PULP agrees with the discussion therein that the Commission would be well within its discretion to impose a civil penalty of approximately $370,000 (Order at 6), and urges the Commission to assess a penalty greater than $160,000 in order to punish UGI for engaging in activity that places the public at risk, and to provide an incentive to UGI and other utilities to adopt more appropriate customer service measures that would deter unreasonable service activity that places the public at risk.  PULP Comments at 2, 13-15.

PULP further submits that the Commission’s directive to allocate the funds toward UGI’s Operation Share Fuel Fund benefits its customers, by enabling them to pay electric bills they otherwise could not.  However, PULP contends that allocation of the funds to UGI’s Operation Share Fuel Fund also benefits UGI because it works toward reducing UGI’s uncollectibles and arrearages.  PULP is of the opinion that any settlement that allegedly resolves unlawful conduct by a company must act as a true deterrent for the company and the entire industry.  As such, PULP is of the opinion that the application of settlement proceeds should not be of any benefit to the company.  Accordingly, PULP suggests that rather than allocating the funds to UGI’s Operation Share, the Commission should direct that the funds go to the Low Income Usage Reduction Program (LIURP) because it would achieve greater overall consumer value by: (1) cost effectively reducing energy consumption among low income families; (2) reducing the overall cost of service for residential ratepayers; (3) providing a beneficial economic effect to the Commonwealth; (4) improving the health and well-being of low income families; and (5) providing a long term benefit to the customers without rewarding the utility.  PULP Comments at 7-12.  PULP also favors directing the entire penalty amount of $160,000 to LIURP as opposed to splitting it with the General Fund.  PULP Comments at 12-13.

Upon our review of the Comments submitted by UGI and PULP, we are not persuaded by either of the Party’s arguments to modify the total penalty amount of $160,000 as set forth in our October 1, 2009 Opinion and Order.  As will be discussed below, we are of the opinion that a $160,000 penalty against UGI, in conjunction with the proactive remediation measures that UGI has agreed to implement in its operational and training procedures, is sufficient to ensure deterrence of future violations of a similar nature.

We are, however, persuaded by PULP’s Comments to redirect $80,000 of the total penalty from UGI’s Operation Share Fuel Fund to LIURP.  The reallocation of $80,000 to LIURP will maintain the potential of helping low income consumers by contributing to overall energy reduction and a lessening of the cost of service to low income customers in the future.  The allocation of the remaining $80,000 to the General Fund will remain unchanged.

With that said, it is important to note that the Commission has promulgated a Policy Statement at 52 Pa. Code § 69.1201 (Policy Statement) that sets forth ten factors that we may consider in evaluating whether a proposed settlement for a violation is reasonable and approval of the settlement agreement is in the public interest.

Many of the same factors and standards may be considered in the evaluation of both litigated and settled cases.  When applied in settled cases, these factors and standards will not be applied in as strict a fashion as in a litigated proceeding.  The parties in settled cases will be afforded flexibility in reaching amicable resolutions to complaints and other matters so long as the settlement is in the public interest.

52 Pa. Code § 59.1201(b).

We are reminded that the Policy Statement is only a guide and that the parties in settled cases should be afforded flexibility in reaching amicable resolutions to complaints and other matters so long as the settlement is in the public interest.  52 Pa. Code § 69.1201(b).  The factors and standards that will be considered include the following:  (1) whether the conduct and consequences of the conduct at issue were of a serious nature; (2) whether the regulated entity made efforts to modify internal practices and procedures to address the conduct at issue and prevent similar conduct in the future; (3) the number of customers affected and the duration of the violation; (4) the compliance history of the regulated entity which committed the violation; (5) whether the regulated entity cooperated with the Commission's investigation; and, (6) other relevant factors.

Since the Settlement was negotiated under the Commission’s Policy Statement, we will briefly discuss the facts of the Settlement, with our proposed modifications as discussed above, as they pertain to the Policy Statement.

The first factor is whether the conduct and the consequences of the conduct are serious.  When the conduct is of a serious nature, such as willful fraud or misrepresentation, the conduct may warrant a higher penalty.  When the conduct is less egregious, such as errors in administrative filings or other technical errors, it may warrant a lower penalty.  The conduct at issue is of the most serious nature as it deals with public safety.  While no lives were lost in this case the potential for catastrophic loss and injury was extremely high.  At the same time, UGI’s omissions in this matter did not amount to willful fraud or misrepresentation, as there is no evidence to indicate that UGI took steps to conceal its omissions.  As noted, based on our modification to the Settlement, the Company will be assessed a total penalty of $160,000, which is considered significant. Of that $160,000, we are directing that $80,000 of that amount be submitted to the General Fund and the remaining $80,000 be submitted to LIURP.

The second factor requires that we examine UGI’s efforts to modify internal practices and procedures to address the conduct at issue and prevent similar conduct in the future.  The investigation shows that as a result of the December 9, 2006 explosion, UGI changed its procedure for removing or changing an indoor meter to include the critical step of verifying the pressure of service.  In addition, UGI will hire an outside consultant to review and recommend changes to its Operator Qualification procedure.  UGI will also re-qualify all required employees and contractors using the revised procedures.

With regard to the third factor, we note that the number of customers affected by this incident was small and there was only one minor injury; but the damage to several homes was significant.  Moreover, the potential for far greater damage was present.

Finally, with regard to the fourth and fifth factors, our records indicate that UGI’s compliance history is acceptable and the Company, in reaching the instant Settlement, has cooperated with the Prosecutory Staff in resolving the issues that were raised during the investigation.

Disposition:

Upon our review of the terms of the Settlement, we believe that the nature of the incident and the alleged violations of federal and state gas safety regulations merit a greater penalty than that agreed to by the Parties.  Ensuring that our public utilities operate safely is of the utmost importance to us and is a task that the Legislature has entrusted to this Commission.  We wish to stress the importance of the care that our jurisdictional public utilities must take in selecting the entities with which they contract to perform work and we will not hesitate to hold them responsible for any violations that may be caused by their contractors and/or sub-contractors.  In this case, UGI demonstrated a lack of oversight on an ongoing basis regarding their sub-contractors’ training and this placed the public safety at risk and resulted in a catastrophic loss of property.

Based on our review of the incident and alleged violations, it would be well within our discretion to impose a civil penalty of approximately $370,000.  However, since it is in the public interest to settle this matter to avoid the expense of litigation, and because of the proactive remediation measures that UGI has agreed to implement in its operational and training procedures, we are of the opinion that it is reasonable to assess a penalty totaling $160,000, rather than the $80,000 penalty agreed to by the Parties of the Settlement or the $370,000 amount which we believe could be justified.

We further believe that the additional $80,000 penalty would be utilized better by directing it to LIURP rather than UGI’s Operation Share Fuel Fund, as originally intended in our October 1, 2009 Opinion and Order.  Therefore, pursuant to Section 3301 of the Code, 66 Pa. C.S. § 3301, we shall direct  UGI to pay a civil penalty$80,000 to the General Fund and an additional $80,000 to LIURP.  Neither payment shall be recoverable in base rates and shall be in addition to any support already committed to LIURP by UGI.

# Conclusion

For the reasons set forth above, after reviewing the terms of the Settlement Agreement and the Comments submitted thereto, we conclude that approval of the Settlement, as modified by this Opinion and Order, is in the public interest and is consistent with the terms of the Commission’s Policy Statement to promote settlements.  52 Pa. Code § 5.231.  We shall modify the terms of the Settlement by increasing the civil penalty from $80,000 to $160,000, payable to the General Fund and LIURP in equal

amounts.  Accordingly, we find that the Settlement entered into between Prosecutory Staff and UGI, as modified, is in the public interest and merits approval; THEREFORE,

IT IS ORDERED:

1.	That our Opinion and Order entered October 1, 2009, is adopted, as modified by this Opinion and Order.

2.	That, pursuant to Sections 3301 and 3315 of the Public Utility Code, 66 Pa. C.S. §§ 3301 and 3315, UGI shall pay a civil penalty of $80,000 within thirty (30) days after the date of entry of this Opinion and Order, by sending a certified check or money order to:

Secretary

Pennsylvania Public Utility Commission

P.O. Box 3265

Harrisburg, PA 17105-3265

3.	That UGI is directed to pay $80,000 into the Low Income Usage Reduction Program within thirty (30) days from the date of entry of this Opinion and Order.  The Company shall notify the Commission that it has complied with this directive at the time it makes the required payment.

4.	That a copy of this Opinion and Order shall be served upon the Public Utility Commission’s Financial and Assessments Chief, Office of Administrative Services.

5.	That upon completion of the payment of the civil penalty assessed in this matter, as directed by Ordering Paragraph No. 2, above, as well as the payment to the Low Income Usage Reduction Program, as directed by Ordering Paragraph No. 3, above, this docket shall be marked closed.

BY THE COMMISSION,

James J. McNulty

Secretary

(SEAL)

ORDER ADOPTED:  January 14, 2010

ORDER ENTERED:  January 14, 2010

# Footnotes

As will be discussed below, by Opinion and Order entered on October 1, 2009, the Commission modified the Settlement and solicited comments with regard to the modified Settlement.

This program helps customers who have trouble paying their winter heating bills due to problems such as low or fixed income, unemployment, disability, sudden death or serious injury/illness of the household’s main income provider.

LIURP helps low-income residential customers lower the amount of electricity or natural gas used each month. Typically, the utility may install energy saving features in homes to help reduce bills.