PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


          Public Meeting held March 25, 2010
Commissioners Present:

James H. Cawley, Chairman

      Tyrone J. Christy, Vice Chairman
Wayne E. Gardner 

Robert F. Powelson

Letter of Notification of PPL Electric 
Utilities Corporation, filed pursuant 
To 52 Pa. Code Chapter 57.72, with 


                    A-2010-2153858

respect to the Beltzville #1 & #2 
138/69 kV Tap Lines in Towamensing 
Township, Carbon County, PA.
ORDER

BY THE COMMISSION:

On January 19, 2010, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification (“LON”) pursuant to 52 Pa. Code §57.72(d)(1)(vi) of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the right-of-way.

            (ii)       An HV line which is proposed to be located entirely within a public road.

(iii)  An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present           levels, so long as the size, character, design, or configuration of the          proposed HV line does not substantially alter the right-of-way.
(v)  An HV which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.  

(vi)    An HV line having a proposed route of 2 miles or less.


Copies of the Letter of Notification were served in accordance with Section 57.72(d) (3) and 57.74 (b), (c) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Carbon County Commissioners, Carbon County Planning Commission, Towamensing Township Board of Supervisors, Towamensing Township Planning Commission and others as listed in the Certificate of Service.  No protests were filed.  No hearings were held.



PPL Electric seeks the Commission’s approval to construct the Beltzville 
#1and #2 138/69 kV Tap Lines ("Beltzville Taps"), which will be approximately 300 feet in length and will connect the existing East Palmerton-Wagners #1 and #2 138/69 Transmission Lines with the proposed Beltzville 69- 12 kV Substation ("Beltzville Substation") in Towamensing Township, Carbon County, Pennsylvania.


The purpose of the Beltzville Taps, together with the proposed Beltzville Substation, is to provide an additional source of supply to customers in the vicinity of Towamensing Township, Carbon County.  The Beltzville Taps will be designed as a double-circuit 138/69 kV transmission tap line that will extend 300 feet from the existing East Palmerton-Wagners #1 and #2 138-69 kV Transmission Lines to the proposed Beltzville Substation.  Both Beltzville Taps will be constructed into the new Beltzville Substation.  The tap lines will be tied together for operating flexibility.  Initially, Beltzville #1 Tap and transformer #1 will be connected to the Beltzville Substation.  The Beltzville #2 Tap will not be connected to the Beltzville Substation until a second transformer is installed when future load increases make it appropriate to do so.  The Beltzville Taps will be designed and constructed for 138 kV operation, although, they initially will operate at 69 kV. 


The project will require a high tap structure that will be approximately 115 feet in height, and a low tap structure that wi11 be approximately 60 feet in height.  The remaining four poles, including two for load sectionalizing air break switches; wi11 be approximately 80 feet in height.  Each circuit will consist of three power conductors and one overhead ground wire.  The power conductors wi11 be 556.6 KCMIL, 24/7 strand ACSR.  The overhead ground wire wi11 be 3/8-inch steel and will provide lightning protection for the proposed Tap Lines. 



PPL Electric states that the proposed Tap Lines will be located on two parcels of land in Towamensing Township, Carbon County.  PPL Electric requires a new right-of-way over and across one residential property in order to construct the proposed Beltzville Taps.  This parcel is mostly a cultivated field with a residential dwelling and is traversed by existing transmission lines.  The owner has agreed to execute a right-of-way agreement for the required easement.  The second parcel is owned by PPL Electric. 


Because the proposed Beltzville Taps will be only 300 feet in length and will be installed in the vicinity of the existing East Palmerton-Wagners #1 and #2 138/69 kV and Susquehanna- Wescosville 500 kV Transmission Lines, it is anticipated that the Beltzville Taps will have minimal impacts on the area.  There will be little incremental environmental impact because the area is agricultural and is traversed by existing electrical facilities. 



PPL Electric states that the proposed Beltzville Taps are required to reduce load and the number of customers served by local distribution lines, improve reliability of service, and increase operational flexibility in the vicinity of Towamensing Township, Carbon County.  PPL Electric explains that the present facilities that supply that area exceed the normal planning guidelines based on PPL Electric's Reliability Principles and Practices ("RP&P").  These radial distribution lines exceed the RP&P by having excessive customers on each feeder.  The Beltzville Taps and the proposed Beltzville Substation will relieve the loading and reduce the number of customers on the existing distribution facilities.  The existing distribution lines are radial lines, which limit transfer capability and increases the duration of outages.  The project will eliminate the main radial portion of the existing distribution lines and provide a backup source to serve customer load and prevent outages.  Due to the small size of the tap lines and the presence of other transmission facilities in the area, it is anticipated that the Beltzville Taps will have minimal impacts on the area.  


PPL Electric states that proposed Beltzville Taps will not create any unreasonable risk of danger to the public health or safety.  The Beltzville Taps will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable NESC minimum standards and all applicable legal requirements.                 



The estimated cost of the Beltzville Taps is approximately $500,000. Construction is scheduled to commence in March 2010, to support an in-service date of November 2010. 
Upon review, the Commission finds that the PPL Electric’s Letter of Notification and manner in which it was filed conform to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the Tap Lines are less than two miles.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting.  We note that our approval of the Letter of Notification does not reach the issues of accounting treatment and cost recovery; THEREFORE,

IT IS ORDERED:


           That the Letter of Notification filed by PPL Electric Utilities Corporation with respect  to the Beltzville #1 & #2 138/69 kV Tap Lines in Towamensing 
Township, Erie County, PA, is hereby approved.

[image: image1.emf]

   BY THE COMMISSION,


   James J. McNulty


   Secretary
(SEAL)
ORDER ADOPTED: March 25, 2010
ORDER ENTERED: March 29, 2010
PAGE  
5

