	[image: image2.emf]
	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


April 1, 2010
M-2010-2166572
RICH BLAIR
RELIABILITY MANAGER
PECO ENERGY

2301 MARKET STREET

PHILADELPHIA, PA 19101

Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Blair:



On March 25, 2010, PECO Energy Company (PECO) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.


This request relates to service interruptions associated with heavy snow and high winds on February 9, 2010 and February 10, 2010.  PECO avers that the heavy snow and high wind caused trees and tree limbs to fall across electric distribution equipment.  This caused sustained service interruptions to 186,720 customers out of a total of 1,675,675 customers.  PECO states that the event caused service interruptions from February 9, 2010, at 23:59 p.m. until February 15, 2010, at 00:01 a.m.    


Upon review of the company’s filing, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).



In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.


If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION











Sincerely,








James J. McNulty







Secretary

Cc
Daniel Searfoorce, FUS


Dennis Hosler, Audits


Blaine Loper, CEEP


Darren Gill, CEEP


Elaine McDonald, FUS


Kathleen Aunkst, Secretary’s Bureau






































































































































































































