	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


April 27, 2010
M-2010-2171057
PATRICK J. CONTI
OPERATIONS CENTER MANAGER

DUQUESNE LIGHT COMPANY

2839 NEW BEAVER AVENUE

PITTSBURGH, PA 15233

Re:  
Request to the Pennsylvania Public Utility Commission for Exclusion of Major     
Outage for Reliability Reporting Purposes 
Dear Mr. Conti:



On April 16, 2010, Duquesne Light Company (Duquesne) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.


This request relates to service interruptions associated with heavy, wet snow that totaled over 20 inches in the service territory starting on February 5, 2010 and ending February 6, 2010 and caused significant damage to distribution facilities and numerous service outages.  Duquesne noted that the snow also caused accessibility issues with impassable roads.  Duquesne also noted that repairs included replacing 440 primary wires and equipment, 90 broken poles and 40 transformers.  A total of 130,184 customers experienced sustained outages out of a total of 580,000 customers in the service territory.  Duquesne states that the event caused service interruptions beginning February 5, 2010, at 6:00 pm, with full customer restoration on February 12, at 6:00 p.m.  


Upon review of the company’s filing, it appears that the service interruptions described by Duquesne qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).



In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.


If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION










Sincerely,








Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, FUS


Dennis Hosler, Audits


Blaine Loper, CEEP


Darren Gill, CEEP


Elaine McDonald, FUS


Kathleen Aunkst, Secretary’s Bureau






































































































































































































