Summary of

Electric to Natural Gas Space Heat Conversion Program

| Assumptions |  |  |
| --- | --- | --- |
| Description | Value | Source |
| Inflation Rate | 3.0% | Staff Analysis |
| Cost of Capital/ Discount Rate | 9.0% | Staff Analysis |
| Measure Life | 15 Years | TRM Order, page 14 |
| Electric Avoided Cost | See Attached | Staff Analysis (attached) |
| Natural Gas Avoided Cost | See Attached | Staff Analysis (attached) |
| Measure Cost | $8,600 | See “Equipment” tab in spreadsheet “SH Calculations” |
| Avoided Cost Alternate Fuel Eq. | $3,500 | See “Equipment” tab in spreadsheet “SH Calculations” |
| Electricity Usage Change - Erie | -10,771 kWh | See “Erie” tab in spreadsheet “SH Calculations” |
| Electricity Usage Change - Harrisburg | -8,032 kWh | See “HBG” tab in spreadsheet “SH Calculations” |
| Natural Gas Usage Change | +80/65 Mcf | Company – Erie/Harrisburg |
| Incentive | $8,600 | Company |
| Net-to-Gross Ratio | 1.0 | TRM Order, page 17 |
| Participation | 1 | Company |

Summary of

Electric to Natural Gas Space Heat Conversion Program (cont.)

| Results |  |  |
| --- | --- | --- |
| Test | Net Benefit | Benefit/Cost Ratio |
| Total Resource Cost Test – Erie/ Harrisburg | $8,948/$4,763 | 1.50/1.30 |
| Participant Test – Erie/Harrisburg | $14,048/$9,863 | 1.79/1.61 |
| Rate Impact Measure Test – Erie/ Harrisburg | $4,080/$2,359 | 1.14/1.11 |
| Program Administrator Cost Test – Erie/ Harrisburg | $8,948/$4,7636 | 1.63/1.38 |
| Total Energy Savings – Erie/Harrisburg | 45,383,015/28,319,622 Btus | - |

From the staff avoided cost spreadsheet; the escalation rate assumed for natural gas distribution costs.

See my escalation in out-years to accommodate a 15-year measure life.

Assumed to be equal to the measure cost.  Additional (electric and natural gas) incentives could be anticipated for higher efficiency equipment, although these incentives do not affect the current calculations.

Evaluated 1 participant, on the assumption that we are focused on the TRC ratio and that ratio will remain unchanged whether we have 1 or 1,000,000 participants.

Test result details attached as spreadsheets “SH Conversion Evaluation” for Erie and Harrisburg.

Assumes that the avoided cost is equal to the retail rate.

See calculations attached in the spreadsheet “SH Calculations.”