PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


          Public Meeting held July 15, 2010
Commissioners Present:

James H. Cawley, Chairman

      Tyrone J. Christy, Vice Chairman 
John F. Coleman, Jr.

Wayne E. Gardner 

Robert F. Powelson

Letter of Notification of PPL Electric

Utilities Corporation filed pursuant to
52 Pa. Code Chapter 57 Subchapter G,
With respect to the Middletown Junction-                                          A-2010-2171231

Copperstone 230 kV Transmission Line 
and the Copperstone-North Lebanon 230
kV Transmission Line in South Hanover 
Township, Dauphin County, Pennsylvania.
ORDER

BY THE COMMISSION:

On April 20, 2010, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification (“LON”) pursuant to 52 Pa. Code §57.72(d)(1)(vi) of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the right-of-way.
            (ii)       An HV line which is proposed to be located entirely within a public road.

(iii)  An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present           levels, so long as the size, character, design, or configuration of the          proposed HV line does not substantially alter the right-of-way.

(v)  An HV which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.  

(vi)    An HV line having a proposed route of 2 miles or less.


Copies of the LON were served in accordance with Section 57.72(d) (3) and 57.74 (b), (c) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, South Hanover Township Board of Supervisors, South Hanover Township Planning Commission, Dauphin County Planning Commission and Dauphin County Commissioners, as listed in the Certificate of Service.  No protests were filed.  No hearings were held.


PPL Electric proposes to construct the Copperstone Substation to reinforce the 230 kV and 69 kV systems in central Dauphin County.  The Project involves the construction of three separate transmission lines.  Each transmission line will connect to the proposed Copperstone Substation.  The three transmission lines are separate parts of a three-part transmission project, each of which is the subject of a separate filing with the Commission.


On February 12, 2010, PPL Electric filed a LON at Docket No. A-2010-2159604, requesting Commission approval of Part 1 of the transmission project
.  Part 1 of the transmission project involves the construction of the Copperstone-Harrisburg #1 & #2 138/69 kV Transmission Line, which will be approximately 1.33 miles in length.  It will tie into the existing PPL Electric Hummelstown-Harrisburg #3 & #4 69 kV Transmission Line, west of the existing Paxton 69-12 kV Substation, and will connect with the proposed Copperstone Substation.  A portion of the existing Hummelstown-Harrisburg #3 & #4 69 kV Transmission Line will be renamed the Copperstone-Harrisburg #1 & #2 138/69 kV Transmission Line.  The Copperstone-Harrisburg #1 & #2 138/69 kV Transmission Line will be designed and constructed for 138 kV operation, although it initially will operate at 69 kV. 


On March 16, 2010, PPL Electric filed a Letter of Notification at Docket No. A-2010-2164657, requesting Commission approval of Part 2 of the transmission project. Part 2 of the Project involves the construction of the Dauphin-Copperstone #1 & #2 138/69 kV Transmission Line, which will be approximately 0.53 miles in length.  It will tie into a portion of the existing PPL Electric Hummelstown-Harrisburg #3 & #4   69 kV Transmission Line, just west of the proposed Copperstone Substation, which in 
turn ties into the existing Dauphin-Paxton # 1 & #2 69 kV Transmission Line.  The resulting line, including this portion of the existing Hummelstown- Harrisburg  #3 & #4 69 kV Transmission Line and the entire Dauphin-Paxton #1 & #2 69 kV Transmission Line will be renamed the "Dauphin-Copperstone Line."  The Dauphin-Copperstone #1 & #2 138/69  kV Transmission Line will be designed and constructed for 138 kV operation, although initially will operate at 69 kV.



In this LON filed April 20, 2010, PPL Electric requests Commission approval of Part 3 of the transmission project, the siting and construction of the Middletown Junction-Copperstone 230 kV Transmission Line and the Copperstone-North Lebanon 230 kV Transmission Line (hereinafter, collectively the "Copperstone Lines"), which will be approximately 0.22 miles in length.  These single-circuit lines will connect the proposed Copperstone Substation with the existing Metropolitan Edison Company owned Middletown Junction-North Lebanon 230 kV Transmission Line in South Hanover Township, Dauphin County, Pennsylvania, by splitting this line near the proposed Copperstone Substation.  Both lines will be designed for and operated at 230 kV. 

According to PPL Electric, the Copperstone Substation and the three separate transmission lines are needed to relieve projected overloads on PPL Electric's 230 kV and 69 kV transmission systems in central Dauphin County. 


PPL Electric states that studies conducted for PPL Electric's system, in conjunction with the PJM Regional Transmission Expansion Process ("RTEP"), revealed that several violations of the North American Reliability ("NERC") standards are likely to occur on PPL Electric's 230 kV electric system in central Dauphin County under             N-I-I 
conditions in the summer of 2012.  The studies indicated the following N-l-l conditions would cause overloads: 

· By the summer of 2012, under forecasted summer peak load conditions, a forced outage of the Dauphin-Juniata 230 kV Transmission Line and a subsequent outage of the Hummelstown-Middletown Junction #1 230 kV Transmission Line would overload the Hummelstown-Middletown Junction #2-Steel Tap 230 kV Transmission Line. 

· By the summer of 2012, under forecasted summer peak load conditions, a forced outage of the Dauphin-Juniata 230 kV Transmission Line and subsequent outage of the Hummelstown-Middletown Junction #2-Steel Tap 230 kV Transmission Line would overload the Hummelstown-Middletown Junction #1 230 kV Transmission Line. 


Also, studies conducted for PPL Electric's transmission system, in conjunction with the PJM RTEP, also revealed that violations of PPL Electric's 
Reliability Principles and Practices (RP&P) are likely to occur on PPL Electric's 69 kV system in central Dauphin County in the summer of 2012.  The studies indicated that the following overloads would occur for single contingency operations: 

· The Dauphin 230-69 kV Substation is designed with two 230-69 kV transformers. By the summer of 2012, under forecasted summer peak load conditions, a forced outage of either transformer at the Dauphin 230-69 kV Substation would overload the remaining transformer. 

· The Hummelstown 230-69kV Substation is designed with three 230-69 kV transformers. By the summer of 2012, under forecasted summer peak load conditions, a forced outage of either transformer at the Hummelstown 230-69 kV Substation would overload the remaining 230-69 kV transformers. 
· By the summer of 2012, under forecasted summer peak load conditions, a forced outage of the Hummelstown-Harrisburg #1 and #2 69 kV Transmission Line circuits would cause overloads on the Hummelstown-Harrisburg #3 and #4 69 kV Transmission Line circuits. 

· By the summer of 2012, under forecasted summer peak load conditions, a forced outage of the Hummelstown-Harrisburg #4 69 kV Transmission Line circuit or the Harrisburg Substation 69 kV bus section #3, would cause overloads on the Hummelstown-Harrisburg #3 69 kV Transmission Line circuit. 

 
           PPL Electric states that to resolve these projected violations it plans to construct the proposed Copperstone Substation, together with the three separate transmission lines described above.  This reinforcement will resolve all the above-mentioned overloads, and will provide additional capacity for future electric system load growth. 


PPL Electric states that the proposed Copperstone Lines, which are Part 3 of the Project and the subject of this LON, will be located entirely in South Hanover Lower Township, Dauphin County, Pennsylvania.  



According to PPL Electric, the Copperstone Lines will be constructed using steel mono- and multi-poles that will be either direct embedded or installed on concrete foundations with an approximate above-ground height of 120 to 130 feet.  Angles structures and line structures may be guyed. The proposed lines will consist of two single-circuits, both of which will have three conductors and one overhead ground wire. The power conductors will be 1590 kcmil (thousands of circular mils), 
 45/7 strand aluminum conductor steel reinforced.  The overhead ground wire will be 1/2-inch steel and will provide lightning protection for the proposed transmission lines. 


PPL Electric states that the proposed Copperstone Lines will not create any unreasonable risk of danger to the public health or safety. The Copperstone Lines will be designed, constructed, operated, and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code (“NESC”) minimum standards and all applicable legal requirements.


PPL Electric also states that the work for the Copperstone Lines will be completed entirely on PPL Electric fee-owned property.  Consequently, no additional land or rights-of-way need to be acquired for the Copperstone Lines. 


PPL Electric states that visual impacts of Copperstone Lines are expected to be minimal based on the fact that the Copperstone Lines will be only 0.22 mile in length and will be in the vicinity of existing transmission facilities. 


PPL Electric also states that the Copperstone Lines were reviewed with representatives of South Hanover Township and Dauphin County.  The Township and the County have no objection to the Copperstone Lines.


The total estimated cost to design and construct the proposed three-part transmission line Project and Copperstone Substation is approximately $28 million, which includes the estimated $1,716,000 cost for the proposed Copperstone Lines.  Construction is scheduled to start in March 2011, for an in-service date of May 2012.
Upon review, the Commission finds that the PPL Electric’s Letter of Notification and manner in which it was filed conform to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the length of the transmission line to be constructed as part of the Project is less than two miles.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting; THEREFORE,

IT IS ORDERED:


           That the Letter of Notification filed by PPL Electric Utilities Corporation with respect to the Middletown Junction-Copperstone 230 kV Transmission Line and the 
Copperstone-North Lebanon 230 kV Transmission Line in South Hanover Township, Dauphin County, PA, is hereby approved.

[image: image1.png]



BY THE COMMISSION,


Rosemary Chiavetta

Secretary
(SEAL)
ORDER ADOPTED: July 15, 2010
ORDER ENTERED: July 21, 2010
� Simultaneously with its Letter of Notification for Part I of the Project, PPL Electric filed with the Commission a petition, pursuant to Section 619 of the Pennsylvania Municipalities Planning Code, Act of July 31, 1968, P.L. 805, as amended, 53 P.S. §10619, for a finding that will exempt the Copperstone Substation control equipment building from local zoning ordinances, if the building would otherwise be subject to local zoning ordinances.


2 The "Dauphin-Copperstone Line" will be operated at 138 kV when future load makes it appropriate to do so, at which time PPL Electric will seek Commission approval to reconstruct for 138 kV operation the portions of the Dauphin-Copperstone Line that were formerly named the Hummelstown-Harrisburg #3 & #4 69 kV and Dauphin�Paxton #1 & #2 69 kV Transmission Lines. 





� An N-1-1 condition is defined as one 230 kV line outage, followed by a subsequent second 230 kV line outage.





� A circular mil is the cross-sectional area of a wire one mil in diameter, where 1 kcmil = 0.5067 mm2 .





PAGE  
8

