	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


August 27, 2010

M-2010-2187142
RICH BLAIR
RELIABILITY MANAGER
PECO ENERGY

2301 MARKET STREET

PHILADELPHIA, PA 19101
Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Blair:



On July 8, 2010, PECO Energy Company (PECO) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.  On July 21, 2010, via email, PECO voluntarily extended the consideration period for the request for exclusion until August 31, 2010.  


This request relates to service interruptions associated with lightning, rain and high winds on June 24, 2010.  PECO avers that the lightning, rain and high winds caused trees and tree limbs to fall across electric distribution equipment and to damage aerial facilities.  This caused sustained service interruptions to 337,351 customers out of a total of 1,680,187 customers.  PECO states that the event caused service interruptions from June 24, 2010, at 11:09 p.m. until June 30, 2010, at 03:59 a.m.    


Upon review of the company’s filing and based upon a subsequent meeting and discussion between Commission Staff and PECO on August 6, 2010, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).


In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.


If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.








Sincerely,

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION











Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, FUS


Dennis Hosler, Audits


Blaine Loper, CEEP


Darren Gill, CEEP


Elaine McDonald, FUS


Kathleen Aunkst, Secretary’s Bureau






































































































































































































