BEFORE THE

PENNSYLVANIA PUBLIC UTILITY COMMISSION

Application of PPL Electric Utilities Corporation
:

Filed Pursuant to 52 Pa.Code Chapter 57, 

:

Subchapter G, For Approval Of The Siting And
:

A-2010-2152104

Construction Of The Effort Mountain #1 & #2
:

138 kV Taps In Chestnuthill And Polk Townships
:

Monroe County, Pennsylvania



:

Petition Of PPL electric Utilities Corporation

:

For A Finding That A Building To Shelter Control
:

Equipment At The Effort Mountain Substation
:

To Be Constructed In Chestnuthill Township,

:

A-2010-2153061

Monroe County, Pennsylvania Is Reasonably

:

Necessary For The Convenience Or Welfare

:

Of The Public





:

Application Of PPL Electric Utilities Corporation
:

Under 15 Pa.C.S. §1511(c) For A Finding And
:

Determination That The Service To Be Furnished
:

By The Applicant Through Its Proposed Exercise
:

Of The Power Of Eminent Domain To Acquire
:

A Right-Of-Way And Easement Over And Across
:

A-2010-2163154

The Lands Of Larue High For The Proposed

:

Effort Mountain #1 & #2 138 kV Taps In

:

Chestnuthill And Polk Townships, Monroe County,
:

Pennsylvania Is Necessary Or Proper For The

:

Service, Accommodation, Convenience Or Safety
:

Of The Public





:

Albert Barney





:








:


v.





:

C-2009-2107073fillin "Docket No." \d ""







:

PPL Electric Utilities Corporation


:

RECOMMENDED DECISION

Before

Wayne L. Weismandel
Administrative Law Judge

TABLE OF CONTENTS

I. 1HISTORY OF THE PROCEEDINGS


II. 6FINDINGS OF FACT


III. 19DISCUSSION


22A.
Standards For Approval Of The Siting Of Public Utility Facilities


24B.
Standards For Approval Of The Siting Of Substation Control Equipment Buildings


26C.
Standards For Approval To Exercise The Power Of Eminent Domain


27D.
Need For The Proposed Facilities


29E.
Alternative Solutions To Reinforce The Distribution System


F.
32Response To Ms. Hart


34G.
Siting


H.
38Engineering and Safety


1.
38Engineering


2.
40Electric and Magnetic Fields


41I.
Response to Ms. High


J.
42Response To Ms. Hart


44K.
Exemptions From Local Zoning


47L.
Eminent Domain


471.
The Service to be Provided is Necessary for the Service, Accommodation, Convenience, and Safety of the Public.


482.
Response to Ms. High


IV. 50CONCLUSIONS OF LAW


V. 53ORDER




I. HISTORY OF THE PROCEEDINGS TC "HISTORY OF THE PROCEEDINGS" \f C \l "1" 
On January 8, 2010, PPL Electric Utilities Corporation (PPL) filed with the Pennsylvania Public Utility Commission (Commission) its Application of PPL Electric Utilities Corporation Filed Pursuant To 52 Pa Code Chapter 57, Subchapter G, For Approval of The Siting And Construction of The Effort Mountain #1 & #2 138 kV Taps In Chestnuthill And Polk Townships, Monroe County, Pennsylvania (Siting Application), at Docket No. A-2010-2152104.

On January 15, 2010, PPL filed with the Commission its Petition of PPL Electric Utilities Corporation For A Finding That a Building To Shelter Control Equipment At The Effort Mountain Substation To Be Constructed in Chestnuthill Township, Monroe County, Pennsylvania is Reasonably Necessary For The Convenience Or Welfare Of The Public (Zoning Petition), at Docket No. A-2010-2153061.

On March 4, 2010, PPL filed with the Commission its Application Of PPL Electric Utilities Corporation Under 15 Pa.C.S. §1511(c) For A Finding And Determination That The Service To Be Furnished By The Applicant Through Its Proposed Exercise Of The Power Of Eminent Domain To Acquire A Right-Of-Way And Easement Over And Across The Lands Of Larue High For The Proposed Effort Mountain #1 & #2 138 kV Taps In Chestnuthill And Polk Townships, Monroe County, Pennsylvania Is Necessary Or Proper For The Service, Accommodation, Convenience Or Safety Of The Public (Eminent Domain Application), at Docket No. A-2010-2163154.

On May 13, 2009, Albert Barney (complainant) filed with the Commission a Formal Complaint (Barney Complaint), docketed at Docket No. C-2009-2107073.  The Barney Complaint pertains to the proposed Effort Mountain Taps.  On June 3, 2009, PPL filed an Answer and New Matter Responding to the Formal Complaint.  On February 23, 2010, PPL served Mr. Barney with complete copies of the Siting Application and Zoning Petition, together with the accompanying Exhibits and Appendices.  Issues related to the Formal Complaint are interrelated with the Siting Application, Zoning Petition, and Eminent Domain Application.

On March 10, 2010, PPL filed and served a Motion to Consolidate (Consolidation Motion) at all four Docket Numbers (A-2010-2152104, A-2010-2153061, A-2010-2163154 and C-2009-2107073).

By Notice dated March 10, 2010, an Initial Prehearing Conference was scheduled in each of the above-captioned cases for March 23, 2010, and the cases were assigned to me.

By Order Consolidating Proceedings dated March 11, 2010, the above-captioned cases were consolidated for hearing, briefing, and adjudicating.

On March 12, 2010, PPL filed proofs of publication from the Pocono Record, a newspaper of general circulation in the area that is the subject of this consolidated case, stating that notices had appeared on January 20, 2010, January 27, 2010, and February 3, 2010.  Among other things, the published notices advised that a Prehearing Conference would be held on Tuesday, March 23, 2010, at 10:00 a.m. in Hearing Room #2 in the Commonwealth Keystone Building, 400 North Street, Harrisburg, Pennsylvania.

Also on March 12, 2010, I issued a Prehearing Conference Order in the consolidated case.  The Prehearing Conference Order required, among other things, that Initial Prehearing Conference memoranda be filed and served on or before March 22, 2010, and set forth the required minimum contents thereof.
On March 18, 2010, PPL served its written direct testimony in the consolidated case.
Of the parties to the consolidated case
, only PPL filed and served the required Initial Prehearing Conference memorandum, due on March 22, 2010.

The Prehearing Conference was held in the consolidated case on March 23, 2010.  PPL was present and participated.  Despite notice, neither Albert Barney, Suzanne A. Hart, nor Larue High attended or participated.  Pursuant to the provisions of 52 Pa.Code § 5.222( e), certain procedural matters and a schedule for the proceeding were established.
  A transcript of the proceeding containing 19 pages was produced.

On March 25, 2010, I issued a Scheduling And Briefing Order in the consolidated case.  Among other things, the Scheduling And Briefing Order provided required service dates for written testimony by the parties.
By Hearing Notice dated March 26, 2010, an Initial and further Hearing was scheduled in the consolidated case for July 13, 14 and 15, 2010, in accordance with the provisions of the Scheduling And Briefing Order.
On April 12, 2010, PPL served PPL Exhibits CJB-l and CJB-2 that were omitted from PPL Statement No.5 - Charles J. Boytin when PPL served its written direct testimony on March 18, 2010.
On April 26, 2010, Joseph P. Hanyon, Esquire, sent me, under cover letter dated March 29, 2010, a Praecipe For Entry Of Appearance on behalf of Larue High, and a Motion For Continuance.  Mr. Hanyon’s submittal did not include a certificate of service.
By transmittal memorandum dated April 26, 2010, I forwarded Mr. Hanyon’s submittal to the Commission’s Secretary’s Bureau and requested that they be scanned into InfoMAP and filed in the appropriate folders in the Secretary’s Bureau.
Also on April 26, 2010, I faxed copies of my transmittal memorandum and Mr. Hanyon’s submittal to counsel for PPL.
On May 17, 2010, PPL filed and served its Answer to the Motion For Continuance.  PPL’s Answer to the Motion For Continuance was served on both Larue High and Joseph P. Hanyon, Esquire, among others.
As set forth in PPL’s Answer to the Motion For Continuance, though submitted under a cover letter dated March 29, 2010, (addressed to me rather than to the Commission’s Secretary’s Bureau), Mr. Hanyon’s submittal was not received in the Office of Administrative Law Judge until April 26, 2010, long after the Prehearing Conference held on March 23, 2010.  The only reason Mr. Hanyon’s submittal now appears as a part of the record in this consolidated case is because I took the appropriate action to see that it was filed with the Commission’s Secretary’s Bureau and served on counsel for PPL.  Obviously, with respect to the Prehearing Conference, the Motion For Continuance was moot.  The Motion For Continuance itself is unclear as to what, exactly, it wants continued (though it appears to be the same in content as that included in Mr. Hanyon’s telefacsimile received on March 23, 2010, which could have only been addressing the Prehearing Conference).
Consequently, by Order Denying Continuance Motion dated May 18, 2010, Mr. Hanyon’s Motion For Continuance was denied.

On or about May 27, 2010, both Suzanne Hart and Larue High served their respective written direct testimony in the consolidated case.

On June 18, 2010. PPL served its written rebuttal testimony in the consolidated case.
On or about July 3, 2010, both Suzanne Hart and Larue High served their respective written rebuttal testimony in the consolidated case.

The Initial Hearing convened as scheduled on July 13, 2010.PPL appeared through counsel and presented eight witnesses.  PPL introduced into evidence the testimony of its witnesses and , without objection, PPL Exhibits 1, 2, 3, B, C, D, E, CJB-1, CJB-2 and Appendices 4 and 5, and PPL Statements 1, 2, 3, 4, 5, 6, 7, 8, 11,12, 14, 15, 19 and 20.  Suzanne Hart appeared pro se and provided evidence in the form of her own testimony and the introduction of Hart Exhibits A and B.  Larue High appeared pro se (though Mr. Hanyon remains her attorney of record) and provided evidence in the form of her own testimony and the introduction of High Exhibits A and B.  The Hearing was completed on July 13, 2010, and consequently the additional Hearing days of July 14 and 15, 2010 were canceled.  A transcript of the proceeding containing 93 pages (numbered 20 through 112) was produced.

By letter dated July 23, 2010, I provided the parties with copies of ex parte communications that I received from Margaret Dressler and from Stuart Thody.

By letter dated July 28, 2010, I provided the parties with copies of ex parte communications that I received from Davia Sacks Markowitz.

By letter dated August 5, 2010, I provided the parties with copies of ex parte communications that I received from Joseph S. Werzul, Sr.

By letter dated August 10, 2010, I provided the parties with copies of ex parte communications that I received from Linda Snyder.

On August 11, 2010, PPL, Suzanne Hart, and Larue High each filed and served their respective Main Brief.

On August 25, 2010, PPL, Suzanne Hart, and Larue High each filed and served their respective Reply Brief.

In accordance with the terms of the Scheduling And Briefing Order dated March 25, 2010, the record in this case closed on August 25, 2010.

II.
FINDINGS OF FACT TC "II.
FINDINGS OF FACT" \f C \l "1" 
1. PPL is a public utility and electric distribution company subject to the regulatory jurisdiction of the Commission.  (PPL Exhibit 3. p. 3)
2. PPL furnishes electric distribution, transmission and supplier of last resort services to approximately 1.4 million customers in a service area that includes approximately 10,000 square miles covering all or portions of twenty-nine counties in eastern and central Pennsylvania.  (PPL Exhibit 3. p. 3)
3. PPL seeks Commission approval for the siting and construction of the Effort Mountain #1 & #2 138 kV Taps (Effort Mountain Taps); a finding that a building to shelter control equipment at the Effort Mountain 138-12 kV Substation (Effort Mountain Substation) site is reasonably necessary for the convenience or welfare of the public; and findings that the exercise of the power of eminent domain to acquire right-of-way and easement across the land of Larue High is necessary or proper for the service, accommodation, convenience, or safety of the public.
4. Transmission lines have a maximum rated thermal capacity, which is the maximum electrical current they can safely carry.  When a transmission line overloads, the conductor, the hardware securing the conductor and the line terminal equipment begin to overheat.  Overloading transmission lines may cause permanent damage to transmission infrastructure and catastrophic power outages.  (PPL Statement No. 1, p. 8)
5. Through a detailed system planning process and application of PPL’s planning guidelines, PPL identifies facilities that require reinforcement to enable it to continue to provide adequate and reliable service to the public and plan appropriate measures to assure reasonably continuous supply to the entire regional load, even during adverse conditions.  In order to assure that PPL’s transmission and distribution systems can supply load reliably during summer and winter peak conditions and provide service at an acceptable voltage level through the daily load cycle, PPL has adopted a set of defined planning standards, which are set forth in PPL’s Reliability Principles and Practices manual (RP&P).  (PPL Statement No. 1, pp. 4-5)
6. Through its system planning process, PPL identified several distribution lines and transformers in the Sun Valley/Jonas area that are overloaded as a result of load growth due to housing development.  (PPL Statement No. 1, p. 6)
7. The Sun Valley/Jonas area presently receives its distribution services from the Meckesville 69-12 kV Substation and two 12 kV distribution lines:  the Meckesville 69-1 12 kV distribution line and the Meckesville 69-2 12 kV distribution line.  (PPL Statement No. 1, p. 6)
8. The number of customers served from the Meckesville 69-1 12 kV distribution line has increased by an average of 3 percent per year since 2004.  The 2011 winter load on the Meckesville 69-1 12 kV distribution line is projected to be 10.2 MVA, which exceeds the normal planning guideline of 10 MVA.  (PPL Statement No. 1, pp. 7-8)
9. The number of customers served from the Meckesville 69-2 12 kV distribution line has increased by an average of 6 percent per year since 2004.  The Meckesville 69-2 12 kV distribution line began to exceed its normal planning guidelines of 11 MVA in 2006, and it exceeded the emergency guideline of 13 MVA in 2008.  In January, 2010, the load on the Meckesville 69-2 kV distribution line was 13.4 MVA.  The 2011 winter load on the Meckesville 69-2 12 kV distribution line is projected to be 15.2 MVA, and the 2013 winter load is expected to exceed the thermal guideline of 17 MVA.  (PPL Statement No. 1, pp. 7-8)
10. The transformers at the Meckesville 69-12 kV Substation are projected to become overloaded in 2011.  (PPL Exhibit 3, p. 8)
11. Load transfer capability in the Sun Valley/Jonas area is limited, especially at times of peak loads, because loads on neighboring circuits are also approaching their emergency planning guidelines.  (PPL Statement No. 1, pp. 8-9)  Because there is limited capacity available to transfer load away from the transformers at the Meckesville 69-12 kV Substation to other transformers, a transformer failure at the Meckesville 69-12 kV Substation would lead to an extended outage for more than 3,000 customers until repairs could be made or a transformer could be replaced.  (PPL Statement No. 1, p. 9)
12. The Sun Valley/Jonas area is one of PPL’s poorest performing areas in terms of the number of service outages, duration of outages, and number of customer affected.  (PPL Statement No. 1, p. 3)
13. Even if no further load growth were to occur, the distribution system in the Sun Valley/Jonas area needs to be reinforced.  (PPL Statement No. 11, p. 2)
14. Energy efficiency and alternative energy programs would not resolve the overloading that presently exists on these distribution facilities.  (Tr. 84-86)
15. A new source of supply to an overloaded distribution line or transformer would not resolve the overload condition.  (PPL Statement No. 11, p. 4)
16. Fuel cells or microgrids are experimental, unproven, and expensive compared to the traditional electrical distribution systems.  (PPL Statement No. 11, pp. 4-5; Tr. 89-90)
17. PPL currently employs certain smart devices and remote operator control devises on its distribution system, and plans to install these same devices on the proposed facilities.  Such facilities cannot resolve overload conditions on the distribution lines and transformers serving the Sun Valley/Jonas area.  (Tr. 90-91)
18. After identifying these reliability issues, PPL examined various electrical solutions, or functional configurations, to enable it to continue to provide adequate and reliable service to the public and plan appropriate measures to assure reasonably continuous supply to the Sun Valley/Jonas area.  (PPL Statement No. 1, pp. 9-10, 12)
19. PPL considered the possibility of enhancing the capabilities of the existing facilities in the Sun Valley/Jonas area, which would involve building two new lines from the Meckesville Substation to relieve the existing 69-1 and 69-2 12 kV distribution lines.  Due to the limited availability of routes from the Substation, however, the new lines would have to be attached to existing poles for the 69-1 and 69-2 12 kV lines.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Ex. B, p. 8)
20. The method of construction for Alternative 1 would be expensive and would not reduce outages because having two distribution circuits on the same poles would expose both circuits to the same hazards that cause outages.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Ex. B, p. 8)
21. Alternative 1 would require the transformers at the Meckesville Substation to be replaced with larger units because the loads on the existing transformers at the Meckesville Substation are approaching their capacities.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Ex. B, p. 8)
22. Under Alternative 1, an additional substation to the east of the Meckesville Substation would be needed in the future.  After the new substation is built, the two new lines from the Meckesville Substation under Alternative 1 would no longer be needed and would represent a wasted asset.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Ex. B, p. 8)
23. Alternative 1 is inferior to the Preferred Alternative because upgrading the existing facilities would not provide the same reliability benefits, load relief, or operating flexibility that a new substation would provide.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Ex. B, p. 8)
24. Alternative 2 requires the construction of two substations.  One substation would be built north of the existing Meckesville 69-2 12 kV line and the second substation would be built approximately 1.5 miles south of the proposed Effort Mountain 138-12 kV Substation.  (PPL Statement No. 1, pp. 13-14; PPL Exhibit 1, Ex. B, pp. 8-9)
25. The first substation would relieve the Meckesville 69-2 12 kV line.  New 12 kV lines from the substation would provide a tie with the Meckesville 69-2 12 kV line.  The new substation would be supplied by extending the existing Meckesville 69 kV tap, which is supplied from the East Palmerton-Wagners # 1 69 kV radial line.  (PPL Statement No. 1, pp. 13-14; PPL Exhibit 1, Ex. B, pp. 8-9)
26. The second substation, to the south of the Meckesville 69-2 line, would relieve the heavily loaded Meckesville 69-1 12 kV line.  This new substation would be supplied by tapping the Siegfried-Jackson #1 138 kV line.  Load from the Meckesville 69-1 12 kV line would be transferred to new 12 kV lines at the new substation.  This would reduce the number of customers fed from the Meckesville 69-1 12 kV line and create an additional tie for this line.  (PPL Statement No. 1, pp. 13-14; PPL Exhibit 1, Ex. B, pp. 8-9)
27. The East Palmerton-Wagners # 1 69 kV line used to supply the first substation is already heavily loaded, and the voltage at the end of the East Palmerton-Wagners # 1 69 kV line is approaching PPL’s RP&P standard at 62 kV.  Adding more load to an already heavily loaded transmission line is not good transmission system planning.  (PPL Statement No. 1, pp. 13-14; PPL Exhibit 1, Ex. B, pp. 8-9)
28. Alternative 2 would require over 7.7 miles of transmission facilities, two substations, and additional distribution facilities at an estimated cost of $12 million.  The Preferred Alternative provides greater reliability, load relief, and operating flexibility, while building fewer facilities at a lower cost.  (PPL Statement No. 1, p. 14; PPL Exhibit 1, Ex. B, pp. 8-9)
29. PPL’s preferred functional configuration was to construct a new Effort Mountain 138-12 kV Substation, together with new 12 kV distribution lines in Chestnuthill and Polk Townships, Monroe County.  (PPL Statement No. 1, p. 10; PPL Exhibit 1, Ex. B, p. 7)
30. One 12 kV distribution line from the Effort Mountain Substation will extend north and serve a portion of the Indian Mountain Lakes Development, thereby reducing the load on the Meckesville 69-2 12 kV distribution line.  This new 12 kV line will serve approximately 1,400 customers.  The second line from the Effort Mountain Substation will extend south and serve residential developments along Jonas Road and State Route 534.  This line will relieve the Meckesville 69-1 12 kV distribution line.  This second 12 kV line will serve approximately 1,500 customers.  (PPL Statement No. 1, p. 10; PPL Exhibit 1, Ex. B, p. 7)
31. The new Effort Mountain Substation will provide a source that is located centrally to the load it will serve.  Locating the substation central to the load it will serve will increase reliability and operating flexibility.  It will also reduce the length of the distribution lines, thereby reducing their exposure to damage.  Further, reducing the number of customers served by any one distribution line will reduce the number of customers affected by a line outage and reduce restoration times.  (PPL Statement No. 1, pp. 10-11; PPL Exhibit 1, Ex. B, p. 7)
32. The Effort Mountain Taps will supply the Effort Mountain Substation from the existing Siegfried-Jackson 138 kV Transmission Lines to the new Effort Mountain Substation.  These Taps will be designed for future 138 kV double circuit operation.  Initially, only one 138 kV circuit will be installed on 4.6 miles of the line.  The second 138 kV circuit will not be installed until needed to serve future load growth.  Both 138 kV circuits will be installed on the remaining 1.1 miles of the line, but the second circuit initially will operate as a distribution line at 12 kV and will be increased to 138 kV operation in the future as appropriate to serve future load growth.  (PPL Statement No. 1, pp. 11; PPL Exhibit 1, Ex. B, p. 7)
33. The estimated cost to site, design and construct the Effort Mountain Taps is approximately $5,721,030.  The total estimated cost of the Effort Mountain Project, including transmission, distribution, and substation, is $8,755,000.  Construction of this project is scheduled to begin in October, 2010 to meet an in-service date of November, 2011.  (PPL Statement No. 1, p. 3)
34. PPL retained the services of URS Corporation to facilitate its analysis of the route selection.  (PPL Statement No. 2, p. 6)  URS Corporation provides engineering, construction and technical services for, among other things, transmission and gas pipeline siting.  URS Corporation uses a siting methodology adapted from a protocol developed by the Electric Power Research Institute and the Georgia Transmission Corporation (EPRI-GTC).  This “opportunity and constraint” methodology has been used by URS and other consultants for many years in transmission and other siting studies.  The EPRI-GTC process offers an excellent framework for siting analysis when used with appropriate modifications.  (PPL Statement No. 4, pp. 2-3)
35. PPL’s Siting Team, in conjunction with URS Corporation, conducted multi-faceted analysis to determine the preferred route for the Effort Mountain Taps in accordance with the Commission’s regulations at 52 Pa.Code § 57.72(c).  This analysis included designation of a “Study Area,” compilation of an environmental inventory, identification of alternative routes, analysis of the alternative routes, and selection of the proposed line route.  (PPL Exhibit 1, Ex. D; PPL Statement No. 2, p. 6)
36. The Study Area for the project is approximately 42.3 square miles and is generally bordered by State Route 534 to the west, the existing PPL Siegfried-Jackson 138/69 kV line to the south, a Williams Transco Gas pipeline to the east, and the Pohopoco Mountain to the north.  (PPL Statement No. 2, p. 4; PPL Exhibit 1, Ex. C, Figure C-1)
37. PPL conducted a detailed environmental inventory to identify and locate environmental factors that need to be considered when evaluating and selecting transmission line routes.  (PPL Statement No. 2, p. 8)
38. PPL sought route corridors that would avoid or minimize impacts on social and natural environmental features while meeting the functional and economic goals of the Effort Mountain Project.  (PPL Statement No. 2, pp. 6-9)
39. PPL identified alternative routes for the Effort Mountain Taps that connected the Siegfried-Jackson 138 kV Transmission Lines to the proposed Effort Mountain Substation.  (PPL Statement No. 2, p. 9)
40. Based on the siting methodology, field surveys, and public input, PPL modified the alternative routes to reduce impacts, increase distances from residential properties, and move them to the edges of forests in order to decrease the transmission line’s visibility.  The modifications resulted in four alternative routes:  Route A, Route A1, Route B, and Route B1.  (PPL Exhibit No. 1, Ex. D, pp. 27-34)
41. PPL utilized a quantitative and qualitative analysis to compare the alternative line routes.  The comparison produce a preferred route, Route B1, based upon a detailed analysis of comments from the public, societal concerns, environmental impacts, engineering considerations, and cost.  (PPL Exhibit No. 1, Ex. D, pp. 35-51)  The analysis of the four alternative routes is summarized below:
Comparison of Route B1 with Route B:

Route B1 impacts a greater number of residences within 300 feet of the proposed route.  Route B would have a greater impact on the environment because it would cross a greater number of potential wetlands and floodplains.  Route B would require more special permits and studies based on the greater number of potential wetlands and floodplains.  The construction of Route B would also be more complex due to the presence of steep slopes and the number of proposed turns located along Route B.  Route B would result in more schedule delays due to the permitting needs and construction complexity.
Comparison of Route B1 with Route A:

Route A would cross a greater number of wetlands, streams, and floodplains.  Route A would have more road crossings and require construction in steep slope areas.  Route A would be longer in length.  Route A would be located in a more densely populated area.  Route A would be more visible.  Route A would require more special permits and studies based on the greater number of potential wetlands, streams, and floodplains.  The construction of Route A would also be more complex due to the presence of steep slopes and the need for intricate crossings of the Pohopoco Creek.  Route A would result in more schedule delays due to the permitting needs and construction complexity.
Comparison of Route B1 with Route A1:

Route A1 would cross a greater number of potential wetlands.  Route A1 would require more clearing of forested areas.  Route A1 would have more road crossings and require construction in steep slope areas.  Route A1 would be longer in length.  Route A1 would require more special permits and studies based on the number of potential wetlands, streams, and floodplains.  The construction of Route A1 would also be more complex due to the presence of steep slopes and the need for intricate crossings of the Pohopoco Creek.  Route A1 would result in more schedule delays due to the permitting needs and construction complexity. 

(PPL Electric Statement No. 2, pp. 11-15)
42. Route B1 was superior to the alternative routes because it has the least overall adverse impact of all the routes giving consideration to the many factors that enter into selecting a transmission line route.  (PPL Statement No. 2, p. 17; PPL Statement No. 3, p. 7)
43. PPL sought additional public input, which resulted in a modified alignment of Route B1.  The realignment involved moving the line further into the Jonas Mountain Preserve.  As part of the realignment, PPL coordinated the purchase of an adjacent forested parcel of land, which PPL donated to the Jonas Mountain Preserve thereby substantially expanding the reserve and protecting the additional land from future development.  By these means, PPL resolved the concerns of the residents of Birch Hollow Estates, the Pocono Heritage Land Trust, which owns and manages the Jonas Mountain Preserve, and the owners of the adjacent forested parcel of land, the Knappenberger tract, that will become part of the Jonas Mountain Preserve.  (PPL Exhibit 1, Ex. D, pp. 32-34)
44. The modified version of Route B1 will have the least impact on surrounding areas.  (PPL Exhibit 1, Ex. D, pp. 53-55)  PPL anticipates no disturbance to these identified wetlands, which can be easily spanned.  (PPL Statement No. 2, p. 15)  PPL is committed to obtaining all permits necessary prior to the construction of the Effort Mountain Taps, and will comply with all requirements for issuance of the permits.  (PPL Statement No. 2, pp. 15-16)
45. The selected route was designed to avoid as many impacts as practical.  Where such impacts are unavoidable, PPL will employ mitigating measures to minimize such impacts.  (PPL Statement No. 2, p. 16)
46. Streams are not materially affected by transmission lines that merely span them.  Importantly, the selected route does not cross the main stems of the named streams but, rather, only crosses smaller tributaries of the main stems that can be easily spanned.  (PPL Statement No. 14, p. 5)
47. PPL is unable to run distribution lines parallel to State Routes 534 and 115 because the right-of-way width along these roads is not wide enough to accommodate the structures needed to maintain proper clearances needed to comply with the National Electrical Safety Code (NESC).  (Tr. 101)  Further, there are many residential dwellings located along State Route 534, State Route 115, and the Toll Road, and the curtilage of many of these dwellings would be within 100 meters from the routes along these roads.  (Tr. 101-02)
48. To mitigate the impact of vegetation clearing, PPL will use selective tree clearing as set forth in PPL’s “Specification for Initial Clearing and Control and Maintenance of Vegetation on or Adjacent to Electric Line Right-of-Way through Use of Herbicides, Mechanical and Hand Clearing.”  (PPL Statement No. 2, p. 16)
49. The construction of the Effort Mountain Taps across farmland will not alter the environmental characteristics of the farmland, which is not immune from invasive species, and would not change the type of flora that would grow on farmland.  (PPL Statement No. 12, p. 5)
50. The portion of Ms. High’s property that would be crossed by the selected route is not actively farmed.  (PPL Statement No. 12, pp. 4-5)  PPL will take steps to minimize the impact of the Effort Mountain Taps on farming operations on the High property by designing the line to place only one steel mono-pole on the farmable land of Ms. High, and other steel poles will be located in existing woodlands or along edges of woodlands, which will have little impact to potential farming activities.  (PPL Statement No. 12, p. 5)
51. Undergrounding high voltage 138kV lines would have a significantly higher cost than constructing the line overhead.  Due to this cost increase, which would be passed on to all PPL customers, it is not practical to construct the high voltage Effort Mountain Taps underground where overhead construction is feasible.  (PPL Statement No. 12, p. 6)
52. The Effort Mountain Taps will be designed and constructed according to, and will meet or exceed, all applicable NESC minimum standards.  All of the clearance and thermal ratings meet, or exceed, the requirements of the NESC.  (PPL Statement No. 3, p. 5)
53. PPL has adopted a Plan for Magnetic Field Management.  (PPL Exhibit 1, Ex. E, p. 3; PPL Exhibit 1, Appendix 4)  Consistent with this Plan, PPL will reverse phase the proposed Effort Mountain Taps where there are two circuits and increase pole heights by 5 feet above the minimum height required by the NESC.  (PPL Statement No. 3, p. 6)

54. PPL filed at Docket No. A-2010-2153061 a Zoning Petition pursuant to 52 Pa.Code § 5.41 and Section 619 of the Pennsylvania Municipalities Planning Code (MPC), 53 Pa.C.S. § 10619, requesting a finding that a building to shelter control equipment at the proposed Effort Mountain Substation Site in Chestnuthill Township, Monroe County (Control Equipment Building) is reasonably necessary for the convenience or welfare of the public and, therefore, exempt from local zoning regulations.
55. The combination of the Effort Mountain Taps and the proposed Effort Mountain Substation are required to address and remedy the existing and projected overloaded conditions on distribution lines and transformers in the Sun Valley/Jonas area and permit PPL to continue to provide adequate and reliable service in that area.  The Effort Mountain Taps will supply the new Effort Mountain Substation, which will transform the electricity to 12 kV distribution levels and feed local distribution lines.  (PPL Statement No. 6, pp. 3-4)
56. The location of the Effort Mountain Substation is advantageous because it is central to the load that it will serve.  Having a centrally located substation is advantageous because distribution lines fed from the substation will be shorter, which reduces costs and improves the reliability of service because the distribution will have less exposure to damage from hazards such as falling trees and motor vehicles.  (PPL Statement No. 6, pp. 5-6)
57. The substation will not operate without the equipment contained inside the Control Equipment Building.  (PPL Statement No. 6, p. 4)
58. Consistent with the Commission’s policy statement at 52 Pa.Code § 69.1101, it is PPL’s policy to adopt all reasonable suggestions from local governments, including Chestnuthill Township, to the extent that they can be implemented at a reasonable cost and that they would not interfere with the construction or effective operation of the proposed facilities.  (PPL Statement No. 7, p. 6)
59. PPL reviewed the Zoning Ordinance of Chestnuthill Township.  (PPL Statement No. 7, pp. 4-5)
60. The Chestnuthill Township Zoning Ordinance classifies the substation site as R-1, Low Density Residential.  Pursuant to Section 306.B.1 of Chestnuthill Township’s Zoning Ordinance, construction of a Public Utility Facility is not permitted in an R-1, Low Density Residential area.  Also, it is unlawful under the Chestnuthill Township Zoning Ordinance to erect a building without a building permit.  (PPL Statement No. 7, pp. 3-4)
61. The required in-service date for the Effort Mountain Substation is the same as the Effort Mountain Taps, November 2011.  (PPL Statement No. 1, p. 3)   If PPL were required to obtain a Zoning Permit prior to construction of the Control Equipment Building, the process, including appeals from adverse determinations, could consume substantial time, which could delay the construction of the Effort Mountain 138-12 kV Substation.  (PPL Statement No. 7, p. 4)
62. Chestnuthill Township and its Planning Commission, and Monroe County and its Planning Commission have not opposed PPL’s Zoning Petition.
63. PPL seeks a finding and determination by the Commission that the service to be furnished by PPL through its proposed exercise of the power of eminent domain to acquire a right-of-way and easement over and across the land of Larue High for the construction, operation, and maintenance of the proposed Effort Mountain Taps is necessary or proper for the service, accommodation, convenience, or safety of the public.
64. The route of the proposed Effort Mountain Taps crosses three tracts of land that are owned by Larue High.  The property is approximately 352 acres located in Chestnuthill and Polk Townships, Monroe County, Pennsylvania.  The property is fallow agricultural land that is not currently used for farming purposes.  (PPL Statement No. 8, p. 6)
65. PPL attempted to purchase rights-of-way and easements but was unable to reach an agreement with Ms. High.  (PPL Statement No. 8, p. 6).  The Real Estate Specialists from PPL met with Ms. High on several occasions in an attempt to negotiate an amicable agreement for a right-of-way over Ms. High’s property.  (PPL Statement No. 19, pp. 5-6)  The Real Estate Specialists did not threaten Ms. High.  (PPL Statement No. 19, p. 7)  The Real Estate Specialists treated Ms. High in a respectful and fair manner.  (PPL Statement No. 15, p. 4)  PPL’s Real Estate Specialists followed the Commission’s regulations regarding disclosure of the power of eminent domain.  (PPL Statement No. 19, pp. 6-7)
66. PPL must be able to route the Effort Mountain Taps over and across the property of Ms High in order to site, construct, and operate that line at the selected route.  (PPL Statement No. 8, p. 6)
67. The proposed right-of-way and easement over Ms. High’s property will not cross any place of public worship, burying ground, dwelling or its reasonable cartilage.  Although a dwelling is located on the property, it is approximately 450 feet from the right-of-way at its nearest point.  (PPL Statement No. 8, p. 7; Tr. 106-107)

III.
DISCUSSION TC "III.
DISCUSSION" \f C \l "1" 
The party seeking a Commission order in its favor has the burden of proof in this case.  66 Pa.C.S.A. § 332(a).  In Docket Numbers A-2010-2152104, A-2010-2153061 and A-2010-2163154 this party is PPL.  In Docket Number C-2009-2107073 it is Mr. Barney who has the burden of proof.
The “burden of proof” is composed of two distinct burdens: the burden of production and the burden of persuasion.  Hurley v. Hurley, 2000 Pa.Super. 178, 754 A.2d 1283 (2000).

The burden of production, also called the burden of producing evidence or the burden of coming forward with evidence, determines which party must come forward with evidence to support a particular proposition.  This burden may shift between the parties during the course of a trial.  If the party (initially, this will usually be the complainant, applicant, or petitioner, as the case may be) with the burden of production fails to introduce sufficient evidence the opposing party is entitled to receive a favorable ruling.  That is, the opposing party would be entitled to a compulsory nonsuit, a directed verdict, or a judgment notwithstanding the verdict.  Once the party with the initial burden of production introduces sufficient evidence to make out a prima facie case, the burden of production shifts to the opposing party.  If the opposing party introduces evidence sufficient to balance the evidence introduced by the party having the initial burden of production, the burden then shifts back to the party who had the initial burden to introduce more evidence favorable to his position.  The burden of production goes to the legal sufficiency of a party’s case.

Having passed the test of legal sufficiency, the party with the burden of proof must then bear the burden of persuasion to be entitled to a verdict in his favor.  “[T]he burden of persuasion never leaves the party on whom it is originally cast, but the burden of production may shift during the course of the proceedings.”  Riedel v. County of Allegheny, 159 Pa.Cmwlth. 583; 591, 633 A.2d 1325; 1328 n. 11 (1993).  The burden of persuasion, usually placed on the complainant, applicant, or petitioner
, determines which party must produce sufficient evidence to meet the applicable standard of proof.  Hurley v. Hurley, 2000 Pa.Super. 178, 754 A.2d 1283 (2000).  It is entirely possible for a party to successfully bear the burden of production but not be entitled to a verdict in his favor because the party did not bear the burden of persuasion.  Unlike the burden of production, the burden of persuasion includes determinations of credibility and acceptance or rejection of inferences.  Even unrebutted evidence may be disbelieved.  Suber v. Pa. Comm’n on Crime and Delinquency, 885 A.2d 678 (Pa.Cmwlth. 2005), app. denied, 586 Pa. 776, 895 A.2d 1264 (2006).  In order to bear the burden of proof and be entitled to a decision in his favor, a party must bear both the burden of production and the burden of persuasion.

To establish a sufficient case and satisfy the burden of proof, complainant must show that respondent is responsible or accountable for the problem described in the Complaint.  Patterson v. Bell Telephone Company of Pennsylvania, 72 Pa. PUC 196 (1990), Feinstein v. Philadelphia Suburban Water Company, 50 Pa. PUC 300 (1976).  Such a showing must be by a preponderance of the evidence.  Samuel J. Lansberry, Inc. v. Pa. Public Utility Comm’n, 134 Pa.Cmwlth. 218; 221-222, 578 A.2d 600; 602 (1990), app. denied, 529 Pa. 654, 602 A.2d 863 (1992).  That is, by presenting evidence more convincing, by even the smallest amount, than that presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 45, 70 A.2d 854 (1950).  Complainant must initially produce sufficient credible evidence to establish a prima facie case in order that complainant not lose summarily.  Morrissey v. Dep’t of Highways, 424 Pa. 87, 225 A.2d 895 (1967).  If complainant does so, the burden of going forward with evidence shifts to respondent to produce credible evidence of at least co-equal weight.  This burden of going forward with evidence may shift back and forth between the parties, but the ultimate burden of persuasion remains with complainant.  Milkie v. Pa. Public Utility Comm’n, 768 A.2d 1217 (Pa.Cmwlth. 2001).  Additionally, any finding of fact necessary to support the Commission’s adjudication must be based upon substantial evidence.  Mill v. Pa. Public Utility Comm’n, 67 Pa.Cmwlth. 597, 447 A.2d 1100 (1982), Edan Transportation Corp. v. Pa. Public Utility Comm’n, 154 Pa.Cmwlth. 21, 623 A.2d 6 (1993), 2 Pa.C.S. § 704.  Substantial evidence has been defined as such relevant evidence as a reasonable mind might accept as adequate to support a conclusion.  Bethenergy Mines, Inc. v. Workmen’s Compensation Appeal Bd. (Skirpan), 531 Pa. 287, 612 A.2d 434 (1992).  More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  Norfolk and Western Ry. v. Pa. Public Utility Comm’n, 489 Pa. 109, 413 A.2d 1037 (1980); Erie Resistor Corp. v. Unemployment Compensation Bd. of Review, 194 Pa.Super. 278, 166 A.2d 96 (1960); Murphy v. Dep’t of Public Welfare, 85 Pa.Cmwlth. 23, 480 A.2d 382 (1984).

By not appearing for the scheduled Hearing, complainant in Docket Number C-2009-2107073 failed to bear his burden of proof.  Consequently, the Complaint must be dismissed.

Due to the waste of both Commission’s and respondent’s time, money, and energy occasioned by complainant’s failure to appear at a hearing of which he had notice
, the dismissal will be with prejudice.  Martin W. Jefferson v. UGI Utilities, Inc., Docket Number Z-00269892, Opinion and Order adopted October 26, 1995, entered December 26, 1995; Maurice Jones v. The Peoples Natural Gas Company d/b/a Dominion Peoples, Docket Number C-20054885, Opinion and Order adopted January 12, 2006, entered February 14, 2006.

A.
Standards For Approval Of The Siting Of Public Utility Facilities TC "A.
Standards For Approval Of The Siting Of Public Utility Facilities" \f C \l "2" 
The Commission’s regulations applicable to the siting and construction of high voltage transmission lines are found at 52Pa. Code §§ 57.71-57.77 (siting regulations).  These regulations provide that a public utility is required to obtain Commission approval to locate and construct a high voltage transmission line.  52 Pa.Code § 57.71.  The siting regulations set forth what the Commission must consider when deciding to approve or deny an application for the siting of a high voltage transmission line.  52 Pa.Code § 57.76.  The Commission’s siting regulations, and in particular 52 Pa.Code § 57.76, were promulgated, inter alia, to meet the requirement for a consideration of environmental impacts mandated by Article I, Section 27 of the Pennsylvania Constitution,
 and to apply the three-part test enunciated in Payne v. Kassab, 11 Pa.Cmwlth. 14, 312 A.2d 86 (1973),
 which implements the Constitutional requirements.  Energy Conservation Council of Pennsylvania v. Pa. Public Utility Comm'n, 995 A.2d 465, 477-78 (Pa. Cmwlth. 2010); see, also, Re: Proposed Electric Regulation, 1976 Pa. PUC LEXIS 114 at *6, 49 Pa. PUC 709 at 712 (March 2, 1976).  The Commission uses this test to determine whether a proposed transmission line having environmental impacts should be approved.

Section 57.76 of the siting regulations provides, in pertinent part, as follows:

The Commission will not grant the application, either as proposed or as modified, unless it finds and determines as to the proposed HV line:

(1)
That there is a need for it.

(2)
That it will not create an unreasonable risk of danger to the health and safety of the public.

(3)
That it is in compliance with the applicable statutes and regulations providing for the protection of the natural resources of this Commonwealth.

(4)
That it will have minimum adverse environmental impact, considering the electric power needs of the public, the state of available technology and the available alternatives.

52 Pa.Code § 57.76(a).

The Commonwealth Court has determined that a transmission line should not be approved unless the electric utility demonstrates that the line is “necessary or proper for the accommodation, convenience and safety of its patrons, employees and the public.”  Pa. Power & Light Co. v. Pa. Public Utility Comm’n, 696 A.2d 248, 250 (Pa.Cmwlth. 1997) (quoting 66 Pa.C.S.A. § 1501).  In applying this standard, the Commonwealth Court held that the Commission should consider the “electric power needs of the public, the state of the available technology and the available alternatives.”  Id. (quoting 52 Pa.Code § 57.76).

Regarding route selection issues, the Commonwealth Court has explained as follows:

The applicable legal standards for review of the selection of a route for utility lines are whether the powers conferred upon the public utility have been wantonly, capriciously or arbitrarily exercised.  West Penn Power Co. v. Pennsylvania Public Utility Commission, 184 A.2d 143 (1962).  The degree of inconvenience to a landowner, therefore, would not constitute grounds for withholding the exercise of the power to condemn the easement, see Stone v. Pennsylvania Public Utility Commission, 162 A.2d 18 (1960), where the record establishes that the utility’s route selection was reasonable considering all of the factors involved in the selection of the line.

Paxtowne v. Pa. Public Utility Comm’n, 40 Pa.Cmwlth. 646, 649, 398 A.2d 254, 256 (1979).

Similarly, the selection of a route for transmission lines was explained by the Superior Court as follows:

Appellant’s [affected landowner’s] first two contentions are sufficiently answered by our opinion in Phillips v. Pa. P.U.C., [124 A.2d 625 (Pa. Super. 1956)], wherein we restated the well-established proposition that the selection of routes for transmission lines is a matter for the utility in the first instance and, unless it is shown that it proposes to exercise the powers conferred upon it wantonly or capriciously, or that the rights of the landowner have been unreasonably disregarded, the Commission is not required to withhold its approval merely because another route might have been adopted.

Laird v. Pa. Public Utility Comm’n, 183 Pa.Super. 457, 461, 133 A.2d. 579, 581 (Pa. Super. 1957).

B.
Standards For Approval Of The Siting Of Substation Control Equipment Buildings TC "B.
Standards For Approval Of The Siting Of Substation Control Equipment Buildings" \f C \l "2" 
The Pennsylvania Supreme Court has long held that municipalities have no power to zone with respect to utility facilities.
  Duquesne Light Co. v. Upper St. Clair Twp., 377 Pa. 323, 105 A.2d 287 (1954); Duquesne Light Co. v. Monroeville Borough, 449 Pa. 573, 580, 298 A.2d 252, 256 (1972) (the PUC has exclusive regulatory jurisdiction over the implementation of public utility facilities).  See, also, County of Chester v. Philadelphia Electric Co., 420 Pa. 422, 425-426, 218 A.2d 331, 333 (1966) (regulation by a multitude of jurisdictions would result in “twisted and knotted” public utilities with consequent harm to the general welfare of the public); Commonwealth v. Delaware & Hudson Railway Co., 19 Pa.Cmwlth. 59, 61, 339 A.2d 155, 157 (Pa. Cmwlth. 1975) (“public utilities are to be regulated exclusively by an agency of the Commonwealth with state-wide jurisdiction rather than a myriad of local governments with different regulations”).

Section 619 of the Municipalities Planning Code (MPC), Act of July 31, 1968, P.L. 805, as amended, 53 P.S. § 10619, provides a limited exception to this general rule.  Section 619 of the MPC provides as follows:

This article shall not apply to any existing or proposed building, or extension thereof, used or to be used by a public utility corporation, if, upon petition of the corporation, the Pennsylvania Public Utility Commission shall, after a public hearing, decide that the present or proposed situation of the building in question is reasonably necessary for the convenience or welfare of the public. It shall be the responsibility of the Pennsylvania Public Utility Commission to ensure that both the corporation and the municipality in which the building or proposed building is located have notice of the hearing and are granted an opportunity to appear, present witnesses, cross-examine witnesses presented by other parties and otherwise exercise the rights of a party to the proceedings.

53 P.S. § 10619.

Consequently, a municipality may zone a public utility building unless the Commission determines that the building is reasonably necessary for the convenience or welfare of the public.  If the Commission finds that the building is reasonably necessary, the building is exempt from a local zoning ordinance under the MPC.  Del-AWARE Unlimited, Inc. v. Pa. Public Utility Comm’n, 99 Pa.Cmwlth. 634, 513 A.2d 593 (1986).  Further, Section 619 of the MPC does not require a utility to prove that the site it has selected is absolutely necessary or that it is the best possible site, it need only show that the building is reasonably necessary.  O’Connor v. Pa .Public Utility Comm’n, 136 Pa.Cmwlth. 119, 582 A.2d 427 (1990).

On January 11, 2001, the Commission adopted a policy statement to further the Commonwealth’s goal of making agency actions consistent with sound land use planning by considering the impact of its decision upon local comprehensive plans and zoning ordinances.  See, 31 Pa.B. 951 (Feb. 17, 2001).  Section 69.1101 of the Commission’s regulations provides, in pertinent part, as follows:

To further the State’s goal of making State agency actions consistent with sound land-use planning … the Commission will consider the impact of its decisions upon local comprehensive plans and zoning ordinances.  This will include reviewing applications for:

. . .
(2)
Siting electric transmission lines.

(3)
Siting a public utility “building” under section 619 of the Municipalities Planning code (53 P.S. § 10619)

52 Pa.Code § 69.1101.

C.
Standards For Approval To Exercise The Power Of Eminent Domain TC "C.
Standards For Approval To Exercise The Power Of Eminent Domain" \f C \l "2" 
Section 1511 of the Business Corporation Law of 1988 (BCL), under which PPL has filed its Condemnation Application, grants a public utility the power or authority to condemn property to provide electricity to the public, stating, in pertinent part:

(a) General Rule. -- A public utility corporation shall … have the right to take, occupy and condemn property for one or more of the following principal purposes and ancillary purposes reasonably necessary or appropriate for the accomplishment of the principal purposes:

. . .

(3) The … transmission … distribution or furnishing of … electricity … to or for the public.

15 Pa.C.S.A. § 1511(a)(3).

Thus, the plain language of Section 1511 of the BCL grants a public utility, such as PPL, the power and authority to take and condemn property for the purpose of providing electricity to the public.

Section 1511(b) of the BCL, however, restricts the authority of a public utility to take and condemn property for the purpose of providing electricity to the public, stating, in pertinent part, as follows:

The powers conferred by subsection (a) shall not be exercised:

(1) To condemn for the purpose of constructing … aerial electric transmission … lines:

(i) Any dwelling house or, except in the case of any condemnation for petroleum or petroleum products transportation lines, any part of the reasonable curtilage of a dwelling house within 100 meters therefrom and not within the limits of any street, highway, water or other public way or place.

(ii) Any place of public worship or burying ground.

15 Pa.C.S. § 1511(b).

Before a public utility may exercise its statutorily granted authority to condemn property for the purposes of constructing aerial electric transmission facilities, it must obtain approval from the Commission.  Section 1511(c) of the BCL provides, in pertinent part:

(c) The powers conferred by subsection (a) [for the running of aerial electric facilities] may be exercised to condemn property … only after the Pennsylvania Utility Public Commission, upon application of the public utility corporation, has found and determined … that the service to be furnished by the corporation through the exercise of those powers is necessary for the service, accommodation, convenience or safety of the public.

15 Pa.C.S. § 1511(c).

Accordingly, on an application for condemnation, the Commission must determine whether the service, i.e., the transmission or distribution of electricity to or for the public that will be provided if the subject property is condemned, is necessary for the service, accommodation, convenience or safety of the public.

Where the record establishes that the public utility’s route selection was reasonable, considering all of the factors involved in the selection of a line, the degree of inconvenience to a landowner does not constitute grounds for withholding the exercise of the power to condemn the easement.  Paxtowne v. Pa. Public Utility Comm’n, 40 Pa.Cmwlth. 646, 398 A.2d 254 (1979).

D.
Need For The Proposed Facilities TC "D.
Need For The Proposed Facilities" \f C \l "2" 
Through a detailed system planning process and application of PPL’s planning guidelines, PPL identifies facilities that require reinforcement to enable it to continue to provide adequate and reliable service to the public and plan appropriate measures to assure reasonably continuous supply to the entire regional load, even during adverse conditions.  In order to assure that PPL’s transmission and distribution systems can supply load reliably during summer and winter peak conditions and provide service at an acceptable voltage level through the daily load cycle, PPL has adopted a set of defined planning standards, which are set forth in PPL’s Reliability Principles and Practices manual (RP&P).  The RP&P recognizes the necessity of maintaining a proper balance between service reliability and the cost of service, and that large, long, and frequent interruptions are to be avoided.  (PPL Statement No. 1, pp. 4-5)

In this case, PPL identified several distribution lines and transformers in the Sun Valley/Jonas area that are, or soon will be, overloaded as a result of load growth due to housing development.  The Sun Valley/Jonas area receives its distribution services from the Meckesville 69-12 kV Substation, and two 12 kV distribution lines.  Presently, the Meckesville 69-1 12 kV distribution line extends south from the substation to serve more than 2,350 customers, and the Meckesville 69-2 12 kV distribution line extends east from the substation and serves more than 2,700 customers.  (PPL Statement No. 1, p. 6)

In recent years, the number of customers served from the Meckesville 69-1 12 kV line has increased by an average of 3 percent per year, and the number of customers served from the Meckesville 69-2 12 kV line has increased by an average of 6 percent per year.  The 2011 winter load on the Meckesville 69-1 12 kV distribution line is projected to be 10.2 MVA, which exceeds the normal planning guideline of 10 MVA.  The Meckesville 69-2 12 kV distribution line began to exceed its normal planning guidelines of 11 MVA in 2006, and it exceeded the emergency guideline of 13 MVA in 2008.  More recently, in January, 2010, the load on the Meckesville 69-2 kV distribution line was 13.4 MVA.  The 2011 winter load on the Meckesville 69-2 kV distribution line is projected to be 15.2 MVA, and the 2013 winter load is expected to exceed the thermal guideline of 17 MVA.  (PPL Statement No. 1, pp. 7-8)

The thermal guideline is the load at which the facility is in danger of melting.  Operating these distribution lines beyond their planning guidelines will overheat the lines and anneal the conductors, which could result in an outage of the facilities.  A failure of the Meckesville 69-1 12 kV distribution lines would interrupt service to approximately 1,100 customers for extended periods of times until the lines could be repaired or replaced.  A failure of the Meckesville 69-2 12 kV distribution lines would interrupt service to approximately 2,000 customers for extended periods of times until the lines could be repaired or replaced.  Further, exceeding normal planning guidelines violates the planning standards in the RP&P.  (PPL Statement No. 1, p. 8)

Normally, PPL would temporarily resolve, or at least mitigate, interruptions of service by transferring load to neighboring circuits.  However, load transfer capability in the Sun Valley/Jonas area is limited, especially at times of peak loads, because loads on neighboring circuits are also approaching their emergency planning guidelines.  If additional load were transferred to these neighboring lines, these neighboring lines would exceed the emergency planning guidelines, which could result in their failure.  (PPL Statement No. 1, pp. 8-9)

Like the distribution lines, the transformers at the Meckesville 69-12 kV Substation are projected to become overloaded in 2011.  (PPL Electric Exhibit 3, p. 8)  This substation has two 69-12 kV transformers: one with a rating of 11.2 MVA and the second with a rating of 15 MVA.  (PPL Statement No. 1, pp. 6)  Because there is limited capacity available to transfer load away from the transformers at the Meckesville 69-12 kV Substation to other transformers, a transformer failure at the Meckesville 69-12 kV Substation would lead to an extended outage for more than 3,000 customers until repairs could be made or a transformer could be replaced.  (PPL Statement No. 1, p. 9)

In short, the Sun/Valley Jonas area is one of PPL Electric’s poorest performing areas in the terms of the number of service outages, duration of outages, and number of customers affected.  (PPL Statement No. 1, p. 3)

E.
Alternative Solutions To Reinforce The Distribution System TC "E.
Alternative Solutions To Reinforce The Distribution System" \f C \l "2" 
After identifying these reliability issues, PPL developed a plan to reinforce the distribution system in the area.  PPL examined various electrical solutions, or functional configurations, to enable it to continue to provide adequate and reliable service to the public and plan appropriate measures to assure reasonably continuous supply to the Sun Valley/Jonas area.  (PPL Statement No. 1, pp. 9-10, 12)  After extensive analysis, PPL narrowed the potential solutions to resolve the reliability problems to three functional alternatives.  (PPL Electric Exhibit 1, Exhibit B, pp. 7-9)  These alternative solutions are:


The Preferred Option.  The preferred functional configuration was to construct a new Effort Mountain 138-12 kV Substation, together with new 12 kV distribution lines in Chestnuthill and Polk Townships, Monroe County.  One 12 kV distribution line from the Effort Mountain Substation will extend north and serve a portion of the Indian Mountain Lakes Development, thereby reducing the load on the Meckesville 69-2 12 kV distribution line.  This new 12 kV line will serve approximately 1,400 customers.  The second line from the Effort Mountain Substation will extend south and serve residential developments along Jonas Road and State Route 534.  This line will relieve the Meckesville 69-1 12 kV distribution line.  This second 12 kV line will serve approximately 1,500 customers.  (PPL Statement No. 1, p. 10; PPL Exhibit 1, Exhibit B, p. 7)

The new Effort Mountain Substation will provide a source that is located centrally to the load it will serve.  Locating the substation central to the load it will serve will increase reliability and operating flexibility.  It will also reduce the length of the distribution lines, thereby reducing their exposure to damage.  Further, reducing the number of customers served by any one distribution line will reduce the number of customers affected by a line outage and reduce restoration times.  (PPL Statement No. 1, pp. 10-11; PPL Exhibit 1, Exhibit B, p. 7)

The Effort Mountain Taps will supply the Effort Mountain Substation from the existing Siegfried-Jackson 138 kV Transmission Lines.  These Taps will be designed for future 138 kV double circuit operation.  Initially, only one 138 kV circuit will be installed on 4.6 miles of the line.  The second 138 kV circuit will not be installed until needed to serve future load growth.  Both 138 kV circuits will be installed on the remaining 1.1 miles of the line, but the second circuit initially will operate as a distribution line at 12 kV and will be increased to 138 kV operation in the future as appropriate to serve future load growth.  (PPL Statement No. 1, pp. 11; PPL Exhibit 1, Exhibit B, p. 7)

The estimated cost to site, design, and construct the Effort Mountain Taps is approximately $5,721,030.  The total estimated cost of the Effort Mountain Project, including transmission, distribution, and substation, is $8,755,000.  Construction of this project is scheduled to begin in October, 2010 to meet an in-service date of November, 2011.  (PPL Statement No. 1, p. 3)

Alternative 1 – Enhance Existing Facilities.  In Alternative 1, PPL considered the possibility of enhancing the capabilities of the existing facilities in the Sun Valley/Jonas area, which would involve building two new lines from the Meckesville Substation to relieve the existing 69-1 and 69-2 12 kV distribution lines.  Due to the limited availability of routes from the Substation, however, the new lines would have to be attached to existing poles for the 69-1 and 69-2 12 kV lines.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Exhibit B, p. 8)

PPL rejected this alternative because the method of construction would be expensive and would not reduce outages because having two distribution circuits on the same poles would expose both circuits to the same hazards that cause outages.  Further, because the loads on the transformers at the Meckesville Substation are approaching their capacities, the transformers at the Meckesville Substation would have to be replaced with larger units.  Moreover, an additional substation to the east of the Meckesville Substation would be needed in the future.  After the new substation is built, the two new lines from the Meckesville Substation would no longer be needed and would represent a wasted asset.  This alternative was rejected because upgrading the existing facilities would not provide the same reliability benefits, load relief, or operating flexibility that a new substation would provide.  (PPL Statement No. 1, p. 12; PPL Exhibit 1, Exhibit B, p. 8)

Alternative 2 – Construction of Two Substations.  In Alternative 2, PPL considered building two substations.  One substation would be built north of the existing Meckesville 69-2 12 kV line and an additional substation would be built approximately 1.5 miles south of the proposed Effort Mountain 138-12 kV Substation.

The first substation would relieve the Meckesville 69-2 12 kV line.  New 12 kV lines from the substation would provide a tie with the Meckesville 69-2 12 kV line.  The new substation would be supplied by extending the existing Meckesville 69 kV tap, which is supplied from the East Palmerton-Wagners # 1 69 kV radial line.  The second substation, to the south of the Meckesville 69-2 line, would relieve the heavily loaded Meckesville 69-1 12 kV line.  This new substation would be supplied by tapping the Siegfried-Jackson #1 138 kV line.  Load from the Meckesville 69-1 12 kV line would be transferred to new 12 kV lines at the new substation.  This would reduce the number of customers fed from the Meckesville 69-1 12 kV line and create an additional tie for this line.  (PPL Statement No. 1, pp. 13-14; PPL Exhibit 1, Exhibit B, pp. 8-9)

PPL rejected this alternative because the East Palmerton-Wagners # 1 69 kV line used to supply the first substation is already heavily loaded.  Adding more load to an already heavily loaded transmission line is not good transmission system planning.  In addition, voltage at the end of the East Palmerton-Wagners # 1 69 kV line is approaching PPL’s RP&P standard at 62 kV.  (PPL Statement No. 1, p. 4; PPL Exhibit 1, Exhibit B, pp. 8-9)

PPL also rejected this “two substation” alternative because it would require over 7.7 miles of transmission facilities, two substations, and additional distribution facilities.  The estimated total cost of this alternative is $12,000,000.  Thus, the preferred alternative provides greater reliability, load relief, and operating flexibility, while building fewer facilities at a lower cost.  (PPL Statement No. 1, p. 14; PPL Exhibit 1, Exhibit B, pp. 8-9)

E. Response To Ms. Hart TC "Response To Ms. Hart" \f C \l "2" 
Ms. Hart raises several arguments in opposition to the need for the proposed facilities.  However, Ms Hart does not challenge the results of PPL Electric’s planning process and, further, disregards the fact that the distribution facilities serving the Sun Valley/Jonas area are, or soon will be, in excess of the planning guidelines.

Ms. Hart asserts that the Effort Mountain project is not needed because the national projected annual growth of electricity has declined, and because construction in the Sun Valley/Jonas area has decreased.  (Hart Exhibit A, p. 2, ¶ 1; Hart Exhibit B, p. 3, ¶ 2)  Although the national projected annual growth of electricity usage is 1.0% per year and construction permits in the Sun Valley/Jonas area presently are at lower levels, since 2004 the number of customers served from the Meckesville 69-1 line has increased by 300 customers, an average of 3% per year, and Meckesville 69-2 line has increased by 650 customers, an average of 6% per year.  This high rate of growth has overloaded the distribution electrical facilities in the area.  More importantly, the sources cited by Ms. Hart are not projecting declining load, only slower growth.  As explained above, certain distribution lines in the Sun Valley/Jonas area are presently overloaded.  Thus, even if no further load growth were to occur, the distribution system in the Sun Valley/Jonas area needs to be reinforced now.  (PPL Statement No. 11, p. 2)

Ms. Hart asserts that the Effort Mountain Project is not needed due to energy efficiency programs, PPL’s Act 129 Plan, and carbon offset programs.  (Hart Exhibit A, p. 3, ¶ 2.a; Hart Exhibit B, p. 3, ¶¶ 4-5)  Although energy efficiency and alternative energy programs may reduce demand growth, the distribution facilities serving the Sun Valley/Jonas area are presently overloaded.  The energy efficiency and alternative energy programs raised by Ms. Hart would not resolve the overloading that presently exists on these distribution facilities.  (Tr. 84-86)

Ms. Hart also suggests that the Pocono Raceway Solar Farm could be used to resolve the need for the Effort Mountain Project.  (Hart Exhibit A, p. 3, ¶ 2.b)  Although the Pocono Raceway Solar Farm is an additional source of supply, it would not resolve the substation and distribution overloading conditions in the Sun Valley/Jonas area.  A new source of supply to an overloaded distribution line or transformer would not resolve the overloaded condition.  Further, the Pocono Raceway Solar Farm is located on a different line and substation.  Consequently, the Pocono Raceway Solar Farm cannot supply the overloaded facilities in the Sun Valley/Jonas area unless new lines to connect them were constructed.  (PPL Statement No. 11, p. 4)

Ms. Hart next suggests that fuel cells or microgrids could be used to resolve the need for the Effort Mountain Project.  (Hart Exhibit A, p. 3, ¶ 2.c; Hart Exhibit B, p. 5, ¶ 7.e)  However, both of these technologies are experimental and unproven.  Further, such technologies are expensive compared to the traditional electrical distribution systems.  (PPL Statement No. 11, pp. 4-5; Tr. 89-90)

Ms. Hart also suggests that the use of smart grid technology could eliminate the need for the Effort Mountain Project.  (Hart Exhibit A, p. 3, ¶ 2.c; Hart Exhibit B, p. 5, ¶ 7.e)  Specifically, Ms. Hart references smart grid technology being developed by PPL in the Harrisburg area.  PPL currently employs certain smart devices and remote operator control devises on its distribution system.  PPL plans to install these same devices on the proposed facilities.  Such facilities, however, cannot resolve overloaded conditions on distribution lines or transformers.  (Tr. 90-91)

Finally, Ms. Hart raises a concern that the real purpose of the Effort Mountain Project is to construct facilities that will enable PPL to transmit electricity to out-of-state markets.  (Hart Exhibit A, p. 5)  However, the sole purpose of the Effort Mountain Taps is to transmit electricity approximately 5.7 miles from the existing Siegfried-Jackson #1 and #2 138 kV transmission line to the proposed Effort Mountain 138-12 kV Substation.  From the proposed Substation, electricity will be delivered to retail customers in the vicinity through 12 kV facilities.  Importantly, 12 kV distribution lines are designed to distribute electricity locally and are of insufficient size and capacity to transport power out of state.  The line will connect the Siegfried-Jackson #1 and #2 138 kV transmission line to the Effort Mountain Substation.  It will have no other source of supply or destination.  (PPL Statement No. 12, p. 2)  The Effort Mountain Taps cannot be used to deliver bulk electric supplies to these destinations.

For these reasons, Ms. Hart’s opposition to the need for the Effort Mountain Project is without merit and, moreover, disregards the fact that the loads on certain distribution facilities serving the Sun Valley/Jonas area are already in excess of the planning guidelines, and others soon will be.

G.
Siting TC "G.
Siting" \f C \l "2" 
PPL formed a Siting Team to analyze and determine the optimal route for the Effort Mountain Taps.  The Siting Team included individuals with the numerous skills and specialties required to site the line.  In accordance with the Commission’s regulations at 52 Pa.Code § 57.72(c), the Siting Team conducted an extensive, multi-faceted analysis to determine the preferred route for the Effort Mountain Taps.  This analysis included designation of a “Study Area,” compilation of an environmental inventory, identification of alternative routes, analysis of the alternative routes, and selection of the proposed line route.  (PPL Exhibit 1, Exhibit D)  This process enabled PPL to select a route for the proposed Effort Mountain Taps that appropriately balances functional requirements, environmental impacts, social factors, and cost considerations.  (PPL Statement No. 2, pp. 6-7)

The first step for determining the optimal route for the Effort Mountain Taps was to identify the Study Area.  The Study Area for the Effort Mountain Taps was established based upon the project’s purpose, which is to connect the Siegfried-Jackson 138 kV Transmission Line with the Effort Mountain Substation to relieve overloading of facilities and improve service in the Sun Valley/Jonas area.  The Study Area for the project is approximately 42.3 square miles and is generally bordered by State Route 534 to the west, the existing PPL Siegfried-Jackson 138/69 kV line to the south, a Williams Transco Gas pipeline to the east, and the Pohopoco Mountain to the north.  (PPL Statement No. 2, p. 4; PPL Exhibit 1, Exhibit C, Figure C-1)  Once the Study Area was identified, PPL conducted a detailed environmental inventory to identify and locate environmental factors that need to be considered when evaluating and selecting transmission line routes.  (PPL Statement No. 2, p. 8)

To facilitate its analysis of the route selection, PPL retained the services of URS Corporation.  (PPL Statement No. 2, p. 6)  URS Corporation provides engineering, construction and technical services for, among other things, transmission and gas pipeline siting.  URS Corporation uses a siting methodology adapted from a protocol developed by the Electric Power Research Institute and the Georgia Transmission Corporation (EPRI-GTC).  This “opportunity and constraint” methodology has been used by URS and other consultants for many years in transmission and other siting studies.  The EPRI-GTC process offers an excellent framework for siting analysis when used with appropriate modifications.  (PPL Statement No. 4, pp. 2-3)

The siting methodology used for determining the preferred route for the Effort Mountain Taps uses a series of grid cells on aerial photographs or maps, which are assigned a value indicating how suitable the area in the cell is for a transmission line.  The features of each cell are identified and ranked from one (most suitable areas) to nine (constraint areas).  Corridors with the cells having the lowest values have the highest overall suitability for a transmission line.  This process is repeated several times with cells of decreasing size and progressively more detailed and precise data.  To the extent practical, possible corridors were identified to avoid constraints.  (PPL Statement No. 4, pp. 4-9; PPL Exhibit 1, Exhibit D, pp. 4-10)  Although complete avoidance of all constraints is not feasible, PPL sought corridors that would avoid or minimize impacts on social and natural environmental features while meeting the functional and economic goals of the Effort Mountain Project.  (PPL Statement No. 2, pp. 6-9)

Using the above methodology, alternative routes were identified.  Each route connected the Siegfried-Jackson 138 kV Transmission Lines to the proposed Effort Mountain Substation.  (PPL Statement No. 2, p. 9)  After identifying these alternative routes, PPL modified these alternative routes based upon field surveys and to reduce their potential impacts.  Further, the routes were adjusted to increase distances from residential properties and to remove them to the edges of forests in order to decrease the transmission line’s visibility.  PPL also conducted an extensive public outreach program, which resulted in adjustments to the alternate routes.  Based on the siting methodology and public input, PPL modified the alternative routes to produce four alternative routes:  Route A, Route A1, Route B, and Route B1.  (PPL Exhibit No. 1, Exhibit D, pp. 27-34)

PPL utilized a quantitative and qualitative analysis to compare the alternative line routes.  The comparison produce a preferred route, Route B1, based upon a detailed analysis of comments from the public, societal concerns, environmental impacts, engineering considerations, and cost.  (PPL Exhibit No. 1, Exhibit D, pp. 35-51)  The quantitative and qualitative analysis of the four line route alternatives is summarized below:

Comparison of Route B1 with Route B:

Route B1 impacts a greater number of residences within 300 feet of the proposed route.

Route B would have a greater impact on the environment because it would cross a greater number of potential wetlands and floodplains.

Route B would require more special permits and studies based on the greater number of potential wetlands and floodplains.

The construction of Route B would also be more complex due to the presence of steep slopes and the number of proposed turns located along Route B.

Route B would result in more schedule delays due to the permitting needs and construction complexity.

Comparison of Route B1 with Route A:

Route A would cross a greater number of wetlands, streams, and floodplains.

Route A would have more road crossings and require construction in steep slope areas.

Route A would be longer in length.

Route A would be located in a more densely populated area.

Route A would be more visible.

Route A would require more special permits and studies based on the greater number of potential wetlands, streams, and floodplains.

The construction of Route A would also be more complex due to the presence of steep slopes and the need for intricate crossings of the Pohopoco Creek.

Route A would result in more schedule delays due to the permitting needs and construction complexity.

Comparison of Route B1 with Route A1:

Route A1 would cross a greater number of potential wetlands.

Route A1 would require more clearing of forested areas.

Route A1 would have more road crossings and require construction in steep slope areas.

Route A1 would be longer in length.

Route A1 would require more special permits and studies based on the number of potential wetlands, streams, and floodplains.

The construction of Route A1 would also be more complex due to the presence of steep slopes and the need for intricate crossings of the Pohopoco Creek.

Route A1 would result in more schedule delays due to the permitting needs and construction complexity.

(PPL Electric St. No. 2, pp. 11-15)

Based on the quantitative and qualitative analyses explained in Exhibit D to PPL Exhibit 1, as well as the estimated costs of each alternative route (PPL Statement No. 3, p. 7), the Siting Team concluded that Route B1 was superior to the alternative routes.  Route B1 has the least overall adverse impact of all the routes giving consideration to the many factors that enter into selecting a transmission line route.  (PPL Statement No. 2, p. 17)

In order to receive further comment on Route B1, an open house was held on May 28, 2009.  PPL continued to work with landowners and other interested persons to further reduce the impact of the project, which resulted in a modified alignment of Route B1.  The realignment involved moving the line further into the Jonas Mountain Preserve.  Although the alignment would increase forest fragmentation in the Jonas Mountain Preserve, PPL also coordinated the purchase of an adjacent forested parcel of 123 acres through which the modified Route B1 also traverses, which PPL donated to the Jonas Mountain Preserve thereby substantially expanding the reserve and protecting the additional land from future development.  By these means, PPL resolved the concerns of the residents of Birch Hallow Estates, the Pocono Heritage Land Trust, which owns and manages the Jonas Mountain Preserve, and the owners of the adjacent forested parcel of land, the Knappenberger tract, that will become part of the Jonas Mountain Preserve.  (PPL Exhibit 1, Exhibit D, pp. 32-34)

Based on the foregoing, the modified version of Route B1 will have the least impact on surrounding areas.  (PPL Exhibit 1, Exhibit D, pp. 53-55)  In siting the Effort Mountain Taps, PPL attempted to select the electrical solution and route for the Taps that best balanced all of the competing factors that must be considered in transmission line siting.  Although the selected route does cross several wetlands, PPL anticipates no disturbance to these identified wetlands, which can be easily spanned.  (PPL Statement No. 2, p. 15)  Further, PPL is committed to obtaining all permits necessary prior to the construction of the Effort Mountain Taps, and will comply with all requirements for issuance of the permits.  (PPL Statement No. 2, pp. 15-16)  The selected route was designed to avoid as many impacts as practical.  Where such impacts are unavoidable, PPL will employ mitigating measures to minimize such impacts.  (PPL Statement No. 2, p. 16)

H. Engineering and Safety TC "Engineering and Safety" \f C \l "2" 
1. Engineering TC "Engineering" \f C \l "3" 
The proposed Effort Mountain Taps will be approximately 5.7 miles long.  The Taps will be built for double-circuit 138 kV operation, although initially only one circuit will be installed on 4.6 miles of the transmission line.  This circuit will be operated at 138 kV.  On the remaining 1.1 miles of the transmission line, a second circuit designed for 138 kV operation will be installed, but it will initially operate at 12 kV.  The 12 kV distribution line will be a second distribution line extending from the proposed Effort Mountain Substation to relieve the existing Meckesville 69-1 12 kV line.  The proposed line will be built in portions of Chestnuthill and Polk Townships, Monroe County.  (PPL Statement No. 3, p. 3)

Tangent poles, that is poles with no line angle, will consist of steel mono-poles equipped with steel upswept conductor support arms.  Most tangent steel poles will be direct embedded.  Tangent poles supporting longer spans will require concrete foundations.  Angle structures will be either steel mono-poles or two-pole steel structures depending upon the severity of the angle.  All angle poles will be installed on concrete foundations.  Some single pole steel angle structures may be guyed.  Based on preliminary engineering, approximately 44 poles with an average height of 100 feet will be needed for the construction of the Effort Mountain Taps.  (PPL Statement No. 3, pp. 3-4)

In Pennsylvania, electric utilities are required to install and maintain transmission facilities in conformity with the National Electrical Safety Code (NESC).  66 Pa.C.S.A. § 2804(1)(ii).  The NESC establishes industry standards for safeguarding work crews and the general public against electrical hazards during construction, installation, operation and maintenance of conductors and equipment in electric supply stations and overhead electric supply lines.  It includes work rules for the construction, maintenance and operation of electric supply lines and equipment.  (PPL Statement No. 3, p. 5)  It is uncontested that the proposed Effort Mountain Taps will be designed and constructed according to, and will meet or exceed, all applicable NESC minimum standards.  All of the clearance and thermal ratings meet, or exceed, the requirements of the NESC.  (PPL Statement No. 3, p. 5)

The Commission has found in numerous cases that transmission lines that meet or exceed the NESC requirements do not create an unreasonable risk or danger to the health and safety of the public.  Application of PP&L for Approval to Locate and Construct a 138 kV Transmission Line Between West Allentown and Salisbury Substations, Docket No. A-00104160 (July 20, 1984); Application of PP&L for Authorization to Locate and Construct its Hamlin 138 kV Electric Transmission Line, Docket No. A-00101826 (April 3, 1981); Larken v. Philadelphia Electric Co., 39 Pa. PUC 777 (1961).  The construction of the Effort Mountain Taps along Route B1 will not create any unreasonable risk to the health or safety of the public.

1. Electric and Magnetic Fields TC "Electric and Magnetic Fields" \f C \l "3" 
In order to address issues related to electric and magnetic fields, PPL has adopted a Plan for Magnetic Field Management (PMFM).  (PPL Exhibit 1, Exhibit E, p. 3; PPL Exhibit 1, Appendix 4)  Under the PMFM, PPL, as a matter of policy, designs and builds transmission lines to reduce magnetic fields when such steps can be implemented at low or no cost and are consistent with functional requirements.
  Consistent with its PMFM, PPL will reverse phase the proposed Effort Mountain Taps where there are two circuits and increase pole heights by 5 feet above the minimum height required by the NESC.  (PPL Statement No. 3, p. 6)

In previous proceedings, the Commission has commented favorably upon PPL’s PMFM:  

Based on the extensive scientific evidence developed to date, which has been discussed in the preceding section, it is clear that EMF should not be regarded as a health hazard.  However, the Company believes that it makes sense, as a matter of policy, to deal with customer concerns about EMF by reducing electric and magnetic fields in new and rebuilt facilities where that can be done with no-cost or low-cost design changes.  Consequently, with that goal in mind, PP&L initiated its Magnetic Field Management Program in March 1991….

Magnetic fields from overhead power lines and human exposure to those fields can be reduced by a number of methods including increasing ground clearance; balancing phase currents and circuit loads; using low reactance (reverse) phasing; adopting line configurations that reduce the space between phase conductors; increasing right-of-way widths; and, in general, locating lines in less densely populated areas…. Based upon a detailed investigation of these factors, including their environmental impact, costs and benefits, PP&L developed the guidelines incorporated in its Magnetic Field Management Program

Certification Application of Pennsylvania Power & Light Company Filed Pursuant to 52 Pa. Code Chapter 57, 1994 Pa. PUC LEXIS 65, *67-*69 (Oct. 21, 1994).

I.
Response to Ms. High TC "I.
Response to Ms. High" \f C \l "2" 
Ms. High, the sole condemnee in this proceeding, generally opposes the route selected for the proposed Effort Mountain Taps, which crosses a portion of the High property.  In opposition to the selected route, Ms. High raised a concern regarding invasive species interfering with farming operations.  (High Exhibit A, p. 2)  PPL explained that the construction of a transmission line across farmland will not alter the environmental characteristics of the farmland, which is not immune from invasive species, and would not change the type of flora that would grow on farmland.  (PPL Statement No. 12, p. 5)

Ms. High also raised concerns that the selected route would interfere with farming operations on her property.  (High Exhibit A, p. 2)  Presently, the portion of Ms. High’s property that would be crossed by the selected route does not appear to be actively farmed.  As a result, crossing Ms. High’s property would have a lesser impact on farming operations than crossing farms that currently are actively farmed.  (PPL Statement No. 12, pp. 4-5)  Further, PPL has taken steps to minimize the impact of the Effort Mountain Taps on farming operations on the High property by designing the line to place only one steel mono-pole on the farmable land of Ms. High.  Other steel poles will be located in existing woodlands or along edges of woodlands, which will have little impact on potential farming activities.  (PPL Statement No. 12, p. 5)

Ms. High also raises the question of whether the Effort Mountain Taps could be undergrounded, as currently done in residential areas.  (High Exhibit A, p. 2)  Under 52 Pa.Code Subchapter H, PPL is required to install any distribution or service lines serving residential developments underground.  However, these regulations do not apply to high voltage transmission lines, such as the Effort Mountain 138 kV Taps.  High voltage transmission lines are not subject to any general requirement that they be installed underground.  Further, undergrounding high voltage 138kV lines would have a significantly higher cost than constructing the line overhead.  Due to this cost increase, which would be passed on to all PPL customers, it is not practical to construct the high voltage Effort Mountain Taps underground where overhead construction is feasible.  (PPL Statement No. 12, p. 6)

F. Response To Ms. Hart TC "Response To Ms. Hart" \f C \l "2" 
Ms. Hart raises several issues in opposition to the route selected for the Effort Mountain Taps.  Ms. Hart appears to question whether PPL properly considered the impact to streams and other bodies of water.  (Hart Exhibit A, p. 10)  Ms. Hart is incorrect.  In assessing the alternative routes for the Effort Mountain Taps, PPL took into consideration the potential impact of crossing, or locating in close proximity to, all of the identified streams.  Protective buffers will be created for many of the streams to limit the total number of streams crossed, and/or limit the proximity of the structures to these streams.  (PPL Statement No. 14. pp. 4-5)  Streams are not materially affected by transmission lines that merely span them.  Importantly, the selected route does not cross the main stems of the named streams but, rather, only crosses smaller tributaries of the main stems that can be easily spanned.  (PPL Statement No. 14, p. 5)

Ms. Hart also raised concerns regarding the removal of trees in the forested areas along the selected route.  (Hart Exhibit A, p. 3, ¶ 2.e)  To mitigate the impact of vegetation clearing, PPL will use selective tree clearing as set forth in PPL’s “Specification for Initial Clearing and Control and Maintenance of Vegetation on or Adjacent to Electric Line Right-of-Way through Use of Herbicides, Mechanical and Hand Clearing.”  (PPL Statement No. 2, p. 16)  In short, PPL will remove only those plants that have the potential to interfere with the operation of the transmission line, and PPL will preserve as much vegetation as possible.  In addition, as explained above, PPL has donated a substantial tract of forested land to the Jonas Mountain Preserve, which will protect the land from future development.

As an alternative to the selected route, Ms. Hart recommends the installation of three distribution lines along State Route 534, State Route 115, and the Toll Road.  (Hart Exhibit B, p. 6, ¶ 3.b)  However, these alternatives are not practical.  PPL is unable to run distribution lines parallel to State Routes 534 and 115 because the right-of-way width along these roads is not wide enough to accommodate the structures needed to maintain proper clearances needed to comply with the NESC.  (Tr. 101)  Further, there are many residential dwellings located along State Route 534, State Route 115, and the Toll Road, and the curtilage of many of these dwellings would be within 100 meters from the routes along these roads.  Consequently, pursuant to Section 1511 of the Pennsylvania Business Corporation Law of 1988, 15 Pa.C.S.A. § 1511, PPL would not be able to exercise the power of eminent domain to condemn the necessary right-of-way across the numerous residential properties along these roads that would be subject to the right-of-way.  Therefore, to the extent that any property owner along these roads was unwilling to enter into an agreement with PPL for sufficient right-of-way, PPL would be unable to construct the required lines along these roads.  (Tr. 101-02)

Ms. Hart also appears to question the motive for modifying the selected route to move it further into the Jonas Mountain Preserve.  (Hart Exhibit B, pp. 7-8)  Ms. Hart erroneously asserts that the motive for the modification was to obtain tax benefits.  As explained above, after additional public input, PPL modified Route B1 to accommodate the concerns of the residents of Birch Hallow Estates, the Pocono Heritage Land Trust, which owns and manages the Jonas Mountain Preserve, and the owners of the Knappenberger tract.  As part of the modification, PPL purchased the Knappenberger tract and resold the land to the Pocono Heritage Land Trust in exchange for a right-of-way through the Jonas Mountain Preserve, reserving for itself a right-of-way adequate for the Effort Mountain Taps.  As required by the Department of Conservation of Natural Resources, PPL provided replacement land for the Jonas Mountain Preserve before the Pocono Heritage Land Trust could grant PPL the right-of-way needed for the modified Route B1.  Although PPL resold the Knappenberger tract to the Pocono Heritage Land Trust for less than it paid, the difference reflects the value of the right-of-way.  The difference will not be a tax deduction.  Instead, it will be a capital investment included in rate base.  (Tr. 94-96)

K.
Exemptions From Local Zoning TC "K.
Exemptions From Local Zoning" \f C \l "2" 
On January 15, 2010, PPL filed the Zoning Petition pursuant to 52 Pa.Code § 5.41 and Section 619 of the Pennsylvania Municipalities Planning Code (MPC), 53 P.S. § 10619, requesting a finding that a building to shelter control equipment at the proposed Effort Mountain Substation site in Chestnuthill Township, Monroe County, Pennsylvania (Control Equipment Building) is reasonably necessary for the convenience or welfare of the public and, therefore, exempt from local zoning regulations.  On March 11, 2010, PPL’s Zoning Petition was consolidated with the Siting and Condemnation Applications.

As explained above, the combination of the Effort Mountain Taps and the proposed Effort Mountain Substation are required to address and remedy the existing and projected overloaded conditions on distribution lines and transformers in the Sun Valley/Jonas area and permit PPL to continue to provide adequate and reliable service in that area.  The Effort Mountain Taps will supply the new Effort Mountain Substation, which will transform the electricity to 12 kV distribution levels and feed local distribution lines.  (PPL Statement No. 6, pp. 3-4)

The new Effort Mountain Substation will include a building.  Substations must include certain control equipment, primarily switches, relays and other control equipment to control the flow of electricity into, within and from the substation as well as SCADA (Supervisory Control and Data Acquisition) equipment to monitor the operation of the substation.  Much of this equipment, in order to function properly, must be protected from the elements.  The purpose of the proposed building in the substation is to protect the control and SCADA equipment from the elements so that the equipment, and the entire substation, can function properly.  (PPL Statement No. 6, p. 4)

The Control Equipment Building is reasonably necessary for the convenience or welfare of the public because it is a necessary component of PPL’s overall plan to relieve the existing and projected overloaded conditions on distribution lines and transformers presently serving the Sun Valley/Jonas area.  The reinforcement of the distribution system is necessary to assure continued reliable service to the customers in the area.  (PPL Statement No. 6, pp. 6-7)

The Control Equipment Building will be approximately 12 feet by 12 feet.  It will be constructed on a concrete slab.  The exterior walls will be constructed of corrugated steel siding.  There will be minimal space heating and cooling equipment for the building.  Such equipment will be installed for the purpose of keeping the temperature inside the building within limits tolerated by the control and SCADA equipment.  The Control Equipment Building will not be intended for occupancy.  There will be no supply of water and no sanitary facilities.  (PPL Statement No. 6, pp. 4-5)  The substation will be surrounded by a high fence to prevent entry by unauthorized persons.  Access to the substation, including the Control Equipment Building, must be limited because the high voltages at which the substation will operate present dangers to untrained persons.  The Control Equipment Building will be contained within the fenced perimeter of the substation.  (PPL Statement No. 6, p. 5)

The location of the Effort Mountain Substation is advantageous because it is central to the load that it will serve.  Having a centrally located substation is advantageous because distribution lines fed from the substation will be shorter, which reduces costs and improves the reliability of service because the distribution lines will have less exposure to damage from hazards such as falling trees and motor vehicles.  (PPL Statement No. 6, pp. 5-6)

Under 52 Pa.Code § 69.1101, the Commission considers the impact of certain decisions upon local comprehensive plans and zoning ordinances.  PPL’s proposed Control Equipment Building will be located in a portion of Chestnuthill Township designated as R-1, Low Density Residential.  Pursuant to Section 306.B.1 of Chestnuthill’s Zoning Ordinance, construction of a “Public Utility Facility” is not permitted in an R-1, Low Density Residential area.  The  Chestnuthill Township Zoning Ordinance does not define “Public Utility Facility.”  Thus, the Chestnuthill Zoning Ordinance is subject to the interpretation that PPL may not construct a “Public Utility Facility” in an area designated R-1, Low Density Residential area.  Similar restrictions apply in areas designated CR, Conservation Residential, RR, Rural Residential and R-2, Medium Low Density Residential.  (PPL Statement No. 7, pp. 4-5)  Further, under the Chestnuthill Zoning Ordinance, it is unlawful to erect a building without a building permit.  (PPL Statement No. 7, pp. 3-4)

As a practical matter, the Chestnuthill Zoning Ordinance may restrict construction of the Control Equipment Building to more densely populated areas where construction of a transmission line to supply the substation would be virtually impossible due to curtilage restrictions on the exercise of the power of eminent domain.
  If PPL is unable to obtain from the Commission the findings necessary to exempt the Control Equipment Building, the Chestnuthill Zoning Ordinance could bar the construction of the Control Equipment Building in the proposed location.  (PPL Statement No. 7, p. 5)

The required in-service date for the Effort Mountain Substation is the same as the Effort Mountain Taps, November 2011.  (PPL Statement No. 1, p. 3)   If PPL were required to obtain a Zoning Permit prior to construction of the Control Equipment Building, the process, including possible appeals from adverse determinations, could consume substantial time, which could delay the construction of the Effort Mountain Substation, which, as explained above, is reasonably necessary for the convenience and welfare of the public.  (PPL Statement No. 7, p. 4)  It must also be emphasized that PPL met with the officials from Chestnuthill Township and its Planning Commission, and Monroe County and its Planning Commission to explain the project to them.  None of these entities expressed any objection to the project, nor did they participate in these proceedings even though they received notice of them.  (PPL Statement No. 7, p. 6)

Based on the foregoing, I find that the Control Equipment Building at the proposed Effort Mountain Substation site in Chestnuthill Township, Monroe County, Pennsylvania is reasonably necessary for the convenience or welfare of the public and, therefore, exempt from local zoning regulations.

L.
Eminent Domain TC "L.
Eminent Domain" \f C \l "2" 
1.
The Service to be Provided is Necessary for the Service, Accommodation, Convenience, and Safety of the Public. TC "1.
The Service to be Provided is Necessary for the Service, Accommodation, Convenience, and Safety of the Public." \f C \l "3" 
On March 4, 2010, PPL filed the Condemnation Application for a finding and determination by the Commission that the service to be furnished by PPL through its proposed exercise of the power of eminent domain to acquire a right-of-way and easement over and across the land of Larue High for the construction, operation, and maintenance of the proposed Effort Mountain Taps is necessary or proper for the service, accommodation, convenience, or safety of the public.  On March 11, 2010, PPL’s Condemnation Application was consolidated with the Siting Application and Zoning Petition.

PPL’s proposed exercise of the power of eminent domain to acquire a right-of-way and easement for the construction, operation, and maintenance of the proposed Effort Mountain Taps over the land of Larue High is necessary for the service, accommodation, convenience, or safety of the public.  As explained above, the distribution facilities serving the Sun Valley/Jonas area are operating near or at their capacity during peak periods.  The proposed Effort Mountain Project is required to relieve existing and projected overloaded conditions on distribution lines and transformers serving the Sun Valley/Jonas area, which is one of PPL’s poorest performing areas.

As explained above, the principal part of the proposed project requires construction of approximately 5.7 miles of new 138 kV transmission lines, the proposed Effort Mountain Taps that will connect the Siegfried-Jackson 138 kV Transmission Lines to the proposed Effort Mountain Substation.  The new Effort Mountain Substation, in turn, will supply new 12 kV distribution lines.  Initially, there will be two new distribution lines.  More lines may be added in the future as appropriate to meet load growth.  (PPL Statement No. 8, p. 4)

The proposed route for the Effort Mountain Taps was selected after extensive public input and a detailed analysis, which included a comprehensive environmental inventory, identification and analysis of alternative routes, and selection of the preferred route.  Factors considered in the siting analysis included functional requirements, environmental impacts, social impacts, public input, cost, and other factors identified in the Commission’s siting regulations.

The route of the proposed Effort Mountain Taps crosses three tracts of land that are owned by Ms. Larue High.  The property is approximately 352 acres located in Chestnuthill and Polk Townships, Monroe County, Pennsylvania.  The property is fallow agricultural land that is not currently used for farming purposes.  PPL attempted to purchase the right-of-way and easement over said tracts of land for the purposes described above but was unable to reach an agreement with Ms. High.  (PPL Statement No. 8, p. 6)

PPL seeks to exercise the power of eminent domain to acquire a right-of-way for the construction, operation, and maintenance of the Effort Mountain Taps over and across the property of Ms. High.  The proposed right-of-way and easement over Ms. High’s property will not cross any place of public worship, burying ground, dwelling or its reasonable curtilage.  See, 15 Pa.C.S.A. § 1511(b).  Further, although a dwelling is located on the property, it is approximately 450 feet from the right-of-way at its nearest point.  (PPL Statement No. 8, p. 7; Tr. 106-07)

PPL must be able to route the Effort Mountain Taps over and across the above-mentioned property in order to site, construct, and operate that line at the selected route.  The service to be provided by PPL through the proposed transmission line and related facilities is necessary or proper for the service, accommodation, convenience or safety of the public for the reasons set forth above.  Accordingly, I find that PPL’s proposed exercise of the power of eminent domain to acquire a right-of-way and easement for the proposed Effort Mountain Taps over the land of Ms. High is necessary and, therefore, should be approved.

2.
Response to Ms. High TC "2.
Response to Ms. High" \f C \l "3" 
Ms. High raises several objections to the proposed condemnation by PPL.  First, she asserts that her property cannot be condemned because it is enrolled in an Agricultural Security Program.  (High Exhibit A, p. 2)  Ms. High is incorrect.  Section 13 of the Agricultural Security Program provides, among other things, that an entity must obtain approval from the State Agricultural Lands Condemnation Approval Board, the Agricultural Security Area Advisory Committee, and the governing bodies of each municipality prior to condemning property located in an Agricultural Security Area.  3 P.S. § 913.  However, Section 13 also recognizes that the Commission has exclusive jurisdiction over the siting and construction of high voltage transmission lines and exempts from the foregoing approval requirement the following:

[F]or any public utility the necessity for and the propriety and environmental effects of which has been reviewed and ratified or approved by the PUC or the Federal Energy Regulatory Commission, regardless of whether the right to establish such … public utility facility is obtained by condemnation or by agreement with the land owner.

3 P.S. § 913(b).

Therefore, contrary to Ms. High’s contention, PPL may condemn a property located in an Agricultural Security Area if it receives appropriate approval from this Commission.

Ms. High also expressed dissatisfaction with the manner in which representatives from PPL attempted to negotiate a right-of-way agreement.  (High Exhibits A and B)  Ms. High asserted generally that PPL’s Real Estate Specialists repeatedly visited her and pressured her to enter into a right-of-way agreement.  The Real Estate Specialists from PPL met with Ms. High on several occasions in an attempt to negotiate an amicable agreement for a right-of-way over Ms. High’s property.  (PPL Statement No. 19, pp. 5-6)  However, at no time did the Real Estate Specialists threaten Ms. High.  (PPL Statement No. 19, p. 7)  Rather, PPL treated Ms. High in a respectful and fair manner.  (PPL Statement No. 15, p. 4)  Further, PPL’s Real Estate Specialists at all times followed the Commission’s regulations regarding disclosure of the power of eminent domain.  (PPL Statement No. 19, pp. 6-7)

In evaluating Ms. High’s contentions, it must be observed that she complained about everyone that spoke with her about the right-of-way across her land.  Ms. High characterized a meeting with State Representative Michael B. Carroll as threatening and that he demanded her to sign a right-of-way agreement.  (High Exhibit A, p. 2; High Exhibit B, pp. 1-2)  However, Representative Carroll denied Ms. High’s characterization of the meeting and the allegation that he demanded her to sign an agreement.  (PPL Statement No. 12, Ex. 12-b)  She also complained about a local attorney who attempted to help her regarding these matters.  (Tr. 27-28)  In contrast, there have been no other complaints from affected landowners regarding the conduct of PPL’s Real Estate Specialists.

IV.
CONCLUSIONS OF LAW TC "IV.
CONCLUSIONS OF LAW" \f C \l "1" 
1.
Pursuant to Chapter 11 of the Public Utility Code, 66 Pa.C.S.A. §§ 1101, et seq., and 15 Pa.C.S.A. § 1511(c) and Section 619 of the Pennsylvania Municipalities Planning Code, Act of July 31, 1968, P.L. 805, as amended, 53 P.S. § 10619, the Commission has jurisdiction over the subject matter of, and the parties to, this proceeding.

2.
Pursuant to 66 Pa.C.S.A. §332(a), the burden of proof in Docket Number C-2009-2107073 is upon complainant.

3.
Pursuant to 66 Pa.C.S.A. §332(a), the burden of proof in Docket Numbers A-2010-2152104, A-2010-2153061 and A-2010-2163154 is upon PPL.

4.
To establish a sufficient case and satisfy the burden of proof, the complainant in Docket Number C-2009-2107073 must show that the respondent public utility is responsible or accountable for the problem described in the Complaint.  Such a showing must be by a preponderance of the evidence.  That is, by presenting evidence more convincing, by even the smallest amount, than that presented by the other party.

5.
Any finding of fact necessary to support the Commission’s adjudication must be based upon substantial evidence.

6.
Substantial evidence has been defined as such relevant evidence as a reasonable mind might accept as adequate to support a conclusion.  More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.

7.
Notice properly mailed to a party’s last known address and not returned by the post office is presumed to have been received.

8.
The mere assertion that the document was not received, without corroboration, is insufficient to overcome the presumption of receipt.
9.
By failing to appear at the scheduled Hearing, the complainant in Docket Number C-2009-2107073 has failed to satisfy the burden of proof.

10.
Failure by a complainant to appear for a scheduled hearing of which the complainant had notice warrants dismissal of the Complaint with prejudice.

11.
PPL has met its burden to prove that the Application requesting approval of the siting and construction of the proposed Effort Mountain #1 & #2 138 kV Taps in Chestnuthill and Polk Townships, Monroe County, Pennsylvania, Docket Number A-2010-2152104, is necessary or proper for the accommodation, convenience, and safety of its patrons, employees, and the public.

12.
PPL has met its burden to prove that the siting and construction of the Effort Mountain Taps in the modified Route B1 would not create an unreasonable risk of danger to the health and safety of the public.

13.
PPL has met its burden to prove that the siting and construction of the Effort Mountain Taps in the modified Route B1 is in compliance with applicable statutes and regulations providing for the protection of the natural resources of this Commonwealth.

14.
PPL has met its burden to prove that the siting and construction of the Effort Mountain Taps in the modified Route B1 would have a minimum adverse environmental impact, considering the electric power needs of the public and the available alternatives.

15.
PPL has met its burden to prove that the selection of the modified Route B1 for the Effort Mountain Taps was reasonable and not selected wantonly, capriciously, or arbitrarily.

16.
PPL has demonstrated that the modified Route B1 is superior to the alternative Route A, Route A1, and Route B.

17.
The siting of PPL’s aerial transmission and substation facilities, other than the Control Equipment Building, are exempt from local zoning ordinances because such ordinances are preempted as to public utility facilities by statewide utility regulation by the Commission.

18.
PPL has met its burden to prove that the building to shelter control equipment at the proposed substation at the Effort Mountain 138-12 kV Substation site, Monroe County, is reasonably necessary for the convenience or welfare of the public and, therefore, exempt from any local zoning ordinance pursuant to Section 619 of the Pennsylvania Municipalities Planning Code, Act of July 31, 1968, P.L. 805, as amended, 53 P.S. § 10619.

19.
PPL has met its burden to prove that the Application for approval to exercise the power of eminent domain, pursuant to 15 Pa.C.S.A. § 1511, to acquire rights-of-way and easements necessary for the construction, operation, maintenance, and aerial crossing by the Effort Mountain Taps over the property of Larue High, Docket Number A-2010-2163154, is necessary and proper for the service, accommodation, convenience or safety of the public.

V.
ORDER TC "V.
ORDER" \f C \l "1" 
THEREFORE,

IT IS RECOMMENDED:

1.
That the Complaint of Albert Barney against PPL Electric Utilities Corporation at Docket Number C-2009-2107073 is dismissed, with prejudice.

2.
That the Application of PPL Electric Utilities Corporation Filed Pursuant To 52 Pa Code Chapter 57, Subchapter G, For Approval of The Siting And Construction of The Effort Mountain #1 & #2 138 kV Taps In Chestnuthill And Polk Townships, Monroe County, Pennsylvania, at Docket Number A-2010-2152104, is granted.

3.
That the Petition of PPL Electric Utilities Corporation For A Finding That a Building To Shelter Control Equipment At The Effort Mountain Substation To Be Constructed in Chestnuthill Township, Monroe County, Pennsylvania is Reasonably Necessary For The Convenience Or Welfare Of The Public, at Docket Number A-2010-2153061, is granted.

4.
That the Application Of PPL Electric Utilities Corporation Under 15 Pa.C.S. §1511(c) For A Finding And Determination That The Service To Be Furnished By The Applicant Through Its Proposed Exercise Of The Power Of Eminent Domain To Acquire A Right-Of-Way And Easement Over And Across The Lands Of Larue High For The Proposed Effort Mountain #1 & #2 138 kV Taps In Chestnuthill And Polk Townships, Monroe County, Pennsylvania Is Necessary Or Proper For The Service, Accommodation, Convenience Or Safety Of The Public, at Docket Number A-2010-2163154, is granted.

5.
That the protests filed against one or more of these consolidated Applications and Petition by Suzanne A. Hart and Larue High at, Docket Numbers A-2010-2152104, A-2010-2153061, and A-2010-2163154 are denied.
6.
That the record at Docket Numbers C-2009-2107073, A-2010-2152104, A-2010-2153061, and A-2010-2163154 be marked closed.
Date:
September 16, 2010
















Wayne L. Weismandel








Administrative Law Judge
�	In addition to PPL, the parties consist of Albert Barney, Suzanne A. Hart, and Larue High.


�	Immediately prior to the convening of the Prehearing Conference a telefacsimile from Joseph P. Hanyon, Esquire, addressed to me, was delivered to me in the Hearing Room.  The fax contained a cover sheet, a Praecipe For Entry Of Appearance, and a Motion For Continuance with enclosures.  There was no indication that the fax had been sent to anyone other than me.  Counsel for PPL stated that he had not received a copy.  Pursuant to the provisions of 52 Pa.Code § 1.11(c), Mr. Hanyon’s fax did not constitute a legitimate filing with the Commission.


�	See, 66 Pa.C.S.A. §§ 332(a), 315.


�	Notice mailed to a party’s last known address and not returned by the post office is presumed to have been received.  Chartiers Industrial and Commercial Development Auth. v. Allegheny Cty. Bd. of Property Assessment Appeals and Review, 165 Pa.Cmwlth. 671, 645 A.2d 944 (1994), app. denied, 539 Pa. 696, 653 A.2d 1234 (1994); Berkowitz v. Mayflower Securities, Inc., 455 Pa. 531, 317 A.2d 584 (1974); John D. Stewart, Jr. v. Columbia Gas of Pennsylvania, Inc., Docket Number C-00957041, Opinion and Order adopted March 28, 1996, entered May 10, 1996.  Mere assertion that the document was not received, without corroboration, is insufficient to overcome the presumption of receipt.  Donegal Mutual Ins. Co. v. Insurance Dep’t, 719 A.2d 825 (Pa.Cmwlth. 1998); Geise v. Nationwide Life and Annuity Co., 939 A.2d 409 (Pa.Super. 2007).


�	Article I, Section 27 of the Pennsylvania Constitution states:


The people have a right to clean air, pure water and to the preservation of the natural, scenic, historic and esthetic values of the environment.  Pennsylvania’s public natural resources are the common property of all the people, including generations yet to come.  As trustee of these resources, the Commonwealth shall conserve and maintain them for the benefit of all the people.


Pa. Const. art. I, § 27.


�	The three-part test established in Payne v. Kassab requires the consideration of the following:


1.  Was there compliance with all applicable statutes and regulations relevant to the protection of the Commonwealth’s environment?


2.  Does the record demonstrate a reasonable effort to reduce the environmental incursion to a minimum?


3.  Does the environmental harm which would result from the challenged decision or action so clearly outweigh the benefits to be derived there from that to proceed further would be an abuse of discretion?


Id. at 94.


�	The Public Utility Code defines “facilities” as follows:


“‘Facilities.’  All the plant and equipment of a public utility, including all tangible and intangible real and personal property without limitation, and any and all means and instrumentalities in any manner owned, operated, leased, licensed, used, controlled, furnished, or supplied for, by, or in connection with, the business of any public utility.  Property owned by the Commonwealth or any municipal corporation prior to June 1, 1937, shall not be subject to the commission or to any of the terms of this part, except as elsewhere expressly provided in this part.”  66 Pa.C.S.A. § 102.


�	PPL does not believe that the current scientific evidence demonstrates that magnetic fields cause any adverse health effects or pose a health or safety danger to the public.  Nevertheless, PPL has instituted a magnetic field management program.  As set forth in PPL Exhibit 1, Appendix 4, PPL’s PMFM program is applied to new and reconstructed transmission line projects.  To reduce magnetic field exposures, the program generally prescribes the use of a line design that provides five feet high ground clearance and reverse phasing of new double circuit lines where it is feasible to do so at low or no cost.  The implementation of additional modifications will be considered, provided those modifications can be made at low or no cost.  (PPL Exhibit 1, Exhibit E, p. 3)


�	The Chestnuthill Township Zoning Ordinance, however, does contain a limited exemption for public utilities.  Section 114 of the Zoning Ordinance permits exemptions under the Pennsylvania Municipalities Planning Code.  (PPL Statement No. 7, p. 6)





6518563v1
PAGE  

