PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


               Public Meeting held January 13, 2011
Commissioners Present:

James H. Cawley, Chairman

      Tyrone J. Christy, Vice Chairman, Dissenting on P-2010-2200410
John F. Coleman, Jr.

Wayne E. Gardner 

Robert F. Powelson

Application Of PPL Electric Utilities Corporation 
Filed Pursuant To 52 Pa. Code Chapter 57 

Subchapter G, For Approval Of The Siting And



A-2010-2200439
Construction Of The Blue Mountain #1 & #2 
138 kV Taps In Moore Township, Northampton
County, Pennsylvania.

Petition Of PPL Electric Utilities Corporation 
For A Finding That A Building To Shelter Control                              P-2010-2200410
Equipment At The Blue Mountain 138-12 kV 
Substation To Be Constructed In Moore Township, 
Northampton County, Pennsylvania Is Reasonably 
Necessary For The Convenience Or Welfare Of The 
Public.

ORDER

BY THE COMMISSION:

On September 21, 2010, PPL Electric Utilities Corporation (“PPL Electric”) filed an Application pursuant to Chapter 57, Subchapter G of the Commission’s regulations at 52 Pa. Code §§57.71 – 57.77, governing the siting and construction of high voltage transmission lines.  The Application seeks Commission approval for the siting and construction of the Blue Mountain #1 and #2 138 kV transmission Tap Lines (“Blue Mountain Taps”).  In conjunction with the proposed Blue Mountain Taps, PPL Electric proposes to construct the new 138-12 kV Blue Mountain Substation (“Blue Mountain Substation”) in Moore Township, Northampton County, Pennsylvania.

Copies of the Application were served in accordance with Section 57.74 (b) and (c) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Northampton County, Lehigh Valley Planning Commission, Moore Township Planning Commission, Moore Township Board of Supervisors and other interested parties as listed in the Certificate of Service.  A notice of the filing was published in a newspaper of general circulation in the area of the project.  No protests were filed and no hearings were held.


PPL Electric states that construction of the Blue Mountain Taps, together with the new 12 kV distribution line and the Blue Mountain Substation, is required to improve the reliability of service and meet increasing demand in the Moore Township area.  Presently, PPL Electric distribution customers in this area are served from the Northampton 138-12 kV Substation.  The Northampton 138-12 kV Substation has two 138-12 kV transformers energized from the Allentown-Siegfried #1 and #2 138 kV Transmission Line.  The Northampton 138-12 kV Substation supplies four 12 kV distribution lines, including the Northampton 31-2 12 kV distribution line. 

According to PPL Electric, it is projected that the load on the Northampton 31-2 12 kV distribution line will exceed its normal planning guidelines in PPL Electric’s Reliability Principles and Practices manual (“RP&P”) in the winter of 2010-2011.  Operating this line beyond the planning ratings will overheat the line and anneal the conductors which could result in an outage of the facilities.  Further, PPL Electric's RP&P guidelines limit the number of customers served from a distribution line to 1,300.  Presently, the Northampton 31-2 12 kV distribution line serves approximately 2,000 customers.  As a result of the overloading, the existing distribution line cannot accommodate any additional load growth. 



PPL Electric states that the overall length of the Northampton 31-212 kV distribution line and its 12 kV branches is approximately 96 miles.  This length exceeds the PPL Electric RP&P guideline of 50 miles of line length per feeder.  The Northampton 31-2 12 kV distribution line has limited transfer capability because it is tied to only one other circuit.  However, this other circuit presently serves approximately 1,300 customers and cannot accommodate any additional customer load under the PPL RP &P. This limited transfer capability can increases the duration of outages.  As a result of the large number of customers experiencing multiple outages per year, the Northampton 31-2 12 kV distribution line has repeatedly been among the worst performing circuits on the PPL Electric system. 

In order to alleviate these problems, PPL Electric plans to construct the new Blue Mountain Substation.  Also, PPL Electric plans to construct and install a new 12 kV distribution line that will be connected to the Blue Mountain Substation to serve customer load in the Moore Township area to relieve loading and increase reliability and operating flexibility.  The Blue Mountain Substation and new 12 kV distribution line will reduce peak loading on the existing Northampton 31-2 12 kV distribution line by approximately 5.2 MVA.  The new 12 kV facilities will reduce the number of customers served by the existing Northampton 31-2 12 kV distribution line to within the limits of the PPL Electric RP&P guidelines. 



According to PPL Electric, the Blue Mountain Substation will be supplied from the existing Siegfried-Jackson #1 & #2 138 kV Transmission line. The proposed Blue Mountain Taps will connect the Blue Mountain Substation with the Siegfried-Jackson #1 & #2 138 kV Transmission Line.  The Blue Mountain Taps will be designed as a double-circuit 138 kV transmission tap lines that will extend approximately 150 feet from the existing Siegfried-Jackson #1 & #2 138 kV Transmission Line to the proposed Blue Mountain Substation.  Initially, only the Blue Mountain Tap # I will be constructed. The Blue Mountain Tap #2 will be constructed when future load increases make it appropriate to maintain service reliability.


PPL Electric states that, the Blue Mountain Taps initially will require one steel mono-pole, which will be approximately 110 feet in height and will be mounted on a concrete foundation.  A second, shorter steel mono-pole will be added when the second Tap is installed.
  The proposed Taps will each consist of three power conductors and one overhead ground wire.  The power conductors will be 556.5 kcmil, 24/7 strand ACSR.
 The overhead ground wires will be 3/8-inch steel and will provide lightning protection for the proposed Taps. 


The proposed Blue Mountain Taps and Blue Mountain Substation will be located in Moore Township, Northampton County.  The Blue Mountain Taps and Blue Mountain Substation will be constructed entirely on a 7.93-acre parcel owned in fee by PPL Electric. Because the proposed Blue Mountain Taps will be only 150 feet in length and will be installed in the vicinity of existing transmission lines, it is anticipated that the Blue Mountain Taps will have minimal incremental impacts on the area.  The 7.93-acre site for the proposed Blue Mountain Substation is traversed by the existing Siegfried-Jackson #1 & #2 138 kV Transmission Line.  The site is zoned as a Limited Conservation District, under which substations are listed as a "Special Exception Use." A proposed subdivision is located across from the site for the proposed Blue Mountain Substation.  Two existing homes are located nearby, with the closest being approximately 500 feet from the proposed substation.  Visual impacts to the existing and future homes will be mitigated by landscaping the site after the project is completed. 



PPL Electric states that the Blue Mountain Taps will be designed to comply with, and will generally surpass, the applicable minimum standards in the National Electrical Safety Code (NESC).  



PPL Electric also states that the Blue Mountain Taps were reviewed with representatives of Northampton County, Lehigh Valley Planning Commission, Moore Township Board of Supervisors, and Moore Township Planning Commission.  These entities have no objection to the Blue Mountain Taps. 


The total estimated cost to design and construct the proposed project is approximately $2.1 million, which includes $1.3 million for the new Blue Mountain Substation, $489,000 for the Blue Mountain Taps, and $300,000 for distribution work. Construction is scheduled to commence in March 2011 to meet a required in- service date of November 2011.


PPL Electric states that the new Blue Mountain Substation will include a building to shelter control equipment (“Control Equipment Building”).  
Contemporaneously with the filing of this Application , PPL Electric, pursuant to 52 Pa. Code §5.41 and 53 P.S. §10619, filed a Petition with the Commission for a finding that the Control Equipment Building at the proposed Blue Mountain Substation, is reasonably necessary for the convenience or welfare of the public and, 
therefore, exempt from any local zoning ordinance (“Zoning Petition”).
  The Blue Mountain Taps will be connected to the proposed Blue Mountain Substation, including the Control Equipment Building that is the subject of the Zoning Petition.  Issues related to the Zoning Petition are interrelated with the Application.


The purpose of the proposed Control Equipment Building in the Blue Mountain Substation is to protect the control equipment from the elements so that the line equipment, and the entire substation, can function properly.  The building will not be intended for human occupancy; there will be no supply of water and no sanitary facilities.  The Control Equipment Building will be contained within the fenced perimeter of the substation.  The Blue Mountain Substation will be located on a 7.93-acre tract of land owned by PPL Electric.  The proposed situation of the Control Equipment Building within the fenced perimeter of the substation is the subject of the Petition filed by PPL Electric.


PPL Electric states that the Pennsylvania Municipalities Planning Code ("MPC") provides, in relevant part, as follows: 

“This article shall not apply to any existing or proposed building, or extension thereof, used or to be used by a public utility corporation, if, upon petition of the corporation, the Pennsylvania Public Utility Commission shall, after public hearing, decide that the present or proposed situation of the building in question is reasonably necessary for the convenience or welfare of the public.”

Section 619 of the MPC, Act of July 3,1968, P.L.805, as amended, 53 P.S. § 10619. Thus, a municipality may zone a public utility building unless the Commission determines that the building is reasonably necessary for the convenience or welfare of the public. If the Commission finds that the building is reasonably necessary, the building is exempt from local zoning ordinances under the MPC. Del-AWARE Unlimited, Inc. v. Pa.P.U.C., 513 A.2d 593, 596 (Pa. Cmwlth. 1986). 



PPL Electric argues that as explained above, the Blue Mountain Substation, together with the Blue Mountain Taps and new 12 kV distribution line, is necessary to reduce load, improve restoration times, and resolve the reliability issues associated with the existing Northampton 31-2 12 kV distribution line in Moore Township area.  The Blue Mountain Substation must include certain control equipment in order to operate properly, and said equipment must be protected from the elements, which requires the construction of the Control Equipment Building on the Blue Mountain Substation Site.  Because the Blue Mountain Substation is reasonably necessary for the public convenience and welfare, and because the Control Equipment Building is necessary to properly operate the Blue Mountain Substation, the Commission should find that the Control Equipment Building is reasonably necessary and, therefore, exempt from the Moore Township's local zoning ordinance pursuant to Section 619 of the MPC.  Del-AWARE Unlimited, Inc. v. Pa. P. U C., 513 A.2d 593 (Pa. Cmwlth. 1986). 
On January 11, 2001, the Commission adopted a policy statement to further the Commonwealth's goal of making agency actions consistent with sound land use planning by considering the impact of its decision upon local comprehensive plans and zoning ordinances.  See 31 Pa. Bull. 951 (Feb. 17, 2001).  Section 69.1101 of the Commission's Regulations provides: 
[T]he Commission will consider the impact of its decisions upon local comprehensive plans and zoning ordinances. This will include reviewing applications for: 

(1)  Certificates of public convenience. 

(2)  Siting electric transmission lines. 

                                   (3)  Siting a public utility "building" under      

                                         section 619 of the Municipalities Planning   

                                         Code (53 P.S. § 10619)…… 

52 Pa. Code § 69.1101.


Moore Township has adopted a zoning ordinance, which includes a map on which zoning districts are identified.  See MOORE TOWNSHIP COUNTY ZONING ORDINANCE, Ordinance of 1980, as amended (April 24, 1973).  Under the Moore Township Zoning Ordinance, no buildings or structures shall be used or constructed unless in conformity with the Zoning Ordinance.  See MOORE TOWNSHIP ZONING 

ORDINANCE OF 1980, § 200-3.A. 

PPL Electric states that the Moore Township Zoning Ordinance defines essential services to include the provision of electricity. The Moore Township Zoning Ordinance further defines "major facilities" as equipment that is enclosed within a building or constructed on its own site, including substations.  See MOORE TOWNSHIP ZONING ORDINANCE OF 1980, § 200-5. 
The location where PPL Electric proposes to construct the Blue Mountain Substation is designated as a Limited Conservation District.  Pursuant to the Moore Township Zoning Ordinance, substations are permitted in a Limited Conservation District as a "Special Exception Use."  See MOORE TOWNSHIP ZONING ORDINANCE OF 1980, § 200-13.C.  The Moore Township Zoning Ordinance defines a "Special Exception Use" as follows: 
“A use for which the Zoning Hearing Board may grant permission following a public hearing and findings of fact consistent with this chapter, provided that the use complies with the conditions and standards required by this chapter”. 

See MOORE TOWNSHIP ZONING ORDINANCE OF 1980, § 200-5.  Section 200-18 of the Moore Township Zoning Ordinance sets forth the procedure for obtaining Zoning Hearing Board approval for a Special Exception Use.  See MOORE TOWNSHIP ZONING ORDINANCE OF 1980, § 200-18. 


PPL Electric states that in order for the Moore Township Zoning Hearing board to approve a Special Exception Use, it must find that the use complies with general standards applicable to all Special Exception Uses, as well as with standards applicable to specific uses.  With respect to substations, the Moore Township Zoning Ordinance provides that all equipment for utility substations shall be enclosed in a building or by a sight obscuring screen, masonry wall, wooden fence or chain link fence with evergreen vines at least eight feet in height.  See MOORE TOWNSHIP ZONING ORDINANCE OF 1980, § 200-18.E(34). 


In addition to the general and specific standards, the Moore Township Zoning Ordinance also provides that a Special Exception Use may also be subject to any other conditions or standards that the Zoning Hearing Board, in its sole discretion, deems necessary and reasonable.  See MOORE TOWNSHIP ZONING ORDINANCE OF 1980, § 2008-18.C 

PPL Electric submits that if it were required to obtain a special exception permit prior to construction of the Control Equipment Building, the process, including appeals from adverse determinations, could consume substantial time, which could delay 
the construction of the Blue Mountain Substation and Blue Mountain Tap, which are reasonably necessary for the convenience or welfare of the public as explained above.
  Further, the construction on the Blue Mountain project is scheduled to begin in March 2011 to meet a required in-service date of November 2011.  The required in-service date is the date the proposed facilities need to be placed in service to prevent equipment overloads that have the potential to damage existing facilities, and, thereby, cause the interruption of service to customers.


Furthermore, The Blue Mountain Taps were reviewed with representatives of Northampton County, Lehigh Valley Planning Commission, and Moore Township. These entities have no objection to the Blue Mountain project.  As indicated in the attached certificate of service, PPL Electric is serving a copy of this Zoning Petition on the Northampton County, Lehigh Valley Planning Commission, Moore Township Board of Supervisors, and Moore Township Planning Commission. 

For these reasons, PPL Electric requests that the Commission find that the Control Equipment Building is reasonably necessary for the convenience or welfare of the public and is, therefore, exempt from the requirement of the Moore Township Zoning
Ordinance that may, in the Moore Township’s opinion, impose any restriction, condition, or regulation on the construction of the Control Equipment Building.
Notice of the Zoning Petition was published in the Pennsylvania Bulletin on October 9, 2010.  No protests or petitions to intervene were filed.  By notice dated October 14, 2010, the Commission scheduled this matter for a Prehearing Conference on Monday, November 8, 2010, at 10:00 a.m. and assigned the case to ALJ Ember S. Jandebeur.  


A prehearing conference was held as scheduled.  According to ALJ Ember S. Jandebeur, John H. Isom, Esquire represented PPL Electric, no other parties appeared or expressed any interest via telephone or in writing, before, during or after the Prehearing Conference.  No Notices of Appearance were filed by any of the parties served with the Petition.   


The Commission having conducted a public hearing in this matter after providing notice to the municipal entities where the proposed building will be located with no protest or petition filed, ALJ Ember S. Jandebeur ordered that the record in the case be closed and referred the case to the Commission’s Bureau of Fixed Utilities for further action as an unprotested petition.

.


Upon review, the Commission finds that the PPL Electric’s Application and manner in which it was filed conform to the Commission’s regulations at 52 Pa. Code §§57.71 – 57.77.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting.  Also, PPL Electric’s Zoning Petition and manner in which it was filed conform to the requirements of 52 Pa. Code §5.41 and 53 P.S. §10619, and because 
there were no protests or petition to intervene indicating an opposition to the relief requested in PPL Electric’s Petition, we recommendation that the Petition be granted; THEREFORE,

IT IS ORDERED:

                      1. That the Application filed by PPL Electric Utilities Corporation for the siting and construction of the Blue Mountain #1 & #2 138 kV Taps in Moore Township, Northampton County, Pennsylvania is hereby approved. 

                     2. That the Petition of PPL Electric Utilities Corporation for a finding that a building to shelter control equipment at the proposed Blue Mountain138-12 kV Substation in Moore Township, Northampton County, Pennsylvania is reasonably necessary for the convenience or welfare of the public and, therefore exempt from any local zoning ordinance, is hereby granted.

[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary
(SEAL)
ORDER ADOPTED: January 13, 2011
ORDER ENTERED: January 14, 2011
� The future Blue Mountain Tap #2 will tap the far side of the existing Siegfried-Jackson #1 & #2 138 kV Transmission Line. The second pole is shorter so that the conductors of the Blue Mountain Tap #2 will be low enough to pass underneath the conductors of the Siegfried-Jackson #1 & #2 138 kV Transmission Line. 





� Aluminum conductor steel reinforced.


� PPL Electric believes its control equipment building is not a "building" but rather, is part of its substation facilities.  Therefore, PPL Electric's control equipment building is exempt from local zoning requirements. See, e.g., Duquesne Light Co. v. Upper St. Clair Township, 377 Pa.323,334-35, 105 A.2d 287,292 (1954). This Zoning Petition is being filed as a precaution in the event that the Commission were to determine that the control equipment building is not a facility and, therefore, potentially subject to local zoning ordinances.





� The lack of authority for a local municipality to regulate the design, location, or construction of public utility facilities is consistent with the long line of cases holding that public utilities are exempt from local ordinances. See Duquesne Light Company v. Monroeville Borough, 449 Pa. 573. 580, 298 A.2d 2352 (1972) ("This Court has consistently held, however, that the Public Utility Commission has exclusive regulatory jurisdiction over the implementation of public utility facilities") (citations omitted). See, e.g., County of Chester v. Philadelphia Elec. Co., 420 Pa. 422, 218 A.2d 331 (1966) (holding that regulation by a multitude of jurisdictions would result in "twisted and knotted" public utilities with consequent harm to the general welfare); Newtown Twp. v. Philadelphia Elec. Co., 594 A.2d 834, 837 (Pa. Cmwlth. 1991) (noting that "it is clear that no 'implied' power exists in the MPC which would allow the Township to regulate [the Philadelphia Electric Company] through its subdivision and land development ordinance"); Heintzel v. Zoning Hearing Bd. of Millcreek Twp., 533 A.2d 832 (Pa. Cmwlth. 1987) (holding that township had no power to regulate, under its zoning ordinance, city's erection of water tower because that power was under the exclusive jurisdiction of the PUC); South Coventry Twp. v. Philadelphia Elec. Co., 504 A.2d 368 (Pa. Cmwlth. 1986) (noting that to possibly subject [the Philadelphia Electric Company] to a miscellaneous collection of regulations upon its system would clearly burden and indeed disable it from successfully functioning as a utility); Commonwealth v. Delaware and Hudson Railway Co., 339 A.2d 155 (Pa. Cmwlth. 1975) (holding that the MPC did not authorize local governments to regulate public utilities in any manner which infringes upon the power of the Commission to so regulate). 





PAGE  
12

