PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA. 17105-3265








Public Meeting held February 10, 2011 

Commissioners Present:

James H. Cawley, Chairman

Tyrone J. Christy, Vice Chairman

John F. Coleman, Jr.
Wayne E. Gardner
Robert F. Powelson

Petition of PPL Electric Utilities Corporation 

Docket No. P-2010-2206466
for Waiver of Certain Provisions of the
Pennsylvania Public Utility Commission’s

Regulations at 52 Pa. Code § 57.71 et seq.,

Governing Commission Review of the Siting 
And Construction of Electric Transmission Lines 
for the Elroy-Hatfield Nos. 1 and 2 138/69 kV 
Taps in Hatfield and Franconia Townships, 
Montgomery County.
ORDER
BY THE COMMISSION:


On October 25, 2010, PPL Electric Utilities Corporation (PPL) filed a Petition with the Commission, pursuant to 52 Pa. Code §§ 5.43 and 57.72(e), for a waiver of certain of the Commission’s regulations governing its review and approval of the siting and construction of high voltage electric transmission lines set forth at 52 Pa. Code §§ 57.71 et seq.  (Petition).  Specifically, PPL seeks a waiver of portions of 52 Pa. Code § 57.72(d) in order to file a Letter of Notification in lieu of an Application to site and construct the Elroy-Hatfield Nos. 1 and 2 138/69 kV Transmission Taps (Elroy-Hatfield Taps) in portions of Hatfield and Franconia Townships, Montgomery County, PA.  
Background.

In support of its Application, PPL avers that the Elroy-Hatfield Taps will be 2.03 miles in length and are needed to improve the reliability of electric service in portions of Montgomery and Bucks Counties.  The Elroy-Hatfield Taps connect the Elroy Substation with the Buxmont-Hatfield Nos. 3 and 4 69 kV transmission lines.  The proposed Elroy-Hatfield Taps will be located in an area in which PPL Electric’s facilities are interconnected with and, in some locations, are supplied by facilities of PECO Energy Company (“PECO”).  The Elroy location contains a 500 kV switchyard which is owned and operated by PECO and also contains a PPL Electric substation.  The PPL Electric Elroy Substation includes two transformers which step down the voltage of electric energy received from PECO from 500 kV to 69 kV and transmits electricity to other facilities through PPL Electric’s 69 kV transmission system.  

PPL Electric contends that its preferred route for the 2.03 mile transmission line is located entirely within an existing utility corridor.  This corridor includes property owned in fee by PPL Electric, right-of-way owned by PPL Electric, property owned in fee by PECO and right-of-way owned by PECO.  The proposed route will include 0.40 miles on property and right-of way owned by PPL Electric and 1.63 miles on property and right-of-way owned by PECO.  PPL avers that no additional right-of-way will be required because PPL Electric and PECO have entered into an agreement under which PPL Electric may utilize the portions of the utility corridor owned by PECO that are required for the Elroy-Hatfield Transmission Line.  
As additional justification, PPL states that the minimum width of the utility corridor is 300 feet and is sized to provide adequate space to accommodate multiple transmission lines.  Currently, a PECO single circuit 500 kV transmission line is the only transmission line that occupies the entire length of the utility corridor in which PPL Electric will construct the Elroy-Hatfield Taps.  The structures for PECO’s transmission line are lattice towers that range from 90 to 110 feet in height.  In addition, the southern portion of the utility corridor is occupied by PPL Electric’s Elroy Nos.1 and 2 69 kV Taps (Elroy Taps), which are supported by structures that are 60 to 95 feet in height, and Hatfield Quality Meats’ Nos. 1 and 2 69 kV Taps (Hatfield Taps), which are supported by structures that range from 75 to 95 feet in height.  The structures that support these tap lines are either wood or steel.  The Elroy Taps and Hatfield Taps are located in the southern portion of the utility corridor near PPL Electric’s 500-69 kV Elroy substation and PECO’s Elroy 500kV switchyard.  
PPL contends that the proposed Elroy-Hatfield Taps will be supported by single-shaft steel poles that will be 85 feet in height and the average span length will be approximately 290 feet.  The proposed Elroy-Hatfield Taps will be situated within the utility corridor to allow construction by PECO of an additional single circuit 500 kV line in the future.  

PPL states that alternative routes outside this existing utility corridor would be extremely difficult to site as a result of extensive residential development in this area.   

Use of the existing utility corridor will reduce the need to acquire and clear additional right-of-way and thus reduce environmental impacts and reduce costs.  The Elroy-Hatfield Taps are needed by PPL Electric to continue to provide adequate and reliable service.  More specifically,  PPL states that the new taps will provide load relief and transfer capacity to facilitate restoration of service and planned outages to enable PPL Electric to perform maintenance on the already heavily loaded Buxmont-Elroy Nos.1 and 2 and the Buxmont-Hatfield Nos. 3 and 4 69 kV transmission lines.  Specifically, loss of the Buxmont-Hatfield No. 4 69 kV transmission line would load the Buxmont-Hatfield No. 3 69 kV transmission line to 100 percent of its 124 MVA emergency capacity. 

Also, PPL claims that the loss of the double circuit Buxmont-Hatfield Nos. 3 and 4 69 kV transmission lines would initially interrupt approximately 125 MW of load or approximately 15,000 customers in Bucks and Montgomery Counties.  Absent the proposed reinforcement of the transmission system, it would not be likely that service could be restored in less than two hours due to the limited transfer capability of the already heavily loaded Nos. 1 and 2 Buxmont-Elroy 69 kV transmission lines.  Therefore, the existing facilities violate PPL Electric’s guidelines for reliability of service which are set forth in its Reliability Principles and Practices, which provide that loss of a double circuit 69 kV transmission line should not cause an interruption of service to more than 120 MW of load for more than two hours.  The new Elroy-Hatfield 138/69 kV Taps will resolve these reliability concerns by providing additional conductor capacity which will relieve load on existing conductors and provide additional transfer capability to permit maintenance on other transmission lines and facilitate restoration of service in the event of outages of other transmission lines in the area.       

Discussion.

The Commission’s regulation at 52 Pa. Code § 57.72(d) permits a utility to file a Letter of Notification in lieu of the Application process as follows:

"(d) Letter of notification in lieu of Application:
(1) A Letter of Notification may be filed with the Commission in lieu of the Application process set forth in §§ 57.71 - 57.76 for the following:
(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(ii) An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within the applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present levels, so long as the size, character, design or configuration of the proposed line does not substantially alter the right-of-way.

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed line does not substantially alter the right-of-way.

(vi) An HV line having a proposed route of 2 miles or less."
In addition, waiver of the specific requirements of the Commission’s Transmission Line Siting Regulations, at 52 Pa. Code § 57.71 et seq., is provided for in § 57.72(e):

“(e)  
The Commission or the presiding officer may—upon the petition of any party, upon the Commission’s own motion, or upon the presiding officer’s own motion—waive one or more or all of the requirements of this subchapter.  The petition shall clearly state the requirement sought to be waived and the reasons therefore.”
52 Pa. Code § 57.72(e).
PPL avers that, while the proposed transmission line does not meet the strict application of any one of the above exceptions, the line does come reasonably close to fitting within 52 Pa. Code § 57.71(d)(1)(vi) of the Commission’s regulations because its total length, 2.03 miles, is only slightly more than the 2 mile requirement in Section 57.71(d)(1)(vi).  PPL Electric notes that the entire length of the proposed transmission line is within an existing right-of-way utility corridor.  

Based on PPL’s description of the proposed line, we find that the new facility will not substantially alter the existing right-of-way.  PPL Electric requests a waiver of the requirements of 52. Pa Code § 57.72(d)(1)(vi) in order to file a Letter of Notification in lieu of an Application for approval to site and construct the proposed Elroy-Hatfield Taps.  The entire length of the proposed transmission line is 2.03 miles which is only about 160 feet longer than the length of a transmission line that automatically qualifies for use of a Letter of Notification.  Further, the proposed Elroy-Hatfield Taps will be located entirely in an established utility corridor which is composed of property owned in fee by PPL Electric, right-of-way owned by PPL Electric, property owned in fee by PECO and right-of-way owned by PECO.  As explained previously, PPL Electric has entered into an agreement with PECO under which PPL Electric may construct a transmission line in the property and right-of-way owned by PECO, and the utility corridor in which PPL Electric plans to construct the Elroy-Hatfield Taps is already occupied my three other transmission lines.  PPL Electric has met with representatives of the Hatfield Township, Franconia Township and Montgomery County.  None of the representatives of the Townships or the County expressed any opposition to the project.  


The Commission has approved similar requests granting waivers of certain regulations regarding Commission review of siting and construction of electric transmission lines at 52 Pa. Code § 57.71 et seq.
Specifically, In Letter of Notification of Pennsylvania Electric Company pursuant to 52 Pa. Code § 57.72(d) to Install the East-Towanda Mansfield 115 kV Transmission Line Tap to the Tennessee Gas Pipeline Substation Located in Troy Township, Bradford County, Pennsylvania, Docket No. A-110400F0045 (Feb. 6, 2006), the Commission granted Penelec’s request for waiver of Section 57.72 of the Commission’s siting regulations and permitted Penelec to seek Commission approval for the project by means of a Letter of Notification.  The proposed project was 2.6 miles long, and was located along the rights-of-way of an existing line and across the property of the sole customer to be served by the line.
In Petition of Philadelphia Electric Company for Waiver of Siting Application Requirements under 52 Pa. Code § 57.71 for the proposed Middletown-Morton 230 kV Line, Docket No. P-880293, 1988 Pa. PUC LEXIS 383, 67 Pa. PUC 52 (April 20, 1988), the Commission granted PECO’s request to file a Letter of Notification for a 4.50 mile 230 kV transmission line.  Approximately 4.05 miles of the proposed line would be built along railroad right-of-way, and the remaining 0.45 miles would be in right-of-way previously acquired by PECO from another utility.  Citing prior decisions,  Docket Nos. P-810309 and P-870228, the Commission found that PECO’s use of established railroad right-of-way eliminated the need to acquire and clear new right-of-way and, thus, eliminated potential adverse environmental impacts and significantly reduced costs.  

The Office of Consumer Advocate, Office of Trial Staff and Office of Small Business Advocate were served, but no Answers were filed.

We find PPL’s request for waiver from section 57.72(d) of the Commission’s regulations to be reasonable.  Since the proposed transmission line is only 160 feet  longer than the two-mile limit set forth in 52 Pa. Code § 57.72(d)(1)(vi) and will not substantially alter the existing right-of-way, the Petition is approved.
Conclusion.

As discussed above, we are granting PPL’s request for a waiver of the strict application of our regulations at 52 Pa. Code § 57.72(d)(1).  PPL may seek approval of a 138/69 kV Tap Lines, as described herein, by means of a Letter of Notification in lieu of the full application process set forth in §§ 57.71 - 57.76.  However, nothing in this order should be construed as an approval of the construction of the line or a waiver of any other requirements which may apply; THEREFORE, 

IT IS ORDERED:

1.
That the Petition Of PPL Electric Utilities Corporation for Waiver of Certain Provisions of the Pennsylvania Public Utility Commission’s Regulations for Waiver of Certain Provisions of the Pennsylvania Public Utility Commission’s Regulations At 52 Pa. Code § 57.71 et seq., Regarding The Review of the Siting and Construction of the Nos. 1 and 2 Elroy-Hatfield 138/69 kV Taps in Hatfield and Franconia Townships, Montgomery County is hereby granted.



2. 
That 52 Pa. Code § 57.72(d)(1)(iii) and (vi) is waived and PPL Electric Utilities Corporation may file a Letter of Notification in lieu of an application for authorization to construct the proposed transmission line described in the Petition.
[image: image1.png]








BY THE COMMISSION
         





Rosemary Chiavetta
           





Secretary

(SEAL)

ORDER ADOPTED:  February 10, 2011
ORDER ENTERED:  February 14, 2011




PAGE  
8

