	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


October 12, 2011
M-2011-2265081
JOHN HARTENSTEIN
RELIABILITY MANAGER
PECO ENERGY

2301 MARKET STREET

PHILADELPHIA, PA 19101

Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Hartenstein:



On September 27, 2011, PECO Energy Company (PECO) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.  


This request relates to service interruptions associated with heavy rain and high winds due to Hurricane Irene, which affected the PECO territory beginning on August 27, 2011.  PECO avers rain and high winds caused trees and tree limbs to fall across electric distribution equipment and to damage aerial facilities.  This caused sustained service interruptions to 551,102 customers out of a total of 1,683,939 customers.  The sustained interruptions occurred in all of the counties PECO serves.  PECO states that the event caused service interruptions from August 27, 2011, at 12:44 p.m. until September 3, 2011, at 3:14 p.m.    


Upon review of the company’s filing, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).



In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.


If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION











Sincerely,








Rosemary Chiavetta







Secretary

cc:
Daniel Searfoorce, TUS

Dennis Hosler, Audits


Blaine Loper, TUS

Darren Gill, TUS

Elaine McDonald, TUS

Kathleen Aunkst, Secretary’s Bureau
