NOTICE TO THE PUBLIC

# IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

# Aqua Pennsylvania Spring Run Water System (PWSID# PA1150089)

#### BOIL YOUR WATER BEFORE CONSUMPTION

Hiervan el agua antes de usarla.

ESTE INFORME CONTIENE INFORMACIÓN MUY IMPORTANTE SOBRE SU AGUA POTABLE.

TRADÚZCALO O HABLE CON ALGUIEN QUE LO ENTIENDA BIEN

A breakdown in the disinfection system at the Embreeville well in the Aqua Pennsylvania (Aqua) Spring Run Water System was discovered on December 20, 2010.  The chlorine feed was repaired and the required chlorine residual was recovered December 20, 2010.  This did not impact any of the other wells supplying the system. However, disinfection may have been impacted since December 16, 2010 although none of the routine samples taken by Aqua had any unusually low residuals.  As a precaution until bacteriological tests taken by Aqua are received, Aqua is urging customers to boil their water before using for consumption.

What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you might want to seek medical advice. People at increased risk should seek advice about drinking water from their health care providers.

## What happened? What is being done?  When will the problem be corrected?

A breakdown in the disinfection system at the Embreeville well in the Aqua Pennsylvania (Aqua) Spring Run Water System was discovered on December 20, 2010.  The chlorine feed was repaired and the required chlorine residual was recovered December 20, 2010.

Upon approval from DEP, we will inform you when you no longer need to boil your water. We anticipate resolving this problem by Thursday, December 23, 2010.

General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1.800.426.4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person Craig Lutz | System Name Spring Run | System Address Aqua Pennsylvania 762 West Lancaster Avenue |
| --- | --- | --- |
| Phone Number 877.987.2782 | System PWSID# PA1150089 | Bryn Mawr, PA 19010 |

##### Violation Awareness Date: December 20, 2010

##### Date Notice Distributed: December 21, 2010