NOTICE TO THE PUBLIC

# IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

# Paupackan Lake Estates Water System

# Raw Water from Well #2 Tested Positive for E. coli Bacteria

#### BOIL YOUR WATER BEFORE CONSUMPTION

Hiervan el agua antes de usarla.

ESTE INFORME CONTIENE INFORMACIÓN MUY IMPORTANTE SOBRE SU AGUA POTABLE.

TRADÚZCALO O HABLE CON ALGUIEN QUE LO ENTIENDA BIEN

A fecal indicator (E. coli) was detected in a raw water sample collected on Saturday, June 18, 2011, from Well #2, one of five wells supplying the Paupackan Lake Estates water system. Results were received Sunday, June 19, 2011. This was NOT a treated water sample. The well station is equipped with disinfection. Samples of the treated water from each of the well stations (including Well #2), raw water samples from the other four wells, and three distribution system samples also collected on Saturday were all negative for E. coli and Total Coliform.

## What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you might want to seek medical advice. People at increased risk should seek advice about drinking water from their health care providers.

## What happened? What is being done?  When will the problem be corrected?

On Friday, June 17, 2011, one of four samples collected from the distribution system on Wednesday and Thursday tested positive for total coliform. The other three samples, including one from the portion of the system supplied by Well #2, tested negative for total coliform bacteria. Nevertheless, the positive sample triggered collection of raw water samples from all of the wells.

We had filed an application with the Department of Environmental Protection (DEP) for certification of the disinfection system at Paupackan Lake Estates. We are making improvements requested by DEP, and we are also conducting additional sampling at the direction of DEP.

Upon approval from DEP, we will inform you when you no longer need to boil your water. We anticipate resolving this problem within the next several days.

General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1.800.426.4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person Steve Clark Manager; Honesdale Div. | System Name Paupackan Lake Estates | System Address 1775 N. Main Street Honesdale PA 18431 |
| --- | --- | --- |
| Phone Number (570) 647-0358 | System PWSID# PA2640048 |  |

##### Violation Awareness Date: June 19, 2010

##### Date Notice Distributed: June  20, 2010        Method of Distribution: Phone message and web site posting