NOTICE TO THE PUBLIC

# IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

# Aqua Pennsylvania Friendship Water System (PWSID# PA1150137)

#### BOIL YOUR WATER BEFORE CONSUMPTION

Hiervan el agua antes de usarla.

ESTE INFORME CONTIENE INFORMACIÓN MUY IMPORTANTE SOBRE SU AGUA POTABLE.

TRADÚZCALO O HABLE CON ALGUIEN QUE LO ENTIENDA BIEN

A breakdown in the disinfection system at the Cross Keys well serving a small portion of the Aqua Pennsylvania (Aqua) Friendship Water System was discovered on January 3, 2011. The chlorine feed was restored and the required chlorine residual was recovered. This did not impact any of the other sources supplying the system. However, disinfection may have been affected since December 31, 2010 in an area bounded by Horseshoe Pike, Little Washington Road and Briarwood Road. As a precaution until bacteriological tests taken by Aqua are received, Aqua is urging customers to boil their water before using for consumption.

What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- Disinfection is provided as protection against the presence of bacteria which could result from contamination due to human or animal wastes. Microbes in these wastes can cause diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you might want to seek medical advice. People at increased risk should seek advice about drinking water from their health care providers.

## What happened? What is being done?  When will the problem be corrected?

Disinfection was interrupted at the Cross Keys well in the Aqua Pennsylvania (Aqua) Friendship Water System on December 31, 2010 and discovered on January 3, 2011. The chlorine feed was restored January 3, 2011.

Upon approval from DEP, we will inform you when you no longer need to boil your water. We anticipate resolving this problem by Wednesday, January 5, 2011.

General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1.800.426.4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person Craig Lutz | System Name Friendship | System Address Aqua Pennsylvania 762 West Lancaster Avenue |
| --- | --- | --- |
| Phone Number 877.987.2782 | System PWSID# PA1150137 | Bryn Mawr, PA 19010 |

##### Violation Awareness Date: January 3, 2011

##### Date Notice Distributed: January 3, 2011