PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265

Public Meeting held November 10, 2011


Commissioners Present:

Robert F. Powelson, Chairman


John F. Coleman, Jr., Vice Chairman


Wayne E. Gardner




James H. Cawley




Pamela A. Witmer



 

Prevention and Mitigation of


    Docket No. I-2011-2271989
Extended Service Outages
ORDER

BY THE COMMISSION:

Electric utilities operating in Pennsylvania have a duty to provide safe, adequate and reliable service to customers.
  As part of its statutory powers, the Commission is authorized to adopt and enforce rules to ensure that electric utilities provide safe, adequate and reliable service.
  This includes rules relating to the frequency, scope and duration of electric service outages that may be caused by extreme weather events.  It is self-evident that these types of outages cannot be completely prevented for various reasons, including the strength and unpredictability of weather and the absence of legal authority to remove trees located outside of a utility’s rights of way.  Further, the Commission must also balance the reliability of service with affordability of service; an electric distribution system completely immune to weather events would not be affordable for many customers.
Discussion

The Commission expects that customers experiencing service outages will be restored safely and within a reasonable period of time.  The Commission further expects that electric utilities will appropriately invest in their distribution systems and give the necessary level of priority to the most troubled segments.

Unfortunately, much of Pennsylvania suffered a series of extreme weather events over the past six months that caused many electric customers to experience extended service outages.  While the large majority of customers are typically restored within twenty four hours of interruption, many in the past six months experienced outages of longer duration, and a small percentage of customers have suffered outages of up to a week or even longer.  The Commission wishes to verify these facts, and investigate whether there are additional remedies that can and should be adopted to improve reliability of service, particularly during extreme weather events.  

Accordingly, pursuant to Sections 501, 504, and 1501, 66 Pa.C.S. §§ 501, 504 and 1501, we shall direct all electric distribution companies under our jurisdiction to respond to the data requests set forth in Appendix A and direct our staff to prepare a report to summarize the responses and provide the Commission with recommendations for such further action as may be appropriate; THEREFORE, 
IT IS ORDERED:

1.
That all electric distribution companies shall provide responses to the Data Requests set forth in Appendix A.  
2.
 That responses to these Data Requests shall be filed with the Commission within thirty days of the entry date of the motion initiating this investigation, or 

December 12, 2011.  
3.
That the Bureau of Technical Utility Services will prepare a report summarizing the electric distribution companies’ responses and providing recommendations for future action by the Commission.
[image: image1.png]










BY THE COMMISSION,







Rosemary Chiavetta






Secretary

(SEAL)

ORDER ADOPTED:  November 10, 2011
ORDER ENTERED:   December 1, 2011
APPENDIX A

Data Requests
1.
Provide a list of circuits or segments of circuits that experienced service outages of a duration greater than 24 hours within the last six months preceding the Public Meeting of November 10, 2011.  Separate lists should be provided for circuits that were fully or partially out 24 to 48 hours, 49 to 72 hours and longer.  

(a) 
Where there are instances of multiple outages of 24 hours or greater occurring on a circuit over the past 6 months preceding the Public Meeting of November 10, 2011, please list each instance separately and group the instances (where necessary) by whether the outages were 24-48 hours, 48-72 hours, or greater than 72 hours.  

(b) 
Please list the circuits by location and provide the date and time of the first interruption and the date and time the final customer was restored for each circuit.  

(c) 
Indicate whether any of the above circuits were also among the electric distribution company’s worst performing 5% of circuits identified in the Quarterly Reliability Reports for the first three quarters of 2011.  

2.
Provide detailed explanations of the restoration activities associated with these circuits for each outage listed in the response to No. 1, including a general description of the system damages encountered.  

(a)
 Describe any other mitigating factors that hampered restoration efforts for each outage listed.  

(b) 
Provide a general description of the terrain, foliage, topography, and customer density associated with each circuit. 

3.
Provide information regarding any corrective actions planned or contemplated to reduce the frequency, scope and duration of outages on either the circuits impacted by the weather events and/or the worst performing circuits along with any suggestions that would reduce the frequency, scope and duration of outages on these circuits.  

� 66 Pa. C.S. § 1501.


� 66 Pa. C.S. § 501.





3

