	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


December 20, 2011
M-2011-2277242
JOHN HARTENSTEIN
RELIABILITY MANAGER
PECO ENERGY

2301 MARKET STREET

PHILADELPHIA, PA 19101

Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Hartenstein:



On November 28, 2011, PECO Energy Company (PECO) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.  


This request relates to service interruptions associated with early-season, heavy snow which affected the PECO territory beginning on October 29, 2011.  PECO averred heavy snow and rain caused damage to vegetation that brought down aerial electric facilities.  This caused sustained service interruptions to 275,710 customers out of a total of 1,686,096 customers.  The sustained interruptions occurred in all of the counties PECO serves.  PECO stated that the event caused service interruptions from October 29, 2011, at 10:10 a.m. until November 2, 2011, at 12:59 p.m.    


Upon review of the company’s filing, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).



In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.


If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION











Sincerely,








Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, TUS

Dennis Hosler, Audits


Blaine Loper, TUS

Darren Gill, TUS

Elaine McDonald, TUS

Kathleen Aunkst, Secretary’s Bureau
