PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


          Public Meeting held August 30, 2012
Commissioners Present:

Robert F. Powelson, Chairman

John F. Coleman, Jr., Vice Chairman

      Wayne E. Gardner 

James H. Cawley 
Pamela A. Witmer

Letter of Notification of PPL Electric 

Utilities Corporation, filed pursuant to 

52 Pa. Code Chapter 57.72, with respect                                         A-2011-2279431
to the Trumbauersville #1 and #2 138/69 kV

Tap Line in Richland Township, Bucks

County, Pennsylvania.

Petition of PPL Electric Utilities Corporation 

For a Finding that a Building to Shelter                                           P-2011-2279379
Control Equipment at the Trumbauersville 
69-12 kV Substation to be Constructed in 
Richland Township, Bucks County, Pennsylvania
is reasonably Necessary for the Convenience or
Welfare of the Public.

ORDER

BY THE COMMISSION:

On December 19, 2011, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification (“LON”) pursuant to 52 Pa. Code §57.72(d)(1)(vi) of the Commission’s transmission line siting regulations.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the right-of-way.

(iii) An HV line which is proposed to be located entirely within a public road.

(iv) An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(v) A line for which the voltage is proposed to be increased above its present levels, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(vi) An HV which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.  

(vii) An HV line having a proposed route of 2 miles or less.


Copies of the Letter of Notification were served in accordance with Section 57.72(d) (3) and 57.74 (b), (c) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Bucks County Planning Commission, Bucks County Board of Commissioners, Richland Township, Richland Township Planning Commission, and other interested parties as listed in the Certificate of Service.  No protest was filed and no hearing was held.


In this filing PPL Electric seeks Commission approval to site and construct the Trumbauersville #1 & #2 138/69 kV Tap Line in Richland Township, Bucks County, Pennsylvania.  The proposed tap line will be approximately 275 feet in length, and will connect the Buxmont- Quakertown #1 & #2 138/69 kV Transmission Lines to a new substation to be constructed in conjunction with this tap line.  The new substation will be named the Trumbauersville 69-12 kV Substation. 


PPL Electric states that the proposed tap line will provide the source of electrical supply to the new Trumbauersville 69-12 kV Substation.  The substation and associated 12 kV distribution facilities are required to meet the increasing demand for electricity and improve the reliability of service in the Richland and Milford areas.


PPL Electric explains that the Richland and Milford areas are currently served by two 69-12 kV Substations.  The Richland Substation supplies six-12 kV distribution lines and the Milford Substation supplies three 12 kV distribution lines.  The maximum 2-hour rating for the Richland 69-12 kV Substation is 39.7 MVA.  Due to the increasing demand for electricity, however, the Richland 69-12 kV Substation served a peak load of approximately 43.2 MVA in the summer of 2011 and is expected to serve a peak load of 45.7 MVA by 2012.  In addition, both the Richland 36-2 and 36-5 12 kV Distribution Lines peaked over the normal planning guideline of 10 MVA in the summer of 2011.  The 36-2 line currently serves approximately 1,700 customers, and the 36-5 line serves approximately 1,860 customers.  These customer counts exceed the recommended customer count per distribution line of 1,300 customers, as outlined in the PPL Electric’s Reliability Principles and Practices (“RP&P”).
 

Further, the Milford 69-12 kV Substation has a maximum summer emergency rating of 20.5 MVA.  The Milford Substation served a peak load of 21 MVA in the summer of 2011, and is expected to serve a peak load of 21.6 MVA in the summer of 2012.  In addition, the Milford 24-2 12 kV Distribution Line served a peak load of 8.2 MVA in the summer of 2011 and is expected to peak at 8.4 MVA in the summer of 2012.  Both of these exceed the normal planning guidelines for this type of conductor, which is 8 MVA.  The Milford 24-2 and Ridge Road 70-2 12 kV Distribution Lines have both experienced significant outages in recent years.


PPL Electric states that the proposed project will allow it to meet its RP&P guidelines regarding maximum loads and numbers of customers served and to provide additional capacity to meet increased load in the future.  Also, the proposed project will allow PPL Electric to construct additional 12 kV distribution lines and as a result, customer counts will be reduced on existing 12 kV distribution lines in the area, bringing them into compliance with PPL Electric’s RP&P.  The three new 12 kV distribution lines proposed as part of this Project will serve 2,920 customers formerly served from the Richland Substation, and 891 customers formerly served from the Milford Substation.


The proposed Tap Line will be designed for double-circuit 138 kV-operation, however, it will be built and initially operate with a single-circuit at 69 kV.  The second circuit will be added, and the operating voltage increased, when load growth in the area makes it appropriate to do so.



PPL Electric states that the proposed Trumbauersville #1 and #2 138/69 kV Tap Line will require the construction of approximately 275 feet of transmission line, 2 high-low poles, 2 Load Sectionalizing Air Breaks (“LSABs”), and 2 steel monopoles.  The proposed Tap will be connected to the Buxmont-Quakertown #1 & #2 138/69 kV Line by installing a “high-low” tap system.  This arrangement uses a high-height tap pole on the circuit closest to the substation and a low-height pole on the other circuit.  This arrangement allows the high pole circuit enough vertical clearance to cross above the low pole’s circuit.  Both poles in this arrangement will be steel monopoles.  The high pole will be approximately 120 feet tall and the low pole will be approximately 80 feet tall.  Both poles will be direct-embedded and guyed.  Each of the two LSAB switches to be installed will be on a direct-embedded steel monopole approximately 85 feet tall.  The LSAB switch poles will be connected by an X-brace for structural integrity.  The remaining two steel monopoles will average 60 feet in height and will be direct-embedded and guyed.  


Initially, the proposed Tap Line will consist of three power conductors and one overhead ground wire.  The power conductors will be 556.5 kcmil (thousands of circular mils)
 24/7 strand ACSR
.  A 3/8-inch steel overhead ground wire will provide lightning protection for the proposed tap line.  When the additional circuit is added, the line will consist of six power conductors and one overhead ground wire.


PPL Electric states that the proposed Tap Line will be located in part on an existing right-of-way, and in part on property that is under contract with PPL Electric, and provides PPL Electric with the option to purchase the property.  Further, the construction will have minimal incremental land use impacts on the surrounding area, because the Tap Line and Substation will be located in a wooded area in a proposed subdivision in close proximity to other transmission facilities.  

PPL Electric states that the proposed construction will not create any unreasonable risk of danger to the public health or safety.  The proposed Tap Line will be designed, reconstructed, operated, and maintained in a manner that meets or surpasses all applicable National Electric Safety Code (“NESC”) minimum standards and all applicable legal requirements.  
PPL Electric also states that no communication towers, pipelines, or other utilities will be affected by the proposed Trumbauersville #1 and #2 138/69 kV Tap Line.  The Quakertown Airport and Pennridge Airport are located within four miles of the proposed project area.  PPL Electric will contact the PennDot Bureau of Aviation and the Federal Aviation Administration to ensure that the proposed tap line will not be a hazard to flight operations. 



According to PPL Electric, the proposed Trumbauersville #1 and #2 138/69 kV Tap Line was reviewed with representatives of Richland Township and Bucks County, and neither the Township nor the County has any objection. 


PPL Electric states that the total estimated cost of the Project is approximately $4,531,000, which includes $644,000 in transmission related costs.  Construction is scheduled to begin in as soon as the Commission approves the project.  The project’s required in-service date of May 2012 is not feasible due to delays in selecting a suitable location for the Trumbauersville Substation. 

Contemporaneously with the filing of this LON, PPL Electric, pursuant to 52 Pa. Code §5.41 and 53 P.S. §10619, filed a Petition with the Commission for a finding that a building to shelter control equipment ("Control Equipment Building") at the proposed Trumbauersville 69-12 kV Substation ("Trumbauersville Substation") in Richland Township, Bucks County, Pennsylvania is reasonably necessary for the convenience or welfare of the public and, therefore, exempt from any local zoning ordinance ("Zoning Petition")
.  The new Trumbauersville Substation will be connected to 
the Bumont-Quakertown #1 & #2 138/69 kV Transmission Lines via the Trumbauersville Taps.  Issues related to the Zoning Petition are interrelated with the LON.



PPL Electric states that the Trumbauersville Substation will include a Control Equipment Building.  The purpose of the proposed Control Equipment Building in the Trumbauersville Substation is to protect the control equipment from the elements so that the line equipment, and the entire substation, can function properly.  The building will not be intended for human occupancy; there will be no supply of water and no sanitary facilities.  The Control Equipment Building will be contained within the fenced perimeter of the substation.  The Trumbauersville Substation will be located on a 2.05-acre tract of land currently under a contract with PPL Electric which provides the Company an option to purchase the property.  The proposed situation of the Control Equipment Building within the fenced perimeter of the substation is the subject of the Zoning Petition filed by PPL Electric.


PPL Electric states that the Pennsylvania Municipalities Planning Code ("MPC") provides, in relevant part, as follows: 

“This article shall not apply to any existing or proposed building, or extension thereof, used or to be used by a public utility corporation, if, upon petition of the corporation, the Pennsylvania Public Utility Commission shall, after public hearing, decide that the present or proposed situation of the building in question is reasonably necessary for the convenience or welfare of the public.”

Section 619 of the M P C Act of July 31, 1968, P.L. 805, as amended, 53 P.S. § 10619.  Thus, a public utility building is subject to local zoning requirements for buildings unless, upon petition, the Commission determines that the proposed situation of the building in question is reasonably necessary for the convenience and welfare of the public.  53 P.S. §10619. 


PPL Electric asserts that as explained above, the Trumbauersville Substation, together with the Trumbauersville Tap and additional distribution facilities, is necessary to alleviate past and projected violations of the RP&P on the neighboring Richland and Milford Substations as well as five distribution lines supplied by those substations.  The proposed facilities will provide additional capacity for future electric system load growth.  Further, the Trumbauersville Substation must include certain control equipment in order to operate properly, and said equipment must be protected from the elements, which requires the construction of the Control Equipment Building on the Trumbauersville Substation site.  Because the Trumbauersville Substation is reasonably necessary for the public convenience and welfare, and because the Control Equipment Building is necessary to properly operate the Trumbauersville Substation, the Commission should find that the Control Equipment Building is reasonably necessary and, therefore, exempt from Richland Township's local zoning ordinance pursuant to Section 619 of the MPC.  Del-AWARE Unlimited, Inc. v. Pa. P. U C., 513 A.2d 593 (Pa. Cmwlth. 1986).


Further, PPL Electric states that on January 11, 2001, the Commission adopted a policy statement to further the Commonwealth's goal of making agency actions consistent with sound land use planning by considering the impact of its decision upon local comprehensive plans and zoning ordinances.  See 31 Pa. Bull. 951 (Feb. 17, 2001).  Section 69.1101 of the Commission's Regulations provides: 
[T]he Commission will consider the impact of its decisions upon local comprehensive plans and zoning ordinances. This will include reviewing applications for: 

(1)  Certificates of public convenience. 

(2)  Siting electric transmission lines. 

(3)  Siting a public utility "building" under         

       section 619 of the Municipalities Planning   

      Code (53 P.S. § 10619). 

(4)  Other Commission decisions.
52 Pa Code § 69.1101.


Richland Township has adopted a zoning ordinance, which includes a map on which zoning districts are identified.   See Zoning Ordinance of Richand Township, County of Bucks, Ordinance of November 14, 2011, ("Zoning Ordinance of 2011").  The location where PPL Electric proposes to construct the Trumbauersville Substation is designated as a "Rural Agricultural.”

PPL Electric states that the Richland Township zoning ordinance includes an Electric Substation under “Utilities”, which are defined as follows:

Those services customarily rendered by public utility corporations, municipalities, or municipal authorities, in the nature of electricity, gas, telephone, water and sewerage, including the appurtenances used in connection with the supplying of such services (buildings, wires, pipes, poles and the like).

See Zoning Ordinance of 2011, Chapter 27, § 202.

Further, PPL Electric states that the Richland Township zoning ordinance provides that Utilities are permitted in a Rural Agricultural zoning district as a special exception. This means that the use is permitted, provided the Zoning Hearing Board authorizes the issuance of a zoning permit by the Zoning Officer, subject to the requirements of § 27 – 405 and Part 11, and the satisfaction of any other conditions imposed by the Board.  See Zoning Ordinance of 2011, Chapter 27 § 402(B).    

Furthermore, the Richland Township Zoning Ordinance recognizes that public utility buildings may be exempt from local regulation, stating as follows:

In residential districts such uses shall be permitted only where all of the following conditions have been met.  These requirements shall not apply to uses that are exempt under Article VI of the Pennsylvania Municipal Planning Code.
See Zoning Ordinance of 2011.  Chapter 27 § 405(F)(F1)(a)(conditions omitted).  It is unclear if the Richland Township Zoning Ordinance applies this provision to Rural Agricultural districts.  


PPL Electric submits that, if it were required to obtain a permit prior to construction of the Control Equipment Building, the process, including appeals from adverse determinations, could consume substantial time, which could delay the construction of the Trumbauersville Substation and transmission lines associated with the project, which are reasonably necessary for the convenience or welfare of the public.
Additionally, the proposed Project, including the Control Equipment Building, was reviewed with representatives of Richland Township and Bucks County.  The Township and the County have no objection to the Trumbauersville Substation, including the Control Equipment Building.  As indicated in the attached Certificate of Service, PPL Electric served a copy of this Zoning Petition on Richland Township, the Richland Township Planning Commission, Bucks County, and the Bucks County Planning Commission.


Finally, PPL Electric states that the Trumbauersville Substation is necessary in order for PPL Electric to continue to provide adequate and reliable service.  The proposed substation will alleviate overloading on the nearby Richland and Milford Substations, as well as on surrounding 12 kV distribution lines providing service to customers in the area.  The Trumbauersville Substation is needed to improve the reliability of electric service in the Richland area.
For these reasons, PPL Electric requests that the Commission find that the Control Equipment Building is reasonably necessary for the convenience or welfare of the public and, therefore, exempt from the requirement of the Richland Township zoning ordinance that may require a permit prior to the construction of any Utility facilities, which includes an Electric Substation, and such other portions of the Zoning Ordinance of 2011 that may, in Richland Township's opinion, impose any restriction, condition, or regulation on the construction of the Control Equipment Building.

By hearing notice dated January 5, 2012, a hearing was scheduled for March 13, 2012, and the matter was assigned to ALJ Cynthia Williams Fordham. 

By corrected hearing notice, dated January 25, 2012, the hearing was changed to an initial prehearing conference to be held on March 13, 2012, at 10:00 a.m.  



On February 13, 2012, PPL Electric filed proofs of publications regarding public notice of the zoning petition from The Morning Call on January 12 and 19, 2012 and from the Doylestown Intelligencer on January 12 and 19, 2012.  



A prehearing order was issued on February 24, 2012.



On March 5, 2012, PPL Electric, through its counsel, filed a prehearing conference memorandum.  In the prehearing conference memorandum it was noted that the letter of notification and zoning petition were served upon Richland Township, the Richland Township Planning Commission, Bucks County and the Bucks County Planning Commission.  


The Certificate of Service for the petition indicates that a copy of the petition was served on Richland Township, the Richland Township Planning Commission, Bucks County and the Bucks County Planning Commission.  No one entered an appearance or filed a protest or petition to intervene.


The prehearing conference was held as scheduled, with David B. MacGregor, Esquire, representing PPL Electric.  No other entity appeared.  Mr. MacGregor requested that the petition be transferred to the Bureau of Technical Services so that it could be considered with the LON.



The hearing notices, the prehearing order and the Respondent’s prehearing memorandum were also served on upon Richland Township, the Richland Township Planning Commission, Bucks County and the Bucks County Planning Commission.


The Commission having conducted a public hearing in this matter after providing notice to municipal entities where the proposed building will be located and with no protest or petition filed, ALJ Cynthia Williams Fordham ordered that the record in the case be closed and referred the case to the Commission’s Bureau of Technical Services for further action as an unopposed petition.

Upon review, the Commission finds that the PPL Electric’s LON and manner in which it was filed conform to the Commission’s regulations of 52 Pa. Code §57.72(d)(1)(vi) because the length of the transmission line to be constructed as part of the project is less than two miles.  Further, the proposed tap line will provide the source of electrical supply to the new Trumbauersville Substation.  Above all, the Commission has reviewed the filing and finds it to be consistent with applicable law or Commission policy regarding transmission line siting.  We note that our approval of the Letter of Notification does not reach to the issues of accounting treatment and cost recovery.   

PPL Electric’s Zoning Petition and manner in which it was filed conform to the requirements of 52 Pa. Code §5.41 and 53 P.S. §10619.  The substation and associated 12 kV distribution facilities will help to meet the increasing demand for electricity and improve the reliability of service in Richland and Milford areas.  For these reasons, and because there was no protest to the Petition and no petition to intervene indicating an opposition to the relief requested in PPL Electric’s Petition, we recommend that the Petition be granted; THEREFORE,


IT IS ORDERED:

                    1.   That the Letter of Notification filed by PPL Electric Utilities Corporation with respect to the construction of the Trumbauersville #1 & #2 138/69 kV Tap Line in Richland Township, Bucks County, Pennsylvania is hereby approved. 

                      2. That the Petition of PPL Electric Utilities Corporation for a finding that a building to shelter control equipment at the proposed Trumbauersville 69-12 kV Substation in Richland Township, Bucks County, Pennsylvania is reasonably necessary for the convenience or welfare of the public and, therefore exempt from any local zoning ordinance, is hereby granted.


3.   That these proceedings at Docket Nos. A-2011-2279431 and         

P-2011-2279379 be closed.

[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary
(SEAL)
ORDER ADOPTED: August 30, 2012
ORDER ENTERED:  August 31, 2012
�  A circular mil is the cross-sectional area of a wire one mil in diameter, where 1 kcmil = 0.5067mm2


�  Aluminum conductor steel reinforced.


� PPL Electric believes its control equipment building is not a "building" but, rather, is part of its substation facilities. Therefore, PPL Electric's control equipment building is exempt from local zoning requirements. See, e.g., Duquesne Light Co. v. Upper St. Clair Township, 377 Pa. 323, 334-35, 105 A.2d 287, 292 (1954). This Zoning Petition is being filed as a precaution in the event that the Commission were to determine that the control equipment building is not a facility and, therefore, potentially subject to local zoning ordinances.





2
14

