	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


December 10, 2012
M-2012-2337070
J. COFFMAN
DIRECTOR OF ENGINEERING
PECO ENERGY

2301 MARKET STREET

PHILADELPHIA, PA 19101

Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Coffman:



On November 30, 2012, PECO Energy Company (PECO) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.  


This request relates to service interruptions associated with Hurricane Sandy, which affected the PECO territory beginning in the morning of October 29, 2012.  PECO averred Sandy brought heavy rain and high winds, which caused damage to the much of their electric distribution system.  PECO noted winds gusts of 60 to 65 mph were forecast for much of the day and evening on October 29, 2012.  This caused sustained service interruptions to 845,703 customers out of a total of 1,693,879 customers.  The sustained interruptions occurred in all of PECO’s service territory, which includes Bucks, Delaware, Chester, Montgomery, Philadelphia and York Counties.  PECO stated that the event caused service interruptions from October 29, 2012, at 5:59 a.m. until November 7, 2012, at 2:55 a.m.    


Upon review of the company’s filing, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).



In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.


If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION











Sincerely,








Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, TUS

Dennis Hosler, Audits


Darren Gill, TUS

Kathleen Aunkst, Secretary’s Bureau
