BEFORE THE

PENNSYLVANIA PUBLIC UTILITY COMMISSION

Application of PPL Electric Utilities Corporation	:

For Approval Of The Siting And Construction 	:		A-2012-2304631

of the Blooming Grove - Jackson and Peckville - 	:

Jackson 138/69 kV Transmission Line in 		:

Monroe County, Pennsylvania 			:

Application of PPL Electric Utilities Corporation 	:

For a Finding And Determination That The Service 	:		A-2012-2304648

To Be Furnished By The Applicant Through Its 	:

Proposed Exercise Of The Power Of Eminent 	:

Domain to Acquire A Right-Of-Way And 		:

Easement Over And Across The Lands Of Pocono 	:

Manor Investors, LP, In Pocono Township, Monroe 	:

County For The Proposed Blooming Grove - 	:

Jackson and Peckville - Jackson 138/69 kV 		:

Transmission Line Is Necessary Or Proper For 	:

The Service, Accommodation, Convenience Or 	:

Safety Of The Public 					:

Application of PPL Electric Utilities Corporation 	:

For a Finding And Determination That The Service 	:		A-2012-2304649

To Be Furnished By The Applicant Through Its 	:

Proposed Exercise Of The Power Of Eminent 	:

Domain to Acquire A Right-Of-Way And 		:

Easement Over And Across The Lands Of 		:

Iroquois Ridge Partners LLP In Pocono Township, 	:

Monroe County For The Proposed Blooming Grove :

- Jackson and Peckville - Jackson 138/69 kV 	:

Transmission Line Is Necessary Or Proper For 	:

The Service, Accommodation, Convenience Or 	:

Safety Of The Public 					:

Application of PPL Electric Utilities Corporation 	:

For a Finding And Determination That The Service 	:		A-2012-2304653

To Be Furnished By The Applicant Through Its 	:

Proposed Exercise Of The Power Of Eminent 	:

Domain to Acquire A Right-Of-Way And 		:

Easement Over And Across The Lands Of The	:

Estate of Charles L. Vassallo In Pocono Township, 	:

Monroe County For The Proposed Blooming Grove :

- Jackson and Peckville - Jackson 138/69 kV 	:

Transmission Line Is Necessary Or Proper For 	:

The Service, Accommodation, Convenience Or 	:

Safety Of The Public 					:

RECOMMENDED DECISION

Before

Joel H. Cheskis

Administrative Law Judge

HISTORY OF THE PROCEEDING

On May 15, 2012, PPL Electric Utilities Corporation (PPL, “PPL Electric” or “the Company”) filed with the Pennsylvania Public Utility Commission (Commission) the above-captioned Application for approval of the siting and construction of the Blooming Grove-Jackson and Peckville-Jackson 138/69 kV Transmission line in Monroe County, Pennsylvania (“Siting Application”).  In addition, PPL filed three Applications in conjunction with the Siting Application, pursuant to 15 Pa. C.S. § 1511(c), for a finding and determination that the service to be furnished by PPL through its proposed exercise of eminent domain to acquire a right-of-way and easement over and across the lands of the three property owners for the proposed transmission line is necessary or proper for the service accommodation, convenience or safety of the public (collectively “the Condemnation Applications”).  The Commission docketed the Applications as follows:

Siting Application 				A-2012-2304631

Condemnation Application

(Pocono Manor Investors, LP)	A-2012-2304648

Condemnation Application

(Iroquois Ridge Partners LLP)	A-2012-2304649

Condemnation Application

(Estate of Charles L. Vassallo)	A-2012-2304653

The Applications were accompanied by the testimony of five witnesses in support of the Siting Application and the testimony of two witnesses each in support of the Condemnation Applications, as well as various accompanying exhibits and attachments.

On May 25, 2012, the Commission issued a Notice establishing an Initial Prehearing Conference for the Applications for Thursday, July 12, 2012 at 10:00 a.m. in Hearing Room 3 of the Commonwealth Keystone Building in Harrisburg and assigning me as the Presiding Officer.

On May 29, 2012, Michael F. Faherty, Esquire, of Lavery Faherty Patterson filed an Entry of Appearance on behalf of Iroquois Ridge Partners, LLP.

Notice of the filing of the Applications and the establishment of the Initial Prehearing Conference was published in the Pennsylvania Bulletin on June 2, 2012.  42 Pa.B. 3185-3187.  The Notice directed that formal Protests and Petitions to Intervene must be filed with the Commission by July 5, 2012.  A Prehearing Order was issued on June 5, 2012 setting forth various procedural issues that would apply to the proceeding.  The Prehearing Order noted that, to become a party of record, either a Protest or Petition to Intervene must be filed with the Commission’s Secretary’s Bureau and served on the Presiding Officer and other parties of record.  The Prehearing Order further directed that any party wishing to participate in the Initial Prehearing Conference must file with the Commission and serve on the Presiding Officer and other parties of record a Prehearing Memorandum by July 9, 2012.

No Protests or Petitions to Intervene were filed.

On July 6, 2012, PPL filed a Petition for Leave to Withdraw the Application for condemnation seeking an easement and right-of-way across the property of the Estate of Charles L. Vassallo.  In its Petition for Leave, PPL stated that an agreement by which the Estate would convey to PPL a right-of-way and easement across the land had been executed and that the Condemnation Application was unnecessary.  As such, PPL sought to withdraw that Application related to the Estate of Charles L. Vassallo in its entirety.

On July 12, 2012, the Initial Prehearing Conference was held as scheduled.  Present were John H. Isom, Esquire, counsel for PPL, and Stephen P. Smith, Esquire, counsel for the Pennsylvania Game Commission.  The only Prehearing Memorandum received prior to the Initial Prehearing Conference was filed by PPL.  As a result of the Initial Prehearing Conference, Prehearing Order #2 was issued on July 13, 2012.  In Prehearing Order #2, the Applications were formally consolidated for purposes of hearing and decision and a procedural schedule was established.  Prehearing Order #2 also established additional procedural matters that would apply to the proceeding.  Of note, the procedural schedule established in Prehearing Order #2 set August 13, 2012 as the date other parties’ (i.e., non-PPL) written Direct Testimony was due.  On July 18, 2012, the Commission issued a Hearing Notice establishing Evidentiary Hearings for this matter for October 24-25, 2012 as determined in the Initial Prehearing Conference.

On July 23, 2012, Prehearing Order #3 was issued formally granting PPL’s Petition to Withdraw the Application pertaining to the Condemnation of the property of the Estate of Charles L. Vassallo.  Prehearing Order #3 noted that the Petition to Withdraw was unopposed.

No written Direct Testimony was filed by any other party on August 13, 2012, as required pursuant to the procedural schedule established for this matter.  As a result, on September 5, 2012, PPL filed a Motion to Reschedule Hearings previously scheduled for October 24-25, 2012.  PPL noted in its Motion that the basis for this request was to expedite the proceeding as it appeared that no party intended to present evidence in opposition to the Applications.  PPL stated that an expedited procedural schedule was appropriate because the Applications were unopposed and moving the hearing forward would allow PPL to more effectively meet the deadlines associated with the project’s in-service date.  No opposition was filed in response to PPL’s Motion.  As a result, on September 13, 2012, Prehearing Order #4 was issued granting PPL’s Motion and rescheduling the evidentiary hearing to October 3, 2012.  A Hearing Cancellation/Reschedule Notice was issued on September 14, 2012 setting October 3, 2012 as the date for the Evidentiary Hearing.

On September 19, 2012, PPL filed a Petition for Leave to Withdraw the Application for condemnation seeking an easement and right-of-way across the property of Pocono Manor Investors, LP.  In its Petition for Leave, PPL stated that an agreement by which Pocono Manor would convey to PPL a right-of-way and easement across the land had been executed and that the Condemnation Application was unnecessary.  As such, PPL sought to withdraw the Condemnation Application related to Pocono Manor in its entirety.

On October 3, 2012, the Evidentiary Hearing was held as scheduled.  Appearing on behalf of PPL were Jessica Rogers, Esquire and John Isom, Esquire.  No other party was represented at the hearing.  At the hearing, PPL moved into evidence its testimony and exhibits.  The hearing resulted in a transcript of twenty-three (23) pages.  Tr. 14-37.  A Briefing Order was issued on October 3, 2012 establishing November 9, 2012 as the due date for Main Briefs and November 16, 2012 as the due date for Reply Briefs.  The Briefing Order established other procedural matters regarding filing briefs.  PPL filed its Main Brief on November 9, 2012 pursuant to the Briefing Order.  No other Main Briefs were filed.  No party filed a Reply Brief.

The record closed in this matter on November 16, 2012, the due date for Reply Briefs.  This matter is now ready for decision.  The Applications will be approved because they are unopposed and satisfy all applicable statutes and regulations.

FINDINGS OF FACT

- PPL Electric is a public utility and electric distribution company subject to the regulatory jurisdiction of the Pennsylvania Public Utility Commission (Commission).  PPL Electric Ex. 1 at 1.

- PPL Electric furnishes electric distribution, transmission and supplier of last resort services to approximately 1.4 million customers in a service area that includes approximately 10,000 square miles covering all or portions of twenty-nine counties in eastern and central Pennsylvania.  PPL Electric Ex. 1 at 1-2.

- PPL Electric’s 138/69 kV transmission system is planned using internally developed guidelines, the Reliability Practices and Principles (RP&P), that have been adopted by PPL Electric to ensure that the system provides safe and reliable service to its customers.  PPL Electric St. No. 3 at 3.

- The reliable and economical operation of PPL Electric’s 138/69 kV transmission system requires planning guidelines for system expansion and reinforcement.  PPL Electric Ex. 1 at 8.

- The system is planned so that no customer load should remain interrupted for routine maintenance of transmission facilities and so that the loss of any single facility should not result in a voltage drop of more than five percent on the 138/69 kV transmission system.  PPL Electric St. No. 3 at 3.

- Operating the circuit in an overloaded condition for an extended period would initially damage the conductor and ultimately could cause a failure resulting in customer outages.  PPL Electric St. No. 3 at 5.

- The normal winter rating of the existing Blooming Grove-Jackson 138/69 kV circuit is 111 Megavolt Amperes (MVA).  PPL Electric St. No. 3 at 5.

- Starting in the winter of 2013, the Blooming Grove-Jackson 138/69 kV circuit will be loaded to 115 MVA during peak winter conditions.  PPL Electric St. No. 3 at 5.

- The present load on the Blooming Grove-Jackson 138/69 kV circuit, 68 MW, violates the guideline that loading on a single circuit should not exceed 60 MW.  PPL Electric St. No. 3 at 5.

- If an outage were to occur on the Blooming Grove-Jackson circuit in its current configuration, approximately 68 MW would remain interrupted for an extended period of time.  PPL Electric St. No. 3 at 6.

- In the event of an outage, service to approximately 16,300 customers would be interrupted.  PPL Electric St. No. 3 at 5.

- These violations can be attributed to recent additional commercial/industrial loading which greatly exceeded the normal projected load growth for this area.  PPL Electric Ex. 1, Attachment 2 at 5.

- By winter 2013, the loss of the Blooming Grove-Jackson 138/69 kV Line would interrupt 68 MW of load because the load cannot be transferred.  PPL Electric St. No. 3 at 5.

- Transferring load from the Jackson Substation to the Blooming Grove Substation would cause low voltage at the end of the Blooming Grove-Jackson circuit.  PPL Electric St. No. 3 at 5.

- In such an outage, customer load served by distribution substations at Wagners and Lake Naomi, as well as the customer-owned Sanofi substation, would be interrupted to restore 69 kV voltages along the line to the acceptable lower limit.  PPL Electric St. No. 3 at 5-6.

- The proposed project is a long-term transmission upgrade that will eliminate two of the identified RP&P violations and will maintain reliable electrical service to customers in Monroe County.  PPL Electric Ex. 1, Attachment 2 at 7.

- The new line will reduce loading to within the RP&P guidelines on the current Blooming Grove-Jackson 138/69 kV circuit by providing another double circuit line that ties directly into the Jackson Substation.  PPL Electric Ex. 1, Attachment 2 at 7.

- The load on the existing Lake Naomi Tap will be transferred to the Jackson-Wagners #1 circuit and terminated separately into the Jackson Substation.  PPL Electric Ex. 1, Attachment 2 at 7.

- After completion of the proposed project, the Blooming Grove-Jackson 69 kV single circuit line will be loaded to 59 MW during peak winter conditions, which is within the RP&P guidelines.  PPL Electric Ex. 1, Attachment 2 at 7.

- For an outage near the Jackson Substation on the single-circuit Blooming Grove-Jackson 69 kV line, approximately 32 MW would remain interrupted for an extended period of time.  PPL Electric Ex. 1, Attachment 2 at 7.

- No other reasonably economical functional alternative was available that would resolve two of the problems identified by PPL Electric and bring the facilities in the area closer to compliance regarding the third violation.  PPL Electric St. No. 3 at 7.

- In order to select a route for the project, PPL Electric assembled a multidisciplinary “Siting Team” consisting of experts from the functional groups that have a stake in the design, construction and siting of the project.  PPL Electric St. No. 1 at 8.

- The functional groups involved in the Transmission Line siting were: siting, various engineering disciplines, real estate, system planning, environmental experts, public relations, legal, system operations and construction.  PPL Electric St. No. 1 at 8.

- Information about the characteristics of the area was gathered and mapped.  PPL Electric St. No. 1 at 8.

- A communications plan was developed to ensure that external stakeholders such as local, county and state governments, special interest groups and the public were kept informed about the project.  PPL Electric St. No. 1 at 8.

- PPL Electric identified a General Area of Study for the project that encompasses approximately 30-square miles (19,200 acres) within Monroe County, Pennsylvania.  PPL Electric St. No. 1 at 12.

- The General Area of Study contains native plant and wildlife habitats.  Many of these natural areas are preserved for their ecological benefit, as well as for their social recreational value.  PPL Electric St. No. 1 at 13.

- The main land use in the General Area of Study is residential, and is composed primarily of single-family residences and vacation rental homes or condominium complexes.  PPL Electric St. No. 1 at 16.

- Relatively few sections of the General Area of Study are used for agricultural purposes, and all of the land dedicated to agriculture is privately owned.  PPL Electric St. No. 1 at 16.

- There are no industrial land uses within the General Area of Study.  PPL Electric St. No. 1 at 16.

- PPL Electric utilized the Commission’s siting regulations in its siting process.  PPL Electric Ex. 1, Attachment 3.

- PPL Electric announced its intent to build the Blooming Grove-Jackson and Peckville-Jackson 138/69 kV line in early May 2011.  PPL Electric St. No. 1 at 31.

- PPL Electric has undertaken activities to provide information on the project to the public and government officials and to collect input from those audiences, including calls and e-mails to government officials, letters and project fact sheets mailed to property owners, news advertisements placed in a local newspaper, and a public open house meeting held on May 16, 2011.  PPL Electric St. No. 1 at 31.

- In siting the transmission line for this project, PPL Electric utilized a methodology that was adapted from a protocol developed by the Electric Power Research Institute and the Georgia Transmission Corporation, which incorporates Geographic Information System technology, statistical evaluation and professional judgment into the decision-making process.  PPL Electric St. No. 2 at 3.

- In order to determine an appropriate area for the route alternatives, PPL Electric used four principle steps, which were to generate macro corridors, generate alternative corridors, identify alternative routes within the alternative corridors and select the preferred route.  PPL Electric St. No. 2 at 4.

- The quantitative analysis performed by PPL Electric uses a series of grid cells across the General Area of Study to determine a “least impact” corridor or path through the mathematical addition of the value numbers from the value assigned to each cell between the start and end points.  PPL Electric St. No. 2 at 4.

- Macro corridor analysis begins after the start and end points of the new transmission lines have been established.  PPL Electric St. No. 2 at 5.

- The macro corridor includes all areas determined to be most suitable from the three perspectives: natural environment, built environment and engineering requirements.  PPL Electric St. No. 2 at 6.

- Refinements were made by PPL Electric and technical experts in environmental, engineering, and public outreach disciplines to better represent conditions within Pennsylvania, such as the inclusion of stream classifications to offer enhanced protection to this key resource within the natural environment perspective.  PPL Electric St. No. 2 at 6.

- The quantitative feature metrics were normalized, assigned relative weights, and organized within the three perspectives.  PPL Electric St. No. 2 at 8.

- The weighting ensures that the features requiring the most “protection” are assigned a higher relative influence in the final ranking.  PPL Electric St. No. 1 at 19.

- The overall score for each alternative route was then calculated.  Lower scores indicated less difficulty or potential impacts of the route.  PPL Electric St. No. 2 at 8.

- Using this methodology, PPL Electric selected six alternative routes for detailed examination.  PPL Electric St. No. 2 at 8.

- The next step in the evaluation process was to qualitatively assess the remaining alternative routes based on less tangible criteria.  The qualitative assessment was performed by applying expert judgment to rank the remaining alternative routes.  PPL Electric St. No. 2 at 8.

- PPL Electric’s siting team qualitatively ranked the preferred routes based on several important considerations such as visual concerns, community concerns, schedule delay risk, special permit issues, and construction and maintenance accessibility.  PPL Electric St. No. 2 at 8-9.

- After evaluating all the factors considered during the routing process as documented in PPL Electric Ex. 1, Attachment 4, PPL Electric concluded that Route D-1 was the Preferred Route for the project, because it had the least impact as determined in the qualitative assessment.  PPL Electric St. No. 1 at 26.

- The most suitable route is the route that minimizes the effect of the transmission line on all factors of the natural and human environment, while minimizing overall project costs and avoiding unreasonable routes and non-standard design requirements to the extent practical.  PPL Electric St. No. 1 at 26.

- Route D-1 will accomplish those goals better than the other routes considered as part of the siting process.  PPL Electric St. No. 1 at 11.

- Mitigation efforts begin in the siting stage where sensitive areas are avoided to the extent practical.  PPL Electric St. No. 1 at 27.

- When avoidance is not practical, PPL Electric will implement mitigation strategies.  PPL Electric St. No. 1 at 27.

- PPL Electric’s vegetation management policy is designed to mitigate the impact of tree clearing on property crossed by PPL Electric rights-of-way.  PPL Electric St. No. 1 at 28.

- Impacts from soil erosion and sedimentation and crossings of jurisdictional waters and wetlands are mitigated through the acquisition of and compliance with all required permits and plans.  PPL Electric St. No. 1 at 29.

- The placement of conditions on a permit by the Army Corps of Engineers, the Department of Environmental Protection or similar agencies is a principal tool for protecting the environment.  PPL Electric St. No. 1 at 29.

- PPL Electric will obtain all required permits and will comply with any conditions placed on those permits. PPL Electric St. No. 1 at 30.

- PPL Electric constructs all of its transmission lines to meet or exceed National Electrical Safety Code (NESC) standards.  PPL Electric St. No. 4 at 3.

- The NESC is a set of rules to safeguard employees, contractors and the public during the installation, operation, and maintenance of electric power lines.  PPL Electric St. No. 4 at 3.

- For this project, PPL Electric has developed design specifications and safety rules which meet or surpass all requirements specified by the NESC.  PPL Electric St. No. 4 at 3.

- The proposed right-of-way and easement over the property identified in the Iroquois Ridge Partners Condemnation Application will not interfere with or require the condemnation of any place of public worship, burying ground, dwelling or its reasonable curtilage.  PPL Electric St. 1 to Condemnation Application at 10.

- While represented by counsel in this proceeding, the Iroquois Ridge Partners property owners have not protested PPL Electric’s Condemnation Application.

DISCUSSION

- Description of the Project

In its Siting Application, PPL indicated that it intends to construct a new double-circuit 138/69 kV line from the 138-69 kV Jackson Substation, in Jackson Township, Monroe County, north to the Lake Naomi Tap pole, a distance of 3.8 miles.  Application at para 9.  PPL stated that it will design the new line to current 138 kV standards, but operate the line at 69 kV initially, and that a new line terminal, breaker bay and circuit breaker will be installed in the Jackson Substation 69 kV Yard.  Id.  PPL noted that the total estimated cost to site, design and construct the project is approximately $6.12 million, including the proposed overhead transmission line and substation at Jackson Substation.  Id. at para. 10.

PPL further stated in its Application that the required in-service date, defined as the date the proposed facility must be placed in service to prevent overloads that could potentially damage equipment and result in service interruptions, is November 2013.  Id. at para. 11.  To meet that deadline, construction is scheduled to commence in January 2013.  Id.  PPL added that it reviewed the project with Jackson and Pocono Townships as well as Monroe County and they have no objection.  Id. at 12.

The preferred route the line will travel is along the edge of the existing right-of-way of the existing double-circuit Blooming Grove-Jackson and Peckville-Jackson 138/69 kV transmission line through Jackson and Pocono Townships in Monroe County.  Id. at 14.  The project involves the installation of a new double-circuit 138/69 kV transmission line on new structures consisting of single-shaft steel poles equipped with steel upswept arms.  Id. at 15.  The project requires the installation of approximately 35 structures, ranging from 80-100 feet in height with an average span length of approximately 650 feet.  Id.  PPL further stated that the proposed line will be designed and constructed to meet and surpass all National Electrical Safety Code (NESC) minimum standards.  Id. at 18.

- Evidentiary Standard

Section 332(a) of the Public Utility Code provides that the party seeking relief from the Commission has the burden of proof.  66 Pa. C.S. § 332(a).  "Burden of proof" means a duty to establish a fact by a preponderance of the evidence, or evidence more convincing, by even the smallest degree, than the evidence presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 54, 70 A.2d 854 (1950) (Se-Ling Hosiery).  In this proceeding, PPL seeks approval of Applications requesting that the Commission make a finding and determination, pursuant to 15 Pa. C.S. §1511(c), that the service to be furnished by PPL through its exercise of eminent domain to acquire a right of way and easement over the property of various individuals for its proposed Blooming Grove-Jackson and Peckville-Jackson 138/69 kV transmission tie line is necessary or proper for the service, accommodation, convenience or safety of the public.  As such, PPL has the burden of proof in this proceeding.

If an Applicant establishes a prima facie case, the burden of going forward with the evidence shifts to the opposing party.  If an opposing party does not rebut that evidence, the Applicant will prevail.  If the opposing party rebuts the Applicant’s evidence, the burden of going forward with the evidence shifts back to the Applicant, who must rebut the opposing party’s evidence by a preponderance of the evidence.  The burden of going forward with the evidence may shift from one party to another, but the burden of proof never shifts; it always remains on the Applicant.  Se Ling Hosiery; Samuel J. Lansberry, Inc. v. Pa. P.U.C., 578 A2.d 600 (Pa. Cmwlth 1990).

- Relevant Statutory and Case Law

Section 1501 of the Public Utility Code provides that “every public utility shall furnish and maintain adequate, efficient, safe and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions, and improvements in or to such service and facilities as shall be necessary or proper for the accommodation, convenience and safety of its patrons, employees and the public.”  66 Pa. C.S. § 1501.  This section further provides that “such service also shall be reasonably continuous and without unreasonable interruptions or delay.”  Id.  In this proceeding, the Commission must determine whether the transmission or distribution of electricity to or for the public that will be provided if the subject properties are condemned, is necessary for the service, accommodation, convenience or safety of the public.

PPL filed the three Condemnation Applications pursuant to Section 1511 of the Business Corporation Law.  Section 1511 provides that a public utility shall “have the right to take, occupy and condemn property for … (3) the production, generation, manufacture, transmission, storage, distribution or furnishing of natural or artificial gas, electricity, steam, air conditioning or refrigerating service or any combination thereof to or for the public” as well as “ancillary purposes reasonably necessary or appropriate for the accomplishment of the principal purposes.”  15 Pa. C.S. § 1511(a)(3).  The powers conferred by Section 1511(a), however, are restricted so that the power to exercise eminent domain shall not be exercised within 100 meters of any dwelling house or any place of public worship or burying ground.  15 Pa. C.S. § 1511(b)(1).  The Business Corporation Law requires the Commission to find and determine that “the service to be furnished by the corporation through the exercise of those powers is necessary or proper for the service, accommodation, convenience or safety of the public.”  15 Pa. C.S. § 1511(c).

The Commission has extensive regulations regarding high-voltage (HV) lines – Commission Review of Siting and Construction of Electric Transmission Lines.  52 Pa. Code §§57.71-57.77.  These regulations discuss, among other things, the form and content of the application, 52 Pa. Code §57.72, filing and service of application and notice of filing, 52 Pa. Code §57.74, hearing and notice, 52 Pa. Code §57.75, and, determination and order, 52 Pa. Code §57.76.  Of note, Section 57.75 provides, in pertinent part:

(e) At hearings held under this section, the Commission will accept evidence upon, and in its determination of the application will consider, inter alia, the following matters:

(1) The present and future necessity of the proposed HV line in furnishing service to the public.

(2) The safety of the proposed HV line.

(3) The impact and the efforts which have been and will be made to minimize the impact, if any, of the proposed HV line upon the following:

(i) Land use.

(ii) Soil and sedimentation.

(iii) Plant and wildlife habitats.

(iv) Terrain.

(v) Hydrology.

(vi) Landscape.

(vii) Archeologic areas.

(viii) Geologic areas.

(ix) Historic areas.

(x) Scenic areas.

(xi) Wilderness areas.
(xii) Scenic rivers.

(4) The availability of reasonable alternative routes.

52 Pa. Code §57.75(e).  Similarly, Section 57.76 provides, in pertinent part, that the Commission will not grant the application, either as proposed or modified, unless it finds and determines as to the proposed HV route:

- That there is a need for it.

- That it will not create an unreasonable risk of danger to the health and safety of the public.

- That it is in compliance with applicable statutes and regulations providing for the protection of the natural resources of this Commonwealth.

- That it will have minimal adverse environmental impact, considering the electric power needs of the public, the state of available technology and the available alternatives.

52 Pa. Code §57.76(a); see also, Pa. Power & Light Co. v. Pa. P.U.C., 696 A.2d 248, 250 (Pa. Cmwlth. 1997).

Regarding route selection issues, the Commonwealth Court has explained that the applicable legal standards for review of the selection of a route for utility lines are whether the powers conferred upon the public utility have been wantonly, capriciously or arbitrarily exercised.  West Penn Power Co. v. Pa. P.U.C., 184 A.2d 143 (1962) (West Penn).  The degree of inconvenience to a landowner, therefore, would not constitute grounds for withholding the exercise of the power to condemn the easement, where the record establishes that the utility’s route selection was reasonable considering all of the factors involved in the selection of the line.  Stone v. Pa. P.U.C., 162 A.2d 18 (1960) (Stone); Paxtowne v. Pa. P.U.C., 398 A.2d 254, 256 (Pa. Cmwlth. 1979) (Paxtowne).

- Need For The Proposed Transmission Line

PPL stated in its Brief that the Blooming-Grove Jackson and Peckville-Jackson 138/69 kV Transmission Line is needed to ensure long-term reliability of service to customers in portions of Monroe County by reinforcing the transmission system in order to avoid overloading certain transmission facilities and to resolve transmission reliability criteria violations on PPL’s 138/69 kV circuits in northeast Pennsylvania.  PPL M.B. at 10-11.  PPL argued that the project is required to avoid exceeding the normal thermal loading limit on the existing Blooming Grove-Jackson 138/69 kV circuit under peak winter conditions and to reduce the electric loading on the existing Blooming Grove-Jackson 138/69 kV single-circuit line below the loading limit.  Id. at 11.  PPL added that the project is also required to prevent overloading of the existing transmission line that would occur if the existing Jackson Substation were out of service.  Id.

In support of its position that the new transmission line is needed, PPL described its transmission system and Reliability Principles and Practices (RP&P).  Id. at 11-14.  PPL noted that its transmission system includes lines that range from 69 kV to 500 kV in voltage and includes substations where voltage levels are sequentially stepped down for delivery to the distribution system and distribution transfers that reduce the voltage further from primary to secondary distribution levels for ultimate delivery to customers.  Id. at 11.  PPL described the transmission system as the essential link between generators and end-users.  Id.

PPL stated that the reliable and economical operation of PPL’s transmission system requires planning guidelines for system expansion and enforcement and that the RP&P guidelines recognize that system expansion should be coordinated to achieve the most economical balance of construction and operating expenditures.  Id. at 12.  PPL added that the RP&P guidelines also balance the degree of risk, amount and type of load interrupted and the cost of providing the needed expansion to prevent large scale, long term or frequent service interruptions.  Id.  In this regard, the system is planned so that no customer load remains interrupted for routine maintenance of transmission facilities and so that the loss of any single facility should not result in a voltage drop of more than five percent as required in the RP&P.  Id.; PPL St. 3 at 3.  PPL noted that the RP&P guidelines do not allow circuits to be operated in an overloaded condition to avoid damage or customer outages.  Id.

PPL noted that the present load on the Blooming Grove-Jackson 138/69 kV circuit of 68 megawatts (MW) exceeds the RP&P guidelines that state that the loading on a single-circuit should not exceed 60 MW so that the load from the out of service circuit can be transferred to the remaining in-service circuit within emergency ampacity rating if the circuit is lost.  Id. at 13; PPL St. 3 at 5.  In addition, if an outage were to occur on the Blooming Grove-Jackson circuit in its current configuration, approximately 68 MW would remain interrupted for an extended period, above the RP&P guideline for maximum allowable load loss of 30 MW for a single-circuit.  Id.; PPL St. 3 at 6.

PPL also noted as need for the new transmission line that transmission planning studies project that the existing Blooming Grove – Jackson 138/69 kV circuit will be loaded to 115 mega volt amperes (MVA) during peak winter conditions due to increasing load growth in the area for 2013 and beyond.  Id.; PPL St. 3 at 5.  PPL noted that the circuit currently has a normal winter rating of 111 MVA and that operating above the normal rating for prolonged periods could initially damage the conductor, ultimately leading to a failure and customer outages.  Id. at 13-14.  PPL added that in the event of an outage, service to approximately 16,300 customers would be interrupted.  Id. at 14.  According to PPL, by winter 2013, the loss of the Blooming Grove-Jackson 138/69 kV line would interrupt 68 MW of load because the load cannot be transferred.  Id.

PPL also discussed its transmission planning process in support of its position that the new transmission line is needed.  Id. at 14-16.  PPL stated that the planning process begins with the development of a computer model of the future system and choosing a specific year to study.  Id. at 14; PPL St. 3 at 3.  Load levels used in the model are based on the latest forecast prepared annually by PPL.  Id.  Comprehensive power flow simulations are then performed to test the ability of the system to comply with the transmission planning reliability criteria.  Id.  Conditions where the system is not in conformance with the reliability criteria are identified and system reinforcements are added to bring the system into conformance.  Id.; PPL St. 3 at 4.  Cost estimates and lead times to implement required reinforcements are determined.  Id. at 15.

Based on this process, PPL concluded that the preferred solution was to construct the project proposed in the Applications as a long-term transmission upgrade that will eliminate two identified RP&P violations and maintain reliable electric service to customers in Monroe County.  Id.; PPL Ex. 1, Attachment 2 at 7.  PPL added that the new line will reduce loading to within RP&P guidelines on the current Blooming Grove-Jackson 138/69 kV circuit by providing another double circuit line that ties directly to the Jackson Substation, noting that the current line will be loaded to 59 MW during peak winter conditions, which is within the RP&P guidelines.  Id.  PPL noted that an outage near the Jackson Substation on the single-circuit Blooming Grove-Jackson 69 kV line would still cause 32 MW to remain interrupted for an extended period of time, and therefore still in violation of the RP&P, but that the amount of load remaining interrupted will be greatly reduced.  Id.

PPL concluded its position that the new transmission line is needed by noting that no other reasonably economical functional alternative was available that would resolve the two problems identified and bring the facilities closer to compliance regarding the third violation.  Id. at 15-16; PPL St. 3 at 7.

There is no record evidence in this proceeding contesting PPL’s position that the transmission line as proposed is needed.

- Siting Of The Proposed Transmission Line

PPL provided extensive evidence in support of its decision regarding the siting of the proposed transmission line.  PPL stated, preliminarily, that it undertook a detailed study of the area in which the project must be constructed to accomplish its functional purposes in order to find the route that best balances the numerous competing interests that must be considered in siting a high voltage transmission line.  PPL M.B. at 16.  PPL noted that there is no “perfect” route, as all transmission lines have some effect on the environment, the public and individual property owners, and that the only way to avoid all adverse effects on the environment, the public at large and individual property owners would be to not build transmission lines at all.  Id.  PPL stated that it considered all of the elements listed in the Commission’s regulations in siting the project and gave substantial consideration to factors such as reliability of the system, safety of the facilities, impact on the environment, cost and need, as well as other factors.  Id., citing, 52 Pa. Code §§ 57.75(e) and 57.76.

PPL stated in its Brief that, in order to select the route for the project, it assembled a multidisciplinary team consisting of experts from functional groups that have a stake in the design, construction and siting of the project.  Id. at 17; PPL St. 1 at 8.  Information regarding the characteristics of the area was gathered and mapped such as land use, zoning, natural features, water resources, and others.  Id. at 17-18.  A communications plan was developed to ensure that external stakeholders, such as governments and special interest groups, were kept informed about the project.  Id. at 18.  The team first determined a study area of approximately 30 square miles within Monroe County considering dense residential areas and commercial districts.  Id.; PPL St. 1 at 12.  The study area also contained streams, lakes and wetlands as well as native plants and wildlife habitats that were considered.  Id. at 18-19; PPL Exh. 1, Attachment 2 at 7-9; PPL St. 1 at 13-14.  PPL stated that it would undertake all necessary studies and obtain all necessary permits before proceeding with the project.  Id. at 19.

PPL also considered special use areas recognized by regulatory agencies or local governments, noting that a large portion of the 4,000 acre State Game Land #38 is located within the study area as well as a portion of State Game Land #318.  Id. at 20; PPL St. 1 at 14-15.  PPL noted that the main land use in the study area is single-family residences and vacation rental homes or condominium complexes and that few areas are used for agricultural purposes.  Id.; PPL St. 1 at 16.  There are no industrial uses in the study area although there are lands owned by mining companies.  Id.; PPL Exh. 1, Attachment 3.  PPL noted that there is no active railroad in the area and one municipal airport located 2.15 miles north.  Id.  PPL also conducted a desktop survey of the historic architectural resources within the study area and determined that no listed or eligible historic structures or districts were identified in the study area.  Id. at 21; PPL St. 1 at 15.  Nor have any archeological sites been documented in the study area.  Id.

PPL stated that, in siting the project, it utilized a method adapted from the Electric Power Research Institute and the Georgia Transmission Corporation.  Id. at 23.  The method incorporates Geographic Information System (GIS) technology, statistical evaluation and professional judgment into the decision-making process.  Id.; PPL St. 2 at 3.  PPL utilized both a quantitative and qualitative analysis in determining the best route by first generating macro corridors, generating alternative corridors, identifying alternative routes within the alternative corridors and then selecting the preferred route.  Id.; PPL St. 2 at 4.  PPL explained each of these steps in detail.  Id. at 23-26.  PPL noted that an overall score for each alternative route was calculated and the routes with the three best scores were carried forward for further evaluation.  Id. at 26.

PPL noted that the quantitative assessment required calculating evaluation metrics of the routes and refining the analysis by applying the appropriate weights to each of the metrics.  Id. at 27; PPL Exh. 1, Attachment 4.  PPL identified which routes had the best quantitative value and then applied expert judgment to rank the remaining alternatives.  Id.; PPL St. 2 at 8.  This included ranking the routes based on visual concerns, community concerns, schedule delay risk, special permit issues and construction and maintenance accessibility.  Id. at 27-28.  PPL stated that the process is designed to encourage thorough discussion in evaluating and selecting a final route in an objective, consistent and comprehensive manner.  Id. at 28; PPL St. 2 at 8-9.  After evaluating all factors considered during the routing process, PPL selected the route included in the Applications because it had the least impact as determined in the qualitative assessment because it minimizes the effect of the transmission line on all factors of the natural and human environment, while minimizing overall project costs and avoiding unreasonable routes and non-standard design requirements to the extent practical.  Id. at 28-29; PPL St. 1 at 26.

PPL also discussed in its Main Brief the efforts it undertook to mitigate the impact of the transmission line.  Id. at 29-32.  PPL noted that mitigation efforts begin in the siting stage where sensitive areas are avoided to the extent practical and mitigation strategies are implemented where avoidance is not practical.  Id. at 29; PPL St. 1 at 27.  PPL stated that its vegetation management policy is designed to mitigate the impact of tree clearing on property crossed by PPL rights-of-ways by utilizing selective clearing on certain easements.  Id. at 29-30; PPL St. 1 at 28.  PPL noted that its clearing practices are environmentally sensitive.  Id. at 30; PPL St. 1 at  29.  PPL also discussed its mitigation efforts regarding soil erosion, sedimentation and crossing of jurisdictional waters and wetlands.  Id. at 30-31.  Where such areas cannot be avoided, PPL indicated that it will obtain all required permits and comply with any conditions placed on those permits.  Id. at 30.  PPL further stated that while it has attempted to avoid or mitigate environmental issues, the benefits of the project to PPL’s customers outweigh the environmental harm.  Id. at 31.

With regard to health and safety, PPL stated that it will take many steps to ensure the safety of the public as a result of the construction of the project, noting that it constructs all its transmission lines to meet or exceed National Electrical Safety Code (NESC) standards.  Id.; PPL St. 4 at 3.  PPL stated that it has developed design specifications for this project that meet or surpass all requirements specified by NESC.  Id. at 31-32; PPL St. 4 at 3.  PPL added that it has instituted a Magnetic Field Management Program for new and rebuilt transmission lines, even though it does not believe that magnetic fields cause any adverse health effects or pose a health or safety danger to the public.  Id. at 32; PPL St. 4 at 4; PPL Exh. 1, Attachment 5 at 4.  PPL concluded that the proposed project does not present any undue risk of harm to the public, and should be approved as proposed.  Id.

There is no record evidence in this proceeding contesting the route selected by PPL.

- Use of Eminent Domain

In its Main Brief, PPL noted that, of the three applications for a finding and determination that the service to be furnished by the Company through its proposed exercise of the power of eminent domain to acquire rights-of-way and easements for the construction, operation and maintenance of the proposed transmission line is necessary or proper for the service, accommodation, convenience or safety of the public, it has previously petitioned to withdraw two of those applications.  PPL M.B. at 32.  One of those Petitions was granted via Order dated July 23, 2012.  The other Petition will be granted via this Recommended Decision because it was unopposed.  PPL now seeks land rights for an aerial crossing of the property of the Iroquois Ridge Partners, LLP (Iroquois Ridge) in Pocono Township, Monroe County.  Id. at 33.

PPL claims that its exercise of the power of eminent domain of Iroquois Ridge’s property is necessary to resolve the violations of PPL’s RP&P and to ensure reliable long-term electric service to customers in the project area.  Id.  PPL reiterated that most of the 3.8 miles of the proposed route will be situated in an existing right-of-way and along the path of an existing transmission line in the area.  Id.  PPL stated that the proposed path was selected after a detailed analysis that included a comprehensive environmental inventory, identification and analysis of alternative routes and public input.  Id.  PPL added that the proposed easement and right-of-way identified with regard to Iroquois Ridge will not interfere with, or require condemnation of, any place of public worship, burying ground, dwelling or its reasonable curtilage.  Id. at 34, citing, 15 Pa. C.S. § 1511(b); PPL St. 1 at 10.  PPL also added that the property owners have not protested the Application even though they have been represented by counsel in this proceeding.  Id.  PPL concluded that its request for the power of eminent domain should be approved.  Id.

There is no record evidence in this proceeding opposing PPL’s Condemnation Application at Docket Number A-2012-2304649 regarding Iroquois Ridge Partners.

RECOMMENDATION

The fundamental issue in this proceeding is whether PPL has satisfied its burden to demonstrate that the installation of a new double-circuit 138/69 kV transmission line between the existing Jackson 138/69 kV substation and the existing Lake Naomi 138/69 kV tap pole is necessary for the service, accommodation, convenience or safety of the public.  If PPL has demonstrated the need for the transmission line, it is also necessary to determine whether the route for the proposed line should be approved as well.

The Commission has recently addressed the need for two transmission lines in: Re: Application of Trans-Allegheny Interstate Line Company (TrAILCo), Docket Nos. A-110172, et al., Opinion and Order (entered December 12, 2008) (TrAILCo) and Application of PPL Electric Utilities Corporation Filed Pursuant to 52 Pa. Code Chapter 57, Subchapter G, for Approval of the Siting and Construction of the Pennsylvania Portion of The Proposed Susquehanna-Roseland 500 kV Transmission Line in Portions of Lackawanna, Luzerne, Monroe, Pike and Wayne Counties, Pennsylvania, Docket No. A-2009-2082652, et al., Opinion and Order (entered February 12, 2010) (Susquehanna Roseland).  On appeal, the Commonwealth Court affirmed both TrAILCo and Susquehanna-Roseland.  See, Energy Conservation Council of Pa. v. Pa. P.U.C., 995 A.2d 465 (Pa. Cmwlth 2010) (TrAILCo Appeal) and Energy Conservation Council of Pa. v. Pa. P.U.C., 25 A.3d 440 (Pa. Cmwlth 2011) (Susquehanna-Roseland Appeal).

In TrAILCo, the Commission found that there was a need for the proposed transmission line based on the use of PJM’s Regional Transmission Expansion Plan (RTEP) and the supporting testimony which detailed the system stress modeling and projections relating to future National Electric Reliability Council (NERC) standard violations and heavy congestion on transmission lines.  Id. at 30-31.

On appeal, the Commonwealth Court noted that, in its Opinion, the Commission was persuaded by the 2006 RTEP and TrAILCo.’s supporting testimony detailing the system stress modeling and projections relating to twelve future NERC standard violations.  TrAILCo. Appeal at 472.  The Court stated:

Finally, the PUC’s finding that ‘the [502 facilities are] needed to address reliability issues and [are] the best alternative available to achieve that result,’ is supported by substantial evidence.  Here TrAILCo.’s evidence detailed the system stress modeling and projections relating to twelve projected NERC reliability standard violations for the PJM Region if the TrAIL Project, including the 502 facilities, is not constructed.  TrAILCo.’s evidence established that the consequences of not constructing the 502 Facilities could severely affect Pennsylvania customers, particularly those in south central Pennsylvania, due to the far-reaching affects of the reliability problems caused by load pockets and overloaded lines.  Moreover, TrAILCo.’s evidence, accepted by the PUC, established alternatives suggested by ECC, such as reconductoring and retensioning, address the reliability issues in a piecemeal manner and may not resolve the reliability issues.  Conversely, the PUC found that the construction of the 502 Facilities is the best alternative to address the reliability issues demonstrated in the 2006 RTEP.

995 A.2d at 486 (citations omitted).  The Court also quoted the Commission’s determination based on “heavily congested” lines.  Id., quoting, TrAILCo. at 35.  The Court found: “the PUC’s finding of public need for the 502 facilities based on documented future NERC reliability violations, and the consequences of those violations, is supported by substantial evidence in the record.”  Id. at 487.

In Susquehanna-Roseland, the Commission found that there was a need for the proposed transmission line based on the transmission planning and analysis procedure used by PJM and the PJM finding that there existed violations of PJM’s reliability planning standards which were required to be addressed.  Id. at 55 (PJM’s 2008 RTEP identified multiple future reliability violations which the proposal was intended to resolve).  On appeal, the Commonwealth Court noted that:

the 2008 RTEP specifically identified twenty-three NERC Category A and B (single contingency) violations projected to occur beginning in 2012, and twenty-seven NERC Category C5 (double circuit; lower probably event) violations.  Accordingly, PJM directed PPL and Public Service Electric and Gas Company (PSE&G) to construct a new line by June 1, 2012.

Susquehanna-Roseland Appeal, 25 A.3d at 443.

In another recent Commission decision, in Application of PPL Electric Utilities Corporation Filed Pursuant to 52 Pa. Code Chapter 57, Subchapter G, For Approval of the Siting and Construction of the Effort Mountain #1 and #2 138 kV Taps in Chestnuthill and Polk Townships, Monroe County, Pennsylvania, Docket No. A-2010-2152104, et al., Opinion and Order (entered March 18, 2011) (Chestnuthill), the Commission found a need for the proposed transmission line due to load growth caused by a new housing development and that the number of customers was increasing between 3-6% each year.  The load was approaching the point where the facility would melt.

In contrast, however, in Re: West Penn Power Co., Docket Nos. 100200 et al., Order (entered May 29, 1980), the Commission found that the electric company failed to demonstrate a need for the proposed transmission line despite problems with bulk transmission capability margins, overloading of the bulk power supply system during certain contingency conditions, voltage problems and instability problems.

In TrAILCo Appeal, the Commonwealth Court observed that the Public Utility Code did not define need.  However, it also stated that Pennsylvania courts have recognized that there is a need for regional electric service reliability and a reliable regional transmission system.  The Commonwealth Court concluded that ensuring the reliability of an electrical transmission system is necessary and proper for the accommodation, convenience and safety of the public.

The selection of a route for transmission lines was explained by the Superior Court as follows:

Appellant’s [affected landowner’s] first two contentions are sufficiently answered by our opinion in Phillips v. Pa. P.U.C., [181 Pa. Super. 625, 124 A.2d 625 (1956)], wherein we restated the well-established proposition that the selection of routes for transmission lines is a matter for the utility in the first instance and, unless it is shown that it proposes to exercise the powers conferred upon it wantonly or capriciously, or that the rights of the landowner have been unreasonably disregarded, the Commission is not required to withhold its approval merely because another route might have been adopted.

Laird v. Pa. P.U.C., 183 Pa. Super. 457, 133 A.2d, 579, 581 (1957).

With respect to environmental issues, the Commission should consider the three-part test established in Payne v. Kassab, 312 A.2d 86 (Pa. Cmwlth. 1973) (Payne).  The test requires the Commission to determine the following:

1.	Was there compliance with all applicable statutes and regulations relevant to the protection of the Commonwealth’s environment?

2.	Does the record demonstrate a reasonable effort to reduce the environmental incursion to a minimum?

3.	Does the environmental harm which would result from the challenged decision or action so clearly outweigh the benefits to be derived there from that to proceed further would be an abuse of discretion?

Id. at 94.

With that legal background in mind, I now turn to the three legal issues to be decided in this case: 1) the need for the transmission line, 2) the siting of the transmission line and 3) the use of eminent domain.

Need for the Transmission Line

In this case, there is substantial record evidence that demonstrates that the proposed transmission line is necessary for the service, accommodation, convenience or safety of the public and otherwise satisfies applicable standards and regulations.

To begin, PPL stated in its Application that the project is required to reduce the electrical load on the existing Blooming Grove-Jackson 138/69 kV circuit and provide operating flexibility and improved reliability for customers in Jackson, Pocono and Tobyhanna Townships in Monroe County.  Application at 1.  PPL stated:

This Project will ensure the long-term reliability of service to customers in portions of Monroe County by reinforcing the transmission system in order to avoid overloading certain transmission facilities and to resolve transmission reliability criteria violations on PPL Electric’s 138/69 kV circuits in northeast Pennsylvania.

Id. at 7.  PPL added that this project is required to avoid exceeding the normal thermal loading limit on the existing Blooming Grove-Jackson 138/69 kV circuit under peak winter conditions and to reduce the electrical loading on the existing Blooming Grove-Jackson 138/69 kV single-circuit line below the loading limit.  Id.  PPL stated that the project is required to prevent overloading of the existing transmission line, which could occur if the existing line at Jackson Substation were out of service.  Id.

PPL also stated in its Application that it has identified excessive loading on its 138/69 kV circuits in northeast Pennsylvania beginning in 2013 and that the project will resolve that loading.  Id.  In particular, PPL stated that transmission planning studies project that, due to increasing load growth in the area for 2013 and beyond, the existing Blooming Grove-Jackson 138/69 kV circuit will be loaded to 115 Mega Volt Amperes (MVA) during peak winter conditions.  Id. at 9.  PPL added that the circuit has a normal winter rating of 111 MVA and that operating a circuit in an overloaded condition, i.e., above its normal rating, would damage the conductor and ultimately cause a failure resulting in customer outages.  Id.  In this instance, an outage would cause service to approximately 16,300 customers to be interrupted.  Id.  Specifically, PPL noted that this can be attributed to recent additional commercial/industrial loading which greatly exceeded the normal projected load growth for this area.  Id.

Finally, PPL also stated in its Application that the Company explored various electrical solutions to address these needs but concluded, after extensive analysis, that the preferred solution was to construct the proposed project as a long-term transmission upgrade that will maintain the reliable electric service to customers in Monroe County.  Id. at 10.

The need for the transmission line was supported by the testimony of PPL witness Alexandros Lousos.  Mr. Lousos is a Support Engineer in PPL’s Transmission Planning group.  See, PPL St. 3 at 1.  Mr. Lousos has been in his current position since 2008 and is responsible for planning PPL’s transmission system for lines 69 kV and greater in the Northeast Region.  Id.  Mr. Lousos testified that:

This Project is required to resolve violations of PPL Electric’s reliability criteria in Monroe County.  The existing Lake Naomi 138/69 kV Tap is currently served by the Blooming Grove-Jackson 138/69 kV Transmission Line.  As a result of the proposed new transmission project, a new Peckville-Jackson and Blooming Grove-Jackson double-circuit 138/69 kV line from the Jackson Substation, to the Lake Naomi Tap pole will be built.  The existing Peckville-Jackson and Blooming Grove-Jackson 138/69 kV Line, heading north from the Jackson Substation, will become the new Jackson-Wagners #1 and #2 138/69 kV circuits, respectively.  The Lake Naomi 138/69 kV Tap will become part of the circuit designated as the Jackson-Wagners #1 Line.  The new transmission line will create an independent power source for Lake Naomi and Wagners substations.  The Project will improve reliability for PPL Electric customers in Monroe County.

PPL St. 3 at 2-3.

- Mr. Lousos also testified regarding problems created by the increasing load growth in the area.  Mr. Lousos testified: “due to increasing load growth in the area, transmission planning studies project, for 2013 and beyond, that the existing Blooming Grove-Jackson 138/69 kV circuit will be loaded to 115 Mega Volt Amperes (MVA) during peak winter conditions,” noting the normal circuit winter rating of 111 MVA and an increase to 115 MVA could initially damage the conductor and ultimately cause failure resulting in customer outages.  Id. at 5; see also, PPL Electric Ex. 1, Attachment 2 at 5 (violations can be attributed to recent additional commercial/industrial loading which greatly exceeded the normal projected load growth for this area).  Mr. Lousos concluded his testimony by reiterating that “no other reasonably economical functional alternatives were identified that would resolve the problem outlined above.”  Id. at 7.

Finally, the Necessity Statement attached to the Application supported the testimony of Mr. Lousos, as well as the statements in the Company’s Application, regarding need for the project, noting in particular load growth in the area, as well as the position that no other reasonably economical functional alternatives were identified that would resolve the problems.  Application, Attachment 2.

As noted above, there was no opposition to PPL’s Application regarding the need for the transmission line.

Avoiding overloading existing transmission lines and anticipating additional load growth have been determined by the Commonwealth Court and this Commission to support a finding of need for a transmission line.  See, TrAILCo. Appeal, Chestnuthill, supra.  PPL has shown that the proposed project will avoid overloading existing transmission lines and anticipates future load growth.  Therefore, I find that substantial record evidence supports a finding that PPL has satisfied its burden of proving that the installation of a new double-circuit 138/69 kV transmission line between the existing Jackson 138/69 kV substation and the existing Lake Naomi 138/69 kV tap pole is necessary for the service, accommodation, convenience or safety of the public.  I recommend that PPL’s Siting Application be approved.

Siting of Transmission Line

Having found that PPL has satisfied its burden of demonstrating that the installation of a new double-circuit 138/69 kV transmission line between the existing Jackson 138/69 kV substation and the existing Lake Naomi 138/69 kV tap pole is necessary for the service, accommodation, convenience or safety of the public, it is next necessary to determine whether the route proposed by the Company for the transmission line should be approved as well.

In this case, there is substantial record evidence that demonstrates that the route of the proposed transmission line should be approved.

PPL provided extensive evidence in support of its decision regarding the siting of the proposed transmission line.  PPL undertook a detailed study of the area in which the project must be constructed to accomplish its functional purposes in order to find the route that best balances the numerous competing interests that must be considered in siting a high voltage transmission line.  PPL M.B. at 16.  PPL considered all of the elements listed in the Commission’s regulations in siting the project and gave substantial consideration to factors such as reliability of the system, safety of the facilities, impact on the environment, cost and need, as well as other factors.  Id., citing, 52 Pa. Code §§ 57.75(e) and 57.76.  PPL assembled a multidisciplinary team consisting of experts from functional groups that have a stake in the design, construction and siting of the project.  Id. at 17; PPL St. 1 at 8.  Information regarding the characteristics of the area were gathered and mapped, such as land use, zoning, natural features, water resources, and others.  Id. at 17-18.  A communications plan was developed to ensure that external stakeholders such as governments and special interest groups were kept informed about the project.  Id. at 18.

The team first determined a study area of approximately 30 square miles within Monroe County considering dense residential areas and commercial districts.  Id.; PPL St. 1 at 12.  PPL utilized a method adapted from the Electric Power Research Institute and the Georgia Transmission Corporation.  Id. at 23.  The method incorporates GIS technology, statistical evaluation and professional judgment into the decision-making process.  Id.; PPL St. 2 at 3.  PPL utilized both a quantitative and qualitative analysis in determining the best route by first generating macro corridors, generating alternative corridors, identifying alternative routes within the alternative corridors and then selecting the preferred route.  Id.; PPL St. 2 at 4.  PPL explained each of these steps in detail.  Id. at 23-26.

PPL identified which routes had the best quantitative value and then applied expert judgment to rank the remaining alternatives.  Id.; PPL St. 2 at 8.  This included ranking the routes based on visual concerns, community concerns, schedule delay risk, special permit issues and construction and maintenance accessibility.  Id. at 27-28.  PPL stated that the process is designed to encourage thorough discussion in evaluating and selecting a final route in an objective, consistent and comprehensive manner.  Id. at 28; PPL St. 2 at 8-9.  After evaluating all factors considered during the routing process, PPL determined the route included in the Applications had the least impact as determined in the qualitative assessment because it minimizes the effect of the transmission line on all factors of the natural and human environment, while minimizing overall project costs and avoiding unreasonable routes and non-standard design requirements to the extent practical.  Id. at 28-29; PPL St. 1 at 26.

PPL undertook efforts to mitigate the impact of the transmission line.  Id. at 29-32.  This included avoiding sensitive areas and utilizing selective vegetation practices.  Id.  PPL attempted to avoid or mitigate environmental issues and the benefits of the project to PPL’s customers outweigh the environmental harm.  Id. at 31.

PPL took steps to ensure the safety of the public as a result of the construction of the project, noting that it constructs all its transmission lines to meet or exceed NESC standards, including developing design specifications for this project that meet or surpass all requirements specified by NESC.  Id. at 31-32; PPL St. 4 at 3.  PPL demonstrated that the proposed project does not present any undue risk of harm to the public, and should be approved as proposed.

With regard to environmental issues, PPL has complied with all applicable statutes and regulations and has demonstrated a reasonable effort to reduce the environmental incursion to a minimum.  While PPL recognizes that all transmission lines will have at least some effect on the environment, any environmental harm that may arise from the proposed transmission line is outweighed by the benefits to be derived from the line.

There was no opposition to the route PPL proposed for the transmission line.

Therefore, I recommend that the siting of the proposed transmission line, as detailed in the Applications, should be approved.  The siting does not create an unreasonable risk of danger to the health and safety of the public and is in compliance with applicable statutes and regulations providing for the protection of natural resources.  The siting will have minimal adverse environmental impact and was not selected wantonly, capriciously or arbitrarily.  The siting is recommended for approval.

Use of Eminent Domain

As PPL noted in its Main Brief, its original filing included three Applications seeking the use of eminent domain to acquire rights-of-way and easements for the construction, operation and maintenance of the proposed transmission line.  PPL M.B. at 32.  PPL filed to withdraw two of those Applications, pertaining to the Estate of Charles L. Vassallo and Pocono Manor Investors, LP, during the course of the proceeding.  Id.  PPL still seeks, however, sufficient land rights for an aerial crossing of the property of Iroquois Ridge Partners, LLP in Pocono Township, Monroe County.  Id. at 32-33.

I find that the exercise of the power of eminent domain to acquire a right-of-way and easement for the construction, operation and maintenance of the proposed transmission line over the property of the Iroquois Ridge Partners is necessary for the service, accommodation, convenience or safety of the public and recommend PPL’s Condemnation Application be approved.

The benefits to the public of the transmission line have been discussed in detail above.  The transmission line will improve long term reliability of electric service in Monroe County in light of the anticipated future load growth and provide other benefits.  PPL chose the proposed path of the transmission line after a detailed analysis that considers several factors.  The proposed right-of-way will not interfere or require condemnation of any place of public worship, burying ground, dwelling or its reasonable curtilage.  PPL has demonstrated that it must be able to route the transmission line over and across the Iroquois Ridge Partners property in order to site, construct and operate that line at the selected route.

Even though Iroquois Ridge Partners was represented by counsel in this proceeding, they have not protested the Condemnation Application or in any way otherwise participated in this proceeding to express their opposition.

Therefore, I find that PPL’s Condemnation Application for sufficient land rights for an aerial crossing of the property of Iroquois Ridge Partners is necessary and proper for the service, accommodation, convenience or safety of the public and recommend it be granted.

In addition, because the Petition for Leave to Withdraw the Application for condemnation pertaining to Pocono Manor Investors, LP was filed shortly before the evidentiary hearing in this matter, it will also be recommended for approval in this Recommended Decision.  In its Petition for Leave to Withdraw, PPL indicated that no party has contested or otherwise formally opposed the Application pertaining to Pocono Manor.  PPL stated that it had executed an agreement with representatives for Pocono Manor by which Pocono Manor conveyed to PPL a right-of-way and easement over and across the land subject to the Pocono Manor Condemnation Application and that the agreement renders the Condemnation Application unnecessary.  PPL sought to withdraw and terminate the Pocono Manor Application in its entirety pursuant to Section 1.82 and 5.94(c) of the Commission’s regulations.  52 Pa. Code §§ 1.82 and 5.94(c).  The response period has ended and no opposition was received.  The Petition will, therefore, be granted via this Recommended Decision.

CONCLUSIONS OF LAW

- Section 332(a) of the Public Utility Code provides that the party seeking relief from the Commission has the burden of proof.  66 Pa. C.S. § 332(a).

- "Burden of proof" means a duty to establish a fact by a preponderance of the evidence, or evidence more convincing, by even the smallest degree, than the evidence presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 54, 70 A.2d 854 (1950).

- If an Applicant establishes a prima facie case, the burden of going forward with the evidence shifts to the opposing party.  If an opposing party does not rebut that evidence, the Applicant will prevail.  If the opposing party rebuts the Applicant’s evidence, the burden of going forward with the evidence shifts back to the Applicant, who must rebut the opposing party’s evidence by a preponderance of the evidence.  The burden of going forward with the evidence may shift from one party to another, but the burden of proof never shifts; it always remains on the Applicant.  Se Ling Hosiery v. Margulies, 364 Pa. 45, 70 A.2d 854 (1950); Samuel J. Lansberry, Inc. v. Pa. P.U.C., 578 A2.d 600 (Pa. Cmwlth 1990).

- Every public utility shall furnish and maintain adequate, efficient, safe and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions, and improvements in or to such service and facilities as shall be necessary or proper for the accommodation, convenience and safety of its patrons, employees and the public.  Such service also shall be reasonably continuous and without unreasonable interruptions or delay.  66 Pa. C.S. § 1501.

- A public utility corporation shall, in addition to any other power of eminent domain conferred by any other statute, have the right to take, occupy and condemn property for one or more of the following principal purposes and ancillary purposes reasonably necessary or appropriate for the accomplishment of the principal purposes, including the production, generation, manufacture, transmission, storage, distribution or furnishing of natural or artificial gas, electricity, steam, air conditioning or refrigerating service or any combination thereof to or for the public.  15 Pa. C.S. § 1511(a)(3).

- The power to exercise eminent domain shall not be exercised within 100 meters of any dwelling house or any place of public worship or burying ground.  15 Pa. C.S. § 1511(b)(1).

- The powers of eminent domain may be exercised to condemn property outside the limits of any street, highway, water or other public way or place for the purpose of erecting poles or running wires or other aerial electric, intrastate aerial telephone or intrastate aerial telegraph facilities only after the Pennsylvania Public Utility Commission, upon application of the public utility corporation, has found and determined, after notice and opportunity for hearing, that the service to be furnished by the corporation through the exercise of those powers is necessary or proper for the service, accommodation, convenience or safety of the public.  15 Pa. C.S. § 1511(c).

- At hearings held under this section, the Commission will accept evidence upon, and in its determination of the application will consider, inter alia, the following matters: (1) the present and future necessity of the proposed HV line in furnishing service to the public; (2) the safety of the proposed HV line; (3) the impact and the efforts which have been and will be made to minimize the impact, if any, of the proposed HV line upon the following: land use, soil and sedimentation, plant and wildlife habitats, terrain, hydrology, landscape, archeologic areas, geologic areas, historic areas, scenic areas, wilderness areas, and scenic rivers; and (4) the availability of reasonable alternative routes.  52 Pa. Code §57.75(e).

- The Commission will not grant the application, either as proposed or modified, unless it finds and determines as to the proposed HV route: (1) that there is a need for it; (2) that it will not create an unreasonable risk of danger to the health and safety of the public; (3) that it is in compliance with applicable statutes and regulations providing for the protection of the natural resources of this Commonwealth; and (4) that it will have minimal adverse environmental impact, considering the electric power needs of the public, the state of available technology and the available alternatives.  52 Pa. Code §57.76(a); see also, Pa. Power & Light Co. v. Pa. P.U.C., 696 A.2d 248, 250 (Pa. Cmwlth. 1997).

- The applicable legal standards for review of the selection of a route for utility lines are whether the powers conferred upon the public utility have been wantonly, capriciously or arbitrarily exercised.  West Penn Power Co. v. Pa. P.U.C., 184 A.2d 143 (1962).

- The degree of inconvenience to a landowner would not constitute grounds for withholding the exercise of the power to condemn the easement, where the record establishes that the utility’s route selection was reasonable considering all of the factors involved in the selection of the line.  Stone v. Pa. P.U.C., 162 A.2d 18 (1960); Paxtowne v. Pa. P.U.C., 398 A.2d 254, 256 (Pa. Cmwlth. 1979).

- There is a need for the proposed transmission line.  52 Pa. Code § 57.76(a)(1).

- The proposed transmission line will not create an unreasonable risk of danger to the health and safety of the public.  52 Pa. Code § 57.76(a)(2).

- The proposed transmission line is in compliance with applicable statutes and regulations providing for the protection of the natural resources of this Commonwealth.  52 Pa. Code § 57.76(a)(3).

- The proposed transmission line will have minimal adverse environmental impact, considering the electric power needs of the public, the state of available technology and the available alternatives.  52 Pa. Code § 57.76(a)(4).

- PPL has satisfied its burden to demonstrate that the proposed Blooming Grove-Jackson and Peckville-Jackson 138/69 kV transmission line in Monroe County is necessary for the service, accommodation, convenience and safety of the public.

- PPL’s Siting Application and Iroquois Ridge Partner Condemnation Application should be approved.

ORDER

THEREFORE,

IT IS RECOMMENDED:

- That the Application of PPL Electric Utilities Corporation For Approval Of The Siting And Construction of the Blooming Grove-Jackson and Peckville-Jackson 138/69 kV Transmission Line in Monroe County, Pennsylvania at Docket Number A-2012-2304631 is granted.

- That the Petition for Leave to Withdraw the Application of PPL Electric Utilities Corporation to Exercise the Power of Eminent Domain to Acquire an Easement and Right-of-way Across the Property of Pocono Manor Investors, LP is granted.

- That the Application of PPL Electric Utilities Corporation For a Finding And Determination That The Service To Be Furnished By The Applicant Through Its Proposed Exercise Of The Power Of Eminent Domain to Acquire A Right-Of-Way And Easement Over And Across The Lands Of Pocono Manor Investors, LP, In Pocono Township, Monroe County For The Proposed Blooming Grove-Jackson and Peckville-Jackson 138/69 kV Transmission Line Is Necessary Or Proper For The Service, Accommodation, Convenience Or Safety Of The Public at Docket Number A-2012-2304648 is hereby withdrawn.

- That the Application of PPL Electric Utilities Corporation For a Finding And Determination That The Service To Be Furnished By The Applicant Through Its Proposed Exercise Of The Power Of Eminent Domain to Acquire A Right-Of-Way And Easement Over And Across The Lands Of Iroquois Ridge Partners LLP In Pocono Township, Monroe County For The Proposed Blooming Grove-Jackson and Peckville-Jackson 138/69 kV Transmission

Line Is Necessary Or Proper For The Service, Accommodation, Convenience Or Safety Of The Public at Docket Number A-2012-2304649 is hereby granted.

Date: January 3, 2013

Joel H. Cheskis

Administrative Law Judge