# BEFORE THE

# PENNSYLVANIA PUBLIC UTILITY COMMISSION

J. Ronald Featherall					:

:

v.						:			C-2013-2343812

:

Pennsylvania American Water Company		:

# INITIAL Decision

# Before

Ember S. Jandebeur

Administrative Law Judge

HISTORY OF THE PROCEEDINGS

On or about January 15, 2013, J. Ronald Featherall (Complainant) filed a Formal Complaint with the Pennsylvania Public Utility Commission against Pennsylvania American Water Company (Respondent or PAWC) alleging that there is a reliability, safety or quality problem with his water service.  Complainant further alleges that he is “periodically receiving quantities of visible filth entering the water system to [his] home.”  This case is an appeal from a prior informal Bureau of Consumer Services (BCS) decision at Case No. 3006405.  The Respondent filed an Answer and New Matter on February 7, 2013, denying the material allegations of the Formal Complaint.  There was no response to the New Matter.

By Hearing Notice dated March 14, 2013, the parties were notified that an Initial Hearing in this case was scheduled for the morning of April 15, 2013.  A Prehearing Order was issued on March 14, 2013, stating the date and time of the scheduled hearing and advising the parties that the case could be dismissed if they failed to obtain a continuance and failed to appear for the hearing.  The Prehearing Order also advised the parties of applicable procedural rules.

The hearing convened as scheduled.  The Complainant appeared pro se, the Respondent was represented by counsel.  The Complainant proffered six (6) exhibits; all were entered into the record.  The Respondent proffered four (4) exhibits; all were entered into the record.  The record closed on May 15, 2013.

FINDINGS OF FACT

- The Complainant is a current customer of the Respondent’s and receives water service at his home located at 712 Lincoln Avenue, Jermyn, Pennsylvania 18433.

- The Respondent is a jurisdictional utility providing water service in Pennsylvania.

- Complainant’s Exhibit 1 is a photograph of a jar of water collected June 12, 2012.

- Complainant’s Exhibit 2 is a certificate of analysis from Microbac Laboratories, Inc. dated August 8, 2012.

- Complainant’s Exhibit 4 is a customer order from Culligan, dated August 6, 2012.

- Complainant’s Exhibit 5 is a photograph of a jar of water collected November 10, 2012.

- Complainant’s Exhibit 6 is a letter from Pennsylvania Gas and Water Company dated September 29, 1987.

- Microbac Laboratories estimated a full water test for the Complainant to be $1,800.  Tr. at 8.

- Culligan told the Complainant to filter his water.  Tr. at 8.

- The Complainant’s waterlines are copper and the drains are plastic.  Tr. at 17.

- When the Complainant allows the water to run, it eventually clears up.  Tr. at 18.

- The Complainant believes the particulates occasionally in his water are caused by an old main.  Tr. at 15.

- John Yamona, water quality manager for northeast Pennsylvania testified on behalf of the Respondent.  Tr. at 19, 21.

- As a public water supplier, the Respondent is governed by the monitoring and reporting regulations under the Safe Drinking Water Act, administered by Pennsylvania Department of Environmental Protection.  Tr. at 22.

- The Respondent’s water quality tests are shared with customers annually and will be available electronically in 2013.  Tr. at 25.

- Respondent’s Exhibit 1 is a letter from the Respondent to the Complainant dated July 24, 2012.

- Respondent’s Exhibit 2 is a Pennsylvania American Water Company Water Quality Complaint Form dated August 13, 2012.

- Respondent’s Exhibit 3 is a Pennsylvania American Water Company Water Quality Complaint Form dated January 18, 2013.

- Respondent’s Exhibit 5 is a water and gas plot map.

- The sample of water taken from the Complainant’s home on July 24, 2012 met all federal and state drinking water standards.  PAWC Exh. 1.

- To get the most representative sample, the Respondent tries to get as close to the supply line coming into the home as possible.  Tr. at 30.

- The Respondent flushes the water before collecting a sample to ensure it is not sampling water that has been sitting in the internal plumbing.  Tr. at 30.

- Samples of the Complainant’s water and two (2) of his neighbors’ were collected on August 13, 2012.  PAWC Exh. 2.

- The August 13, 2012, water samples were within the regulatory standards.  Tr. at 33.

- The January 23, 2013 water samples were within regulatory standards.  Tr. at 34-35.

- Any hydraulic disturbance within a water system can cause a short term localized effect such as discoloration.  Tr. at 36.

- If the Complainant had chronic high iron, and/or manganese in his water it would remain discolored and there would be more complaints.  Tr. at 42.

- The Respondent does not have a complaint history in the Complainant’s neighborhood.  Tr. at 42.

- Aging pipes are a greater risk for breakage than for causing poor water quality.  Tr. at 43.

- Iron and manganese are oxidized at the treatment plant and precipitated out so that when the water leaves the plant it has very low levels of both.  Tr. at 46.

- Iron and manganese may settle in low gradient areas.  Tr. at 47.

- Under normal flow conditions the amount of iron and manganese would not cause any discoloration, however, if there is a change in pressure settled particles can go into a home on a temporary or sporadic basis.  Tr. at 47.

- Anthony Gangemi, superintendent of field supply, testified on behalf of the Respondent.  Tr. at 54.

- The water main that serves the Complainant is located on Lincoln Avenue.  Tr. at 55.

- The Lincoln Avenue water main was installed in 1965 and is a cement lined iron pipe.  Tr. at 55, PAWC Exh. 5.

- The Respondent agrees that the water main on Rushbrook Road is old.  Tr. at 60.

DISCUSSION

Burden of Proof:

Section 332(a) of the Public Utility Code, 66 Pa. C.S. § 332(a), provides that the party seeking relief from the Commission has the burden of proof.  Complainant seeks relief from the Commission, and, therefore, has the burden of proof in this proceeding.

“Burden of proof” means a duty to establish a fact by a preponderance of the evidence, or evidence more convincing, by even the smallest degree, than the evidence presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 54, 70 A.2d 854 (1950).

If a complainant establishes a prima facie case, the burden of going forward with the evidence shifts to the utility.  If a utility does not rebut that evidence, a complainant will prevail.  If the utility rebuts complainant’s evidence, the burden of going forward with the evidence shifts back to a complainant, who must rebut the utility’s evidence by a preponderance of the evidence.  The burden of going forward with the evidence may shift from one party to another, but the burden of proof never shifts; it always remains on a complainant.  Replogle v. Pennsylvania Electric Company, 54 Pa. PUC 528 (1980), and Waldron v. Philadelphia Electric Company, 54 Pa. PUC 98 (1980).

If Respondent submits evidence of “co-equal” weight to refute Complainant’s evidence, Complainant has not satisfied the burden of proof unless it presents additional evidence opposing Respondent’s evidence.  Morrissey v. PA Dept. of Highways, 424 Pa. 87, 225 A.2d 895 (1967), and Burleson v. Pa. P.U.C., 66 Pa. Commonwealth Ct. 282, 443 A.2d 1373 (1982), aff’d. 501 Pa. 443, 461 A.2d 1234.

The decision of the Commission must be supported by substantial evidence.  See, e.g., Section 704 of the Administrative Agency Law, 2 Pa. C.S. § 704.  “Substantial evidence” is such relevant evidence that a reasonable mind might accept as adequate to support a conclusion. More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  Norfolk & Western Ry. Co. v. Pa. P.U.C., 489 Pa. 109, 413 A.2d 1037 (1980); Erie Resistor Corp. v. Unemployment Comp. Bd. of Review, 194 Pa. Superior Ct. 278, 166 A.2d 96 (1961); and Murphy v. Comm., Dept. of Public Welfare, White Haven Center, 85 Pa. Commonwealth Ct. 23, 480 A.2d 382 (1984).

The offense must be a violation of the Public Utility Code, the Commission’s regulations, or an outstanding order of the Commission.  66 Pa. C.S. § 701.

Water Quality:

Precedent makes clear the distinction between water service, which the Commission may regulate, and water quality, which may only be regulated by the DEP.  “Water quality in Pennsylvania is statutorily regulated by the provisions of the Pennsylvania Safe Drinking Water Act … [e]nforcement … is specifically vested in DER [now DEP] and the Federal Environmental Protection Agency.  Rovin, D.D.S. v. Pa. Public Utility Commission, 502 A. 2d, 785, 787.  (Pa. Cmwlth 1986).  “It is the DEP that has clear and primary jurisdiction regarding water quality under the Safe Drinking Water Act.”  Pickford v. Pa. Public Utility Commission, 4 A.3d 707, 714.  (Pa. Cmwlth. 2010).

The Commission has jurisdiction over the quality of service provided by a public utility.  66 Pa. C.S. § 1501.  “[E]very customer is entitled to water that is fit for the basic, domestic purposes (e.g., cooking, drinking, washing and bathing).  Although a few isolated or sporadic instances or complaints of water received by customers that is unfit for the aforementioned basic domestic purposes would not warrant a finding that a utility has failed in its provision of adequate and reasonable service, we believe that probative evidence in a particular case showing significant failure on the part of the utility to provide adequate and reasonable service would provide a basis for a conclusion that a utility has provided inadequate service.”  Pa. Public Utility Commission v. Pennsylvania Gas and Water Company, 1986 Pa. P.U.C. Lexis 113 at 15.  In Pennsylvania Gas and Water, there was an extensive record of pervasive and significant water issues to such a degree that the Commission denied a rate increase.  Here the Complainant presents a modest number of incidences when he felt water he received from the Respondent was “filthy.”

The Respondent rebutted the Complainant’s evidence with testimony that its water is in compliance with all regulatory requirements from the Department of Environmental Protection.  Tr. at 48.  The Respondent also clearly indicated that any hydraulic disturbances in the system can cause temporary discoloration.  The Respondent carefully investigated the Complainant’s complaint in 2012 and again in 2013.  Both times the water tested within regulatory parameters.

The Complainant succeeded in making a prima facie case that he experiences sporadic or isolated water discoloration.  The Respondent successfully rebutted the evidence with testimony that they periodically flush which may cause discoloration and that any hydraulic disturbance may cause a temporary discoloration.  There is not the pervasive and significant evidence of poor service that was present in Pennsylvania Gas and Water.  Therefore, I find that the Complainant failed to present substantial evidence of significant failure to provide adequate service, failed to rebut the Respondent’s evidence and thus failed to meet his burden of proof.

CONCLUSIONS OF LAW

1.	The Commission has jurisdiction over the subject matter and parties to this Complaint.  66 Pa. C.S. § 701.

2.	As the party seeking affirmative relief from the Commission, Complainant bears the burden of proof.  66 Pa. C.S. § 332(a).

3.	As a matter of general principle, a complainant must show that the named utility is responsible or accountable for the problem described in the Complaint in order to prevail.  Patterson v. Bell Telephone Company of Pennsylvania, 72 Pa. Pub. Util. Comm’n 196 (1990); Feinstein v. Philadelphia Suburban Water Company, 50 Pa. Pub. Util. Comm’n 300 (1976).  This must be shown by a preponderance of the evidence.  Samuel J. Lansberry, Inc. v. Pa. Pub. Util. Comm’n, 578 A.2d 600 (1990), alloc. den., 602 A.2d 863 (1992).

4.	The Complainant failed to meet his burden of proof.

5.	The Respondent successfully rebutted the Complainant’s evidence.

ORDER

THEREFORE,

# IT IS ORDERED:

- That the Formal Complaint of J. Ronald Featherall at Docket No. C-2013-2343812 is denied and dismissed.

- That the Secretary’s Bureau shall mark Docket No. C-2013-2343812 closed.

Date:	May 22, 2013								/s/

Ember S. Jandebeur											Administrative Law Judge