PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265

|  | Public Meeting held August 29, 2013 |
| --- | --- |
| Commissioners Present: Robert F. Powelson, Chairman John F. Coleman, Jr., Vice Chairman Wayne E. Gardner James H. Cawley Pamela A. Witmer |  |
| David Oliver | F-2012-2305431 |
| v. |  |
| PECO Energy Company |  |

OPINION AND ORDER

BY THE COMMISSION:

Before the Pennsylvania Public Utility Commission (Commission) for consideration and disposition are the Exceptions of PECO Energy Company (PECO, Company or Respondent) filed on February 20, 2013, to the Initial Decision (I.D.) of Administrative Law Judge (ALJ) Darlene R. Davis Heep, which was issued on February 14, 2013, in the above-captioned proceeding.  Replies to Exceptions were not filed with the Commission.  For the reasons stated below, we shall grant the Exceptions and modify the Initial Decision.

History of the Proceeding

On May 18, 2012, David Oliver (Complainant) filed a Formal Complaint (Complaint) against PECO with the Commission, alleging that there were incorrect charges on his bill due to a faulty meter, that he was unsure if he was being billed at the proper rate and that the Company did not provide appropriate service in responding to his inquiries concerning the high bills.  Mr. Oliver requested that a $7,700.87 credit be made to his account, that he receive an explanation of why his rates decreased in January 2012, and assurance that he is now being billed correctly.  Additionally, the Complainant requested compensation for the time he spent communicating with PECO in his attempts to resolve his claims over the past six months.  The Complainant estimated that he has committed twenty-four hours of time in these attempts and requested $12,000 (24 hours times $500.00) compensation.  The Complaint is a timely appeal of a decision rendered by the Commission’s Bureau of Consumer Services (BCS) at BCS Case Number 2919643.  The Commission served PECO with the Complaint on May 22, 2012.

On May 30, 2012, PECO filed an Answer, as well as a Preliminary Objection, in which it denied the Complainant’s allegations.  In its Answer, PECO alleged that the Complainant was billed properly for the actual usage, based on an accurate meter and accurate meter readings.  Answer at 4.  In its Preliminary Objection, PECO requested that the Commission dismiss the Complainant’s request for damages on the grounds that the Commission is without the power to award damages to the Complainant.  Preliminary Objection at 9-10.

On June 2, 2012, the Complainant filed a response to PECO’s Preliminary Objection in which he denied all material allegations of the Company.

ALJ Heep conducted an initial hearing on October 22, 2012.  The Complainant appeared pro se and introduced one exhibit.  PECO was represented by counsel and presented four witnesses who sponsored nine exhibits.  The record in this proceeding consists of a 121 page transcript of the hearing and ten exhibits.  The record was closed on November 7, 2012.

In her Initial Decision, issued on February 14, 2013, the ALJ sustained the Complaint, in part, and denied it, in part.  First, the ALJ sustained PECO’s Preliminary Objection and struck the Complainant’s claim for damages.  The ALJ next found that the Complainant’s claim concerning the rate he was being charged was resolved during the hearing (See Tr. at 26, 30) and would not be further addressed.  Furthermore, the ALJ found that the Complainant failed to sustain his burden of proof with regard to his claim that he was overbilled due to a faulty meter, but sustained his burden of proof regarding reasonable and adequate service.  The ALJ further directed that PECO be assessed a civil penalty in the amount of $450 for a violation of Section 1501 of the Public Utility Code (Code).

As previously indicated, PECO filed Exceptions on February 20, 2013.  The Complainant did not file Exceptions to the ALJ’s Initial Decision or Replies to the Exceptions submitted by PECO.

Discussion

As the proponent of a rule or order, the Complainant in this proceeding bears the burden of proof pursuant to Section 332(a) of the Public Utility Code (Code),  66 Pa. C.S. § 332(a).  To establish a sufficient case and satisfy the burden of proof, the Complainant must show that the Respondent is responsible or accountable for the problem described in the Complaint.  Patterson v. The Bell Telephone Company of Pennsylvania, 72 Pa. P.U.C. 196 (1990).  Such a showing must be by a preponderance of the evidence.  Samuel J. Lansberry, Inc. v. Pa. PUC, 578 A.2d 600 (Pa. Cmwlth. 1990), alloc. denied, 529 Pa. 654, 602 A.2d 863 (1992).  That is, the Complainant’s evidence must be more convincing, by even the smallest amount, than that presented by the Respondent.  Se-Ling Hosiery, Inc. v. Margulies, 364 Pa. 45, 70 A.2d 854 (1950).  Additionally, this Commission’s decision must be supported by substantial evidence in the record.  More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  Norfolk & Western Ry. Co. v. Pa. PUC, 489 Pa. 109, 413 A.2d 1037 (1980).

Upon the presentation by the Complainant of evidence sufficient to initially satisfy the burden of proof, the burden of going forward with the evidence to rebut the evidence of the Complainant shifts to the Respondent.  If the evidence presented by the Respondent is of co-equal value or “weight,” the burden of proof has not been satisfied.  The Complainant now has to provide some additional evidence to rebut that of the Respondent.  Burleson v. Pa. PUC, 443 A.2d 1373 (Pa. Cmwlth. 1982), aff’d, 501 Pa. 433, 461 A.2d 1234 (1983).  While the burden of persuasion may shift back and forth during a proceeding, the burden of proof never shifts.  The burden of proof always remains on the party seeking affirmative relief from the Commission.  Milkie v. Pa. PUC, 768 A.2d 1217 (Pa. Cmwlth. 2001).

ALJ Heep made forty-six Findings of Fact and reached six Conclusions of Law.  I.D. at 4-9, 19-20.  The Findings of Fact and Conclusions of Law are incorporated herein by reference and are adopted without comment unless they are either expressly or by necessary implication rejected or modified by this Opinion and Order.

Background

This Complaint arises from the Complainant receiving several high electric bills in conjunction with his construction of a new 8,500 square foot residence with an installed geothermal heating system beginning in October of 2010.  PECO established a temporary account at commercial electric rates beginning in April 2011 during the construction of this residence.  PECO later installed a permanent meter at residential rates on September 9, 2011, but the Complainant did not move into this residence until the end of March of 2012.  Findings of Fact (FOF) Nos. 1-5.

The Complainant first contacted PECO by telephone on December 6, 2011, to inquire why his temporary rate had a rate multiplier of 1x and the new permanent service had a rate multiplier of 80x and also why there was a significant increase in usage recorded when his account was transferred from the temporary to the permanent service and meter.  FOF No. 9.  On December 12, 2011, PECO issued the Complainant a $1,839.93 electric bill for 10,720 kWh used during the billing period of November 8, 2011, to December 11, 2011.  This bill resulted in the Complainant filing an informal complaint with the Commission on December 13, 2011.  The Complainant attempted to contact PECO twice on December 13, 2011, and again on December 15, 2011.  During the latter contact, PECO informed the Complainant that his home had a 600 amp load and that anything over a 400 amp load has an 80 to 1 ratio which explained the multiplier.  However, PECO did not provide information as to why there was an increase in recorded usage with the installation of the permanent meter so the Company recommended that the Complainant schedule an on-site inspection.  FOF Nos. 11, 12, 14, 15, 16, 17 and 19.

On December 27, 2011, a PECO high bill investigator toured the service address but conducted limited testing of the meter as he could not reduce the electric load sufficiently due to the construction activity.  The PECO investigator noted that possibly thirty to forty workers were building the house and he noted high electric usage that included at least four compressors at 1125 watts each, 2600 watts in lighting, two table saws at 1800 and 2280 watts, as well as several hand power tools.  FOF Nos. 22-26.

On January 3, 2012, two PECO meter technicians met at the Complainant’s property to perform complete tests on his meter and transformers, and also observed significant construction activity.  PECO noted that transformers were at this service address because the standard meter could not alone read the large amount of electricity being used at the over 8,000 square foot property.  On this inspection, despite the meter and transformer being tested as accurate, PECO changed the meter and transformers.  After removal and replacement, the original meter and transformers were retested at PECO facilities and verified as accurate.  Then on January 17, 2012, PECO issued the Complainant an electric bill of $1,866.30 for 11,680 kWh used in the billing period December 11, 2011, to January 12, 2012.  On this same date, PECO gas service was connected to the Complainant’s residence, which was still under construction.  On February 20, 2012, PECO issued the Complainant an electric bill of $847.01 for 5,280 kWh of usage for the billing period of January 12, 2012, to February 13, 2012, and a gas bill of $561.02.  FOF Nos. 27-40.

The Complainant did not make any payments on his account after filing the informal complaint as he was told by PECO that he did not have to pay them while his complaint was pending.  FOF No. 13.  However, in April of 2012, the Complainant received a PECO shut-off notice.  After several telephone calls to PECO in regard to the shut-off notice, the Complainant paid his $7,700.87 balance in full.  FOF Nos. 41-44.

Initial Decision

In her Initial Decision, ALJ Heep explained that the burden of proof for “high bill” complaints has been explained in Waldron v. Philadelphia Electric Company 54 Pa. P.U.C. 9 (1980), and its progeny.  The ALJ noted that based on her review of the circumstances and relevant facts, it appears that the Complainant’s bills were correct.  I.D. at 12.  The ALJ found that the high meter readings of the first permanent meter were accurate and were high due to the construction activities which required a great amount of electric power.  As a result, she found in favor of PECO with regard to the high bills and faulty meter claims of the Complainant.  Id. at 14.

With regard to the poor service claims of the Complainant, the ALJ stated that the record reflects that the Complainant was required to go through more machinations than necessary in order to obtain information about and assistance regarding his service and bills.  According to the ALJ, a customer contacting a public utility should not have to file a complaint to receive information about the rates.  Additionally, the ALJ stated that it does not appear reasonable that a customer of a public utility should have to call several times, be placed on hold for hours over several telephone calls or have to speak with five or more people who then cannot provide information that is in the Company records.  Therefore, the ALJ found that the Complainant had established a prima facie case of inadequate service by PECO.  The ALJ also stated that PECO offered no refutation of the Complainant’s inadequate service claim other than that the Complainant was provided with some information the Friday before the Monday hearing.  The ALJ stated that, in this instance, PECO was remiss in its duties and that the Complainant was not provided reasonable and adequate service, a violation of Section 1501 of the Code.  Id. at 15.

Next, the ALJ noted that in light of PECO’s violation of Section 1501, a fine may be appropriate.  As a result, the ALJ presented an analysis of the Commission’s  Policy Statement at 52 Pa. Code § 69.1201, which sets forth ten factors that the Commission may consider in evaluating whether a civil penalty for violating a Commission order, regulation or statute is appropriate.  Based upon her analysis, the ALJ concluded that the facts and circumstances present in the instant proceeding did not support the issuance of a high civil penalty amount.  The ALJ found that a civil penalty of $450 appeared appropriate, noting that this amount was based on a total of twenty-four hours of effort by the Complainant converted to three eight-hour days at $150 per day.  Id. at 16-19.

Exceptions

Before addressing the Exceptions, we note that any issue or Exception that we do not specifically delineate shall be deemed to have been duly considered and denied without further discussion.  The Commission is not required to consider expressly or at length each contention or argument raised by the parties.  Consolidated Rail Corp. v. Pa. PUC, 625 A.2d 741 (Pa. Cmwlth. 1993); also see, generally, University of Pennsylvania v. Pa. PUC, 485 A.2d 1217 (Pa. Cmwlth. 1984).

In its Exceptions, PECO states that the ALJ incorrectly recommended a violation against PECO for providing inadequate service for the manner in which PECO responded to the Complainant’s high bill complaint and improperly recommended a civil penalty against PECO.  First, PECO criticizes the ALJ’s findings and decision as they rely on the allegations within the Complainant’s Complaint as opposed to his own testimony.  According to PECO, the ALJ did not consider the Complainant’s testimony that he had received information from PECO employees and that many of the allegations he raised in his Complaint had been satisfied.  PECO avers that the information in the chart that the Complainant included in his Complaint was provided by a PECO associate, and this illustrates that PECO was working diligently with him and providing him with the information he requested.  Exc. at 6 (citing Tr. at 12).  Therefore, PECO argues that the ALJ’s statement that the Company failed to provide the Complainant information until the Friday before the hearing is clearly erroneous as this information was provided by PECO in advance of the Complainant filing his Complaint.  Exc. at 5-7.

Next, PECO avers that in relation to the Complainant’s concern over his billing multiplier, the Complainant admitted on cross-examination that he had received adequate information on this multiplier and understood how it worked.  Id. at 7 (citing Tr. at 18-19).  PECO maintains that the Complainant’s own testimony refutes the ALJ’s finding because he admitted that he received a satisfactory explanation to his billing multiplier issue before he filed the Complaint.  In regard to the Complainant’s concern whether he was entitled to a geothermal rate, PECO avers that the Complainant testified that he was told by PECO employees that such a special rate did not exist.  (See Tr. at 22-23).  PECO explains that the Complainant was advised by the Company that no geothermal heating rate existed and that it had told him of such when he filed the informal complaint.  In fact, PECO notes that the BCS decision at PECO Exhibit 9 specifically stated that PECO had confirmed there was no special discounted rate.  Also, PECO avers that one of its witnesses testified that Mr. Oliver had this information available to him through a billing insert PECO provided to him and all of its customers in January of 2012.  Exc. at 7-9.

Next, PECO avers that the record indicates that the Company had several telephone conversations with the Complainant in an attempt to satisfy him with regard to his inquiries and concerns.  PECO cites the Complainant’s own testimony wherein he admitted that he had several conversations with the PECO witness who was assigned to handle his informal complaint and formal Complaint in an attempt to address his concerns.  (See Tr. at 45).  In addition, PECO claims the record reflects that prior to filing his Complaint, the Complainant had several telephone conversations with two of PECO’s high bill field technicians, whom Mr. Oliver admitted were helpful to him and gave him the “most information.”  (See Tr. at 90).  PECO maintains that the fact that the Complainant did not like the explanations he received, or that he did not agree with the information he was being told from PECO’s representatives does not mean that PECO provided him inadequate service or somehow lacked diligence in addressing his concerns.  Exc. at 9-11.

Next, PECO states that the ALJ incorrectly concluded that the information sought by the Complainant was “...at the fingertips and under the control of PECO employees…and easily assessable to them.”  PECO avers that there is no evidence in the record to support the ALJ’s conclusion.  According to PECO, high bill investigations and account billing disputes can take an extended period of time to resolve for a variety of reasons that are not necessarily due to the action or inaction of the utility.  PECO claims that, in this case, the information requested by the Complainant was complex and not easily assessable as he was in the process of having an 8,500 square foot residence built. PECO opines that the meter multiplier that was applied to the Complainant’s account is not typical and is not information that a customer service representative has readily available as most customers do not live in properties of this size.  PECO claims that meter multipliers are based on the size of a property and the fact that the Complainant was referred to another representative who could answer his inquiry shows due diligence and good faith on PECO’s behalf.  Exc. at 14-15.

Furthermore, PECO avers that the record demonstrates that the issues Mr. Oliver raised were complex enough to warrant two high bill field technicians to investigate his inquiries and concerns.  According to PECO, this fact does not show inattention and negligence by PECO, but shows that the Company made every good faith effort to address his concerns.  As a result, PECO opines that it does not deserve a fine against it for inadequate service.  According to PECO, the evidence is not present in this case to determine that the Company has acted unreasonably in the conduct of this investigation or the handling of this dispute.  PECO states that while the Complainant may not be satisfied with the results of the Company’s investigation or the explanations he was given, this alone is not sufficient grounds for finding that PECO committed a violation or that a civil penalty be imposed.  Exc. at 15-16.

Disposition

We note that the Complainant did not file Exceptions with regard to the ALJ’s Waldron analysis in response to the high bill portion of his Complaint.  Finding the ALJ’s analysis reasonable and consistent with the record, we shall adopt this portion of the ALJ’s decision.

Based upon our review of the record of this proceeding and consideration of the Exceptions filed by the Company, we are persuaded by PECO’s arguments that their actions in handling the Complainant’s inquiries do not rise to a finding of inadequate service as concluded by the ALJ.  We find that PECO has submitted sufficient evidence that multiple Company representatives were involved in the investigation of the Complainant’s concerns as his situation was not a typical residential high-bill complaint.  The Complainant was undergoing construction of a new 8,500 square foot residence with a geothermal heating system, which required the utilization of a temporary construction account as well as the utilization of a billing multiplier due to the size of the property.

Under these unique circumstances, we conclude that PECO’s actions were reasonable and that it was able to adequately explain and resolve several of the Complainant’s concerns during the course of this proceeding.  The fact that the Complainant was not satisfied with the Company’s answers and filed a Formal Complaint does not mean that the Company provided unreasonable service.  Therefore, we shall grant PECO’s Exceptions and modify the ALJ’s Initial Decision.

Conclusion

Based upon the foregoing discussion, we shall grant PECO’s Exceptions and modify the Initial Decision, consistent with this Opinion and Order; THEREFORE,

IT IS ORDERED:

1.	That the Exceptions of PECO Energy Company filed on February 20, 2013, are granted, consistent with this Opinion and Order.

2.	That the Initial Decision of Administrative Law Judge Darlene R. Davis Heep issued on February 14, 2013, is modified, consistent with this Opinion and Order.

3.	That the Formal Complaint of David Oliver against PECO Energy Company at Docket No. F-2012-2305431 is denied.

4.	That this proceeding be marked closed.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  August 29, 2013

ORDER ENTERED: August 29, 2013

Review of the Exceptions revealed that PECO may have served its Exceptions to the Complainant at an incorrect mailing address.  Therefore, on July 31, 2013, the Commission issued a Secretarial Letter serving PECO’s Exceptions to Mr. Oliver by certified mail to both addresses he provided during the course of this proceeding.  The Complainant was provided ten days to file a response to PECO’s Exceptions.