	[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION




	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


October 22, 2014
A-2014-2445290
AECOM

NORFOLK SOUTHERN CORPORATION

1700 MARKET STREET SUITE 1600

PHILADELPHIA  PA  19103
In re: 
Application of PPL Electric Utilities Corporation for approval of the alteration of the crossing 517704R by the installation of one(1) 50' class 1 pole and 12.4Kv overhead conductors where North West Street crosses at grade the track of the Norfolk Southern Corporation in the Borough of Carlisle in Cumberland County.
To Whom It May Concern:


The above-captioned application was filed on September 25, 2014 with the Commission requesting approval to replace a 50’ class 1 utility pole with a new pole in the southwestern quadrant of the overlap of the Public and Railroad Right of Ways.  The proposed work includes replacing the 50’ class 1 pole and removing and reattaching the associated hardware including a 12.4Kv through-line, three (3) 336 ACSR primary conductors, and one (1) 4/0 ACSR neutral conductor to the new pole along the west side of North West Street with one (1) 1/0 Al Triplex secondary cable and one (1) #2 Triplex service cable in the Borough of Carlisle, Cumberland County


It is requested that each party in interest review the application and notify the Commission by letter of any objection to the application before November 10, 2014.  If any objection to the application is not filed with the Commission by the above stated date, the Commission will approve the application permitting PPL Electric Utilities Corporation to install its facilities through the public crossing listed in this proceeding.









Very truly yours,

[image: image2.png]











Andrew Reed, P.E.
Rail Section
Bureau of Technical Utilities
Phone (717) 787-4510
Fax     (717) 772-1931

Email  andreed@.pa.gov
A-2014-2445290 -  v.

ADAM CUBBEDGE ENGINEER

CENTURYLINK

1201 WALNUT BOTTOM RD

CARLISLE PA  17015

MARK CHAPPELL PE CHIEF

PENNDOT

BUREAU OF DESIGN ROW & UTILITY DIVISION

PO BOX 3362

HARRISBURG PA  17105-3362

AHMED LASLOUDJI

PENNDOT

ENGINEERING DISTRICT 8-0

2140 HERR STREET

HARRISBURG PA  17103

PERRY HEATH

CARLISLE COUNCIL PRESIDENT

53 WEST SOUTH STREET

CARLISLE PA  17013

BARBARA CROSS

1 COURTHOUSE SQUARE

CARLISLE PA  17013

BOROUGH OF CARLISLE

53 W SOUTH ST

CARLISLE PA  17013

WILLIAM J CRESSLER CHIEF COUNSEL ESQUIRE

PENNDOT

OFFICE OF CHIEF COUNSEL

PO BOX 8212

HARRISBURG PA  17105-8212

AECOM

NORFOLK SOUTHERN CORPORATION

1700 MARKET STREET SUITE 1600

PHILADELPHIA  PA  19103

