|  | PENNSYLVANIA PUBLIC UTILITY COMMISSION Harrisburg, PA 17105-3265 |  |
| --- | --- | --- |

|  | Public Meeting held December 18, 2014 |
| --- | --- |
| Commissioners Present: |  |

| Robert F. Powelson, Chairman |  |
| --- | --- |
| John F. Coleman, Jr., Vice Chairman |  |
| James H. Cawley |  |
| Pamela A. Witmer |  |
| Gladys M. Brown |  |
| Petition of Johnstown Regional Energy, LLC for waiver of federal regulations involving intrastate pipelines and continued operation of segments of natural gas pipelines in Cambria and Somerset Counties, Pennsylvania | P-2014-2457138 |

ORDER

BY THE COMMISSION:

Before the Pennsylvania Public Utility Commission (Commission) for consideration is the Petition of Johnstown Regional Energy, LLC (JRE) for waiver of federal regulations involving intrastate pipelines.  By this Petition filed on November 20, 2014, JRE requests Commission waiver to allow the continued use of Fiberspar composite piping in Cambria and Somerset Counties to transport LFG to the existing interconnections with Peoples and EQT (collectively, Peoples) pipeline systems.  JRE acknowledges in its Petition that any waiver granted by the Commission will be conditional on the affirmance of the waiver by the Office of Pipeline Safety (OPS), U.S. Department of Transportation, Pipeline and Hazardous Materials Safety Administration (PHMSA).

No Answers to JRE’s Petition were filed.  In light of the facts asserted in JRE’s request, we will grant to Petition for Waiver under the terms and conditions of this Order and spelled out in Attachment J of the Petition.

BACKGROUND

Johnstown Regional Energy, LLC (JRE) is a pipeline operator registered with the Commission under the Gas and Hazardous Liquid Pipeline Act, 58 P.S. §§ 801.101 et. seq. (Act 127) at Docket No. A-2012-2293768.  JRE owns and operates three high Btu landfill gas-to-methane projects in Pennsylvania; it has operated since 2007 and has ten full-time employees in the Johnstown area.  According to its Petition, JRE extracts raw landfill gas, cleans it in advanced technology processing plants, and sells the gas into the pipelines of Peoples.  Processed LFG is transported by three separate pipelines, each operated by JRE, to Peoples’ pipeline system.

The combined mileage of these three JRE operated pipelines (Raeger, Shade, and Southern Alleghenies Pipelines) is approximately 14.5 miles.  Of that mileage, 8.8 miles consist of Fiberspar composite piping; the remaining mileage of the pipelines is steel segments.  JRE also states that there are no businesses or High Consequence Areas within the potential impact radius of these three pipelines.

In 2013, following a Commission inspection of JRE’s pipelines, it was determined that the classification of these pipelines needed to be changed from “Gathering” to “Transmission.”  This reclassification makes JRE’s request for waiver necessary for the Fiberspar segments of its pipelines because different PHMSA regulations apply to Transmission lines.  Initially, JRE sought a “special permit” from PHMSA to permit the continued use of the reclassified Fiberspar pipeline; however, PHMSA determined that the Commission must issue the waiver in the first instance because JRE’s pipelines are wholly intrastate.

Discussion

Minimum pipeline standards are established by the federal government under the U.S. Code of Federal Regulations (CFR), at 49 C.F.R. §§ 190-199 (re: Pipeline Safety).  On December 22, 2011, Governor Corbett signed Act 127, which became effective on February 20, 2012.  Act 127 mandates compliance with the “Federal pipeline safety laws,” and also extends jurisdiction to the Commission to implement and enforce certain federal standards set forth in Title 49 of the CFR.  58 P.S. §§ 801.302; 801.501.

The specific federal regulations that JRE seeks to have waived provide detailed criteria regarding the design and usage of plastic pipe.  See 49 C.F.R. § 192.  JRE contends that Fiberspar piping represents both a technological and economic alternative to conventional steel pipe.  Moreover, according to the Petition, Fiberspar piping does not corrode, offers improved flow hydraulics, requires a reduced number of joints, and offers a higher strength-to-weight ratio than steel pipe.  The Fiberspar segments of the pipelines are part of completed and existing projects that have operated effectively for seven years; no new or additional construction would be required by granting JRE’s request for waiver.

Waivers of the federal standards by a State agency are permitted under the following circumstances:  (1) when it is not practical for an operator to comply with a regulation of general applicability; and (2) when the State agency finds that the granting

of such a waiver is not inconsistent with pipeline safety and is justified.  The Commission’s Gas Safety Division concluded that the operation of Fiberspar pipelines between the LFG Facilities and Peoples pipelines requires a waiver of non-steel pipeline regulations and also determined that the Fiberspar segments of JRE’s pipelines could remain in service until the request for waiver was decided.

State agencies are required to notify PHMSA in writing by registered or certified mail of each waiver the state grants and to provide the following information:  (1) the name, address, and telephone number of the applicant (here, Johnstown Regional Energy); (2) the safety regulation involved (here, 49 C.F.R. § 192); (3) a description of the pipeline facilities involved; (4) the justification for approving the waiver; and (5) a copy of the State agency’s order or letter to the applicant.  As stated above, JRE understands that any request for waiver granted by the Commission would be subject to PHMSA affirmance as well as specific periodic testing and monitoring.  PHMSA may affirm the waiver explicitly, but also may condition a waiver on additional testing or other requirements, or may affirm the waiver by taking no action within sixty days of the entry of an agency’s order or letter.

A petition for waiver of a Commission regulation must set forth clearly and concisely the petitioner’s interest, the relevant legal authority, the purpose of the petition, and the facts claimed to constitute the grounds requiring waiver of the regulation.  52 Pa. Code § 5.43(a); see also 1 Pa. Code § 35.18.  The petitioner must serve copies of the petition on persons or parties the petitioner believes will be affected by the petition, the Commission, the Commission’s Bureau of Investigation and Enforcement (I&E), the Office of Consumer Advocate, and the Office of Small Business Advocate.  52 Pa. Code § 5.43(b).  Answers to petitions for waiver must be filed within 20 days of the date of service of the petition.  52 Pa. Code § 5.61(a)(1).  The Commission may grant a petition for waiver that is in the public interest under the Commission’s statutory authority to rescind or modify regulations or orders.  See 66 Pa. C.S. § 501(a).

As supporting documentation to satisfy PHMSA requirements and the Commission’s regulations regarding waivers, JRE submits with its Petition the following items:  (1) confidential and proprietary maps with the locations of its pipelines to demonstrate that no Fiberspar segments are located in areas considered to have significant potential for increasing to a higher classification; (2) the original letter submitted by JRE to the Commission’s Gas Safety Division which contains additional details about the location, material, thickness, diameter and operating pressure for each segment of Fiberspar pipeline; (3) a table on maximum operating pressures; (4) a letter to JRE from PHMSA which determined that, as a wholly intrastate pipeline, waiver had to be issued in the first instance by the Commission; (5) a letter to JRE from the Commission’s Gas Safety Division stating that a waiver was required for the Fiberspar segments of JRE’s pipelines and that its pipelines could remain in service until the request for waiver was decided; (6) a sheet concluding that the requested waiver would not increase environmental impacts and sharing operating procedures in place to promote safety; (7) a proposed testing/analysis protocol as a basis to evaluate and confirm safe operations of JRE’s pipelines; (8) the certification of William E. Roach, P.E. and president of Roach and Associates, Inc., that operation of JRE’s pipelines under the waiver not be inconsistent with pipeline safety; (9) technical specifications for Fiberspar piping; and (10) JRE’s proposed limitations and conditions for continued operations of Fiberspar piping, which includes a concession that the Commission reserves the right to terminate the waiver if JRE does not comply with any identified requirements.

Additionally, JRE states that granting the requested waiver would be consistent with PHMSA past practice.  The OPS has issued a waiver for use of Fiberspar in regulated operations for operations in New York (Docket No. RSPA-04-18757) and Alaska (Docket No. PHMSA-2010-0063).  Columbia Gas (Columbia) also had a petition for waiver from compliance granted by OPS to install fiberglass reinforced polyethylene pipe in its high pressure natural gas storage field operations.  Similar to the instant Petition, Columbia sought to have several provisions of 49 C.F.R. § 192 waived.  JRE also notes that an application is currently under evaluation by OPS wherein Fiberspar LinePipe, LLC, is seeking to revise 49 C.F.R. § 192.121 to allow the use of thermoset composite pipe.

Disposition

As required by 52 Pa. Code § 5.43, JRE set forth the purpose of the Petition, cited the relevant legal authority, and properly served the Petition on I&E and the statutory advocates.  No answers to the Petition were filed.

We find that granting JRE’s Petition for Waiver under the terms and conditions of this Order, and in consultation with Attachment J to the Petition, is in the public interest.  JRE’s Fiberspar pipeline segments have proven reliable and have operated for seven years without leaks or safety issues arising.  These pipelines do not require new or additional construction because they are part of completed and existing projects.  JRE states that it would be economically impractical for JRE to comply with federal regulations and similar waivers have been granted because Fiberspar represents a viable alternative to conventional steel pipe.  As evidenced by JRE’s Petition, the waiver has reasonable conditions and limitations and the use of Fiberspar piping will have equal or greater safety than steel piping; THEREFORE,

IT IS ORDERED:

1.	That the Petition of Johnstown Regional Energy, LLC for Waiver of 49 C.F.R. § 192, is granted under the terms of this Order, conditioned on affirmance by Office of Pipeline Safety, U.S. Department of Transportation, Pipeline and Hazardous Materials Safety Administration.

2.	That Attachment J to the Petition be adopted and appended to this Order as a term and condition of waiver.

3.	That this Order granting waiver be sent, by registered or certified mail, to the Pipeline and Hazardous Materials Safety Administration in accordance with 49 U.S.C. § 60118.

4.	That waiver is limited to the Raeger, Shade, and Southern Alleghenies Pipelines in Cambria and Somerset Counties until the Fiberspar pipeline segments are retired or until the Commission exercises its authority under 66 Pa. C.S. § 501.

5.	That a copy of this Order be served on the Office of Consumer Advocate, the Office of Small Business Advocate, and the Commission’s Bureau of Investigation and Enforcement.

BY THE COMMISSION

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  December 18, 2014

ORDER ENTERED:  December 18, 2014

# Footnotes

The “Federal pipeline safety laws” are as follows:  (1) those provisions of 49 U.S.C. Ch. 601 (relating to safety; (2) the Hazardous Liquid Pipeline Safety Act of 1979; (3) the Pipeline Safety Improvement Act of 2002; and (4) the regulations promulgated under the acts.  See 58 P.S. § 801.102

See In re:  Application of Renewco-Meadow Branch, Llc For a Special Permit to Install Glass Reinforced Expoxy (Gre) Thermoset Pipe, Tennessee Regulatory Utility Commission Docket No. 10-00195, Order Approving Request for Waiver dated January 13, 2011; 2011 Tenn. PUC LEXIS 5, citing, Pipeline Hazardous Materials Safety Administration, Guidelines for States Participating in the Pipeline Safety Program, Chapter 3, Revised December 2007.