	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held January 15, 2015

	Commissioners Present:
	


	Robert F. Powelson, Chairman
	

	John F. Coleman, Jr., Vice Chairman
	

	James H. Cawley

Pamela A. Witmer
	

	Gladys M. Brown
	

	
	


	Letter of Notification of Pennsylvania Electric Company, filed pursuant to 52 Pa. Code §57.72 Chapter 57 Subchapter G with respect to the Relocation of Approximately 1.6 Miles of Double-Circuit 138 kV Transmission Line in Potter and Center Townships, Beaver County, Pennsylvania 
	Docket Number:

A-2014-2451433 


ORDER

BY THE COMMISSION:

On October 31, 2014, Duquesne Light Company (Duquesne), Utility Code 110150,  filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(l)(iii) and (vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 
(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Beaver County Commissioners, Beaver County Planning Commission, Potter Township Supervisors,  Potter Township Planning Commission, Center Township Supervisors, Center Township Planning Commission, and others.  No protests were filed.  No hearings were held.

Duquesne proposes to relocate approximately 1.6 miles of existing 138 kV double circuit transmission line in Potter and Center Townships, Beaver County, Pennsylvania.  The proposed project is needed to accommodate the construction of a proposed new industrial plant by relocating the existing transmission lines to the perimeter of the proposed plant site.  Duquesne provides that the construction of the proposed new industrial plant cannot be completed until after the existing transmission lines have been relocated.  
Shell Chemical Appalachia LLC (Shell) is evaluating the feasibility of constructing a new petrochemical complex plant in Duquesne’s service territory.  The site is traversed by Duquesne’s double circuit Valley-Raccoon 138 kV Transmission Lines and several other circuits that are less than 100 kV.  The relocation project will be constructed entirely within the proposed Shell property.  The relocated lines will connect the proposed plant with the electric grid.  The project will require approximately 26 poles ranging in height from 80 to 180 feet, with an average height of 120 feet.  One section of the existing Valley-Raccoon 138 kV Transmission Line will be transitioned from an overhead facility to an underground facility for approximately 4,950 feet.  The underground segment will be located entirely within the right of way owned by Shell.   Duquesne asserts that the project will be built entirely within the applicant’s existing right of way and the property of the customer to be served and the project will be under two miles in length for the purposes of Section 57.72(d)(1)(iii) and (vi) of the Commission’s regulations that allow a LON in lieu of a full siting application.  
Duquesne maintains that design, construction and operation of the proposed project will meet or exceed the requirements specified in the latest revision of the National Electric Safety Code (NESC) and all applicable safety standards established by the Occupational Safety and Health Administration (OSHA).  All work shall be done in accordance with NESC, OSHA and any applicable local, state or federal requirements.

The project falls within the parameters for filing a LON in lieu of a full Siting Application under 52 Pa. Code 57.72(d)(1)(iii) and (vi), which provide that a LON may be filed for: (iii) An HV line which is proposed to be located entirely within applicant’s existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way and (vi) An HV line having a proposed route of 2 miles or less.
Duquesne states that the total estimated cost for the proposed project is approximately $40.7 million and all project costs will be paid for by Shell.  Construction of the project is proposed to start January 2015, with an in-service date of December 2015. 
The formal Duquesne Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(iii) and (vi) because the proposed relocation of the Valley-Raccoon 138 kV Transmission Line Project is located solely on the property to be owned by Shell and is less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the Duquesne Light Company regarding the Relocation of Approximately 1.6 Miles of Double-Circuit 138 kV Transmission Line in Potter and Center Townships, Beaver County, Pennsylvania is hereby approved.  
2. That this proceeding at Docket No. A-2014-2451433 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: January 15, 2015
ORDER ENTERED: January 15, 2015
5

