|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION P.O. BOX 3265, HARRISBURG, PA 17105-3265 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

March 10, 2015

A-2015-2461902

TO ALL PARTIES

Application of Duquesne Light Company for approval of the alteration of the crossing (DOT No. 584 673A) by the installation of 60' poles and 1-1/0 aluminum covered solid Multi-Ground Common Neutral ("MGCN") between new poles where Center Street crosses, at grade, the two (2) tracks of CSX Transportation Inc. and one (1) track of Union Railroad Company located in the City of McKeesport, Allegheny County.

To Whom It May Concern:

By application filed with the Commission on January 9, 2015 and amended February 11, 2015 Duquesne Light Company seeks Commission approval to alter the at-grade crossing by the replacement of two (2) fifty-foot (50’) poles with two (2) sixty-foot (60’) poles and the installation 1-1/0 aluminum covered solid Multi-Ground Common Neutral ("MGCN") between the new poles where Center Street crosses, at grade, the two (2) tracks of CSX Transportation Inc. and one (1) track of Union Railroad Company located in the City of McKeesport, Allegheny County.

A minimum vertical clearance of 39.46’ will be provided from the top of rail to the new MGCN wire.

The Commission hereby establishes its jurisdictional limits at the subject crossing as the area within the confines of the railroad right-of-way and the highway right-of-way.

In its application, Duquesne Light Company states that the proposed installation is necessary to connect the Duquesne Light Company McKeesport Service Center with the distribution feed.  Duquesne Light Company will be directed to perform the necessary installation, provide for maintenance and protection of highway and pedestrian traffic during installation and accept future maintenance responsibility for the new aerial facilities, at its sole cost and expense.  The estimated cost for the installation is $10,000.00.

All work is to be performed in accordance with the plan entitled: “23KV CROSSING OVER C.S.X.TRANS. & UNION RR @VAL STA.676+00 (P.&L.E.) & 7136+75 (B.&O.),” consisting of one sheet attached to the subject amended application.

Duquesne Light Company has served a copy of the application and amended application and installation plan on City of McKeesport, CSX Transportation Inc., Union Railroad, Allegheny County and Pennsylvania Department of Transportation.  All parties in interest were queried by letters dated January 29, 2015 as to any objection to the subject application.  None of the parties have responded with any objection to the subject application.

Upon full consideration of the matters involved, we find that a hearing is not necessary and that a Secretarial Letter may be issued approving the application.

The Commission issues this Secretarial Letter in accordance with Section 2702 of the Public Utility Code and finds that the alteration of the crossing is necessary and proper for the service, accommodation, convenience or safety of the public.

The application of Duquesne Light Company is approved as herein directed:

- The crossing where Center Street crosses, at grade, the two (2) tracks of CSX Transportation Inc. and one (1) track of Union Railroad Company located in the City of McKeesport, Allegheny County be altered generally in accordance with the installation plan entitled: “23KV CROSSING OVER C.S.X.TRANS. & UNION RR @VAL STA.676+00 (P.&L.E.) & 7136+75 (B.&O.)” consisting of one (1) sheet filed with the Commission on February 11, 2015; which plan is made part hereof and is hereby approved except insofar as they may relate to the division of work, deletion of work, or the allocation of costs and expenses incident to the installation of the project.

- Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary to alter the crossing by the replacement of two (2) fifty-foot (50’) poles with two (2) sixty-foot (60’) poles and installation of 1-1/0 aluminum covered solid Multi-Ground Common Neutral ("MGCN") between the new poles within the right-of-way of the highway where Center Street crosses, at grade, the two (2) tracks of CSX Transportation Inc. and one (1) track of Union Railroad Company, all in accordance with the approved plan and this Secretarial Letter.

- Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary to establish and maintain any detours or traffic controls that may be required to properly and safely accommodate highway and pedestrian traffic during the time the crossing is being altered.

- Any relocation of, changes in and/or removal of any adjacent structures, equipment or other facilities of any non-carrier public utility, other than Duquesne Light Company, which may be required as incidental to the alteration of the crossing, be made by said public utility at its initial cost, and in such a manner as will not interfere with the alteration of the crossing; and such relocated or altered facilities thereafter be maintained by said public utility, at its sole cost and expense.

- CSX Transportation Inc., at the sole cost and expense of Duquesne Light Company, furnish all material and perform all work relating to its facilities which may be required as incidental to the performance of the proposed work and furnish any watchmen, flagmen, inspectors and/or engineering services that may be deemed necessary to protect the railroad’s operations or facilities during the time the facilities are being installed.

- Union Railroad Company, at the sole cost and expense of Duquesne Light Company, furnish all material and perform all work relating to its facilities which may be required as incidental to the performance of the proposed work and furnish any watchmen, flagmen, inspectors and/or engineering services that may be deemed necessary to protect the railroad’s operations or facilities during the time the facilities are being installed.

- Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary to complete the remainder of the project, and any other ancillary features of the project, generally in accordance with the approved plan and this Secretarial Letter.

- The alteration of the crossing be completed on or before March 31, 2016, and that on or before said date Duquesne Light Company, report in writing the date of actual completion of the work to this Commission and certify to the parties of record and this Commission that the work has been satisfactorily completed in accordance with the approved plans and this Secretarial Letter.

- Duquesne Light Company, at its sole cost and expense, pay all compensation for damages, if any, due to owners of property taken, injured or destroyed by reason of the alteration of the crossing in accordance with this Secretarial Letter.

- All parties involved herein cooperate fully with each other so that during the time the work is being performed, vehicular, pedestrian and railroad traffic will not be endangered or unnecessarily inconvenienced, and so that the requirements of each of the parties will be provided for and accommodated insofar as possible.

- Duquesne Light Company, cooperate with the non-carrier utilities involved, so that during the alteration of the involved crossing, the facilities of the non-carrier utilities will not be endangered or unnecessarily interrupted.

- Duquesne Light Company, at least seven (7) days prior to the start of work, notify all parties in interest of the actual date on which work will begin.

- Upon completion of the alteration of the crossing, Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary thereafter to maintain the new aerial facilities and any ancillary facilities installed in accordance with the approved plan and this Secretarial Letter.

- Upon completion of the alteration of the crossing, CSX Transportation, Inc., at its sole cost and expense, furnish all material and perform all work necessary to maintain its railroad facilities at the subject crossing, including the warning devices and all appurtenant equipment; and to maintain at all times in a smooth and satisfactory condition the high-type crossing surface, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

- Upon completion of the alteration of the crossing, Union Railroad Company, at its sole cost and expense, furnish all material and perform all work necessary to maintain its railroad facilities at the subject crossing, including the warning devices and all appurtenant equipment; and to maintain at all times in a smooth and satisfactory condition the high-type crossing surface, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

- Upon completion of the alteration of the crossing, City of McKeesport, at its sole cost and expense, furnish all material and perform all work necessary to maintain its highway approaches to the subject crossing up to the high-type crossing surfaces in a safe and satisfactory condition and in addition, maintain the grade crossing advance warning signs, pavement markings and stop lines, if required, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

- Upon completion of the work herein directed, and upon written request from any party of record, this proceeding be scheduled for a hearing at a time and place to be determined by the Commission, for the purpose of taking testimony upon the final allocation of any remaining costs incurred by the non-carrier utility companies and other matters relevant to this proceeding.

The Parties are reminded that failure to comply with this or any Order or Secretarial Letter in this proceeding may result in an enforcement action seeking civil penalties and/or other sanctions pursuant to 66 Pa. C.S. §3301.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within twenty (20) days of the date of this letter.

Very truly yours,

# Rosemary Chiavetta

Secretary