|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION P.O. BOX 3265, HARRISBURG, PA 17105-3265 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

April 23, 2015

M-2015-2473629

JOHN L. CARLEY

ASSISTANT GENERAL COUNSEL

PIKE COUNTY LIGHT AND POWER COMPANY

4 IRVING PLACE

NEW YORK, NY 10003-0987

Re:	Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  	Outage for Reliability Reporting Purposes.

Dear Mr. Carley:

On March 24, 2015, Pike County Light and Power Company (Pike) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M-00991220.

The instant request avers that a rainy and windy storm caused a fault on the electric circuit that locked open an automatic recloser as designed.  Even though the exact location of the fault could not be located, there was circumstantial evidence concluding the outage was attributed to a temporary condition that initiated a phase to phase fault. The outage caused sustained service interruptions to 1,249 customers out of a total of 4,529 customers served.  Pike states the event caused service interruptions from January 3, 2015 at 21:49 hours until January 3, 2015 at 23:59 hours.

Upon review of the company’s filing, it appears that the service interruptions described by Pike qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).

In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.

If you are dissatisfied with the resolution of this matter, you may appeal this decision, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

Sincerely,

# Rosemary Chiavetta										Secretary

# Cc	Daniel Searfoorce, TUS

# Darren Gill, TUS

# Dennis Hosler, Audits

# Kathleen Aunkst, Secretary’s Bureau