	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held June 11, 2015

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	John F. Coleman, Jr., Vice Chairman
	

	James H. Cawley

Pamela A. Witmer
	

	Robert F. Powelson
	

	
	


	Letter of Notification of Duquesne Light Company, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for the Approval to Increase the Operating Voltage of an Existing Circuit from 138 kV to 345 kV, and to Add a Second 138 kV Circuit to Existing Tower Structures in the City of Pittsburgh and Baldwin Borough, Allegheny County,  Pennsylvania 
	Docket Number:

A-2015-2476699


ORDER

BY THE COMMISSION:

On April 14, 2015, Duquesne Light Company (Duquesne), Utility Code 110150, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(l)(i), (iv) and (vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Allegheny County Commissioners, Office of the Mayor of Pittsburgh, City of Pittsburgh, Southwestern Planning Commission, Baldwin Borough Supervisors,  Baldwin Borough Planning Commission, and others.  No protests were filed.  No hearings were held.

Duquesne proposes to increase the operating voltage of an existing circuit from 138 kV to 345 kV, and to add a second 138 kV circuit to existing tower structures in the City of Pittsburgh and Baldwin Borough, Allegheny County.    The work being done under this LON, is part of a larger baseline reliability project identified in PJM’s 2007 and 2011 Regional Transmission Expansion Plans (RTEP) as baseline project ID No. b0502, which resolves potential reliability violations on Duquesne’s 138 kV and 345 kV underground cables in the Pittsburgh area.  This LON involves the overhead transmission line work on a portion of the b0502 Project.  
Duquesne proposes to do the following:

1. Establish a 345 kV transmission line between the Tecumseh and Carson Substations by increasing the operating voltage from 138 kV to 345 kV on the existing Z-71 circuit.  This upgraded circuit becomes the Brunot Island – Carson (302) 345 kV circuit.  Two new structures, 0.14 miles of new transmission line and the increase in voltage of approximately 1.75 miles of existing transmission line will be required.  
2. Replace the previous Z-71 138 kV circuit from the Dravosburg Substation to Carson Substation by adding a new circuit to the existing structures of the Z-88 kV transmission line.  Upon completion, this new line will be known as the Z-71 138 kV circuit.  Two structures will be replaced and four new structures will be required for the installation of approximately 1.51 miles of new 138 kV transmission line.
Duquesne avers that the existing rights-of-way and easement for the proposed 138 kV and 345 kV transmission lines over the affected properties provides  the property rights necessary to increase the operating voltage of the existing circuit from 138 kV to 345 kV and to add a second 138 kV circuit to existing tower structures without the need for additional right-of-way.  

Duquesne asserts that the project will not substantially alter the existing right-of-way for the purposes of Sections 57.72(d)(1)(i) and (iv) of the Commission’s regulations that allow a LON in lieu of a full siting application.  Duquesne also provides that the new transmission line to be added is less than 2 miles for the purposes of Section 57.72(d)(1)(vi).  
Duquesne maintains that design, construction and operation of the proposed project will meet or exceed the requirements specified by the National Electric Safety Code (NESC) and all applicable legal requirements.   

Duquesne states that the total estimated cost for the proposed project is approximately $1.1 million, and will be paid for by Duquesne.  Construction of the project is proposed to start after receiving Commission approval in order to meet an in-service date of March 2016. 
The formal Duquesne Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(i), (iv) and (vi) because the proposed voltage increase of an existing transmission line, and the addition of a new circuit to an existing 138 kV Transmission Line, does not significantly alter the right-of-way, and the addition of the new transmission is less than 2.0 miles.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the Duquesne Light Company for the approval to increase the operating voltage of an existing circuit from 138 kV to 345 kV, and to add a second 138 kV circuit to existing tower structures in the City of Pittsburgh and Baldwin Borough, Allegheny County,  Pennsylvania, is hereby approved.  
2. That this proceeding at Docket No. A-2015-2476699 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: June 11, 2015
ORDER ENTERED: June 11, 2015
5

