PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


              Public Meeting held July 8, 2015
Commissioners Present:

Gladys M. Brown, Chairman
John F. Coleman, Jr. Vice Chairman 
James H. Cawley 
Pamela A. Witmer

Robert F. Powelson

Letter of Notification of PPL Electric

Utilities Corporation, Filed Pursuant to 
52 Pa. Code Chapter 57 Subchapter G, For
Approval of Two New 225-Foot Single-                                        A-2015- 2479924 Circuit 230 kV Transmission Lines and 
One New 830-Foot Single-Circuit Line 
In Sugarloaf Township, Luzerne County, 
Pennsylvania
ORDER

BY THE COMMISSION:

On April 29, 2015, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification ("LON") pursuant to Chapter 57, Subchapter G of the Commission's regulations at 52 Pa. Code §§57.72(d)(1)(vi), governing the siting and construction of high voltage transmission lines.  Section 57.72 in general authorizes the abbreviated "Letter of Notification" siting application process in lieu of an application for the following:
(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the right-of-way.

(ii) An HV line which is proposed to be located entirely within a public road.
(iii)  An HV line which is proposed to be located entirely within applicants’ existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present levels, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(v)  An HV which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.  

(vi)    An HV line having a proposed route of 2 miles or less.
Copies of the LON were served in accordance with Section 57.72(d) (3) and 57.74 (b), (c) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Luzerne County Council, Luzerne County Planning Commission, Sugarloaf Township Board of Supervisors, Sugarloaf Township Planning Commission, and other interested parties as listed in the Certificate of Service.  No protest was filed.  No hearing was held.   
PPL Electric requests Commission approval to construct two new single-circuit 230 kV transmission line segments necessary to interconnect the proposed Buck Mountain Wind Generation Plant ("Wind Farm") to be constructed by Buck Mountain Wind Energy LLC (“Buck Energy”), an independent power producer.  The Wind Farm will be interconnected to the PPL Electric transmission system by constructing three segments of new transmission lines in Sugarloaf Township, Luzerne County, Pennsylvania (the “Project”).  

PPL Electric explains that Buck Energy is proposing to build a Wind Farm in Beaver Township, Columbia County, and North Union Township, Schuylkill County. The Wind Farm, consisting of up to 34 new wind turbines will produce up to 100 MW of clean, renewable energy.  PPL avers this is enough clean, renewable energy to supply approximately 100,000 homes. 
Buck Energy applied for and received PJM approval to interconnect with PPL Electric’s transmission system.  Through the PJM interconnection process, PJM and PPL Electric determined that the interconnection will require a new 230 kV switchyard that will tie into the existing Susquehanna-Harwood #2 230 kV Transmission Line. The point of interconnection will occur at a new Buck Mountain 230-34.5 kV Substation, which will be owned by Buck Energy.  The Buck Mountain 230-34.5 kV Substation will be interconnected to the Sugarloaf 230 kV Switchyard through a 230 kV transmission line.  These connections will comprise the three segments of the Project. 
PPL Electric states that the first of the three segments will require the construction of two new single-circuit 230 kV transmission lines, each of which will extend approximately 225 feet between the existing Susquehanna-Harwood #2 230 kV Transmission Line in Sugarloaf Township, and a new Sugarloaf 230 kV Switchyard.  This segment will be constructed, owned, operated and maintained by PPL Electric.  PPL Electric states that the existing Susquehanna - Harwood #2 230 kV Transmission Line currently is supported on double-circuit lattice towers, and in order to interconnect the existing Susquehanna -Harwood #2 230 kV Transmission Line with the Sugarloaf 230 kV Switchyard, two of the existing towers will be removed and replaced with two double-circuit, weathering steel monopoles.  Both the 230 kV steel monopoles will be approximately 130 feet in height.  And both structures will be self-supported on concrete caisson foundations.  Each new 230 kV circuit will utilize three power conductors, and one steel overhead ground wire for lightning protection.  Buck Energy will construct the Sugarloaf 230 kV Switchyard and upon completion and receipt of all necessary approvals and permits, the Sugarloaf 230 kV Switchyard will be owned and operated by PPL Electric.

The second segment will require the construction of one new single-circuit 230 kV transmission line that will extend approximately 830 feet between the Sugarloaf 230 kV Switchyard and a new Buck Mountain 230-34.5 kV Substation.  The second segment will be constructed by Buck Energy, but will be owned and operated by PPL Electric upon completion.  The second segment will be constructed with two, weathering steel monopoles.  Both the 230 kV monopoles will be approximately 130 feet in height, and both will be self-supported on concrete caisson foundations.  Each new 230 kV circuit will utilize three power conductors, and one steel overhead ground wire for lightning protection.
The third segment will require the construction of a new double-circuit 34.5 kV transmission line that will extend approximately 8 miles between the Buck Mountain 230-34.5 kV Substation and the Wind Farm.  The third segment, as well as the Buck Mountain 230-34.5 kV Substation, will be constructed, owned, operated, and maintained Buck Energy. 
PPL Electric herein is seeking Commission approval of the first and second segments of the Project, because upon completion, both of these segments will be owned and operated by PPL Electric.  PPL Electric is not requesting Commission approval of the third segment of the project, between the Buck Mountain 230-34.5 kV Substation and the Wind Farm, which will be constructed, owned, operated and maintained entirely by Buck Energy.


The first segment of the Project will be constructed entirely on lands owned by Buck Energy.  Buck Energy will transfer to PPL Electric the property in fee for the new Sugarloaf 230 kV Switchyard and the two new single-circuit 230 kV transmission lines in the first segment of the Project.  No additional rights-of-way are required for the first segment of the Project.  

The right-of-way for the second segment will be approximately 150 feet in width and 370 feet in length.  The remaining 460 feet of the second segment will be constructed within the property for the Sugarloaf 230 kV Switchyard.  The second segment will be constructed by Buck Energy within an easement on lands owned by Richard E. Angelo Family Limited Partner.  Upon completion of the Project, the right-of-way and easement necessary for the second segment will be transferred from Buck Energy to PPL Electric.


PPL Electric states that the proposed Project will not create any unreasonable risk of danger to the public health or safety.  The Project will be designed, constructed, operated, and maintained in a manner that meets or surpasses all applicable National Electrical Safely Code ("NESC") minimum standards and will meet all applicable legal requirements.  Further, PPL Electric states that land use impacts are anticipated to be minimal due to the fact that the PPL Electric segments of the Project will be constructed in the vicinity of the existing 230 kV transmission line and in an unpopulated area of the county. 
According to PPL Electric, the proposed Project was reviewed with representatives of Luzerne County and Sugarloaf Township.  These entities have not objected to the proposed Project.  Copies of this Letter of Notification was served on all owners of land subject to the right-of-way and easement in accordance with 52 Pa. Code §57.72(d)(3).

The total estimated cost of the first and second segments of the Project is approximately $3.0 million, which includes $1.9 million for the 230 kV transmission line work and $1.1 million for the switchyard work 
.  The entire cost of the Project will be paid for by Buck Energy. 
At the time PPL Electric filed its LON, construction was anticipated to begin in October/November of 2015 to support a scheduled in-service date of December 2016.  By a letter dated June 9, 2015, PPL Electric notified the Commission of a change in the construction start date and the in-service date, which is proposed to begin no later than the spring of 2019, to support the October 1, 2019, in-service date of the Wind Farm.
Upon review, the Commission finds that PPL Electric's LON and manner in which it was filed conform to the Commission's regulations of 52 Pa. Code 57.72(d)(1)(vi) because the proposed Project will be less than two miles. Further, land use impacts are anticipated to be minimal due to the fact that the PPL Electric segments of the Project will be constructed in the vicinity of the existing 230 kV transmission line and in an unpopulated area of the county.  Furthermore, the Commission has reviewed the filing and finds it to be consistent with applicable law or Commission policy regarding transmission line siting, and therefore to be in the public interest.

We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment and cost recovery; THEREFORE,
IT IS ORDERED:
1. That the Application filed by PPL Electric for the construction of two new 225-foot, single-circuit 230 kV transmission line and one new 830-foot, single-circuit line in Sugarloaf Township, Luzerne County, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket Nos. A-2015-2479924, be closed. 
[image: image1.png]


BY THE COMMISSION,
Rosemary Chiavetta
Secretary

(SEAL)

ORDER ADOPTED: July 8, 2015
ORDER ENTERED: July 8, 2015
� The estimated cost for the proposed Project is an order-of-magnitude estimate developed using averages of recent costs for similar projects and without an in-depth analysis of filed investigation. The estimated cost is subject to change as the constructability of the Project, sequence of construction, and other factors that may affect cost are identified and analyzed as the Project progresses.





PAGE  
7

