PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265


              Public Meeting held July 8, 2015
Commissioners Present:

Gladys M. Brown, Chairman
John F. Coleman, Jr. Vice Chairman 
James H. Cawley 
Pamela A. Witmer

Robert F. Powelson

Letter of Notification of PPL Electric

Utilities Corporation, Filed Pursuant to

52 Pa. Code Chapter 57 Subchapter G,                                                A-2015- 2479940

For Approval to Site and Relocate 
Approximately 0.15 Mile of Single-Circuit 
138 kV Transmission Line in the City of 
Hazleton, Luzerne County, Pennsylvania
ORDER

BY THE COMMISSION:

On April 29, 2015, PPL Electric Utilities Corporation (“PPL Electric”) filed a Letter of Notification ("LON") pursuant to Chapter 57, Subchapter G of the Commission's regulations at 52 Pa. Code §§57.72(d)(1)(vi), governing the siting and construction of high voltage transmission lines.  Section 57.72 in general authorizes the abbreviated "Letter of Notification" siting application process in lieu of an application for the following:
(i) An HV line which is proposed to be located entirely on an existing transmission line right-of-way, so long as the size, character, design, or configuration, of the proposed HV line does not substantially alter the right-of-way.

(ii) An HV line which is proposed to be located entirely within a public road.
(iii)  An HV line which is proposed to be located entirely within applicants’ existing transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present levels, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(v)  An HV which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.  

(vi)    An HV line having a proposed route of 2 miles or less.
Copies of the LON were served in accordance with Section 57.72(d) (3) and 57.74 (b), (c) on the PA Department of Transportation, PA Historical and Museum Commission, PA Department of Environmental Protection, Luzerne County Council, Luzerne County Planning Commission, City of Hazleton Planning Commission, and other interested parties as listed in the Certificate of Service.  No protest was filed.  No hearing was held.   
PPL Electric requests Commission approval to relocate approximately 0.15 mile of existing single-circuit 138 kV transmission line in the City of Hazleton, Luzerne County, Pennsylvania (the “Project”).  

PPL Electric explains that CVS Pharmacy (“CVS”), a potential new commercial customer, currently is evaluating the feasibility of constructing a new pharmacy in its service territory in the City of Hazleton, Luzerne County.  The proposed site for the new pharmacy is located at the northeast intersection of West 28th and North Church Streets.  The site is currently traversed by a segment of PPL Electric's existing Harleigh Tap 138 kV transmission line (“Harleigh Tap”).  PPL Electric explains that the Harleigh Tap is a single-circuit 138 kV transmission line that extends approximately two miles within the City of Hazelton in a northwest to southeast orientation.  Currently, the Harleigh Tap extends through the middle of the site proposed by CVS for the new pharmacy.  
PPL Electric states that CVS has requested that PPL Electric’s existing Harleigh Tap, which currently traverses the site proposed for the new pharmacy, be relocated to the southwest perimeter of the site to accommodate the construction of the new pharmacy.  The proposed CVS pharmacy cannot be completed until the existing transmission facilities are relocated.  
In order to accommodate the construction of CVS’ proposed new pharmacy, PPL Electric herein proposes to relocate an approximately 0.15 mile (800 linear feet) segment of the existing Harleigh Tap to the southwest perimeter of the site.   Also two existing tower structures that currently are located on the site for the proposed pharmacy will be removed, and three new custom steel monopole angle structures installed.  Each new angle structure will be installed on concrete caisson foundations and will have an average height of approximately 90 feet.  
PPL Electric states that the relocated single-circuit 138 kV design will utilize three power conductors and one overhead ground wire.  The power conductors will be 556 kcmil
 24/7 ACSR (Aluminum Conductor Steel Reinforced) conductors.  
The overhead ground wire will be 48-count, 0.752-inch diameter fiber optical ground wires and will provide lightning protection and communication between circuit breakers.
The relocated facilities will be on property to be owned by CVS for the new pharmacy.  A small portion of the right-of-way for the relocated facilities may extend into an existing public right-of-way associated with West 28th (Route 309) and North Church Streets (Route 940).  

PPL Electric states that the proposed Project will not create any unreasonable risk of danger to the public health or safety.  The Project will be designed, constructed, operated, and maintained in a manner that meets or surpasses all applicable National Electrical Safely Code ("NESC") minimum standards and will meet all applicable legal requirements.  
Further, PPL Electric states that land use impacts are anticipated to be minimal because the Project will be located within a right-of-way across the property to be owned by CVS if it builds the new pharmacy, and possibly within a portion of a public right-of-way.  
According to PPL Electric, the proposed Project was reviewed with representatives of Luzerne County and the City of Hazleton.  These entities have not objected to the proposed Project.  Copy of this Letter of Notification was served on all landowners that may be effected by the transmission line work associated with the Project in accordance with 52 Pa. Code §57.72(d)(3).

The total estimated cost of the proposed Project is approximately $957,000.
  The entire cost of the proposed relocation will be paid by CVS if the construction of the planned pharmacy goes forward and the Project is required to accommodate the construction of the new pharmacy.
  The construction is scheduled to begin in February 2016, in order to support a scheduled in-service date of March 2016.
Upon review, the Commission finds that PPL Electric's LON and manner in which it was filed conform to the Commission's regulations of 52 Pa. Code 57.72(d)(1)(vi) because the proposed Project will be less than two miles. Further, land use impacts are anticipated to be minimal because the Project will be located within a right-of-way across the property to be owned by CVS, and possibly within a portion of a public right-of-way.  Furthermore, the Commission has reviewed the filing and finds it to be consistent with applicable law or Commission policy regarding transmission line siting, and therefore to be in the public interest.

We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment and cost recovery; THEREFORE,
IT IS ORDERED:
           1.  That the Application filed by PPL Electric for the relocation of approximately 0.15 mile of single-circuit 138 kV transmission line in the City of Hazleton, Luzerne County, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket Nos. A-2015-2479940, be closed. 
[image: image1.png]



   BY THE COMMISSION,


   Rosemary Chiavetta

   Secretary

(SEAL)

ORDER ADOPTED: July 8, 2015
ORDER ENTERED:  July 8, 2015
� A kcmil or circular mil is the cross-sectional area of a wire one mil in diameter, where 1kcmil = 0.5067  


  mm2   


� The estimated cost for the proposed Project was developed using averages of recent costs for similar projects and without an in-depth analysis of field investigation. The estimated cost is subject to change as the constructability of the Project, sequence of construction, and other factors that may affect cost are identified and analyzed as the Project progresses. 


� PPL Electric will not relocate the existing Harleigh Tap if CVS does not proceed with its plans to construct the new pharmacy. 





PAGE  
6

