BEFORE THE

PENNSYLVANIA PUBLIC UTILITY COMMISSION

Ivan Yotov						:

:

v.						:			C-2015-2479258

:

Duquesne Light Company				:

INITIAL DECISION

Before

Joel H. Cheskis

Administrative Law Judge

# INTRODUCTION

This Decision denies a complaint of a customer who requested his electric distribution company be directed to remove a tree from his property that he believed posed a danger.  The complaint will be denied because the customer has failed to carry his burden of demonstrating that the company violated the Public Utility Code, a Commission Order or regulation or a Commission-approved tariff because the utility has no obligation to remove a tree from private property where no danger or service interruption exists.

# HISTORY OF THE PROCEEDING

On April 27, 2015, Ivan Yotov filed with the Pennsylvania Public Utility Commission (Commission) a formal complaint against Duquesne Light Company (Duquesne or “the Company”), Docket Number C-2015-2479258.  In his complaint, Dr. Yotov averred that Duquesne is unwilling to remove a hazardous tree next to his electric line.  Dr. Yotov attached several documents to his complaint in support of his position, including pictures and various correspondences with the Company.  Dr. Yotov indicated in his complaint that he would like the Commission to order Duquesne to remove the tree.

On May 18, 2015, Duquesne filed an answer to Dr. Yotov’s complaint.  In its answer, Duquesne admitted or denied the various averments contained in the complaint and denied that the tree located in the back of Dr. Yotov’s property and referenced in the complaint poses any reliability or safety problems.  Duquesne added that its vegetation management personnel visited Dr. Yotov’s property to view the tree and determined that there were no reliability or safety concerns or threats to Duquesne’s facilities.  Duquesne further denied that it is required to remove the tree and requested that the Commission dismiss the complaint with prejudice.

On June 24, 2015, the Commission issued a Telephonic Hearing Notice scheduling an Initial Telephonic Hearing for this matter for Wednesday, July 29, 2015 at 10:00 a.m. and assigning me as the Presiding Officer.  On July 6, 2015, a Prehearing Order was issued establishing the procedural rules that would govern the hearing.

The hearing convened on July 29, 2015, as scheduled.  Dr. Yotov appeared pro se and presented one exhibit that was admitted into the record.  Jeremy Farrell, Esquire appeared on behalf of Duquesne and presented two witnesses who sponsored five exhibits that were admitted into the record.  A transcript of fifty-five (55) pages was submitted to the Commission on August 20, 2015, at which time the record closed.

Dr. Yotov’s complaint is ready for disposition.  For the reasons discussed further below, Dr. Yotov’s complaint will be denied.

FINDINGS OF FACT

- The Complainant in this case is Ivan Yotov.

- The Respondent in this case is Duquesne Light Company.

- The Service Address is 144 Woodshire Road, Pittsburgh, PA.

- Yotov Exhibit Number 1 is a compilation of pictures and various correspondences between Dr. Yotov and the Company.  Tr. 16; Yotov Exh. No. 1.

- The tree that Dr. Yotov would like to have removed is located on his property.  Tr. 15.

- The trunk of the tree is approximately 12-15 inches from the electric line and one branch hangs over the line.  Tr. 15.

- The branch that hangs over the line is not decaying.  Tr. 15.

- James Barry has worked for Duquesne for five years and is currently a supervisor of vegetation management.  Tr. 17-18.

- Mr. Barry is a certified arborist, has a Bachelor of Science degree in Forest Science and oversees contractors and deals with customers to ensure safe and reliable electric service.  Tr. 18-19.

- Mr. Barry has inspected the tree Dr. Yotov would like to have removed twice.  Tr. 19.

- Duquesne Exhibit Number 1 is a compilation of photographs Mr. Barry took in April, 2015 and July, 2015 of the tree Dr. Yotov would like Duquesne to remove from his property.  Tr. 20; Duquesne Exh. No. 1.

- Duquesne Exhibit Number 2 is an email chain between Dr. Yotov’s wife and Mr. Barry in February, 2015.  Tr. 22-23; Duquesne Exh. No. 2.

- Bruce Woods, a certified arborist in Duquesne’s vegetation management department, met with Mrs. Yotov on January 30, 2015 at the Yotov’s residence.  Tr. 23; Duquesne Exh. No. 2.

- Duquesne Exhibit Number 3 is the trouble ticket or customer inquiry that Mr. Barry received from his supervisor after his supervisor received a letter from Mr. Jarosh, Dr. Yotov’s expert, regarding the tree Dr. Yotov would like Duquesne to remove from his property.  Duquesne Exh. No. 3; Tr. 24.

- After receiving the trouble ticket, Mr. Barry visited Dr. Yotov’s property to look at the tree and take photos.  Tr. 25.

- Duquesne has a routine maintenance cycle where the Company contracts with different contractors every four or five years to trim trees and remove branches or trees that are a danger to their facilities.  Tr. 26.

- The tree Dr. Yotov would like Duquesne to remove from his property was last examined as part of Duquesne’s maintenance cycle in 2013.  Tr. 26.

- Duquesne will remove either an entire tree or a portion of a tree if it is determined that there is a threat to its facilities.  Tr. 26.

- Duquesne’s decision whether to remove or trim a tree is made based on the health, overall growth and age of the tree, among other things.  Tr. 27.

- Trees are trimmed in a manner that Duquesne’s facilities would not be impacted during the next four or five years.  Tr. 27.

- The tree Dr. Yotov would like Duquesne to remove from his property is not a hazard to Duquesne’s facilities.  Tr. 28, 31.

- The specific portion of the tree that Dr. Yotov is concerned about is leaning away from Duquesne’s facilities and will not come in contact with facilities if it falls.  Tr. 28-30, 38; Duquesne Exh. No. 1.

- The tree Dr. Yotov would like Duquesne to remove from his property is healthy and grows straight and tall.  Tr. 30-31, 42; Duquesne Exh. No. 1.

- The tree Dr. Yotov would like Duquesne to remove from his property has minimal growth because it is already a mature tree and will not grow as quickly as a younger tree.  Tr. 31.

- Duquesne Exhibit Number 4 is a letter Mr. Barry sent to Dr. Yotov dated April 7, 2015 indicating that Duquesne will remove the branch overhanging the electric facilities at no cost to Dr. Yotov to assist in his removing the tree.  Tr. 33, 41; Duquesne Exh. No. 4.

- Duquesne was willing to remove the branch overhanging the electric facilities because it was the most difficult portion of the tree to remove and Duquesne was willing to help with the removal of that branch but Dr. Yotov would pay for the removal of the remainder of the tree.  Tr. 33.

- Duquesne Exhibit Number 7 is the contact log that the contracted personnel complete when notifying customers of pending work and indicates that Dr. Yotov was notified of the work done in 2013.  Tr. 34-35; Duquesne Exh. No. 7.

- The tree Dr. Yotov would like Duquesne to remove from his property did not pose a safety hazard when it was inspected in 2013.  Tr. 36.

- Don Piasecki has worked for Duquesne for thirty-two years and is currently the service center manager for Duquesne’s Edison service territory.  Tr. 45.

- Mr. Piasecki is in charge of inspecting Duquesne’s service lines to ensure they are safe and visited Dr. Yotov’s property on May 5, 2015 to investigate his complaint.  Tr. 45-46.

- Mr. Piasecki believes that there is no threat or other problem with the electric facilities in relation to the tree Dr. Yotov would like Duquesne to remove from his property.  Tr. 46.

DISCUSSION

Section 332(a) of the Public Utility Code provides that the party seeking relief from the Commission has the burden of proof.  66 Pa.C.S. § 332(a).  As a matter of law, a complainant must show that the named utility is responsible or accountable for the problem described in the complaint in order to prevail.  Patterson v. Bell Tel. Co. of Pa., 72 Pa. PUC 196 (1990).  “Burden of proof” means a duty to establish a fact by a preponderance of the evidence, or evidence more convincing, by even the smallest degree, than the evidence presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 54, 70 A.2d 854 (1950).  The offense must be a violation of the Public Utility Code, the Commission’s regulations or an outstanding order of the Commission.  66 Pa.C.S. § 701.  In this proceeding, Dr. Yotov seeks an Order from the Commission directing Duquesne to remove a tree from his property.  Dr. Yotov, therefore, has the burden of proof in this proceeding.

If a complainant establishes a prima facie case, the burden of going forward with the evidence shifts to the utility.  If a utility does not rebut that evidence, the complainant will prevail.  If the utility rebuts the complainant's evidence, the burden of going forward with the evidence shifts back to the complainant, who must rebut the utility's evidence by a preponderance of the evidence.  The burden of going forward with the evidence may shift from one party to another, but the burden of proof never shifts; it always remains on a complainant.  Milkie v. Pa. Pub. Util. Comm’n, 768 A.2d 1217 (Pa.Cmwlth. 2001); see also, Burleson v. Pa. Pub. Util. Comm’n, 443 A.2d 1373 (Pa.Cmwlth. 1982).

Decisions of the Commission must be supported by substantial evidence.  2 Pa.C.S. § 704.  "Substantial evidence" is such relevant evidence that a reasonable mind might accept as adequate to support a conclusion.  More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  Norfolk & Western Ry. Co. v. Pa. Pub. Util. Comm’n, 489 Pa. 109, 413 A.2d 1037 (1980); Erie Resistor Corp. v. Unemployment Comp. Bd. of Review, 194 Pa. Superior Ct. 278, 166 A.2d 96 (1961); and Murphy v. Comm., Dept. of Public Welfare, White Haven Center, 85 Pa.Cmwlth. Ct. 23, 480 A.2d 382 (Pa.Cmwlth. 1984).

In this case, Dr. Yotov testified that there is a large oak tree on his property that is close to the electric line and has a portion that is decaying.  Tr. 7.  Dr. Yotov indicated that he asked Duquesne to remove the tree but Duquesne refused.  Tr. 7.  Dr. Yotov explained that he hired Mr. Jarosh, a certified arborist, who inspected the tree and explained to Duquesne his opinion that the tree should be removed.  Tr. 8.  Dr. Yotov submitted a letter that Mr. Jarosh sent to Duquesne, along with pictures and other documents, in support of his position that Duquesne should remove the tree.  See, Yotov Exh. No. 1.  In response, Duquesne presented the testimony of two witnesses, Mr. Barry and Mr. Piasecki, who both work in Duquesne’s vegetation management department.  Mr. Barry and Mr. Piasecki presented testimony in support of Duquesne’s position that the tree does not present any threat to Duquesne’s facilities or the public and sponsored several exhibits that were admitted into the record that support that position.

Dr. Yotov’s complaint will be dismissed because Dr. Yotov has failed to satisfy his burden to demonstrate that Duquesne’s actions in any way violated the Public Utility Code, any Commission Order or regulation or any Commission-approved Company tariff.

To begin, the Commission takes seriously its responsibility to ensure electric reliability.  In particular, the General Assembly mandated that the Commission ensure levels of reliability that were present prior to the restructuring of the electric utility industry continue in the new competitive market.  66 Pa.C.S. § 2802(12); see also, Amended Reliability Benchmarks and Standards for the Electric Distribution Companies, Docket No. M-00991220 (Order entered May 11, 2004); Rulemaking Re Amending Electric Service Reliability Regulations at 52 Pa.Code Chapter 57, Docket Number L-00030161 (Final Rulemaking Order entered May 20, 2004).  In response to this legislative mandate, the Commission adopted various regulations designed to ensure the continued safety, adequacy and reliability of transmission and distribution of electricity in the Commonwealth.  See e.g., 52 Pa.Code §§ 57.191-198.

For example, Section 57.198 of the Commission’s regulations requires an electric distribution company (EDC) to prepare and file with the Commission a biennial plan for the periodic inspection, maintenance, repair and replacement of its facilities that is designed to meet its performance benchmarks and standards.  52 Pa.Code § 57.198(a).  Similarly, the Commission’s regulations require that the plan must include a program for the maintenance of clearances of vegetation from the EDC’s overhead distribution facilities.  52 Pa.Code § 57.198(f).  The minimum inspection and treatment cycle for vegetation management is between 4-8 years for distribution facilities.  52 Pa.Code § 57.198(n)(1).

It is also relevant that all utility service is governed by Section 1501 of the Public Utility Code.  This Section provides, in relevant part, that: “Every public utility shall furnish and maintain adequate, efficient, safe and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions and improvements in or to such facilities as shall be necessary or proper for the accommodation, convenience, and safety of its patrons, employees and the public.”  66 Pa.C.S. § 1501.  Dr. Yotov’s complaint is also properly examined in light of Duquesne’s obligations under Section 1501.

In general, most complaints filed against an EDC regarding their vegetation management practices involve situations where a tree is about to be removed or has already been removed by the EDC against the wishes of the property owner, there is a dispute over how the vegetation is managed (i.e., through the use of herbicides) or whether particular vegetation is within an EDC’s right-of-way.  Complaints regarding an EDC’s vegetation management practices rarely involve a request from the property owner to have a tree removed from his or her property that was denied by the EDC, as is the case here.

In Lauth v. Bell-Atlantic Pa, Inc., Docket No. C-00992926 (Final Order entered on October 10, 2000) (Lauth), however, a tree on the complainant’s property fell onto the telephone pole that was also located on the complainant’s property.  The pole to which the telephone line was attached also contained electrified wires and a transformer.  There was no service interruption and the telephone company advised the complainant that, as the homeowner, he was responsible to remove or trim the tree.  The complainant relied only upon language in a right-of-way agreement which gave both the telephone company and the electric company the right to trim or remove trees as necessary to clear the wires and other facilities.  In the Initial Decision issued in that proceeding, the presiding officer stated: “Bell is required to provide adequate and safe telephone service.  It is not required to trim or remove vegetation that may come into contact with its facilities if such contact does not interrupt telephone service ….  Bell’s policy of only trimming trees on private property when such vegetation presents a safety problem or causes service interruption is a reasonable policy.”  Id.; see also, Richard Kawski v. Verizon Pennsylvania LLC, Docket No. C-2013-2384017 (Initial Decision dated May 7, 2014).

In this case, Dr. Yotov’s complaint will be denied because Dr. Yotov has failed to demonstrate that Duquesne has violated any provision of the Public Utility Code, any Commission Order or regulation or any Commission-approved utility tariff.  Dr. Yotov has failed to demonstrate that the tree must be removed to prevent an interruption in service or danger to Duquesne’s facilities or the public.

Dr. Yotov’s argument relies on the attachment Dr. Yotov included with his complaint, which was subsequently admitted in to the record as Yotov Exhibit Number 1.  Although Yotov Exhibit Number 1 includes hearsay, which counsel for Duquesne objected to, even accepting the statements made in that Exhibit does not demonstrate that Duquesne is obligated to remove the tree in question from Dr. Yotov’s property.  The parties have agreed that the tree Dr. Yotov would like Duquesne to remove is located on his property.  Tr. 15.  The parties have agreed that the trunk of the tree is approximately 12-15 inches from the electric line.  Yet, Dr. Yotov also testified in response to cross-examination that one branch hangs over the line and that branch is not decaying.  Tr. 15.  There is no evidence of any interruption to Dr. Yotov’s service.  Additionally, when examining pictures of the tree that were made part of the record, it does not appear that the tree presents any threat to Duquesne’s equipment or a threat to the public.  Yotov Exh. No. 1; Duquesne Exh. No. 1.  This includes the branch in question that Dr. Yotov asserts is decaying which Mr. Barry testified would not come in to contact with the electric facilities if it were to fall.

As Mr. Barry and Mr. Paisecki testified, they have both inspected the tree multiple times.  Tr. 19, 45-46.   Mr. Barry also testified regarding Duquesne’s routine maintenance cycle where contractors are hired to trim and remove branches or trees every four or five years that pose a danger.  Tr. 25.  Mr. Barry testified that the Company decides whether to remove or trim a tree based on the health, the overall growth and the age of the tree.  Tr. 26.  Mr. Barry added that the portion of the tree that Dr. Yotov is concerned about is leaning away from Duquesne’s facilities and will not come in contact with the facilities if it fell.  Tr. 28-30, 38; Duquesne Exh. No. 1.  Rather, Mr. Barry testified that the tree Dr. Yotov would like removed from his property is healthy and grows straight and tall.  Tr. 30-31, 42.  Both Mr. Barry and Mr. Paisecki concluded that the tree Dr. Yotov would like Duquesne to remove from his property is not a hazard to Duquesne’s facilities.  Tr. 28, 31.  This testimony effectively rebuts the evidence submitted by Dr. Yotov.  As such, Dr. Yotov has failed to carry his burden.

Duquesne is not responsible for trimming or removing trees on private property that do not pose a threat to the Company’s facilities or to the public.  There is no evidence of interruption of service or a general service issue beyond what may be present because the tree is near the electric facilities.  As noted in the exhibits containing pictures of the property, this appears to be a heavily wooded area.  It is likely that any other tree has decaying parts but this does not mean that Duquesne has to take them all down, even if they are close to the electric facilities or dangerous to the public.  Furthermore, much of Duquesne’s service territory likely contains wooded areas.  The Commission requires EDCs to have maintenance cycles to help ensure reliability, among other reasons.  Duquesne cannot be responsible for trimming or removing every tree throughout its service territory unless it is consistent with its maintenance cycle.  There is no record evidence in this case demonstrating that Duquesne has acted contrary to its Commission-approved maintenance cycle, designed to reduce service outages and other problems related to vegetation near electric facilities, by refusing to remove the tree from Dr. Yotov’s property.

Similarly, when examining Dr. Yotov’s complaint in light of Duquesne’s obligations under Section 1501, supra, there is no record evidence supporting a finding that Duquesne’s policy in general, or treatment of Dr. Yotov in particular, was in anyway inadequate, inefficient, unsafe or unreasonable.

Duquesne’s vegetation management practice is similar to that in Lauth, supra.  It is reasonable that Duquesne only remove or trim trees that pose a threat to its facilities or to the public and Dr. Yotov has not demonstrated here that either such circumstances are present.  In particular, and as noted above, Dr. Yotov agreed that the trunk of the tree is approximately 12-15 inches away from the line and that the branch hanging over the wires is not decaying.  Tr. 15.  As a result, Dr. Yotov has failed to carry his burden of demonstrating that the tree poses a threat to the Company’s facilities or to the public.  It would be an unnecessary burden and expense if Duquesne, as well as other EDCs, were required to remove or trim trees where there is no interruption in service and no threat to the utilities’ facilities or the public.

As such, Dr. Yotov’s complaint will be denied because he has failed to satisfy his burden of demonstrating that Duquesne violated the Public Utility Code, a Commission Order or regulation or a Commission-approved tariff when denying Dr. Yotov’s request to remove a tree from his property.  Duquesne is under no obligation to remove a tree on private property where no service interruption or danger to Duquesne’s facilities or the public exists.

CONCLUSIONS OF LAW

- Section 332(a) of the Public Utility Code provides that the party seeking relief from the Commission has the burden of proof.  66 Pa.C.S. § 332(a).

- A complainant must show that the named utility is responsible or accountable for the problem described in the complaint in order to prevail.  Patterson v. Bell Tel. Co. of Pa., 72 Pa. PUC 196 (1990).

- "Burden of proof" means a duty to establish a fact by a preponderance of the evidence, or evidence more convincing, by even the smallest degree, than the evidence presented by the other party.  Se-Ling Hosiery v. Margulies, 364 Pa. 54, 70 A.2d 854 (1950).

- The offense must be a violation of the Public Utility Code, the Commission’s regulations or an outstanding order of the Commission.  66 Pa.C.S. § 701.

- If a complainant establishes a prima facie case, the burden of going forward with the evidence shifts to the utility.  If a utility does not rebut that evidence, the complainant will prevail.  If the utility rebuts the complainant's evidence, the burden of going forward with the evidence shifts back to the complainant, who must rebut the utility's evidence by a preponderance of the evidence.  The burden of going forward with the evidence may shift from one party to another, but the burden of proof never shifts; it always remains on a complainant.  Milkie v. Pa. Pub. Util. Comm’n, 768 A.2d 1217 (Pa.Cmwlth. 2001); see also, Burleson v. Pa. Pub. Util. Comm’n, 443 A.2d 1373 (Pa.Cmwlth. 1982).

- The decision of the Commission must be supported by substantial evidence.  2 Pa.C.S. § 704.

- "Substantial evidence" is such relevant evidence that a reasonable mind might accept as adequate to support a conclusion.  More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  Norfolk & Western Ry. Co. v. Pa. Pub. Util. Comm’n, 489 Pa. 109, 413 A.2d 1037 (1980); Erie Resistor Corp. v. Unemployment Comp. Bd. of Review, 194 Pa. Superior Ct. 278, 166 A.2d 96 (1961); and Murphy v. Comm., Dept. of Public Welfare, White Haven Center, 85 Pa.Cmwlth. Ct. 23, 480 A.2d 382 (1984).

- The General Assembly mandated that the Commission ensure levels of reliability that were present prior to the restructuring of the electric utility industry continue in the new competitive market.  66 Pa.C.S. § 2802(12); see also, Amended Reliability Benchmarks and Standards for the Electric Distribution Companies, Docket No. M-00991220 (Order entered May 11, 2004); Rulemaking Re Amending Electric Service Reliability Regulations at 52 Pa.Code Chapter 57, Docket Number L-00030161 (Final Rulemaking Order entered May 20, 2004).

- The Commission adopted various regulations designed to ensure the continued safety, adequacy and reliability of transmission and distribution of electricity in the Commonwealth.  52 Pa.Code §§ 57.191-198.

- The Commission’s regulations require an electric distribution company (EDC) to prepare and file with the Commission a biennial plan for the periodic inspection, maintenance, repair and replacement of its facilities that is designed to meet its performance benchmarks and standards.  52 Pa.Code § 57.198(a).

- The Commission’s regulations require that the plan must include a program for the maintenance of clearances of vegetation from the EDC’s overhead distribution facilities.  52 Pa.Code § 57.198(f).

- The minimum inspection and treatment cycle for vegetation management is between 4-8 years for distribution facilities.  52 Pa.Code § 57.198(n)(1).

- A policy of only trimming trees on private property when such vegetation presents a safety problem or causes service interruption is a reasonable policy.  Lauth v. Bell-Atlantic Pa, Inc., Docket No. C-00992926 (Final Order entered on October 10, 2000).

- Every public utility shall furnish and maintain adequate, efficient, safe and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions and improvements in or to such facilities as shall be necessary or proper for the accommodation, convenience, and safety of its patrons, employees and the public.  66 Pa.C.S. § 1501.

- Dr. Yotov has failed to satisfy his burden to demonstrate that Duquesne violated the Public Utility Code, a Commission order or regulation or a Commission-approved tariff by refusing to remove a tree from his private property where no service interruption or danger to Duquesne’s facilities or the public exists.

ORDER

THEREFORE,

IT IS ORDERED:

- That the formal complaint file by Ivan Yotov against Duquesne Light Company on April 27, 2015 at Docket Number C-2015-2479258 is hereby denied.

- That this matter be marked closed.

Date:	October 28, 2015			/s/

Joel H. Cheskis

Administrative Law Judge