|  | PENNSYLVANIA PUBLIC UTILITY COMMISSION Harrisburg, PA 17105-3265 |  |
| --- | --- | --- |

|  | Public Meeting held November 19, 2015 |
| --- | --- |
| Commissioners Present: |  |

Gladys M. Brown, Chairman. John F. Coleman, Jr., Vice Chairman. Pamela A. Witmer. Robert F. Powelson Andrew G. Place.

| West Penn Power Company Supplement No. 5 to Tariff Electric Pa. P.U.C. No. 40 | Docket Number: R-2015-2496900 |
| --- | --- |

# ORDER

BY THE COMMISSION:

On August 7, 2015, West Penn Power Company (West Penn or the Company), Utility Code 111250, filed Supplement No. 5 to Tariff Electric Pa. P.U.C. No. 40 (Supplement No. 5). On September 30, 2015, West Penn filed a Revised Supplement No. 6, which voluntarily postponed the effective date from October 6, 2015, until November 18, 2015.  On October 7, 2015, West Penn filed a request to withdraw Revised Supplement No. 6.  Also, on October 7, 2015, West Penn filed Supplement No. 6, which voluntarily postponed the effective date until November 18, 2015.  On November 2, 2015, West Penn filed Supplement No. 8, which voluntarily postponed the effective date until November 20, 2015.

The Company avers that the filing of Supplement No. 5 is necessary to revise the tariff that was effective on May 3, 2015 in compliance with the Commission’s  April 9, 2015 Opinion and Order at Docket No. R-2014-2428742 (Rate Case).  West Penn declares that these revisions provide correction and clarification to the tariff that became effective on May 3, 2015 (Compliance Tariff) in order to ensure its consistency with the terms and intent of the Joint Petition for Partial Settlement of Rate Investigation as filed on February 3, 2015 and approved in its Rate Case.

The vast majority of the changes proposed in these tariff filings are of a non-substantive nature.  The Company maintains that the changes had already been approved under the Rate Case and that the main purpose of this instant filing is to make corrections to the Commission approved Compliance Tariff.  The Compliance Tariff incorrectly quoted testimony or erroneously changed items that should have remained the same.

The Company served the tariff supplements on all parties of record to the original Rate Case.  No objections have been received, and no complaints have been filed against this tariff supplement.

Some changes included in the tariff filing are substantive and are explained in further detail, below.  Unless otherwise noted, the following changes (as indicated above) are correcting errors to the Compliance Tariff, and are consistent with, and as approved in its Rate Case.

Rate Schedule RS 30 Total Consumption and Billing Demand:

- Total Consumption

For Rate RS 30, the Compliance Tariff states that if an existing customer’s total consumption is less than 1,500KWH/month for twelve consecutive months, the customer may no longer be eligible for service under the RS 30 rate and will be placed on rate schedule RS 20 or another rate schedule for which the customer most qualifies.

The Company changed the number of months, above, from twelve to two.  West Penn claims that the RS 30 rate schedule should not have referenced twelve months in the Compliance Tariff as the Company referenced two months in its testimony.  West Penn affirms that this change simply corrects the error.

- Billing Demand

For Rate class RS 30, the Compliance Tariff states that if the customer’s demand exceeds 400kW for twelve consecutive months, the customer may no longer be eligible for service under the schedule RS 30 and will be placed on rate schedule RS 35 or another rate schedule for which the customer most qualifies.

The Company changed the number of months, above, from twelve to two.  West Penn claims that the RS 30 rate schedule should not have referenced twelve months in the Compliance Tariff as the Company referenced two months in its testimony.  West Penn affirms that this change simply corrects the error.

Demand Calculation for customers without demand meters RS 30 and 35:

West Penn is proposing to include language explaining that customers on For RS 30 and 35 whose service is not being metered by means of a demand meter will have demand calculated by dividing the kilowatt-hour consumption by 200. The Company proposed to utilize this formula until the installation of demand meters. The Company claimed that this language was approved by the Commission in the Rate Case and had inadvertently been left out of the Compliance Tariff.

Exclusion of RS 35 energy charge:

West Penn proposes to remove language pertaining to the RS 35 energy charges which was set at $.000. The Company claims it removed the energy charge because it no longer applies.

Billing Demand Determination for RS 30, 35 and 40:

West Penn proposing to include language explaining that customers on RS 30, 35, and 40 whose service is not being metered by a demand meter will have demand calculated by dividing the kilowatt-hour consumption by 200.  West Penn proposed to utilize this formula until installation of demand meters.  West Penn claimed that this language was approved by the Commission in its Rate Case and had inadvertently been omitted from the Compliance Tariff.

Clarification of Rider I’s voluntary applicability and addition of Rider H pertaining to RS 30:

West Penn proposes to add clarifying provisions applicable to commercial customers receiving Default Service from the company.  Currently, West Penn’s tariff indicates that commercial customers receiving default service from the Company, are charged Rider I - Hourly Pricing Default Service.  The option to select Rider H - the Price to Compare, is not available.  The Company clarifies that commercial customers selecting default service, will be placed under Rider H, unless the customer elects to receive default service under Rider I.

Omission of language not applicable to Service at primary Voltage applicable to RS 30:

West Penn proposes to revise language relating to billing demand applicable to RS 30 customers under the Service at Primary Voltage provisions. The Company is revising language indicating that if a customer’s maximum demand is 400kW or less for 2 consecutive months, the customer has the option to be billed under RS 30.  This is consistent with the general eligibility provisions of RS 30.

Rider H correction of Loss Factors applicable to Commercial and Residential Customers:

West Penn is proposing to revise the distribution line loss factors germane to commercial and residential customer classes, from 1.0515 for both to 1.0910 for the commercial customer class and 1.0899 for the residential customer class. West Penn states that the revised loss factor numbers are consistent with West Penn’s Supplier, Tariff Electric-Pa PUC No. 39.

Rider K correction of the Time of Use (TOU) rate:

West Penn is proposing to correct language in its Compliance Tariff that indicated a multiplier of 1.28 for its TOU On-Peak rate. The Company is revising the multiplier to 1.35 which is reflective of its approved rate in its rate.

Rider K removal of Independence Day from the inclusion of on-peak hours:

West Penn made changes to Rider K, the Time-of-Use rider, to highlight a meter limitation.  The smart meters were not programmed to identify and exclude Independence Day.  The Company also added language indicating that customers with Time-of-Use meters installed would have On-Peak hours from 12:00pm to 9:00pm Eastern Standard Time.

Rider L Partial Services Rider Charges for primary voltage backup demand:

West Penn is proposing to change the backup demand primary voltage charge from $.27 to $.41. The Company erroneously included $.27 in its Compliance Tariff, but $.41 was approved in its Rate Case.

Upon review of West Penn’s Supplement No. 5 to Tariff Electric-PA P.U.C. No. 40, we find that the proposed changes are necessary to make corrections to West Penn’s May 3, 2015, Compliance Tariff, and that the changes/revisions contained herein do not appear to be unlawful, unjust, unreasonable, or contrary to the public interest.  Accordingly, we will permit Supplement No. 5 to become effective on the date requested.  However, approval of this filing does not constitute a determination that this filing is lawful, just, or reasonable, but only that further investigation or suspension does not appear to be warranted at this time; THEREFORE,

IT IS ORDERED:

1.	That West Penn Power Company Supplement No. 5 to Tariff Electric Pa. P.U.C. No. 40 is hereby permitted to become effective on November 20, 2015.

2.	That a copy of this Order be served on the Office of Consumer Advocate, the Office of Small Business Advocate, and the Bureau of Investigation and enforcement and all parties of record to West Penn Power’s Rate Case at Docket          No. R-2014-2428742.

3.	 That the proceedings at Docket No. R-2015-2496900 be closed.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  November 19, 2015

ORDER ENTERED:  November 19, 2015